| Congestion Management Working Group |  |  |  |
| --- | --- | --- | --- |
| Event Description: CMWG Meeting | Date: 28 July 2006 |  | Completed by: I. Flores |
| Chair: Jerry Ward Vice Chair: Dan Jones |  |  |  |
| Summary of Topics |  |  |  |
| - Antitrust Guidelines - Reviewed the South to Houston analysis provided by Jeff Billo: - Discussed the TCR Auction strategy related to STP-Dow. - Discussed the need for the Northeast to North CSC and decided to recommend elimination for 2007; and - Discussed the need for the North to West constraint. - Proposed motion for WMS consideration: “CMWG recommends that for 2007, the CSCs remain the same as 2006, except that the NE_N CSC (Farmersville-Royse double circuit) no longer be a CSC.” |  |  |  |
| Action Items / Next Steps: |  |  |  |
| - Provided recommendation to WMS in August 2006. - Requested that ERCOT Staff continue to monitor the NE-N CSC during 2007. |  |  |  |
| Future Agenda Items: |  |  |  |
| - Use of generator outages in TCR calculations. - Competitiveness test – nodal issue. |  |  |  |
| Attendees |  |  |  |
| Davis, Conrad; Airtricity, Inc.. Havemann, Steven; Austin Energy. Gedrich, Brian; BP. Muñoz, Manny; CenterPoint Energy. Greer, Clayton; Constellation. Jones, Dan; CPS Energy. Garrett, Mark; Direct Energy. Billo, Jeff; ERCOT. Garza, Beth; ERCOT. Ward, Jerry; EXTYR. Pieniazek, Adrian; NRG Texas. Lozano, Rafael; PSEG Texgen I. Le, Don; Reliant Energy. Wagner, Marguerite; Reliant Energy. Moore, John; STEC. Caraway, Shannon; TXU Wholesale. Svihla, Ed; TXU Wholesale. Reid, Walter; Wind Coalition. |  |  |