ERCOT NODAL Operating Guides

ERCOT Nodal Operating Guides

Section 1:  Overview

Draft September 15, 2006

(Effective Upon Texas Nodal Market Implementation)

June 1, 20

1	OVERVIEW	4

1.1	Document Purpose	4

1.2	Document Relationship	6

1.3	Process for Operating Guide Revision	8

1.3.1	Introduction	8

1.3.2	Submission of an Operating Guide Revision Request	9

1.3.3	Operations Working Group	9

1.3.4	Operating Guide Revision Procedure	10

1.3.5	Urgent Requests	16

1.3.6	Operating Guide Revision Implementation	16

1.4	Operating Definitions	20

1.5	Entity Definitions and Roles	23

1.5.1	Entities per Protocols	23

1.5.2	Entities per NERC Standards	27

1.6	Operational Training	29

1.6.1	Operator Training Objectives	29

1.6.2	System Operator Training Requirements	29

1.6.3	ERCOT Operations Training Seminar	30

1.6.4	ERCOT Black Start Training	30

1.6.5	ERCOT Severe Weather Drill	30

1.6.6	Criteria for the Selection of Operators	30

1.6.7	Training Practices	31

o1.1	Document Purpose

Doup	1.3	Process for Operating Guide Revision

1.5	O	1-16

1.6.1	ERCOT

rd	1.6.2.1	Regional Reliability Organization (RRO)

6..	eabl1.6.2.3	Balancing Authority (BA)

1.6.3	Terms per Protocols

1.6.3.2	Transmission Operator (TO)

1.6.3.4	Load Serving Entity (LSE)

1.7.1	Operator Training Objectives

1.7.3	ERCOT Operations Training Seminar

1.7.5	ERCOT Severe Weather Drill

1.7.7	Training Practices

1.	Introduction	1-3

# 1	OVERVIEW

  - Document Purpose

(1)	These Electric Reliability Council of Texas (ERCOT) Operating Guides supplement the ERCOT Protocols.  The ERCOT Operating Guides provide more detail  toand establish adtnal operating requirements for those organizations and /entities operating n, or potentially impacting the reliability of the tTransmission gGrid in he ERCOT Regio, ss shown below in Figure 1, ERCOT Regional Map.

Figure 1 – ERCOT Regional Map

(2) 	The title “Operating Guide” is not to be construed as presenting merely a recommendation.  Organizations and entities are obligated to comply with the  Operating Guides. crries the same obligatioon as do the ERCOT Protocols or the North Ameri

Specific practices described in these Operating Guides for the ERCOT Region are consistent with NERC  Standards and the ERCOT Protocols. and consist of the following Guides:

Operationa

1.2	Document Relationship

Standefined below in Figure 2, in Document Authonships.  ThStandards represente fndard has been, or will be develope

(1)	These Operating Guides are written to be consistent with the ERCOT Protocols and the NERC Standards.  within lic Utilities Commission of Texas (PUCT) Rules contain additional requirements for ERCOT and connected entities.

OParpo

(2)	PUCT rules and orders and the ERCOT Protocols supersede these Operating Guides in the event of a conflict.  NERC Standards, with the exception of the specific modifications defined in these Operating Guides, also supersede these Operating Guides in the event of a conflict..

(3)	For application in the ERCOT Region, some NERC Standards must be adapted to fit the unique characteristics of ERCOT.  Specific necessary adaptations to NERC Standards are listed below and detailed within these Operating Guides:

- Time Error Monitoring

- Time Error Correction

- Inadvertent Interchange Management

- Control Surveys

- Load Shedding and System Restoration

- Information Exchange – Disturbance Reporting

- Reliability Criteria

,(7)	gtha 	nt Autor each Standard there will exist registration and certification requirements.  The area in the inverted triangle contains the names of the fegister, certify, and produce the necessary documentation as required.

1.3	Process for Operating Guide Revision

1.3.1	Introduction

(1)	A request to make additions, edits, deletions, revisions, or clarifications to these Operating Guides, including any attachments and exhibits to these Operating Guides, is called an “Operating Guide Revision Request” (OGRR).  Except as specifically provided in other Sections of these Operating Guides, this Section shall be followed for all OGRRs.  ERCOT Members, Market Participants, Public Utility Commission of Texas (PUCT) Staff, ERCOT Staff, and any other entities are required to utilize the process described herein prior to requesting, through the PUCT or other Governmental Authority, that ERCOT make a change to these Operating Guides, except for good cause shown to the PUCT or other Governmental Authority.

(2)	All decisions of the Operations Working Group (OWG), as defined below, Reliability and Operations Subcommittee (ROS), the ERCOT Technical Advisory Committee (TAC) and the Board of Directors with respect to any OGRR shall be posted to the MIS within three Business Days of the date of the decision.  All such postings shall be maintained on the Market Information System (MIS) for at least 180 days from the date of posting.

(3)	The “next regularly scheduled meeting” of the OWG, ROS, TAC, or Board of Directors shall mean the next scheduled meeting for which required notice can be timely given regarding the item(s) to be addressed, as specified in the appropriate Board or committee procedures.

(4)	Throughout the Operating Guides, references are made to the ERCOT Protocols.  ERCOT Protocols supersede the Operating Guides and any OGRR must be compliant with the Protocols.  The ERCOT Protocols are subject to the revision process outlined in Protocol Section 21, Process for Protocol Revision.

(5)	ERCOT Staff may make corrections at any time during the processing of a particular OGRR.  Under certain circumstances, however, the Operating Guides can also be revised by ERCOT Staff rather than using the OGRR process outlined in this section.

(a)	This type of revision is referred to as an "Administrative OGRR" or “Administrative Changes” and shall consist of corrections, such as typos (excluding grammatical changes), internal references (including table of contents), improper use of acronyms, and references to ERCOT Protocols, PUCT Substantive Rules, the Public Utility Regulatory Act (PURA), North American Electric Reliability Council (NERC) regulations, Federal Energy Regulatory Commission (FERC) rules, etc.  Updates to the ERCOT Load Shed Table in Section 4.5.3.2, EECP Steps, shall be processed as an Administrative OGRR.

(b)	ERCOT shall post such Administrative OGRRs to the MIS and distribute the OGRR to the OWG at least five business days before implementation.  If no interested party submits comments to the Administrative OGRR, ERCOT staff shall implement it according to Section 1.3.6, Revision Implementation.  If any interested party submits comments to the Administrative OGRR, then it shall be processed in accordance with the OGRR process outlined in this section.

1.3.2	Submission of an Operating Guide Revision Request

The following Entities may submit an OGRR:

(a)	Any Market Participant;

(b)	Any Entity that is an ERCOT Member;

(c)	PUCT Staff;

(d)	ERCOT Staff; and

(e)	Any other Entity who resides (or represent residents) in Texas or operates in the ERCOT Region.

1.3.3	Operations Working Group

(1)	ROS shall assign a working group ("Operations Working Group" or “OWG”) to review and recommend action on formally submitted OGRRs.  ROS may create such a working group or assign the responsibility to an existing working group provided that:

(a)	Such working group's meetings are open to ERCOT Staff, ERCOT Members, Market Participants, and the PUCT Staff; and

(b)	Each Market Segment is allowed to participate.

(2)	Where additional expertise is needed, the OWG may request that ROS refer an OGRR to subcommittees, working groups or task forces for review and comment on the OGRR.  Suggested modifications—or alternative modifications if a consensus recommendation is not achieved by a non-voting working group or task force—to the OGRR shall be submitted by the chair or the chair’s designee on behalf of the subcommittee, working group or task force as comments on the OGRR for consideration by OWG.  However, the OWG shall retain ultimate responsibility for the processing of all OGRRs.

(3)	The OWG shall ensure that the Guides are compliant with the ERCOT Protocols.  As such, the OWG will monitor all changes to the ERCOT Protocols and initiate any OGRRs necessary to bring the Guides in conformance with the ERCOT Protocols.  The OWG will also initiate an ERCOT Protocol Revision Request (PRR) if such a change is necessary to accommodate a proposed OGRR prior to proceeding with that OGRR.

(4)	ERCOT shall consult with the chair of the OWG to coordinate and establish the meeting schedule for the OWG or other assigned subcommittee.  The OWG shall ensure that reasonable advance notice of each meeting, including the meeting agenda, is posted to the MIS.

1.3.4	Operating Guide Revision Procedure

1.3.4.1	Review and Posting of Operating Guide Revision Requests

(1)	OGRRs shall be submitted electronically to ERCOT by completing the designated form provided on the MIS.  ERCOT shall provide an electronic return receipt response to the submitter upon receipt of the OGRR.

(2)	The OGRR shall include the following information:

(a)	Description of requested revision;

(b)	Reason for the suggested change;

(c)	Impacts and benefits of the suggested change on ERCOT market structure, ERCOT operations, and Market Participants, to the extent that the submitter may know this information;

(d)	OGRR Impact Analysis (IA) (applicable only for a OGRR submitted by ERCOT Staff);

(e)	List of affected Operating Guide Sections and subsections;

(f)	General administrative information (organization, contact name, etc.); and

(g)	Suggested language for requested revision.

(3)	ERCOT shall evaluate the OGRR for completeness and shall notify the submitter, within five Business Days of receipt, if the OGRR is incomplete, including the reasons for such status.  ERCOT may provide information to the submitter that will correct the OGRR and render it complete.  An incomplete OGRR shall not receive further consideration until it is completed.  In order to pursue the revision requested, a submitter must submit a completed version of the OGRR with the deficiencies corrected.

(4)	If a submitted OGRR is complete or once an OGRR is corrected, ERCOT shall post the complete OGRR to the MIS and distribute the OGRR to the OWG within three Business Days.

1.3.4.2	Withdrawal of an Operating Guide Revision Request

(1)	By providing notice to OWG, the submitter of an OGRR may withdraw the OGRR at any time prior to its recommendation by the OWG.  ERCOT shall post a notice of the submitter’s withdrawal of an OGRR on the MIS within one Business Day of the submitter’s notice to OWG.

(2)	The submitter of an OGRR may request withdrawal of an OGRR after its recommendation for approval by OWG.  Such withdrawal must be approved by ROS (if it has not yet been considered by ROS) or by TAC (if it has been recommended for TAC approval by ROS but not yet considered by TAC).

(3)	Once approved by TAC, an OGRR cannot be withdrawn.

1.3.4.3	Operations Working Group Review and Action

(1)	Any interested party may comment on the OGRR.

(2)	To receive consideration, comments must be delivered electronically to ERCOT in the designated format provided on the MIS within 21 days from the posting date of the OGRR.  Comments submitted after the 21 day comment period may be considered at the discretion of OWG after these comments have been posted.  Comments submitted in accordance with the instructions on the MIS—regardless of date of submission—shall be posted to the MIS and distributed electronically to the OWG within three Business Days of submittal.

(3)	The OWG shall review the OGRR at its next regularly scheduled meeting after the end of the 21 day comment period.  At such meeting, the OWG may take action on the OGRR to:

(a)	Recommend approval as submitted or modified;

(b)	If no consensus can be reached, present options for ROS consideration;

(c)	Recommend rejection;

(d)	Defer action on the OGRR; or

(e)	Request that ROS refer the OGRR to a subcommittee, workgroup, or task force.

(4)	Within three Business Days after OWG takes action (other than deferral), ERCOT shall issue a report (“OWG Recommendation Report”) to ROS reflecting the OWG’s action and post the same to the MIS.  The OWG Recommendation Report shall contain the following items:

(a)	Identification of submitter;

(b)	Revised Operating Guide language;

(c)	Identification of authorship of comments;

(d)	Proposed effective date(s) of the OGRR;

(e)	Recommended action; and

1.3.4.4	Comments to the Operations Working Group Recommendation Report

(1)	Any interested party may comment on the OWG Recommendation Report.  To receive consideration, comments on the OWG Recommendation Report must be delivered electronically to ROS and ERCOT in the designated format provided on the MIS within 21 days from the date of posting/distribution of the OWG Recommendation Report.  Comments submitted after 21 days may be considered at the discretion of ROS.

(2)	Within three Business Days of receipt of comments related to the OWG Recommendation Report, ERCOT shall post such comments to the MIS.  The comments shall include identification of the commenting Entity.

(3)	Comments submitted in accordance with the instructions on the MIS—regardless of date of submission—shall be posted to the MIS and distributed electronically to the ROS and OWG within three Business Days of submittal.

(4)	ROS shall review the OWG Recommendation Report and any posted comments to the Report at its next regularly scheduled meeting after the end of the 21 day comment period.

1.3.4.5	Operating Guide Revision Request Impact Analysis

(1)	After the OWG’s recommendation of approval of an OGRR, and the issuance and posting of the OWG Recommendation Report, ERCOT shall prepare an IA based on the OWG Recommendation Report to identify and evaluate the required changes to ERCOT Systems and staffing needs, including ERCOT’s operating systems, settlement systems, business functions, operating practices, ERCOT System operations, and staffing needs.  If ERCOT has already prepared an IA, then ERCOT shall instead update the existing IA, if needed, to accommodate the OWG Recommendation Report.

(2)	The IA shall include:

(a)	An estimate of any cost and budgetary impacts;

(b)	The estimated amount of time required to implement the proposed OGRR;

(c)	The identification of alternatives to the original proposed language that may result in more efficient implementation; and

(d)	The identification of any manual workarounds that may be used as an interim solution.

1.3.4.6	Operations Working Group Review of Impact Analysis

(1)	After ERCOT posts the results of the IA, OWG shall review the IA at its next regularly scheduled meeting.  OWG may revise its OWG Recommendation Report after considering the information included in the IA.

(2)	If OWG revises its Recommendation Report, a revised OWG Recommendation Report shall be issued by OWG to ROS and posted on the MIS.  Additional comments received regarding the revised OWG Recommendation Report shall be accepted up to three Business Days prior to the ROS meeting at which the OGRR is scheduled for consideration.  If OWG revises its recommendation, ERCOT shall update the IA and issue the updated IA at least three Business Days prior to the regularly scheduled ROS meeting.  If a longer review period is required for ERCOT Staff to update the IA, ERCOT Staff shall submit a schedule for completion of the IA to the ROS chair.

1.3.4.7	Reliability and Operations Subcommittee Vote

(1)	ROS shall consider any OGRRs that OWG has submitted to ROS for consideration for which both a OWG Recommendation Report has been posted and an IA based on such OWG recommendation (as updated if modified by OWG under Section 1.3.4.6, Operations Working Group Review of Impact Analysis) has been posted on the MIS for at least three days.  The following information must be included for each OGRR considered by ROS:

(a)	The OWG Recommendation Report and IA; and

(b)	Any comments timely received in response to the OWG Recommendation Report.

(2)	ROS shall take one of the following actions regarding the OWG Recommendation Report:

(a)	Recommend approval of the OGRR as recommended in the OWG Recommendation Report or as modified by ROS;

(b)	Reject the OGRR; or

(c)	Remand the OGRR to the OWG with instructions.

(3)	If ROS recommends approval of an OGRR, ERCOT shall prepare a ROS Recommendation Report, issue the report to TAC and post the report on the MIS within three Business Days of the ROS recommendation concerning the OGRR. The ROS Recommendation Report shall contain the following items:

(a)	Identification of the submitter of the OGRR;

(b)	Modified Operating Guide language proposed by ROS;

(c)	Identification of the authorship of comments;

(d)	Proposed effective date(s) of the OGRR;

(e)	OWG recommendation; and

(f)	ROS recommendation.

1.3.4.8	ERCOT Impact Analysis Based on Reliability and Operations Subcommittee Recommendation Report

For OGRRs not designated Urgent, ERCOT shall review the ROS Recommendation Report and update the IA as soon as practicable, but no later than 30 days after the ROS Recommendation Report is issued, unless a longer period is warranted due to the complexity of the changes proposed by ROS.  ERCOT shall issue the updated IA (if any) to TAC and post it on the MIS within three Business Days of issuance.  If a longer review period is required for ERCOT Staff to update the IA, ERCOT Staff shall submit a schedule for completion of the IA to the ROS and TAC chairs.

1.3.4.9	PRS Review of Project Prioritization

The PRS shall recommend to TAC an assignment of a Project Priority for each OGRR recommended for approval by ROS that requires a change to ERCOT’s computer systems.

1.3.4.10	Technical Advisory Committee Review and Action

(1)	Upon recommendation for approval of an OGRR by the ROS and issuance of an IA by ERCOT to TAC, TAC shall review the ROS Recommendation Report and the IA at its next regularly scheduled meeting; provided that the IA is available for distribution to the TAC at least seven days in advance of the TAC meeting.

(2)	TAC shall take one of the following actions regarding the ROS Recommendation Report:

(a)	Approve the ROS Recommendation Report as originally submitted or as modified by the ERCOT Board;

(b)	Reject the ROS Recommendation Report; or

(c)	Remand the ROS Recommendation Report to ROS with instructions.

(3)	If the ROS Recommendation Report is approved by TAC, as recommended by ROS or modified by TAC, TAC shall review and approve or modify the proposed effective date.

(4)	If TAC approves as submitted, approves as modified, or rejects an OGRR, ERCOT shall prepare a TAC Action Report and post it on the MIS within three Business Days.  The TAC Action Report shall contain the following items:

(a)	Identification of the submitter of the OGRR;

(b)	Identification of the authorship of comments;

(c)	Proposed effective date(s) of the OGRR;

(d)	Procedural history;

(e)	ROS’ recommendation;

(f)	TAC Action (or recommendation to the Board for OGRRs requiring changes to ERCOT’s computer system);

(5)	TAC shall consider the Project Priority of each OGRR requiring a change to ERCOT's computer systems and make recommendations to the ERCOT Board.

(6)	The Chair of TAC shall report the results of all votes by TAC related to Operating Guides revisions to the Board at its next regularly scheduled meeting.

1.3.4.11	ERCOT Board Review and Action

The ERCOT Board shall review all OGRRs which impact ERCOT systems or staffing.  The ERCOT Board shall take one of the following actions regarding OGRRs recommended by TAC which have such impacts:

(a)	Approve the TAC recommendation as originally submitted or as modified by the ERCOT Board; or

(b)	Reject the TAC recommendation; or

(c)	Remand the TAC recommendation to TAC with instructions.

1.3.4.12	Appeal of Decision

(1)	With reference to a decision by OWG, any interested party may appeal directly to the ROS.  Such appeal to the ROS must be submitted to ERCOT within ten Business Days after the date of the relevant decision.  Appeals made after this time shall be rejected.  Appeals to the ROS shall be posted on the MIS within three Business Days and placed on the agenda of the next available regularly scheduled ROS meeting, provided that the appeal is provided to ERCOT at least 11 days in advance of the ROS meeting; otherwise the appeal will be heard by the ROS at the next regularly scheduled ROS meeting.

(2)	With reference to a decision by ROS, any interested party may appeal directly to the TAC.  Such appeal to the TAC must be submitted to ERCOT within ten Business Days after the date of the relevant decision.  Appeals made after this time shall be rejected.  Appeals to the TAC shall be posted on the MIS within three Business Days and placed on the agenda of the next available regularly scheduled TAC meeting, provided that the appeal is provided to ERCOT at least 11 days in advance of the TAC meeting; otherwise the appeal will be heard by the TAC at the next regularly scheduled TAC meeting.

(3)	With reference to a decision by TAC, any interested party may appeal directly to the ERCOT Board.  Such appeal to the ERCOT Board must be submitted to ERCOT within ten Business Days after the date of the relevant decision.  Appeals made after this time shall be rejected.  Appeals to the ERCOT Board shall be posted on the MIS within three Business Days and placed on the agenda of the next available regularly scheduled ERCOT Board meeting, provided that the appeal is provided to the ERCOT General Counsel at least 11 days in advance of the Board meeting; otherwise the appeal will be heard by the Board at the next regularly scheduled Board meeting.

(4)	Any interested party may appeal any decision of the ERCOT Board regarding the OGRR to the PUCT or other Governmental Authority.  Such appeal to the PUCT or other Governmental Authority must be made within 35 days of the date of the relevant decision.  If the PUCT or other Governmental Authority rules on the OGRR, ERCOT shall post the ruling on the MIS.

1.3.5	Urgent Requests

(1)	The party submitting an OGRR may request that the OGRR be considered on an urgent basis.  ROS may designate the OGRR for urgent consideration.  The OWG shall consider the Urgent OGRR at its earliest regularly scheduled meeting, or at a special meeting called by the OWG chair.

(2)	If the submitter desires to further expedite processing of the OGRR, a request for voting via electronic mail may be submitted to the ROS chair.  The ROS chair may grant the request for voting via electronic mail.  Such voting shall be conducted pursuant to TAC procedures.  If approved, ERCOT shall submit a ROS Recommendation Report to the TAC within three Business Days after ROS takes action.  The ROS chair may request action from ROS to accelerate or alter the procedures described herein, as needed, to address the urgency of the situation.

(3)	Notice of an urgent OGRR pursuant to this subsection shall be posted on the MIS.

1.3.6	Operating Guide Revision Implementation

(1)	For OGRRs with no impact to ERCOT systems or staffing, upon TAC approval, ERCOT shall implement OGRRs on the first day of the month following TAC approval, unless otherwise provided in the TAC Action Report for the approved OGRR.

(2)	For OGRRs with impacts to ERCOT systems or staffing, upon Board approval, ERCOT shall implement OGRRs on the first day of the month following Board approval, unless otherwise provided in the Board Action Report for the approved OGRR.

(3)	ERCOT shall implement an Administrative OGRR on the first day of the month following the date it posted the Administrative OGRR to the MIS.

- Energy Rerican Electric Reliability Councnal Reliability Organizations ()ERCOT System Entity Relationships,

- ERinfa by Mmart

- of these Guides.

1.4	Operating Definitions

A complete list of definitions is contained within Protocol Section 2, Definitions and Acronyms.  The following definitions apply specifically to these Operating Guides.  It is essential to the reliability of ERCOT Transmission Grid systemthat all appropriate personnel use and understand the same terms in their daily operations.  The definitions in this section are intended to enable ERCOT, QSEs and TOs to effectively communicate on an ongoing basis.

[delete anything that is already defined in the ERCOT Protocols! It is a bad idea to have terms defined differently in a Guide and in Protocol]

Bulk Electric System

As defined by the Regional Reliability Organization, a Bulk Electric System is made up of the electrical generation resources, transmission lines, interconnections (internally and with neighboring systems), and associated equipment, generally operated at voltages of 60 kV or higher.  This includes the hardware, firmware, and software and the associated buildings and facilities used to manage power processing.  Radial transmission facilities serving only load with one transmission source are generally not included in this definition.

Capacitor

Static device which produces reactive power (VAR source) for voltage control when energized (tends to raise voltage).

Designated Agent

Any entity that is authorized to perform actions or functions on behalf of another entity.

Generator Reactive Power Sign/Direction Terminology

(a)	Lagging power factor operating condition is when MVAR flow is out of the 	generating unit (overexcited generator) and into the transmission system and is 	considered to be positive (+) flow, i.e., in the same direction as MW power flow.  	The generator is producing MVARs

(b)	Leading power factor operating condition is when MVAR flow is into the generating 	unit (underexcited generator) and out of the transmission system and is considered to 	be negative (-) flow, i.e., in the opposite direction as MW power flow.  The 	generator is absorbing MVARs.

Inadvertent Energy

The difference between a Balancing Authority actual net interchange and a Balancing Authority scheduled net interchange.

Interchange

Net Interchange

The algebraic sum of the power flows of the ERCOT Balancing Authority Area 	interconnections with other Balancing Authority Areas.  Sign convention is that net 	interchange out of an area is positive while net interchange into an area is negative.

Scheduled Net Interchange

The mutually prearranged intended net power flow on the ERCOT Balancing 	Authority Area’s interconnections with other Balancing Authority Areas.

Physical Responsive Capability (PRC)

A representation of the total amount of system wide online capability that has a high probability of being able to quickly respond to system disturbances.  The PRC shall be calculated by (i) determining each Resource meeting the requirements of Section 2, Types of Responsive Reserve of these Guides,  (ii) determining for each Resource the lesser quantity of the latest Net Dependable Capability, the Resource Plan HOL, or the telemetered real time capability, (iii) multiplying the lesser quantity of each Resource by the RDF, (iv) using that result to determine the amount of responsive reserve capability then available on each Resource, and (v)  the sum, for all Resources, of the responsive reserve capability as determined for each Resource.  The PRC shall be used by ERCOT to determine the appropriate Emergency Notification and EECP Steps.

Remedial Action Plan (RAP)

A set of pre-defined actions to be taken to relieve transmission security violations (normally post-contingency overloads or voltage violations) that are sufficiently dependable to assume they can be executed without loss of reliability to the interconnected network.  These plans may be relied upon in allowing additional market use of the transmission system.  RAPs may include controllable Load shedding by dispatcher or ERCOT action.  Note that NERC uses the term Corrective Action Plan (CAP).

Reserve Discount Factor (RDF)

A representation of the average amount of system wide capability that, for whatever reason, is historically undeliverable during periods of high system demand.  The RDF will be verified by ERCOT and then approved by the ROS.

Special Protection System (SPS)

A set of automatic actions to be taken to relieve transmission security violations (normally post-contingency overloads or voltage violations) that are sufficiently dependable to assume they can be executed without loss of reliability to the interconnected network.

Telemetry

Equipment for measuring a quantity (e.g., amps, volts, MW, MVAR, MVA) and transmitting the result to a remote location for indication or recording.

Time Error

An accumulated time difference between ERCOT transmission grid time and the time standard.  Time error is caused by a deviation in ERCOT average frequency from 60.0 Hz.

Transmission Service Provider (TSP)

An entity under the jurisdiction of the PUCT that owns or operates transmission facilities used for the transmission of electricity and provides transmission service in ERCOT.

Transmission Line Terminal Sign/Direction Terminology

(a)	MW or MVAR flow out of the bus and into the line is considered to be 		positive (+) flow.

(b)	MW or MVAR flow into the bus and out of the line is considered to be 	negative (-) 	flow.

1.5	Entity Definitions and Roles

1.5.1	Entities per Protocols

7..ERT

ERCOT is the Reliability Coordinator (RC) for the ERCOT Region.  The primary responsibility of ERCOT is to ensure reliable power grid operations within the Region.  ERCOT shall operate the transmission gGid in compliance with NERC Standards, ERCOT Protocols, Good Utility Practice and these Guides.  In Protocol Section 6.5.1.1, ERCOT’s Authority, it defines several actions in which ERCOT is authorized to perform.

.	alified Scheduling Entities (QSE)

QSEs provide the primary information interface for Market Participants with ERCOT.  Market Participants wishing to participate in the ERCOT Energy and Ancillary Service markets require a QSE to represent them.

7..	anmssion Operator (TO)

In ERCOT, the

TOs are responsible for the safe and reliable operation of their own systems, or the systems of Transmission and/or Distribution Service Providers (TDSPs).  Every TDSP in the ERCOT region shall either register as a TO, or designate a TO as its representative and have the authority to act on its behalf.  A TO shall maintain continuous communication (7x24 basis) with ERCOT.  TOs must ensure Dispatch Instructions, received for their system or on behalf of represented TDSPs, are carried out as issued.  TOs must meet all requirements identified in Section 3, Operational Interfaces.

- 4	Rource Entity

(1)	Resource Entities include power generation companies, opt-in generation, Non-Opt-In Entity (NOIE) generation, federal generation facilities and Load Ssrving Eenities (LSEs) representing Lloa being used as a Rresurce.

(2)	Any Generation Resource that introduces energy into the ERCOT grid must be represented by a Resource Entity.  The sale of the generation produced is negotiated bilaterally with other Market Participants or sold via the ERCOT energy market.  A schedule for a power sale is communicated via the QSE that represents the Generation Entity in the ERCOT mMrket sSstem.

1.7.1.5  	Power Generation Company (PGC) [Change to Resource Entity – Be consistent with the Protocols]

PGCs generate electricity that is intended to be sold .on the wholsale market.  PGCs do not own transmission or distribution facilities in this state other than an essential interconnecting Facility and do not have a certificated service area, although its affiliated electric utility or transmission and distribution utility may have a certificated service area.

65	ad Serving Entity (LSE)

LSEs include NOIEs, the Texas General Land Office and Competitive Retailers (CRs).  These are the only organizations authorized to sell electricity directly to retail customers.  An LSE will forecast its contracted Load and negotiate bilaterally with Resource Entities to obtain the forecasted energy.  The schedule resulting from this negotiation will be communicated to the QSE, which in turn will communicate an overall balanced schedule for the QSE to ERCOT.

1.5.2	Entities per NERC Standards

7..	eonl Reliability Organization (RRO)

(1)	The RRO is an entity whose job is to ensure that a defined area of the national Bulk Electric System is reliable, adequate, and secure.  The RRO conducts the regional activities related to planning and operations, and coordinates the activities of Responsible Entities, as defined by NERC.

(2)	Those entities wishing to operate within the footprint of an RRO must register with NERC through each RRO within whose area they desire to operate.

(3)	The RRO can serve as the compliance mMnitor, validating the implementation of NERC or Regional Standards for each entity within their operating area, with the ability administer sanctions or penalties for noncompliance to the standards.  At the time of this writing in 2006, a NERC Registered RRO is equivalent in footprint to a Regional Reliability Council which functions as a member of NERC’s Operating Committee.

(4)	An RRO shall have a Regional Reliability Plan.   This plan identifies those organizations/entities with the potential to impact the Bulk Electric System within the RRO and specifies how reliability coordination will be accomplished.

.	Reliability Coordinator  (RC)

(1)	The Reliability Coordinator (RC) is the operating entity that is the highest level of authority with responsibility and authority for the reliable operation of the Bulk Electric System.  The RC has the “wide area” view of the Bulk Electric System and has the operating tools, processes, and procedures to ensure system reliability.  This includes the authority to prevent or mitigate emergency operating situations in both the next-day analysis and real-time operations.

(2)	The RC has the purview that is broad enough to enable the calculation of Interconnection Reliability Operating Limits (IROLs).  This required “wide-area” view and knowledge of what is happening outside its own boundaries mandates that it, in concert with the other RCs, is responsible for the Interconnection as a whole and is capable of calculating and directing operations within interconnection reliability operating limit(s).

(3)	In the ERCOT interconnection, the RC and the NERC registered Transmission Operator are the same organization, ERCOT Inc. The RC must manage static and dynamic reactive devices to manage voltage within the region.

(4)	The RC is also responsible for ensuring frequency is maintained within acceptable limits by balancing generation to demand.

7..	aaing Authority (BA)

(1)	ERCOT is the Balancing Authority (BA) within the ERCOT Region.  The BA is a NERC defined organization responsible for processing resource plans ahead of time, and maintaining load-generation balance to support frequency in real time.  The BA controls generation, load, and scheduled interchange for reliability.

(2)	NERC’s reliability standards require the BA to maintain its Area Control Error (ACE) equivalent within acceptable limits.  ERCOT as the BA and RC, must comply with NERC’s reliability standards regarding frequency.

7..	rsmssion Operator (TOp)

(1)	The Transmission Operator is both a NERC defined term and a term long used and defined uniquely within the ERCOT region.  As a convention in distinguishing between the two terms, a NERC Transmission Operator is abbreviated “TOp”, while the ERCOT Transmission Operator is “TO.”

(2)	ERCOT is registered and certified with NERC as the Reliability Coordinator (RC) and Transmission Operator (TOp).  In this region, ERCOT is responsible for complying with all reliability standards assigned to the RC and TOp. The TOp is ensures the real-time operating reliability of the transmission assets, with the authority to take actions to maintain that reliability.

1.6	Operational Training

1.6.1	Operator Training Objectives

(1)	Each operating entity within the ERCOT System shall train its Operators such that they will possess the necessary knowledge, skills and abilities to perform their assigned tasks in directing the operation of the power system.  Instruction provided shall be in accordance with NERC Standards, the ERCOT Protocols, these Operating Guides, and ERCOT Procedures, as well as individual entity equipment programs, operating goals, plans, and procedures.

(2)	Training will prepare Operators to:

(a)	Maintain the safety of personnel, even during emergency situations involving 	complex switching and manipulation of control elements.

(b)	Protect system components, particularly major power system elements from 	serious life degradation or harm.

(c)	Operate the system in a secure manner to minimize violations of operating 	limits, avoiding customer outages where reasonably possible, and avoiding 	unstable situations that might result in widespread outages or blackouts.

(d) 	Operate the system as economically as possible within continually changing 	operating constraints.

(e)	Restore the system to its normal operating state as rapidly as practical after a 	disturbance.

1.6.2	System Operator Training Requirements

The System Operator Training Program applies to all Operators who are responsible for the Day-Ahead and Real-Time operation or reliability monitoring of the ERCOT Transmission Grid.  QSE Operators who are responsible for providing base power schedules or Ancillary Services, Transmission Operator (TOs), and ERCOT System Operators shall have at least five days per year of training and drills on system emergencies.  Training should use simulations as appropriate to each class of Operator and all such training shall meet or exceed established NERC Standards.  Participation in severe weather drills, ERCOT Black Start training, and portions of the ERCOT Operations Training Seminar that relate to NERC recommended topics may be used to satisfy this requirement.  Task specific training carried out internally within an Entity will be considered in full compliance with this requirement.  Training documentation, including curriculum, training methods, and individual training records, shall be immediately available during any audit of the company, organization, entity, or Region.

The ERCOT compliance template for a System Operator Training Program and a list of suggested training topics are available on the ERCOT website.

1.6.3	ERCOT Operations Training Seminar

ERCOT will at a minimum annually host a training seminars  The purpose of the training seminar is to provide a forum for system wide problems to be effectively addressed.  The Operator Training Seminar should present information to maintain the consistency of Operations across all of the ERCOT Region.

The seminar provides a forum for QSE, TO, TDSP, and other ERCOT System Operators, to meet and analyze common topics and issues, as well as participate in formal training sessions.

1.6.4	ERCOT Black Start Training

ERCOT shall periodically conduct system restoration seminars for all TSPs, TDSPs, QSEs, Generating Entities and other Market Participants, in accordance with Protocol Section 3.14.2, Black Start.

1.6.5	ERCOT Severe Weather Drill

ERCOT shall conduct a severe weather drill each year.  This drill will be used to test the scheduling and communication functions of the primary and/or back up centers and train Operators in emergency procedures.  Operators for QSEs that provide Ancillary Services and Transmission Operators are required to participate in the drill.  ERCOT will appoint an ERCOT drill coordinator who, with assistance from the Operations Working Group (OWG), will develop and coordinate the annual severe weather drill.  The OWG will review and critique the results of completed severe weather drills to ensure effectiveness and recommend changes as necessary.  ERCOT Compliance will verify and report Entity participation to the Reliability and Operations Subcommittee (ROS).

1.6.6	Criteria for the Selection of Operators

To be selected as Operators, candidates should be capable of directing other personnel in their own organization and, at the same time, work harmoniously with the ERCOT System Operators and other Entities’ Operators.  In addition, they must have a high intellectual ability, above average reasoning, mathematical ability, well-developed communication skills and reasonable mechanical aptitude.  To ensure compliance with these criteria, a screening and selection procedure must be considered for prospective Operators.  This procedure should include the following:

(a)	Evaluation against a detailed job description.

(b)	Analysis of the candidate's past work record to determine character, reputation, and previous experience.

(c)	In-depth interview with each candidate.

(d)	Evaluation of intelligence, logic, mathematical, and communication skills along with psychological fitness.

1.6.7	Training Practices

shall