## Slide 1: RPRS Procurement QSE Managers Working Group
Brandon Whittle presented detailed discussion of how RPRS procurement engine works.
RPRS procurement process does appear to reflect the intentions of the market participants with two areas identified for improvement:
  Development of metrics to screen contingencies with no solution.
  Method for identifying online units targeted for non-spin reserve service.
Continue working with ERCOT regarding when and how much sigma bias should be used in the load forecast.
Continue looking at ways to use the Non-Spin Reserve Market to address reliability related issues rather than relying on RPRS which is primarily for ensuring there is enough next day BES.

## Slide 2: RPRS Procurement QSE Managers Working Group
June 20 example:
RPRS appeared to have significantly over-procured
Unresolvable Contingency:
  Gibbons Creek – Greens Prairie Dckt, Dansby – Atkins overloads
Mitigation plan now in place, contingency removed

## Slide 3: QSE Managers Working Group
Changes to the MIS and replacement for the TML to support the nodal market implementation