## Slide 1: RTCA, CAM, and SFT
Presented by: John Dumas
September 20, 2006

## Slide 2: Real Time Contingency Analysis

## Slide 3: Market Operator Interface

## Slide 4: CAM Implementation
CAM determines which overloads will be monitored by Simultaneous Feasibility Test (SFT)
SFT is a power flow analysis that computes shift factor impacts on monitored overloaded elements
All calculated generation shift factors are forwarded to SPD (i.e. OC3 constraints for each overloaded element)
SPD enforces these constraints and computes unit specific deployments

## Slide 5
Local Constraint Flowchart For Each Interval
State Estimator Solution With Current Network Topology / Loads
Power Flow Case with Network Topology and MW Injections
SPD
SFT Loadflow with
Contingency Analysis
Generates OC3 Constraints
Optimized
Constrained
Dispatch for the Interval
Current System
Manually Entered Constraints (oc2)
QSE Res. Plan & Real-Time Outputs
QSE Schedules and BES Bids
Addition of CAM/SFT to Process
RTCA
Basecase/ Post Cont Overload Detect
CAM
Basecase/ Post Cont Overloads Selectable for Deploy

## Slide 6: Constraint Activity Manager