Commercial Systems

Reliability Must Run Services Real-Time Settlements Requirements

v0.09

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 08/28/2006 | 0.01 | Initial draft to Internal Discussions | John S.H. Adams |
| 09/05/2006 | 0.09 | TPTF Review Process | John S.H. Adams |

Table of Contents

1.	Reliability Must Run Settlement	4

1.1	Proposed System Scope	4

1.2	Document Conventions	5

1.3	Document Assumptions	5

2.	Functional Requirements	6

2.1	RMR Standby Payment (RMRSBAMT)	6

2.2	RMR Payment for Energy (RMREAMT)	15

2.3	RMR Adjustment Charge (RMRAAMT)	22

2.4	RMR Charge for Unexcused Misconduct (RMRNPAMT)	26

2.5	RMR Service Charge (LARMRAMT)	28

3.	Supplementary Requirements	32

3.1	Performance Requirements	32

3.2	Legal and Regulatory requirements	32

3.3	System Security Requirements	33

3.4	Back up and Recovery Requirements	33

3.5	Availability and Redundancy Requirements	33

3.6	Maintainability Requirements	33

3.7	Daylight Savings Time shall be recognized in Nodal Market settlements.	33

4.	Protocol Coverage	33

Software Requirements Specification

# Reliability Must Run Settlement

## Proposed System Scope

ERCOT plans to implement a new Nodal market in 2009.  Sections 6 and 9 of the Nodal Protocols describe the various Charge Types and Settlement Statement requirements for the Reliability Must Run settlements.  The Nodal Protocols will guide this project.

This document defines the requirements for Reliability Must Run settlements.  The requirements in scope for this document include calculation of Reliability Must Run settlement Charge Types that are

- detailed in Nodal Protocols Section 6 (NPRR 009 approved by the Board on 08/15/2006), including

- listed as a component of the RTM Settlement Statement in Nodal Protocols Section 9 (NPRR 007 approved by the Board on 07/18/2006).

ERCOT is planning to submitt comments on an NPRR that was submitted and reviewed by TPTF July 10, 2006 and is scheduled for review by PRS on September 21, 2006.  These requirements are, additionally, based upon this NPRR and the additional comments forthcoming.

The following Charge Types are addressed in this document:

- RMR Standby Payment (NP §6.6.6.1, NP §9.5.3 (o))

- RMR Payment for Energy (NP §6.6.6.2, NP §9.5.3 (p))

- RMR Adjustment Charge (NP §6.6.6.3,  NP §9.5.3 (q))

- RMR Charge for Unexcused Misconduct (NP §6.6.6.4,  NP §9.5.3 (r))

- RMR Service Charge (NP §6.6.6.5,  NP §9.5.3 (s))

The Figures provided within this document are for illustrative purposes.  The figures should be considered in conjunction with the textual requirements.  If a contradiction exists between an illustrative figure and its associated textual requirements, the textual requirements should override the figure.

## Document Conventions

- All text lifted from the Nodal Protocols is in italic font.

- All dependencies are identified using D1, D2, etc.

- All assumptions are identified using A1, A2, etc.

- The original source system is defined for each input bill determinant.  It is important to note that the format defined for the input bill determinant is the format for which the data should exist in the Settlement System, after any interface functionality.  The bill determinant may or may not exist in the original source system in the format defined for the bill determinant.  A separate set of business requirements will address data transformations and interfacing between the original source system and the Settlement System.

## Document Assumptions

- All Real-Time Settlement Point Prices (RTSPP) will be calculated outside of the Settlement System and therefore the RTSPP calculations are not detailed within this document.

- The original source system for the Settlement Point Prices, or the relevant data archive, will maintain a history of the prices.  Therefore, if a RTSPP is corrected after a settlement run, the price that was used for the settlement run is still available.

- Any charge type that requires historical data will obtain this information via alternative means during the beginning of market open until the data is available.

- The charge type calculations are documented using the proposed recorder format for the bill determinants.  The following list defines the nomenclature used for the recorders (not all of these bill determinant recorder elements may apply to the charge types within this document):

<Q> = QSE

<CO> = CRR Owner

<R> = Resource

<SP> = Settlement Point

< BLTP> = Block Load Transfer Point

<SRSP> = Source Settlement Point

<SKSP> = Sink Settlement Point

<ST> = Start Type

<F> = Flowgate

<E> = Directional Network Element

<C> = Constraint Identifier

<M> = Market

<RUC> = RUC Process

# Functional Requirements

To Be Sub-Process for Settlements and Billing

The following charts illustrate the dependencies between the various Reliability Must Run Settlement calculations.  Disclaimer:  the diagrams are meant to provide contextual information only, to the extent that the information in the Functional Requirements conflict with the diagrams, the functional requirements shall override the diagrams.

Figure 1.0: Reliability Must Run Settlement Data Dependencies

## RMR Standby Payment (RMRSBAMT)

The Standby Payment for RMR Service is paid to each QSE representing an RMR Unit for each RMR Unit for each contracted hour under performance requirements set forth in Attachment F to Section 22 and other performance requirements in these Protocols.  For Initial Settlement, the Standby Payment is the “Estimated Standby Cost” stated in the RMR Agreement.  For Final and True-Up Settlements, the Standby Payment is based on the RMR Unit’s actual Eligible Cost. (PR 6.6.6.1(1))

Payment is calculated by QSE for each Operating Hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMRSBAMTTOT = ΣQRMRSBAMTQSETOT_<Q> |  |

| Requirement ID | FR2 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.1(4) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMRSBAMTQSETOT_<Q> = ΣSPΣRRMRSBAMT_<Q>_<R>_<SP> |  |

| Requirement ID | FR3 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.1(2) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMRSBAMT_<Q>_<R>_<SP> = (-1) * RMRSBPR_<Q>_<R>_<SP> |  |

| Requirement ID | FR4 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.1(3) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description For the Initial Settlement and resettlements executed before True-up and before actual cost data is submitted, the standby price of an RMR Unit is the “Estimated Standby Cost” stated in the RMR Agreement. For other resettlements, the standby price of an RMR Unit for each hour is calculated as follows: (PR 6.6.6.1(3)) Within NPRR 009, approved by the Board on 08/15/2006, the RMRMNFC is defined in the Nodal Protocol Equation as RMRMNFCOST and as RMRMNFC in the Variable Table. For the sake of brevity, ERCOT has chosen RMRMNFC as the standardized version of the bill determinant. ERCOT suggests an NPRR be submitted to make the bill determinant in the equation match the bill determinant in the Variable Table. Additionally, the RMRMNFC will be populated with estimated data until actual data has been submitted by the QSE, in order to comply with the Nodal Protocols. RMRSBPR_<Q>_<R>_<SP> = RMRMNFC_<Q>_<R>_<SP > / MH_<Q>_<R>_<SP> * (1 + RMRIF * RMRCRF_<Q>_<R>_<SP> * RMRARF_<Q>_<R>_<SP>) |  |

| Requirement ID | FR5 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.1 (3) PR 3.14.1.13 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The Incentive Factor payment shall be reduced if (i) the RMR Unit fails to perform to the contracted capacity during a Capacity Test as described in the RMR Agreement and (ii) if in ERCOT’s reasonable determination, such reduction in capacity materially affects reliability. The reduction will be linear, with a two percent (2%) reduction in the Incentive Factor payment for every one percent (1%) of reduced capacity. (PR 3.14.1.13) The RMRTCAPA is not defined in the Protocols or the Submitted NPRR; however, this bill determinant is necessary in order to allow Settlements to incorporate the outcome of Operation’s determination of whether the reduction in capacity materially affects the reliability. In the event Operations decides that the capacity reduction does not materially impact reliability, then Operations will submitt an adjusted amount (RMRTCAPA) along with the Capacity Test results. If (RMRTCAPA _<Q>_<R>_<SP> + RMRTCAP_<Q>_<R>_<SP>) ≥ RMRCCAP_<Q>_<R>_< SP> Then RMRCRF_<Q>_<R>_<SP> = 1 Otherwise RMRCRF_<Q>_<R>_<SP> = Max [0, 1 – 2 * (RMRCCAP_<Q>_<R>_< SP> – RMRTCAP_<Q>_<R>_<SP>) / RMRCCAP_<Q>_<R>_< SP>] |  |

| Requirement ID | FR6 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.1 (3) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description If (RMRHREAF_<Q>_<R>_<SP>  RMRTA_<Q>_<R>_< SP>) then RMRARF_<Q>_<R>_<SP> = 1 Otherwise, RMRARF_<Q>_<R>_<SP> = Max [0, 1 – (RMRTA_<Q>_<R>_< SP> – RMRHREAF_<Q>_<R>_<SP>) * 2] |  |

| Requirement ID | FR7 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.1 (3) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The settlement system will need to determine the RMREH bill determinant by calculating the number of elapsed hours, for each operating hour of the operating day, from the Initial Reliability Must Run Service Contract Date for a particular Reliability Must Run Service Unit. Additionally the MMS system should provide the necessary data to create a RMRAFLAG for each hour of the operating day, thereby allowing the Settlement System to sum the previous 4,380 intervals necessary for the RMRHREAF bill determinant. If (RMREH_<Q>_<R>_<SP> < 4380) then RMRHREAF_<Q>_<R>_<SP> = 1 Otherwise, RMRHREAF_<Q>_<R>_<SP> = (Σhhr=h−4379RMRACAP_<Q>_<R>_<SP>) / (4380 * RMRCCAP <Q> <R>) |  |

### The following formulas are in the Protocols, but missing from this requirements document:

RMR Available Capacity by hour

RMRACAP q, r, h	=	Min (HSL q, r, h, RMRCAP q, r, h, RMRTCAP q, r, h, RMRCCAP q, r)

RMR Actual Capacity by hour

If (Σy(BP q, r, y, h * TLMP y, h / 3600) < HSL q, r, h)

RMRCAP q, r, h	=	HSL q, r, h

Otherwise

If (Σ4i=1RTMG q, r, i, h ≥ (0.98 * HSL q, r, h))

RMRCAP q, r, h	=	HSL q, r, h

Otherwise

RMRCAP q, r, h	=	 Σ4i=1RTMG q, r, i, h)

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RMREH | None | Reliability Must Run Elapsed number of Hours per QSE per Resource by hour—The number of the elapsed hours of the term of the RMR Agreement for RMR Unit R represented by QSE Q, for the hour H. | Settlement System – RMR Contract Data |
| Interval Frequency: To be determined in system design Additional Comments: This Bill Determinant needs to delineate for each hourly interval the number of hours that have elapsed since the Reliability Must Run Initial Contract Date. |  |  |  |
| RMRAFLAG | None | RMR Availability Flag per QSE per Resource by hour—The flag of the availability of RMR Unit R represented by QSE Q, 1 for available and 0 for unavailable, for the hour H. | MMS |
| Interval Frequency: 1 / hour Additional Comments: This Bill Determinant will be an interval data cut and will delineate for each hourly interval whether the Reliability Must Run Resource was available or not, this information is available from the MMS system. RMRAFLAG needs to be added to Protocols. |  |  |  |
| RMRTA | None | Reliability Must Run Target Availability per QSE per Resource—The Target Availability of RMR Unit R represented by QSE Q, as specified in the RMR Agreement and divided by 100 to convert a percentage to a fraction. | Settlement System – RMR Contract Data |
| Interval Frequency: 1 / hour Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. |  |  |  |
| RMRTCAP | MW | Reliability Must Run Testing Capacity by hour—The testing capacity of RMR Unit R represented by QSE Q, for the hour H. | MMS – Via a manual process |
| Interval Frequency: 1 / hour Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. |  |  |  |
| RMRTCAPA | MW | Reliability Must Run Test Capacity Adjustment—The Adjusted Amount for the Capacity Test in the event Operations determines that a Capacity Reduction does not materially affect reliability. | MMS – Via a manual process |
| Interval Frequency: 1 / hour Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. RMRTCAPA needs to be added to the protocols. |  |  |  |
| RMRCCAP | MW | Reliability Must Run Contractual Capacity per QSE per Resource—The capacity of RMR Unit R represented by QSE Q as specified in the RMR Agreement. | Settlement System – RMR Contract Data |
| Interval Frequency: 1 / hour Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. |  |  |  |
| RMRIF | None | Reliability Must Run Incentive Factor—The Incentive Factor of RMR Units under RMR Agreement. This is currently set at 10%. | Settlement System |
| Interval Frequency: To be determined in design. Additional Comments: This bill determinant will need allow for effective dating to allow the possibility of this value changing in the future. |  |  |  |
| MH | Hour | Number of Hours in the Month per QSE per Resource—The total number of hours of the month, when RMR Unit R represented by QSE Q is under an RMR Agreement. | Settlement System – RMR Contract Data |
| Interval Frequency: To be determined in design. Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. |  |  |  |
| RMRMNFC | $ | Reliability Must Run Monthly Non-Fuel Cost per QSE per Resource—The actual non-fuel Eligible Cost of RMR Unit R represented by QSE Q, for the month. | Settlement System – RMR Contract Data |
| Interval Frequency: 1 / hour Protocols show this as RMRNMFCOST. Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. The calculation of this data element remains a manual calculation and analysis process. This bill determinant will use the approved budget numbers entered until actual data is provided and entered by Settlements. |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RMRHREAF | None | Reliability Must Run Hourly Rolling Equivalent Availability Factor per QSE per Resource by hour—The equivalent availability factor of RMR Unit R represented by QSE Q over 4380 hours, for the hour H. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRARF | None | Reliability Must Run Availability Reduction Factor per QSE per Resource by hour—The availability reduction factor of RMR Unit R represented by QSE Q, for the hour H. See Paragraph 3 of Section 3.14.1.13, Incentive Factor | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRCRF | None | Reliability Must Run Capacity Reduction Factor per QSE per Resource by hour—The capacity reduction factor of the RMR Unit, for the hour. See Paragraph 2 of Section 3.14.1.13, Incentive Factor | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRSBPR (Settlement Reruns) | None | Reliability Must Run Standby Price per QSE per Resource by hour—The Standby Price for RMR Unit R represented by QSE Q for the hour H. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Added the following missing definitions

|  | RMRACAP |  |  | MW | Reliability Must Run Available Capacity per QSE per Resource by hour – The available capacity of RMR Unit r represented by QSE q, for the hour h. | Settlement System |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Interval Frequency: 1 / hour Additional Comments: |  |  |  |  |  |  |
| RTMG q, r , i, h |  | MWh | Real-Time Metered Generation per QSE per Resource per interval by hour—The metered generation of RMR Unit r represented by QSE q in Real-Time at the Settlement Point (Resource Node), for the 15-minute Settlement Interval i of the hour h. |  |  |  |  |
| RMRARF q, r, h |  | none | Reliability Must Run Availability Reduction Factor per QSE per Resource by hour—The availability reduction factor of RMR Unit r represented by QSE q, as calculated for the hour h. |  |  |  |  |
| HSL q, r, h |  | MW | High Sustainable Limit per QSE per Resource by hour—The High Sustainable Limit of RMR Unit r represented by QSE q, for the hour h. |  |  |  |  |
| RMRCAP q, r, h |  | MW | Reliability Must Run Actual Capacity per QSE per Resource by hour—The actual capacity of RMR Unit r represented by QSE q, for the hour h. |  |  |  |  |
| BP q, r, y, h |  | MW | Base Point per QSE per Resource per interval by hour—The Base Point of RMR Unit r represented by QSE q, for the SCED interval y of the hour h. |  |  |  |  |
| TLMP y, h |  | second | Duration of SCED interval per interval—The duration of the portion of the SCED interval y in the hour h. |  |  |  |  |
| q |  | none | A QSE. |  |  |  |  |
| r |  | none | An RMR Unit. |  |  |  |  |
| h |  | none | An hour (a negative value denotes an hour before the given hour). |  |  |  |  |
| hr |  | none | The index for a given hour and all the previous 4379 hours. |  |  |  |  |
| i |  | none | A 15-minute Settlement Interval. |  |  |  |  |
| y |  | none | A SCED interval in the Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. |  |  |  |  |

(4)	The total of the Standby Payments to each QSE for all RMR Units represented by this QSE for a given hour is calculated as follows:

RMRSBAMTQSETOT q	=	ΣrRMRSBAMT q, r

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RMRSBAMT | $ | Reliability Must Run Standby Payment per QSE per Resource by hour—The Standby Payment to QSE Q for RMR Unit R, for the hour H. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRSBBILLAMT | $ | Reliability Must Run Standby Bill Payment per QSE per Resource by hour — The difference between two consecutive daily summed Settlement Runs (Aggregated by Resource) of RMRSBAMT for QSE Q in the Real-Time Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| RMRSBAMTQSETOT | $ | Reliability Must Run Standby Amount QSE Total per QSE – The total of the Standby Payments to QSE Q for all RMR Units represented by this QSE for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRSBAMTTOT | $ | RMR Standby Amount Total—The total of the standby payments to all QSEs for all RMR Units, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RMRSBAMT, RMRSBAMTQSETOT, and RMRSBAMTTOT calculations depend upon the availability of the all the input bill determinants.

### Assumptions

A1)	The original source system should only make available RMRAFLAG data for Resources that actually have a current Reliability Must Run Agreement with ERCOT.  The Current Operating Plan (COP) will maintain the resource’s availability.  Therefore, the Interface should appropriately interpret data from the original source system in a fashion to create a RMRAFLAG interval data cut for an entire day, substituting zeros for the intervals that have null values.

A2)	The Interface and Settlement Systems will not verify nor validate the RMRAFLAG values.  The Settlement System will settle based upon any RMRAFLAG data propagated by the original source system.

A3)	The Settlement System will need to have sufficient automated functionality to create a RMREH bill determinant from a non-interval based database for the Reliability Must Run Service Contract Data.

A4)	The calculation of the RMRMNFC will continue to be a manual process.  The calculated values will have effective dating associated with them and will be available along with other contractual data in a fashion that the Settlement System may retrieve the data in an automated fashion.

A5)	Reliability Must Run Contractual Data will continue to be manually entered into the Settlement System with effective dating associated with the data.  Additionally, the Settlement System should be able to create the RMRCCAP, RMRMNFC, and RMRTA, as Interval Data Cuts, from the data manually entered in the Settlement System.

A6)	The Settlement System shall maintain information on Resource basis to allow transfer of ownership to not affect existing contractual obligations.

A7)	Upon the completion of a Capacity Test, Operations will manually submit to Settlements the appropriate and verified data, in an auditable format, that provides the RMRTCAP and RMRTCAPA values and their associated effective dating.

A8)	Upon the completion of a Capacity Test and Operations has deemed that the Tested Capacity does not materially affect reliability, Operations will manually submit to Settlements the appropriate and verified data, in an auditable format, that provides the RMRTCAPA (an adjusted MW amount, that Operations believes is an appropriate capacity adder for the Reliability Must Run Resource) values and their associated effective dating.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR8 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | The Settlement System will calculate RMREH bill determinant by first retrieving the Initial Start Date of the Reliability Must Run Service Agreement from the Contract Data stored in the Settlement System and then calculate the number of elapsed hours that have transpired, from the Initial Start Date, for each operating hour of the operating day. |
| FR9 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | The Settlement System will have the ability to sum the previous 4,380 hours of the RMRAFLAG. |
| FR10 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | The input or intermediate bill determinants should not be rounded or truncated. This includes the following bill determinants: RMRMNFC RMRSBPR RMRTCAP RMRCCAP RMRTA RMRIF RMREH RMRHREAF RMRTCAPA RMRCRF RMRARF RMRAFLAG MH |
| FR11 | PR 9.7.1 (2) | CSWM.P03 SettleBill Transfer | The following output bill determinants should be rounded to two (2) decimal places: RMRSBAMT, RMRSBBILLAMT, RMRSBAMTQSETOT, and RMRSBAMTTOT. |
| FR12 | PR 12.3 (C) | CSWM.P03 SettleBill Transfer | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. RMRSBAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RMRMNFC RMRSBPR RMRTCAP RMRCCAP RMRTA RMRIF RMREH RMRHREAF RMRTCAPA RMRCRF RMRARF RMRAFLAG MH RMRSBAMT RMRSBBILLAMT RMRSBAMTQSETOT |
| FR13 | PR 9.2.5 | CSWM.P03 SettleBill Transfer | The RMRSBBILLAMT value shall be calculated as the entire day’s sum of the RMRSBAMT values, aggregated by QSE, for the greater channel less the entire day’s sum of the RMRSBAMT values, aggregated by QSE, for the lesser channel. |
| FR14 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | DRIVER: The RMRSBAMT calculation should only be attempted for QSEs for which there is a resource with an active Reliability Must Run Service Agreement. As such, the RMREH calculation should only occur for resources with active Reliability Must Run Agreements. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR15 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMREH > 4380 and there are not 4380 previous hours of the RMRAFLAG, then the Settlement System should sum only the available RMRAFLAGs and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR16 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRCCAP is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR17 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRTCAP is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR18 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRTA is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR19 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | Warn-Default: If the TCORF is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR20 | PR 6.6.6.1 (3) | CSWM.P03 SettleBill Transfer | Warn-Default: If the MH is not available, the Settlement System should default the RMRSBPR to zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |

### Specific Database Needs

The Settlement System will need to maintain a structure capable of storing the Reliability Must Run Service Agreement and Contract information such that the Settlement System can create Interval Bill Determinants.

## RMR Payment for Energy (RMREAMT)

Payment for energy on the Initial Settlement and settlements executed before True-up and before actual cost data is submitted must be calculated using the estimated input/output curve and startup fuel as specified in the RMR Agreement, the actual energy produced and the Fuel Index Price.  The payment for energy for all other settlements must be based on actual fuel costs for the RMR Unit.  The payment for energy for each hour is calculated as follows: (PR 6.6.6.2(1))

Payment is calculated by QSE for each Operating Hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR21 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMREAMTTOT = ΣQRMREAMTQSETOT_<Q> |  |

| Requirement ID | FR22 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.2(3) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMREAMTQSETOT_<Q> = ΣSPΣRRMREAMT_<Q>_<R>_< SP> |  |

| Requirement ID | FR23 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.2(1) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The RMRCEF is not currently in the Protocols but is necessary to allow for the Fuel Adder specified within RMR Contractual Agreement. ERCOT suggests that an NPRR be submitted to add the RMRCEF, fuel adder, to the RMREAMT calculation below. Additionally, ERCOT believes that the intent of the RMREAMT is to be a payment to the Resource; as such, there should be a negative one times the quantity to ensure that this calculation results in a payment to the Resource. ERCOT suggests that a NPRR be submitted to include the (-1). The STARTTYPE bill determinant, defined in the TN.COMS.63C01.STARTUPELIGIBILITY.REQUIREMENTS document, will determine the type of Startup the RMR Resource should receive; additionally, the RMRSUFLAG will determine the eligibility of whether the RMR Resource deserves a startup payment. The Settlement System will create the RMRSUFQ bill determinant from the RMR Contract Data based upon the STARTTYPE bill determinant. RMREAMT_<Q>_<R>_<SP> = (-1) * [ [((FIP + RMRCEFA) * RMRSUFQ_<Q>_<R>_<SP> / RMRH_<Q>_<R>_<SP>) * RMRSUFLAG_<Q>_<R>_<SP>] + Σ4i=1 [((FIP + RMRCEFA) * RMRHR_<Q>_<R>_<SP> + RMRVCC_<Q>_<R>_<SP>) * RTMG_<Q>_<R>_<SP>]] |  |

| Requirement ID | FR24 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.2(2) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description If the RMR actual fuel cost is filed in accordance with the timeline in these Protocols, the monthly RMR variable cost component is calculated for the subsequent resettlements as follows: (PR 6.6.6.2(2)) If the RMRMFCOST is not existant by Start and Stop Time that corresponds to the Operating Day and Hour currently being calculated, Then RMRVCC_<Q>_<R>_< SP> = 0 Otherwise RMRVCC_<Q>_<R>_< SP> = (RMRMFCOST_<Q>_<R>_< SP> – ΣhRMREAMT_<Q>_<R>_<H> estimated< SP>) / ΣiRTMG_<Q>_<R>_< SP> Where the RMREAMT_<Q>_<R>_<SP> and RTMG_<Q>_<R>_<SP> values used in this calculation should be the values that were used before “RMRMFCOST” existed. Σi is the sum of the 15-minute Settlement Intervals across the entire month, and Σh is the sum of the hourly Settlement Intervals across the entire month. If any of the RTMG values change after the RMRVCC has been calculated using actual data, but before the last resettlement run, then the RMREAMT(Estimated Initial) values, that are summed across all the hours of the month, will be recalculated for each hour of the month based upon the new RTMG values available and with RMRVCC set to zero. Subsequently, the RMRVCC will be calculated using the new summed RMREAMT and RTMG values. |  |

(3)	The total of the payments for energy to each QSE for all RMR Units represented by this QSE for a given hour is calculated as follows:

RMREAMTQSETOT q	=	ΣrRMREAMT q, r

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RMREAMT (Only when RMRVCC is not automatically set to zero – then Settlements will need to retrieve, as an input, the RMREAMT from the last approved Settlement Run in which RMRMFCOST did not exist and RMRVCC was “0”) | $ | Reliability Must Run Energy Amount per QSE per Resource by hour—The energy payment to QSE Q for RMR Unit R for the hour H. | Settlement System – From Previous Settlement Run |
| Interval Frequency: To be determined in system design Additional Comments: The Settlement System needs be able to determine the previous settlement run and retrieve the RMREAMT and use it for the current resettlement. |  |  |  |
| RTMG | MWh | Real-Time Metered Generation per QSE per Resource by Settlement Interval—The Real-Time energy from RMR Unit R represented by QSE Q for the 15-minute Settlement Interval I in the hour h | Settlement System Data Aggregation |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |
| RMRHR | MMBtu /MWh | Reliability Must Run Heat Rate per QSE per Resource by Settlement Interval by hour—The multiplier determined based on the input/output curve and the Real-Time generation of RMR Unit r represented by QSE q, for the 15-minute Settlement Interval i in the hour h. | Settlement System – RMR Contract Data |
| Interval Frequency: 4 / hour Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. |  |  |  |
| FIP | $/MMBtu | Fuel Index Price—The Fuel Index Price for the Operating Day. | PLATTS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRSUFLAG | None | Reliability Must Run Startup Flag per QSE per Resource by hour—The number that indicates whether or not the startup fuel cost of RMR Unit r represented by QSE q is allocated to the hour h. Its value is 1 if the startup fuel cost is allocated; otherwise, its value is 0. | See TN.COMS.63C01. STARTUPELIGIBILITY. REQUIREMENTS |
| Interval Frequency: 1 / hour Additional Comments: The eligibility of an RMR Resource for startup will be further defined in the TN.COMS.63C01.STARTUPELIGIBILITY.REQUIREMENTS document. |  |  |  |
| RMRH | Hour | Reliability Must Run Hours—The number of hours during which RMR Unit r represented by QSE Q is instructed On-Line for the Operating Day. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRSUFQ | MMBtu | Reliability Must Run Startup Fuel Quantity per QSE per Resource—The Estimated Startup Fuel specified in the RMR Agreement for RMR Unit R represented by QSE Q. | Settlement System – RMR Contract Data |
| Interval Frequency: 1 / hour Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. The Settlement System construct will need to be able to handle three types of Startup (Hot, Intermediate, and Cold) Values for a particular RMR Resource. |  |  |  |
| RMRMFCOST | $ | Reliability Must Run Monthly actual Fuel Cost per QSE per Resource—The monthly actual fuel cost of RMR Unit r represented by QSE q, for the month. | Settlement System – RMR Contract Data |
| Interval Frequency: 1 / hour Additional Comments: This data will need to be retrieved from a Settlement System Structure that contains all of the Reliability Must Run Contract Data. |  |  |  |
| RMRCEFA | $ / MMBTU | RMR Contract Estimated Fuel Adder | Settlement System – RMR Contract Data |
| Interval Frequency: 1 / hour Additional Comments: RMRCEFA is a value specified in the approved RMR Contract. Not shown in Protocols. |  |  |  |
| STARTTYPE | None | Start Type Flag – The flag that indicates the type of start (hot intermediate or cold) that a Resource incurred for the Resource, represented by the QSE for each hour for the Operating Day. The possible values include: zero (0) for none, one (1) for hot, two (2) for intermediate and three (3) for cold. | See TN.COMS.63C01. STARTUPELIGIBILITY. REQUIREMENTS |
| Interval Frequency: 1 / hour Additional Comments: This determinant is not documented in the Nodal Protocols but is required to indicate what type of start the Resource performed. The startup type is determined using breaker status data. The STARTTYPE bill determinant will be an output from the eligibility process and will only be created for eligible Resources. See TN.COMS.63C01.STARTUPELIGIBILITY.REQUIREMENTS.A for further information on the RMRSTARTTYPE bill determinant. |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RMRVCC | $ / MWh | Reliability Must Run Variable Cost Component per QSE per Resource—The monthly cost component that is used to adjust the energy cost calculation to reflect the actual fuel costs of RMR Unit R represented by QSE Q. The value is initially set to zero. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: This will need to be an interval data cut after the initial run. |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RMREAMT | $ | Reliability Must Run Energy Amount per QSE per Resource by hour—The energy payment to QSE Q for RMR Unit R, for the hour h. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMREBILLAMT | $ | Reliability Must Run Energy Amount per QSE per Resource by hour — The difference between two consecutive daily summed Settlement Runs (Aggregated by Resource) of RMREAMT for QSE Q in the Real-Time Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| RMREAMTQSETOT | $ | Reliability Must Run Energy Amount QSE Total per QSE—The total of the energy payments to QSE Q for all RMR Units represented by this QSE for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMREAMTTOT | $ | RMR Energy Amount Total—The total of the energy cost payments to all QSEs for all RMR Units, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RMREAMT, RMREAMTQSETOT, and RMREAMTTOT calculations depend upon the availability of the all the input bill determinants.

### Assumptions

A1)	The original source system should only make available RMRSUFLAG data for Resources that actually have a current Reliability Must Run Agreement with ERCOT.  The Interface should appropriately interpret data from the original source system in a fashion to create a RMRSUFLAG interval data cut for an entire day, substituting zeros for the intervals that have null values.

A2)	The Interface and Settlement Systems will not verify nor validate the RMRSUFLAG values.  The Settlement System will settle based upon any RMRSUFLAG data propagated by the original source system.

A3)	The original source system should only make available RMRH data for Resources that actually have a current Reliability Must Run Agreement with ERCOT.  The Interface should appropriately interpret data from the original source system in a fashion to create a RMRH interval data cut for an entire day, substituting zeros for the intervals that have null values.

A4)	The Interface and Settlement Systems will not verify nor validate the RMRH values.  The Settlement System will settle based upon any RMRH data propagated by the original source system.

A5)	The Data Aggregation system will create the interval data cut for RTMG.  An interval data cut will be created for all Resources (by QSE, Resource, and Settlement Point), even if it contains all zero values. The RTMG bill determinant values will be validated by Data Aggregation prior to being interface to the Settlement System.  RTMG will not include any generation related to Block Load Transfer Resource quantities.

A6)	The calculation of the RMRMFCOST will continue to be a manual process.  The calculated values will have effective dating associated with them and will be available along with other contractual data in a fashion that the Settlement System may retrieve the data in an automated fashion.

A7)	Reliability Must Run Contractual Data will continue to be manually entered into the Settlement System with effective dating associated with the data.  Additionally, the Settlement System should be able to create the RMRMFC (Resettlements Only), RMRHR, and RMRSUFQ, as Interval Data Cuts, from the data manually entered in the Settlement System.

A8)	The Settlement System shall maintain information on Resource basis to allow transfer of ownership to not affect existing contractual obligations.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR25 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | The input or intermediate bill determinants should not be rounded or truncated. This includes the following bill determinants: RTMG RMREAMT (Previous Settlement Run Value Only) RMRMFCOST RMRVCC RMRHR FIP RMRSUFLAG RMRH RMRSUFQ |
| FR26 | PR 9.7.1 (2) | CSWM.P03 SettleBill Transfer | The following output bill determinants should be rounded to two (2) decimal places: RMREAMT, RMREBILLAMT, RMREAMTQSETOT, and RMREAMTTOT. |
| FR27 | PR 12.3 (C) | CSWM.P03 SettleBill Transfer | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. RMREAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RTMG RMRMFCOST RMRVCC RMRHR FIP RMRSUFLAG RMRH RMRSUFQ RMREAMT RMREBILLAMT RMREAMTQSETOT |
| FR28 | PR 9.2.5 | CSWM.P03 SettleBill Transfer | The RMREBILLAMT value shall be calculated as the entire day’s sum of the RMREAMT values, aggregated by QSE, for the greater channel less the entire day’s sum of the RMREAMT values, aggregated by QSE, for the lesser channel. |
| FR29 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | DRIVER: The RMREAMT calculation should only be attempted for QSEs for which there is a resource with an active Reliability Must Run Service Agreement. As such, the RMREAMT calculation should only occur for resources with active Reliability Must Run Agreements. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR30 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | Warn-Default: If the FIP is not available, the Settlement System should default to a Zero price and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR31 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRMFC is not available, the Settlement System should default to a Zero dollar amount and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR32 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRSUFQ is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR33 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRSUFLAG is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR34 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRHR is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR35 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RTMG is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |
| FR36 | PR 6.6.6.2(1) PR 6.6.6.2(2) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRH is not available, the Settlement System should default the RMREAMT to zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |

### Specific Database Needs

The Settlement System will need to maintain a structure capable of storing the Reliability Must Run Service Agreement and Contract information such that the Settlement System can create Interval Bill Determinants.

## RMR Adjustment Charge (RMRAAMT)

Each QSE that represents an RMR Unit shall pay a charge designed to recover the net total revenues from RUC settlements, and from Real-Time settlements received by that QSE for all RMR Units that it represents, except that the charge does not include net revenues received by the QSE for the RMR standby payments calculated under Section 6.6.6.1, RMR Standby Payment, and the RMR energy payments calculated under Section 6.6.6.2, RMR Payment for Energy. (PR 6.6.6.3(1))

Payment is calculated by QSE for each Operating Hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR37 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMRAAMTTOT = ΣQRMRAAMT_<Q> |  |

| Requirement ID | FR38 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.3(2) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description ERCOT suggests that an NPRR be submitted to remove the language of the RTEIAMT bill determinant and place the language indicated below. The language included is a better representation of the original bill determinant, RTMGAMT, included. RMRAAMT_<Q>_<R>_<SP> = (-1) * ((-1) *Σ4i=1(RTMG_<Q>_<R>_<SP> * RTSPP_<SP>) + Σ4i=1 EMREAMT_<Q>_<R>_<SP> + RUCMWAMT_<Q>_<R>_<SP> + RUCCBAMT_<Q>_<R>_<SP> + RUCDCAMT_<Q>_<R>_<SP> + Σ4i=1VSSEAMT_<Q>_<R>_<SP> + Σ4i=1VSSVARAMT_<Q>_<R>_<SP>) Where i is the 15-minute interval within the hourly Settlement Interval |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| VSSVARAMT | $ | Voltage Support Service var Amount per QSE per Unit—The payment to QSE Q for the VSS provided by RMR Unit R, for the 15-minute Settlement Interval i. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |
| VSSEAMT | $ | Voltage Support Service Energy Amount per QSE per Settlement Point per unit per interval —The compensation to QSE Q for ERCOT-directed power reduction from RMR Unit R at Resource Node SP to provide VSS, for the 15-minute Settlement Interval i. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |
| RUCDCAMT | $ | RUC Decommitment Amount per QSE per Settlement Point per unit—The amount calculated for RMR Unit R at Resource Node SP represented by QSE Q due to ERCOT de-commitment, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUCCBAMT | $ | RUC Clawback Charge per QSE per unit—The RUC Clawback Charge to QSE Q for RMR Unit R, for the hour. See Section 5.7.2, RUC Clawback Charge.Unit r represented by QSE Q, for the 15-minute Settlement Interval i in the hour h. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUCMWAMT | $ | RUC Make-Whole Amount per QSE per Settlement Point per unit—The amount calculated for RMR Unit R committed in RUC at Resource Node SP to make whole the startup and minimum energy cost of this unit, for the hour. See Section 5.7.1, RUC Make-Whole Payment. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| EMREAMT | $ | Emergency Energy Amount per QSE per Settlement Point per unit per interval—The payment to QSE Q for the additional energy produced by RMR Unit R at Resource Node SP in Real-Time during the Emergency Condition, for the 15-minute Settlement Interval i. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |
| RTEIAMT | $ | Real-Time Energy Imbalance Amount per QSE per Settlement Point—The payment or charge to QSE Q for the Real-Time Energy Imbalance at Settlement Point SP, for the 15-minute Settlement Interval. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RMRAAMT | $ | RMR Adjustment Charge per QSE—The charge to QSE q for all RMR Units represented by this QSE, for the revenues received for the same RMR Units from RUC settlements and Real-Time settlements, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRABILLAMT | $ | RMR Adjustment Bill Charge per QSE — The difference between two consecutive daily summed Settlement Runs of RMRAAMT for QSE Q in the Real-Time Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| RMRAAMTTOT | $ | RMR Adjusted Amount Total—The total of the adjusted amounts from all QSEs representing RMR Units for the revenues received for these units from RUC, Real-Time Operations and Ancillary Service Markets, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  The RMRAAMT, and RMRAAMTTOT calculations depend upon the successful completion of Real-Time Energy, RUC, Voltage Support, and Emergency Energy calculations.

### Assumptions

None

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR39 | PR 6.6.6.3(2) | CSWM.P03 SettleBill Transfer | The input or intermediate bill determinants should not be rounded or truncated. This includes the following bill determinants: RTEIAMT EMREAMT RUCMWAMT RUCCBAMT RUCDCAMT VSSEAMT VSSVARAMT |
| FR40 | PR 9.7.1 (2) | CSWM.P03 SettleBill Transfer | The following output bill determinants should be rounded to two (2) decimal places: RMRAAMT, RMRABILLAMT, and RMRAAMTTOT. |
| FR41 | PR 12.3 (C) | CSWM.P03 SettleBill Transfer | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. RMRAAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RTEIAMT EMREAMT RUCMWAMT RUCCBAMT RUCDCAMT VSSEAMT VSSVARAMT RMRAAMT RMRABILLAMT |
| FR42 | PR 9.2.5 | CSWM.P03 SettleBill Transfer | The RMRABILLAMT value shall be calculated as the entire day’s sum of the RMRAAMT values, aggregated by QSE, for the greater channel less the entire day’s sum of the RMRAAMT values, aggregated by QSE, for the lesser channel. |
| FR43 | PR 6.6.6.3(2) | CSWM.P03 SettleBill Transfer | DRIVER: The RMRAAMT calculation should only be attempted for QSEs for which there is a resource with an active Reliability Must Run Service Agreement. As such, the RMRAAMT calculation should only occur for resources with active Reliability Must Run Agreements. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR44 | PR 6.6.6.3(2) | CSWM.P03 SettleBill Transfer | If any of the input Bill Determinants are not available for a particular QSE, the Settlement System should default the value to zero for that particular Operating Day, Hour and Bill Determinant and proceed with the settlement process. No error is necessary. |

### Specific Database Needs

None

## RMR Charge for Unexcused Misconduct (RMRNPAMT)

If a Misconduct Event, as defined in the RMR Agreement, is not excused as provided in the RMR Agreement, then ERCOT shall charge the QSE that represents the RMR Unit an unexcused misconduct amount of $10,000 for each unexcused Misconduct Event as follows:  (PR 6.6.6.4(1))

Payment is calculated by QSE for each Operating Hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR45 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMRNPAMTTOT = ΣQRMRNPAMTQSETOT_<Q> |  |

| Requirement ID | FR46 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.4(2) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMRNPAMTQSETOT_<Q> = ΣSPΣRRMRNPAMT_<Q>_<R>_<SP> |  |

| Requirement ID | FR47 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.4(1) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The RMRNPFLAG is not defined in the Protocols or the Submitted NPRR; however, this bill determinant is necessary in order to allow Operations to send a flag to Settlements in the event an RMR unit has an unexcused Misconduct event. RMRNPFLAG will be zero unless there is an Unexcused Misconduct Event, which the value will be 1. RMRNPAMT_<Q>_<R>_<SP> = $10,000 * RMRNPFLAG_<Q>_<R>_<SP> |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| RMRNPFLAG | None | Reliability Must Run Non Performance Flag—A flag for the QSE Q, RMR Unit R, for the Operating Day in the event of an Unexcused Misconduct Event. | MMS |
| Interval Frequency: 1 / Day Additional Comments: “1” will delineate non-performance, “0” will delineate as expected. |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RMRNPAMT | $ | Reliability Must Run Unexcused Misconduct Charge per QSE per Resource—The charge to QSE Q for the unexcused Misconduct Event of RMR Unit R for an Operating Day. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: None |  |  |  |
| RMRNPBILLAMT | $ | Reliability Must Run Unexcused Misconduct Bill Charge per QSE per Resource — The difference between two consecutive daily summed Settlement Runs (Aggregated by Resource) of RMRNPAMT for QSE Q in the Real-Time Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |
| RMRNPAMTQSETOT | $ | Reliability Must Run Unexcused Misconduct Amount QSE Total per QSE—The total of the charges to QSE q for unexcused Misconduct Events of the RMR Units represented by this QSE for the Operating Day. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: None |  |  |  |
| RMRNPAMTTOT | $ | RMR Non-Performance Amount Total—The total of the charges to all QSEs for unexcused misconduct events of all RMR Units, for the Operating Day. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: None |  |  |  |

D1)  The RMRNPAMT, RMRNPAMTQSETOT, and RMRNPAMTTOT calculations depend upon the availability of the RMRNPFLAG bill determinant.

### Assumptions

A1)	The original source system should only make available RMRNPFLAG data for Resources that actually have a current Reliability Must Run Agreement with ERCOT.  The Interface should appropriately interpret data from the original source system in a fashion to create a RMRNPFLAG interval data cut for an entire day, substituting zeros for the intervals that have null values.

A2)	The Interface and Settlement Systems will not verify nor validate the RMRNPFLAG values.  The Settlement System will settle based upon any RMRNPFLAG data propagated by the original source system.

A3)	The RMRNPFLAG should only have “1” value for the first hour of any misconduct event.  All subsequent hours of that particular misconduct event shall have a value of zero.  This will prevent a QSE being charged more than once per misconduct event.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR48 | PR 6.6.6.4(1) | CSWM.P03 SettleBill Transfer | The input or intermediate bill determinants should not be rounded or truncated. This includes the following bill determinants: RMRNPFLAG |
| FR49 | PR 9.7.1 (2) | CSWM.P03 SettleBill Transfer | The following output bill determinants should be rounded to two (2) decimal places: RMRNPAMT, RMRNPBILLAMT, RMRNPAMTQSETOT, and RMRNPAMTTOT. |
| FR50 | PR 12.3 (C) | CSWM.P03 SettleBill Transfer | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. RMRNPAMTTOT All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. RMRNPFLAG RMRNPAMT RMRNPBILLAMT RMRNPAMTQSETOT |
| FR51 | PR 9.2.5 | CSWM.P03 SettleBill Transfer | The RMRNPBILLAMT value shall be calculated as the entire day’s sum of the RMRNPAMT values, aggregated by QSE, for the greater channel less the entire day’s sum of the RMRNPAMT values, aggregated by QSE, for the lesser channel. |
| FR52 | PR 6.6.6.4(1) | CSWM.P03 SettleBill Transfer | DRIVER: The RMRNPAMT calculation should only be attempted for QSEs for which there is a resource with an active Reliability Must Run Service Agreement. As such, the RMRNPAMT calculation should only occur for resources with active Reliability Must Run Agreements. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR53 | PR 6.6.6.4(1) | CSWM.P03 SettleBill Transfer | Warn-Default: If the RMRNPFLAG is not available, the Settlement System should default to a value of zero and issue a warning delineating the Bill Determinant, Operating Hour, Operating Day, QSE, and unit. |

### Specific Database Needs

None

## RMR Service Charge (LARMRAMT)

The total RMR cost for all RMR Units less the amount received from Day-Ahead Market, RUC processes, Real-Time operations and Ancillary Service markets for all RMR Units is allocated to the QSEs representing loads based on Load Ratio Share.  The RMR Service charge to each QSE for a given hour is calculated as follows: (PR 6.6.6.5)

Payment is calculated by QSE for each Operating Hour of the Operating Day within the Real-Time Market.

| Requirement ID | FR54 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description LARMRAMT_<Q> = (-1) * (RMRSBAMTTOT + RMREAMTTOT + RMRAAMTTOT – Σ4i=1RMRDAESRTVTOT – (RMRDAEREVTOT + RMRDAMWREVTOT) + (RMRNPAMTTOT / H)) * HLRS_<Q> Where i is the 15-minute interval within the hourly Settlement Interval |  |

| Requirement ID | FR55 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description RMRDAESRTVTOT = ΣQΣSPΣR DAESRTV _<Q>_<R>_<SP>_<I> |  |

| Requirement ID | FR56 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description DAESRTV _<Q>_<R>_<SP>_<I> = RTSPP_<SP>_<I> * (DAESR_<Q>_<R>_<SP> * ¼) |  |

Where:

RMR Standby Amount Total

RMRSBAMTTOT	=	ΣqRMRSBAMTQSETOT q

RMR Energy Amount Total

RMREAMTTOT	=	ΣqRMREAMTQSETOT q

RMR Adjustment Charge Total

RMRAAMTTOT	=	ΣqRMRAAMT q

RMR Non-Performance Amount Total

RMRNPAMTTOT	=	ΣqRMRNPAMTQSETOT q

Total Day-Ahead energy revenue for all RMR Units

RMRDAEREVTOT	=	ΣqΣpΣrDAEREV q, p, r

DAEREV q, p, r	=	(-1) * DASPP p * DAESR q, p, r

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| DAESR | MW | Day-Ahead Energy Sale from Resource per QSE by Settlement Point per unit—The amount of energy cleared through Three-Part Supply Offers in the DAM and/or DAM Energy-Only Offer Curves for RMR Unit r at Resource Node SP represented by QSE Q for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RTSPP | $ / MWh | Real-Time Settlement Point Price per Settlement Point per interval—The Real-Time Settlement Point Price at Resource Node SP, for the 15-minute Settlement Interval i. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRSBAMTTOT | $ | RMR Standby Amount Total—The total of the standby payments to all QSEs for all RMR Units, for the hour. | Settlement System See FR1 |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMREAMTTOT | $ | RMR Energy Amount Total—The total of the energy cost payments to all QSEs for all RMR Units, for the hour. | Settlement System See FR24 |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRAAMTTOT | $ | RMR Adjusted Amount Total—The total of the adjusted amounts from all QSEs representing RMR Units for the revenues received for these units from RUC, Real-Time Operations and Ancillary Service Markets, for the hour. | Settlement System See FR41 |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRDAEREVTOT | $ | RMR Day-Ahead Energy Revenue Total—The total of the revenues for the offers cleared in the DAM for all RMR Units, for the hour. | Settlement System See TN.COMS.63C01. DAMENERGY. REQUIREMENTS.A Document |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRDAMWREVTOT | $ | RMR Day-Ahead Make-Whole Revenue Total—The total of the RMR Day-Ahead Make-Whole Revenue for all DAM-committed RMR Units for the hour. | Settlement System See TN.COMS.63C01. DAMMAKEWHOLE. REQUIREMENTS.A Document |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRNPAMTTOT | $ | RMR Non-Performance Amount Total—The total of the charges to all QSEs for unexcused misconduct events of all RMR Units, for the Operating Day. | Settlement System See FR49 |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| HLRS | None | The hourly Load Ratio Share calculated for QSE q for the hour. See Section 6.6.2.3, QSE Load Ratio Share for an Operating Hour. | See TN.COMS.63C01. RTENERGY. REQUIREMENTS.A Document |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| H | Hour | The number of hours of the Operating Day. | Settlement System |
| Interval Frequency: To be determined in System Design Additional Comments: The Settlement System should be able to automatically distinguish between Daylight Savings Days and determine the appropriate number of hours in a day. |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| DAESRTV | $ | Day-Ahead Energy Sale Real-Time Value per QSE per Settlement Point per unit per interval—The Real-Time value of the energy sold in the DAM from RMR Unit R at Resource Node SP represented by QSE Q, for the 15-minute Settlement Interval i. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RMRDAESRTVTOT | $ | RMR Day-Ahead Energy Sale Real-Time Value Total—The total of Real-Time value of the offers cleared in the DAM for all RMR Units, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| LARMRAMT | $ | Load-Allocated Reliability Must Run Amount per QSE—The amount charged to QSE Q based on its Load Ratio Share orf the differences between the amount paid to all QSEs for RMR Service under this secion 6.6.6. Reliability Must Run Settlement, and the amount that would have been paid for the QSEs for the same RNMR Units if they were not providing RMR Service under the other parts of this Section, Section 5, Transmission Security Analysis and Reliagbility Unit Commitment, and Section 4, Day-Ahead Operations, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| LARMRBILLAMT | $ | Load-Allocated Reliability Must Run Amount per QSE — The difference between two consecutive daily summed Settlement Runs of LABSSAMT for QSE q in the Real-Time Market. | Settlement System |
| Interval Frequency: 1 / Day Additional Comments: This bill determinant is not specifically documented in the Nodal Protocols but is required as a result of Section 9 Statements and Invoices Protocol requirements. |  |  |  |

| RMRSBAMTQSETOT q | $ | Reliability Must Run Standby Amount QSE Total per QSEThe total of the Standby Payments to QSE q for the RMR Units represented by the same QSE for the hour. |
| --- | --- | --- |
| RMREAMTQSETOT q | $ | Reliability Must Run Energy Amount QSE Total per QSEThe total of the energy payments to QSE q for the RMR Units represented by the same QSE for the hour. |
| RMRAAMT q | $ | RMR Adjusted Amount per QSE—The adjustment from QSE q standby payments and energy payments for all RMR Units represented by this QSE, for the revenues received for the same RMR Units from RUC, Real-Time Operations and Ancillary Service Markets, for the hour. |
| RMRNPAMTQSETOT q | $ | Reliability Must Run Unexcused Misconduct Amount QSE Total per QSEThe total of the charges to QSE q for unexcused Misconduct Events of the RMR Units represented by the same QSE for the Operating Day. |
| DAEREV q, p, r | $ | Day-Ahead Energy Revenue per QSE by Settlement Point per unitThe revenue that ERCOT collects for the offer cleared in the DAM submitted for RMR Unit r at Resource Node p represented by QSE q, based on the DAM Settlement Point Price, for the hour. |
| q | none | A QSE. |
| p | none | A Resource Node Settlement Point. |
| r | none | An RMR Unit. |
| i | none | A 15-minute Settlement Interval in the hour. |
| H | none | The number of hours of the Operating Day. |

### Data Dependencies

D1)  The LARMRAMT calculation depends upon the availability and calculation of the all the input bill determinants.

### Assumptions

A1) 	None.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR57 | PR 6.6.6.5 | CSWM.P03 SettleBill Transfer | The following input and intermediate bill determinants should not be rounded or truncated. This includes the following bill determinants: RMRSBAMTTOT RMREAMTTOT RMRAAMTTOT RMRNPAMTTOT RMRDAESRTVTOT RMRDAEREVTOT RMRDAMWREVTOT H HLRS |
| FR58 | PR 9.7.1 (2) | CSWM.P03 SettleBill Transfer | The following output bill determinants should be rounded to two (2) decimal places: LARMRAMT and LARMRBILLAMT. |
| FR59 | PR 12.3 (C) | CSWM.P03 SettleBill Transfer | The following bill determinants shall be identified within the Settlement System as a bill determinant that ought to be included in the public data extracts. RMRSBAMTTOT RMREAMTTOT RMRAAMTTOT RMRNPAMTTOT RMRDAESRTVTOT RMRDAEREVTOT RMRDAMWREVTOT H All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. LARMRAMT LARMRBILLAMT HLRS |
| FR60 | PR 9.2.5 | CSWM.P03 SettleBill Transfer | The LARMRBILLAMT value shall be calculated as the entire day’s sum of the LARMRAMT values for the greater channel less the entire day’s sum of the LARMRAMT values for the lesser channel. |
| FR61 | PR 6.6.6.5 | CSWM.P03 SettleBill Transfer | DRIVER: None. The LARMRAMT calculation should be attempted for all active QSEs. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR62 | PR 6.6.6.5 | CSWM.P03 SettleBill Transfer | If HLRS does not exist for any QSE, assume a default value of zero. No error message is necessary. |

### Specific Database Needs

None

# Supplementary Requirements

## Performance Requirements

Lodestar must be able to perform its full set of Nodal settlement calculations. Performance characteristics will be determined and detailed in the conceptual and detailed design.

## Legal and Regulatory requirements

All Lodestar financial data must be saved in accordance with standard accounting principles as dictated by the ERCOT Texas Nodal Protocols.

## System Security Requirements

Lodestar will only be accessed directly by internal ERCOT personnel either through thin client UI, Citrix environment, or thick client on employee desktops. Market Participants will be able to access their statements and invoices on ERCOT private web site. ERCOT private web site access will be controlled by digital certificate authentication in accordance with ERCOT security policies.  Additional details will be provided in the Conceptual System Design.

## Back up and Recovery Requirements

All Lodestar Nodal settlement data must be backed up on a daily basis and recoverable within 24 hours.  Additional details will be provided in the Conceptual System Design.

## Availability and Redundancy Requirements

Nodal Lodestar system must be available 7/24. Lodestar is considered a tier 1 system and critical to base ERCOT business processes.  Additional details will be provided in the Conceptual System Design.

## Maintainability Requirements

Lodestar Nodal system will be maintained by internal ERCOT personnel. Service Level Agreements and explicit support will be detailed in the detail design document.

## Daylight Savings Time shall be recognized in Nodal Market settlements.

Spring Daylight Savings Time Operating Day:

- Hour Ending 0300 will be skipped, resulting in 23 hourly intervals for the day.

- The four fifteen minute intervals within Hour Ending 0300 will be skipped, resulting in 92 fifteen minute intervals for the day.

- The sixty one minute intervals within Hour Ending 0300 will be skipped, resulting in 1380 total one minute intervals.

Fall Daylight Savings Time Operating Day:

- Hour Ending 0200 will have two (2) sets of data, resulting in 25 hourly intervals for the day.

- The four fifteen minute intervals within Hour Ending 0200 will have two (2) sets of data, resulting in 100 fifteen minute intervals for the day.

- The sixty one minute intervals within Hour Ending 0200 will have two (2) sets of data, resulting in 1500 total one minute intervals.

# Protocol Coverage

Since one protocol may translate into many requirements, Project Managers are required to identify the coverage extent (Full/Partial) of all relevant Nodal Protocols that are mentioned in this requirements document.

| Protocol Sub-Section # (To the lowest level of granularity as possible) | Coverage by Requirements (Full/Partial) |
| --- | --- |
| 6.6.6.1(1) | Partial |
| 6.6.6.1(2) | Partial |
| 6.6.6.1(3) | Partial |
| 6.6.6.1(4) | Partial |
| 6.6.6.2(1) | Partial |
| 6.6.6.2(2) | Partial |
| 6.6.6.2(3) | Partial |
| 6.6.6.3(1) | Partial |
| 6.6.6.3(2) | Partial |
| 6.6.6.4(1) | Partial |
| 6.6.6.4(2) | Partial |
| 6.6.6.5 | Partial |
| 9.2.5 | Partial |
| 12.3 (c) | Partial |