## RMR
Document Name: | TN.COMS.63C01.RMR.REQUIREMENTS.A.doc
Issuing Entity | Name | Page Number | Description | Accepted / Rejected | Reviewer | Reason
TXU | Mr. Spangler | all | It is not clear as to why a summation over <SP> is required. This is different from the Protocol formulation. This billing determinant is a contract payment that will be uplifted to the market simply because of the contract and it is an uplift that is incurred whether or not the RMR resource is committed in the DAM or operates in Real-Time. | Response / Accepted | jsha | In the initial creation of these documents, a convention was adopted to ensure portability, traceablility, and the abillity to query throughout the Settlement System that any Bill Determinant with a Resource attribute should also automatically have a Settlement Point attribute. Given that Settlements added the Settlement Point attribute the thought was to simply show cohesion between the Bill Determinant and the equation. However, upon reflection it doesn't make sense to sum accross the Resources and then the Settlement Points, when the Resource sum will achieve the desired result already. This will be remedied in the design, and ERCOT commits to doing no unnecessary sums.
TXU | Mr. Spangler | p. 8 | This changes appears to be consistent with the changes proposed in NPRR024 to Section 3.14.1.13; however, the specific formulation does not appear to be included in this NPRR. The NPRR shows to be at PRS. If PRS has not acted TXU recommends that ERCOT add the above formulation to the NPRR before PRS approval. Alternately, TXU believes that a separate NPRR is needed to incorporate this provision. | Response | jsha | ERCOT is currently working with TPTF to ascertain what the appropriate and approved language should reflect through the combined documents of the Board Approved NPRR009 Section 6 Nodal Synchronization, NPRR024 PRR627 and PRR640 Synchronization, and soon to be submitted ERCOT NPRR to clarify and correct a few formula mistakes. As such, upon the completion of this process, ERCOT will ensure that the RMR Requirement's document reflects all necessary changes.
TXU | Mr. Spangler | p. 13 | A9) ERCOT operations is responsible for submitting 3-part offers to DAM for RMR Resources. TXU believes that a procedure or other process description may be required to support such offers. While this is not part of the Settlement Business Requirements, the question arises as to how ERCTO operations will address this requirement and whether or not specific provisions must be included in the design of systems to support this activity. This comment is intended to be a place holder /tickler for TPTF in regard to this matter. | Response | jsha | ERCOT welcomes the up and coming clarification, and if any additional language is proferred, that shall be added to these requirements accordingly.
TXU | Mr. Spangler | p. 28 | Certain of these charges related to payment provisions under the RMR contract and as such will be collected whether or not the RMR unit is struck in the DAM or operates in Real-Time. Will settlements calculate all values and arrive at a zero amt whenever it is appropriate based on the results of the DAM or Real-time operations? If not, is there a mechanism to determine when certain values are or are not calculated? | Accepted | jsha | ERCOT agrees, and additonal error language will be included to default certain elements to zero if they are not availble for inclusion.
Reliant | Ms. Wagner | p. 7 | [Reliant—note that the RMRIF determination must conform with the correct language from Section 3 as set forth in our comments below. Thanks.] | Response | jsha | ERCOT is currently working with TPTF to ascertain what the appropriate and approved language should reflect through the combined documents of the Board Approved NPRR009 Section 6 Nodal Synchronization, NPRR024 PRR627 and PRR640 Synchronization, and soon to be submitted ERCOT NPRR to clarify and correct a few formula changes. As such, upon the completion of this process, ERCOT will ensure that the RMR Requirement's document reflects all necessary changes and completely complies with all the Protocols and NPRRs as approved.
[Reliant: As discussed at TPTF on 9-12, there was an administrative error in the handling of the various NPRRs simultaneously in flight. ERCOT has recognized this error and will bring the discussion back to TPTF during the meetings to be held during the week of 9-25. The BOD approved protocol language that governs the incentive factor is: 3.14.1.13 Incentive Factor (1) Subject to the reductions described in paragraphs (2) and (3), the Incentive Factor for RMR Agreements is equal to 10% of the actual Eligible Costs excluding fuel costs incurred by the RMR Unit. The Incentive Factor for RMR Agreements is not applied to capital expenditures as described in Section 3.14.1, Reliability Must Run. (2) The Incentive Factor payment must be reduced if the Tested Capacity of the RMR Unit during a Capacity Test is less than the RMR Capacity as described in the RMR Agreement. The reduction will be linear, with a two percent reduction in the Incentive Factor payment for every one percent of reduced Capacity.
Reliant | Ms. Wagner | p. 8 | (3) The Incentive Factor payment must be reduced if the Hourly Rolling Equivalent Availability Factor of the RMR Unit is less than the Target Availability. The reduction will be linear; with a two percent reduction in the Incentive Factor payment for every one percent of the Hourly Rolling Equivalent Availability Factor is less than the Target Availability stated in the RMR Agreement. New Equations need to be developed to reflect this language. Thank you. If (RMRTCAP_<Q>_<R>_<SP>) ≥ RMRCCAP_<Q>_<R>_<SP> Then RMRCRF_<Q>_<R>_<SP> = 1 (meaning the Capacity factor is not adjusted because the Resource passed the capacity test) Otherwise RMRCRF_<Q>_<R>_<SP> = New Equations need to be developed to reflect this language. Thank you. | Response | jsha | Same as above
Reliant | Ms. Wagner | p. 9 | [Reliant—Note that this means MMS will need to provide an online and offline and un/available conditions for units to check as conditions---and that Settlements will need to have a lookback calculation that sums up to 4380 and then drops an hour off of the beginning for each hour added on to the end after it reaches 4380.] | Response | jsha | That is correct. Settlements is anticipating receiving a 24 Interval Hourly RMRAFLAG Bill Determinant from the Interface. The interface should be able to retrieve the appropriate data from the Original Source System that allows for the creation of this bill determinant. Once the Bill Determinant is created it should be fairly easy for the system to count back the appropriate intervals.
Reliant | Ms. Wagner | p. 10 | [Reliant: The availability determination should be coming from the SCADA status over the hour. The COP is just a plan and it doesn’t reflect (as accurately as SCADA with all of its internal checks) what occurred in RT.] | Response | jsha | This is "availability" not "on-line/ offline status". ERCOT believes data in the COP is the appropriate data to use.
Reliant | Ms. Wagner | p. 10 | RMRTCAPA [Reliant: this was based on the incorrect incentive factor language which needs to be adjusted as set forth above.] | Response | jsha | Same synchronization comment as before
Reliant | Ms. Wagner | p. 11 | [Reliant—this appears to match the correct language in Section 3 as set forth in our comments above. Settlements, please confirm. Thanks.] | Response | jsha | ERCOT believes all versions of Section 3 point to a 10% Incentive Factor.
Reliant | Ms. Wagner | p. 11 | [Reliant: This assumption is reasonable. However, an archiving process for the contractual information is required to facilitate audit of the RMR calculations. Will the information (and spreadsheets, contract copies, verification from QSEs etc.) be scanned in and maintained in the Enterprise Information storage system? If not, how will this be managed?] | Response | jsha | At this point in time it is not envisioned that information will be scanned and maintained in the "Enterprise Information storage system". The details of how to store this data will be determined later.
Reliant | Ms. Wagner | p. 11 | [Reliant—see comment below. This needs to be calculated and also needs to be tracked so that changes in this value trigger the ‘repricing’ of the payment described below. Another settlement equation tracking changes in this value may be required.] | Response | jsha | ERCOT believes that this is precisely the intent of the current calculation methodology. The RMRARF will now be an automated calculation process and will be recalculated and archived with each Settlement Run.
Reliant | Ms. Wagner | p. 12 | [Reliant: the calculation of this factor should be included in this document. A scaling is required to the incentive factor payment (not the factor---its value will go up so that the total payment goes down). With each one percent reduction in availability factor (relative to the target availability) the incentive factor payment goes down by 2 percent. The relevant protocol language is: 3.14.1.13 (3) The Incentive Factor payment must be reduced if the Hourly Rolling Equivalent Availability Factor of the RMR Unit is less than the Target Availability. The reduction will be linear; with a two percent reduction in the Incentive Factor payment for every one percent of the Hourly Rolling Equivalent Availability Factor is less than the Target Availability stated in the RMR Agreement. ] | Response | jsha | Same synchronization comment as before
Reliant | Ms. Wagner | p. 13 | The original source system should only make available RMRAFLAG data for Resources that actually have a current Reliability Must Run Agreement with ERCOT. The SCADA system will document the resource’s availability. [Reliant: This has to come from SCADA---because the COP is look ahead and the SCADA is what actually happened. Also there will be internal validation checks with SCADA which will make it more reliable than the COP for settlement. The COP is a ‘Plan.’ This expectation needs to be communicated to the interface specifications. ] Therefore, the Interface should appropriately interpret data from the original source system in a fashion to create a RMRAFLAG interval data cut for an entire day, substituting zeros for the intervals that have null values. [Reliant: the interface and SCADA will also have to provide the availability flag to settlements so that the rolling 4380 hours can be calculated.] | Response | jsha | Same COP discussion as before
Reliant | Ms. Wagner | p. 13 | [Reliant: also, the archiving system should make the relevant data available in the case for resettlement---since this is mostly a manual process, there should be an interface for the settlement analyst to enter the value that is ultimately used for a particular Resource into the settlement system so that it is appropriately archived and changes are auditable.] | Accepted | jsha | Agree. The storage of the RMR submissions and other data shall be such that the correct data is imported into the Settlement System and the process passes the audits.
Reliant | Ms. Wagner | p. 13 | [Reliant: What seems to be required is that the system have a ‘renaming’ table or a translation table of some type where mappings to QSEs or Resource names can change, but that the outstanding information associated with a Resource continues to apply for calculations that require ‘lookback’ periods. Please consider inclusion of the comment here to apply to similar requirement statements throughout the document.] | Response | jsha | ERCOT would like to keep design elements out of the requirements documents. Accordingly, Settlements doesn't want to tie the developers hands on how to solve this element, but rather define that this is a need that is to be considered -- thus allowing the developers to be imaginative in finding the best solution. Notably, we strayed away from describing elements as tables and the like in the event that there is a better database structure that solves our myriad of problems.
Reliant | Ms. Wagner | p. 14 | Upon the completion of a Capacity Test, Operations will manually submit to Settlements the appropriate and verified data, in an auditable format, that provides information required (pass fail and, if failure, by how much) for Settlements to correctly calculate all of the variables and payments (please the variable names—since we may need a new equation or two, we didn’t list them ) that are affected by the outcome of the capacity test. A8) On the basis of the capacity test information provided by Operations, Settlements will adjust the appropriate factors and payments to reflect the outcome of the test until such time as conditions warrant a change. Settlements will track the appropriate rolling values to determine when incentives/penalties apply. | Response | jsha | Same synchronization comment as before
Reliant | Ms. Wagner | p. 14 | [Reliant---note discussion above that the availability flag will have to come from SCADA.] | Response | jsha | Same COP discussion as before
Reliant | Ms. Wagner | p. 15 | [Reliant: Since market is paying for RMR units, the incentive Factor application information is material to the market. Thus, when an RMR unit is subjected to the incentive factor, this information should be made available to the market. Application of the RMRIF application (and the Resource to which it applies) should be set forth publicly—as it indicates that an RMR unit has failed a contractual condition. Same for Tested Capacity and Capacity Reduction Factor. Market is paying for the Resource so the tested capacity value should be available to market participants. The rolling calculation of the RMR availability should also be made public as well as MWh of operation—for each RMR Resource.] | Aggreed | jsha
Reliant | Ms. Wagner | p. 16 | [Reliant: this is a fixed value. It only exists for RMR units, thus, when this is not available (as it won’t be for most units) this status should be normal. There should be a check that asks if a Resource is an RMR unit and this value should come from a ‘relatively static’ table (because it is updated only with changes in RMR contracts).] Similar for FR 17-19. | Reject | jsha | The calculation process will only occur for RMR Units so non-RMR units is not an issue. This error merely exists in the event a good intentioned Settlement Analyst inadvertantly deletes the data from the Settlement System.
Reliant | Ms. Wagner | p. 17 | [Reliant: what is the estimated fuel adder for---it seems to be in addition to the Fuel Index Price? “Fuel adder” doesn’t appear to be in Section 6 or Section 22f---(searched on “fuel adder”). Please help us understand where this came from and what it is. Is it trued up to actual on a subsequent settlement run?] | Response | jsha | This is a part of Section 22F that has been revamped in NPR0024. Same synchronization comment as before.
Reliant | Ms. Wagner | p. 18 | [Reliant: this also means that the determination of the startup condition will need to be calculated somewhere. Will this be done in an interface, by the EMS system, or in Settlements? It seems like interface or settlements---based on SCADA data would be the best place to do this.] | Response | jsha | ERCOT plans to answer the details of this question within the Startup Elegibility Document.
Reliant | Ms. Wagner | p. 18 | [Reliant: fuel adder is not mentioned in the Standard Form RMR agreement, Section 22h, nor is it in Section 6.] | Response | jsha | This is a part of Section 22F that has been revamped in NPR0024. Same synchronization comment as before.
Reliant | Ms. Wagner | p. 21 | [Reliant: the RMRMFCOST should be the sum of the fuel used by the contracted RMR Resource during instructed hours of RMR operation only. If the unit stays online and is dispatched outside of the RMRH the fuel for these hours should not count toward payment to the QSE for RMRMFCOST. The business rules around how this will be tracked (comparing MW output, RMRH instruction, and quantities of fuel used) need to be contemplated, because if we need other flags to true up with the data or if we need more granular data from the RMR’s QSE it should be specified ASAP. ERCOT should request documentation of hourly fuel volume use from the RMR QSE. This information is available through calculation and Resources subject to federal Acid Rain rules already provide this information to the U.S. EPA.] | Response | jsha | Settlements does not believe that there is any incentive for an RMR unit to capriciously keep running after their commitment period -- If the continue to run they will get paid at most cost. As such, Settlements does not believe it will need any additonal information to necessarily perform its calculations. We probably need to confirm that the RMR units should not come on line before DAM or RUC commitment periods or stay online after DAM or RUC commitment periods.
Reliant | Ms. Wagner | p. 23 | [Reliant: do we need anything about the 4380 look-back period data under database needs?] | Response | jsha | Settlements does not believe so. Combined with using interval data bill determinants and existing architecture this process is currently feasible.
Reliant | Ms. Wagner | p. 24 | [Reliant: Aside from the fact that 6.6.6.3(2) includes the term RUCDCAMT---Why are we paying RMR units a decommitment amount? They have a make whole guarantee for all hours of instructed RMR operation. So wouldn’t the decommitment cost—whatever it is, be captured under the payment that covers startup and energy for RMR instructed hours (RMRH)? If it the term is retained, it should only apply insofar as it counts against the total RMR payment to the QSE (netting against overal RMR payments—thus reducing costs to the whole market). RMR units should not be staying online outside of RMRH---if they are economic to run, they shouldn’t be RMR units. To support removing this term, consider, the definition for RUCMWAMT: RUC Make-Whole Amount per QSE per Settlement Point per unit—The amount calculated for RMR Unit r committed in RUC at Resource Node p to make whole the startup and minimum energy cost of this unit, for the hour.” The RUCDC term isn’t needed. When the NPRR is developed for clean up, modification of this equation should be included in the NPRR. ] | Rejected | jsha | We are not paying RMR Units for RUCDCAMT -- This is an adjustment for monies that have been paid via other Charge Types. Essentially, We are reducing the Standby and Energy amounts in event that the RMR Unit was paid via other services.
Reliant | Ms. Wagner | p. 25 | RUCMWAMT—[Reliant: RUC Makewhole should be public for RMR units---because they are providing a contracted Reliability Service and presumably were committed solely for Reliability in a location where no other generators were available or economic. This provides important information for transmission and other generation solutions to the RMR unit.] | Accepted | jsha
Reliant | Ms. Wagner | p. 26 | [Reliant: for this to be automated, we need to ensure that the EMS system can create such a flag. Because this wouldn’t come directly from SCADA…it could arise as a result of SCADA validation against an ERCOT instruction though (i.e. if they are inconsistent outside of ‘normal’ (lots bigger than the 5% bandwidth) for example).] | Response | jsha | This is precisely why this is noted in this document, and the elements of what is and isn’t available will be negotiated. To the extent that this information is not avaible in a Settlement fashion, this requirement will be modified.
Reliant | Ms. Wagner | p. 27 | [Reliant: this means that the definition of misconduct event will need to be correctly identified and passed from EMS validation procedures. And we need to make sure that successive hour—yet separate—misconduct events wouldn’t be invalidated in settlements. Thus a definition for what constitutes successive hourly “1” conditions to be valid is required. It may be hard to automate this part of the system…] | Response | jsha | see previous comment.
Reliant | Ms. Wagner | p. 32 | Load-Allocated Reliability Must Run Amount per QSE—The amount charged to QSE q based on its Load Ratio Share of the difference between the amount paid to all QSEs for RMR Service under this Section 6.6.6, Reliability Must Run Settlement, and the amount that would have been paid to the QSEs for the same RMR Units if they were not providing RMR Service under the other parts of this Section, Section 5, Transmission Security Analysis and Reliability Unit Commitment, and Section 4, Day-Ahead Operations, for the hour. | Accepted | jsha
Reliant | Ms. Wagner | p. 32 | Load-Allocated Must Run Bill Amount per QSE — The difference between two consecutive daily summed Settlement Runs of[insert correct terms here]. | Accepted | jsha
Reliant | Ms. Wagner | p. 34 | [Reliant: please confirm that Market Modules (and CRR system) are also following the same conventions. We know it’s extra work….but the “A” students always have to do extra….thank you.] | Accepted | jsha
LCRA | Jill T | p. 9 | If (RMREH_<Q>_<R>_<SP> < 4380) then RMRHREAF_<Q>_<R>_<SP> = 1 Otherwise, RMRHREAF_<Q>_<R>_<SP> = ( RMRACAP_<Q>_<R>_<SP>) / (4380 * RMRCCAP <Q> <R>) | Response | jsha | Same synchronization comment as before
LCRA | Jill T | p. 9 | The following formulas are in the Protocols, but missing from this requirements document: RMR Available Capacity by hour RMRACAP q, r, h = Min (HSL q, r, h, RMRCAP q, r, h, RMRTCAP q, r, h, RMRCCAP q, r) RMR Actual Capacity by hour If ( (BP q, r, y, h * TLMP y, h / 3600) < HSL q, r, h) RMRCAP q, r, h = HSL q, r, h Otherwise If ( RTMG q, r, i, h ≥ (0.98 * HSL q, r, h)) RMRCAP q, r, h = HSL q, r, h Otherwise RMRCAP q, r, h = RTMG q, r, i, h) | Response | jsha | Same synchronization comment as before
LCRA | Jill T | p. 10 | RMRAFLAG needs to be added to Protocols. | Response | jsha | Same synchronization comment as before
LCRA | Jill T | p. 10 | RMRTCAPA needs to be added to the protocols. | Response | jsha | Same synchronization comment as before
LCRA | Jill T | p. 10 | Protocols show this as RMRNMFCOST. | Response | jsha | Within NPRR 009, approved by the Board on 08/15/2006, the RMRMNFC is defined in the Nodal Protocol Equation as RMRMNFCOST and as RMRMNFC in the Variable Table. For the sake of brevity, ERCOT has chosen RMRMNFC as the standardized version of the bill determinant.
LCRA | Jill T | p. 11 | Added the following missing definitions RMRACAP MW Reliability Must Run Available Capacity per QSE per Resource by hour – The available capacity of RMR Unit r represented by QSE q, for the hour h. Settlement System Interval Frequency: 1 / hour Additional Comments: RTMG q, r , i, h MWh Real-Time Metered Generation per QSE per Resource per interval by hour—The metered generation of RMR Unit r represented by QSE q in Real-Time at the Settlement Point (Resource Node), for the 15-minute Settlement Interval i of the hour h. RMRARF q, r, h none Reliability Must Run Availability Reduction Factor per QSE per Resource by hour—The availability reduction factor of RMR Unit r represented by QSE q, as calculated for the hour h. HSL q, r, h MW High Sustainable Limit per QSE per Resource by hour—The High Sustainable Limit of RMR Unit r represented by QSE q, for the hour h. RMRCAP q, r, h MW Reliability Must Run Actual Capacity per QSE per Resource by hour—The actual capacity of RMR Unit r represented by QSE q, for the hour h. BP q, r, y, h MW Base Point per QSE per Resource per interval by hour—The Base Point of RMR Unit r represented by QSE q, for the SCED interval y of the hour h. TLMP y, h second Duration of SCED interval per interval—The duration of the portion of the SCED interval y in the hour h. q none A QSE. r none An RMR Unit. h none An hour (a negative value denotes an hour before the given hour). hr none The index for a given hour and all the previous 4379 hours. i none A 15-minute Settlement Interval. y none A SCED interval in the Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. | Response | jsha | Same synchronization comment as before
LCRA | Jill T | p. 11 | The total of the Standby Payments to each QSE for all RMR Units represented by this QSE for a given hour is calculated as follows: RMRSBAMTQSETOT q = RMRSBAMT q, r | Rejected | jsha | Is already included as FR2 within the Business Requirements
LCRA | Jill T | p. 17 | RMREAMT_<Q>_<R>_<H> estimated< SP | Rejected | jsha | _<H> Estimated is not a defined Bill Determinant attribute. The Settlement System will use the Interval based Structure to determine the appropriate hour.
LCRA | Jill T | p. 17 | (3) The total of the payments for energy to each QSE for all RMR Units represented by this QSE for a given hour is calculated as follows: RMREAMTQSETOT q = RMREAMT q, r | Rejected | jsha | Is already included as FR22 within the Business Requirements
LCRA | Jill T | p. 18 | Real-Time Metered Generation per QSE per Resource by Settlement Interval—The Real-Time energy from RMR Unit R represented by QSE Q for the 15-minute Settlement Interval I in the hour h | Rejected | jsha | The definition is merely reflect the definition in the Nodal Protocols
LCRA | Jill T | p. 19 | RMRCEFA is a value specified in the approved RMR Contract. Not shown in Protocols.. | Response | jsha | Same synchronization comment as before
LCRA | Jill T | p. 26 | Grammatical Change | Accepted | jsha
LCRA | Jill T | p. 29 | _<I> Inclusions | Rejected | jsha | _<I> is not a defined Bill Determinant attribute. The Settlement System will use the Interval based Structure to determine the appropriate interval.
LCRA | Jill T | p. 29 | Where: RMR Standby Amount Total RMRSBAMTTOT = RMRSBAMTQSETOT q RMR Energy Amount Total RMREAMTTOT = RMREAMTQSETOT q RMR Adjustment Charge Total RMRAAMTTOT = RMRAAMT q RMR Non-Performance Amount Total RMRNPAMTTOT = RMRNPAMTQSETOT q Total Day-Ahead energy revenue for all RMR Units RMRDAEREVTOT = DAEREV q, p, r DAEREV q, p, r = (-1) * DASPP p * DAESR q, p, r | Rejected | jsha | These Bill Determinants have already been defined in previous Funcitonal Requirements within the document.
LCRA | Jill T | p. 32 | Load-Allocated Reliability Must Run Amount per QSE—The amount charged to QSE Q based on its Load Ratio Share orf the differences between the amount paid to all QSEs for RMR Service under this secion 6.6.6. Reliability Must Run Settlement, and the amount that would have been paid for the QSEs for the same RNMR Units if they were not providing RMR Service under the other parts of this Section, Section 5, Transmission Security Analysis and Reliagbility Unit Commitment, and Section 4, Day-Ahead Operations, for the hour. | Accepted | jsha
LCRA | Jill T | p. 32 | Load-Allocated Reliability Must Run Amount per QSE — The difference between two consecutive daily summed Settlement Runs of LABSSAMT for QSE q in the Real-Time Market. | Accepted | jsha
LCRA | Jill T | p. 32 | RMRSBAMTQSETOT q $ Reliability Must Run Standby Amount QSE Total per QSEThe total of the Standby Payments to QSE q for the RMR Units represented by the same QSE for the hour. RMREAMTQSETOT q $ Reliability Must Run Energy Amount QSE Total per QSEThe total of the energy payments to QSE q for the RMR Units represented by the same QSE for the hour. RMRAAMT q $ RMR Adjusted Amount per QSE—The adjustment from QSE q standby payments and energy payments for all RMR Units represented by this QSE, for the revenues received for the same RMR Units from RUC, Real-Time Operations and Ancillary Service Markets, for the hour. RMRNPAMTQSETOT q $ Reliability Must Run Unexcused Misconduct Amount QSE Total per QSEThe total of the charges to QSE q for unexcused Misconduct Events of the RMR Units represented by the same QSE for the Operating Day. DAEREV q, p, r $ Day-Ahead Energy Revenue per QSE by Settlement Point per unitThe revenue that ERCOT collects for the offer cleared in the DAM submitted for RMR Unit r at Resource Node p represented by QSE q, based on the DAM Settlement Point Price, for the hour. q none A QSE. p none A Resource Node Settlement Point. r none An RMR Unit. i none A 15-minute Settlement Interval in the hour. H none The number of hours of the Operating Day. | Rejected | jsha | These definitions have already been defined in previous sections within the document.