## Slide 1: UFETF 2006 Goals
September 26, 2006 COPS Presentation

## Slide 2: Short Term Goals
Obtain a better understanding of the drivers of UFE
  Evaluate current line loss calculations
    DLF PRR 668 approved
    TLF - upcoming NPRR to address monthly base case studies instead of seasonal base case studies
  Evaluate inaccuracies in Profile shapes and assignments (this is being addressed by PWG)
  Identify and evaluate other drivers
    Distributed Generation: initial vs. final
Evaluate the methodology for determining profile scaling factors in the data aggregation process.
  This should be addressed by PWG
  Have PWG investigate improvements in the NIDR estimation methodology
    TDSPs have been doing this for a long time, so they should have expertise
    Use last month or same month from last year?

## Slide 3: Long Term Goals
Determine if any Protocols changes are recommended and file PRR if needed
  11.6 PRR will be filed
  Have comments sent back to UFETF list serve by Sep 29
  Take to COPS for vote in Oct, then file PRR
Evaluate the potential for establishing UFE Analysis Zones by determining if suitable TDSP boundary metering data can be made available to ERCOT; if such data is available compare it to the ERCOT aggregated TDSP load.
  AEP presented data on their boundary metering analysis
    Significant challenges to data collection, data quality, etc
    Not currently feasible to do this based on available data
    If market decides project is needed, then 11.6 allows project to be started
Analyze historical trends in the volatility and magnitude of UFE and explore the possibility of developing methods to forecast them.
  Annual UFE analysis report (11.6) will cover this
  Forecasting UFE will continue to be a challenge

## Slide 4: UFETF Update
Next meeting only if comments on 11.6 received
Close UFTEF by end of year
  Still on track
Any questions?
Thanks to everybody for all the hard work!