## Section 3
Nodal Project | Section Number | Section Name | Summary | Public / Secure / Certified | Posting Requirement | Update Frequency | View Report | Download Report | Download Extract | Web Service | UI | Comments | T/E | Name of Link
MER | 3.14.1 | Reliability Must Run | Relevant RMR studies | Secure | (l) THESE SECTIONS IN RED NOT FOUND IN THE PROTOCOLS Upon receipt of an application for an RMR Agreement under this subsection, ERCOT shall post on the MIS Secure Area all existing relevant studies and data and provide electronic Notice to all Registered Market Participants of the Application and posting of the studies. | Upon receipt of an application | Yes | Yes | Yes | Np | N/A |  |  | https://tmlretail.ercot.com/ercot/Participants/PublicMarketInfo/RMR.htm must have digital certificate and not all of these steps are posted
MER | 3.14.1 | Reliability Must Run | RMR studies, reports and data | Secure | (m) ERCOT shall post on the MIS Secure Area as they become available, unit-specific studies, reports, and data, by which ERCOT justifies entering into the RMR Agreement; and a copy of the Application for RMR Status. | As soon as available | Yes | Yes | Yes | Np | N/A |  |  | https://tmlretail.ercot.com/ercot/Participants/PublicMarketInfo/RMR.htm must have digital certificate and not all of these steps are posted
MER | 3.14.1 | Reliability Must Run | Status of the RMR Units operational necessity | Secure | (n) Within 14 days, following the Notice described in this subsection, unless otherwise notified by ERCOT that a shorter comment period is required, Market Participants may submit comments to ERCOT on whether the proposed RMR Unit meets the test of operational necessity to support ERCOT System reliability or whether the proposed RMR Unit should qualify for a multi-year RMR Agreement. ERCOT shall consider and post all submitted comments on the MIS Secure Area. | Within 14 days of notice of receipt of an RMR agreement | Yes | Yes | Yes | Np | N/A |  |  | https://tmlretail.ercot.com/ercot/Participants/PublicMarketInfo/RMR.htm must have digital certificate and not all of these steps are posted
MER | 3.14.1 | Reliability Must Run | List of feasible RMR alternatives | Secure | (p) No later than 90 days after the execution of an RMR Agreement, ERCOT shall report to the Board and post on the MIS Secure Area a list of feasible alternatives that may, at a future time, be more cost-effective than the continued renewal of the existing RMR Agreement. Through the ERCOT System planning process, ERCOT shall develop a list of potential alternatives to the service provided by the RMR Unit. At a minimum, the list of potential alternatives that ERCOT must consider include, building new or expanding existing Transmission Facilities, installing voltage control devices, soliciting or buying by auction interruptible Load from Retail Electric Providers, or extending the existing RMR Agreement on an annual basis. If a cost-effective alternative to the service provided by the RMR Unit is identified, ERCOT shall provide a proposed timeline to study and/or implement the alternative. | No later than 90 days after execution of an RMR Agreement | Yes | Yes | Yes | Np | N/A |  |  | https://tmlretail.ercot.com/ercot/Participants/PublicMarketInfo/RMR.htm must have digital certificate and not all of these steps are posted

## Section 6
Nodal Project | Section Number | Section Name | Summary | Public / Secure / Certified | Posting Requirement | Update Frequency | View Report | Download Report | Download Extract | Web Service | UI | Comments | T/E | Name of Link
EMS/MMS | 6.5.9.3.3 | Alert | Alert message | Secure, currently public | (7) ERCOT shall post the Alert message electronically to the MIS Secure Area and shall provide verbal notice to all TSPs and QSEs via the Hotline. Corrective actions identified by ERCOT must be communicated through Dispatch Instructions to all TSPs, DSPs and QSEs required to implement the corrective action. Each QSE shall immediately notify the Market Participants that it represents of the Alert. To minimize the effects on the ERCOT System, each TSP or DSP shall identify and prepare to implement actions, including restoration of transmission lines as appropriate and preparing for Load shedding. ERCOT may instruct TSPs or DSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System. On notice of an Alert, each QSE, TSP, and DSP shall prepare for an emergency in case conditions worsen. | Upon issuance of Alert | X |  |  | X Messaging / Notification | X | WISH LIST: automatic update by software (without manual intervention) | T/E | http://mospublic.ercot.com/ercot/jsp/emergency_notifications.jsp - https://tml.ercot.com/tibco/market_activity?catid=emrnote

## Section 7
Nodal Project | Section Number | Section Name | Summary | Public / Secure / Certified | Posting Requirement | Update Frequency | View Report | Download Report | Download Extract | Web Service | UI | Comments | T/E | Name of Link
CRR | 7.7.2 | Determination of McCamey Area and the McCamey Flowgate(s) | Contingency/Limiting Element pairs of flowgates | Secure | (2) ERCOT shall post to the MIS Secure Area the specific contingency/limiting element pairs that define each McCamey Flowgate. The elements that comprise new McCamey Flowgates may be established due to changes in the transmission system. | Ongoing | Covered in 7.5.3.1 | [6 empty] | New

## Section 9
Nodal Project | Section Number | Section Name | Summary | Public / Secure / Certified | Posting Requirement | Update Frequency | View Report | Download Report | Download Extract | Web Service | UI | Comments | T/E | Name of Link
COMS/EDW | 9.2.5.1 | Notice of Resettlement | Notice of resettlement | Public | While maintaining confidentiality of all Market Participants, ERCOT shall post a Notice of resettlement on the MIS Public Area within one Business Day of the declaration of the resettlement, indicating that a specific Operating Day will be resettled and the date that the Resettlement Daily Statement will be issued by ERCOT. ERCOT shall include the following information in the Notice of Resettlement: (a) Detailed description of reasons for resettlement; (b) Affected Operating Days; (c) Affected settlement Charge Types; (d) Resettled billable quantity, if known; (e) Resettled price, if known; and (f) Total resettled amount, by Charge Type. | Within one Business Day of declaration of resettlement | [5 empty] | Check with WCS & Sett&Bill | ? | ?
COMS | 9.2.6.1 | Notice of True-Up Settlement Time Change | Delay of True-Up Notice | Public | (1) If after 180th day after the Operating Day, the IDR Data Threshold has not been met, ERCOT shall immediately post a notice of delay on the MIS Public Area of any True-Up Statement settlement, indicating the IDR Data Threshold has not been met. | Immediately after determination that IDR Data Threshold is not met | [5 empty] | Check with WCS & Sett&Bill | E | http://www.ercot.com/mktinfo/data_agg/IDR_Protocol_Compliance_Verification_Report_Description.xls
COMS | 9.2.6.1 | Notice of True-Up Settlement Time Change | Schedule of Delayed True-up | Public | (2) For any delayed True-Up Statement settlement, ERCOT shall post a Notice of True-Up Statement settlement on the MIS Public Area indicating that a specific Operating Day will be True-Up Statement settled ERCOT within two Business Days of discovering the delay. As soon as practicable, ERCOT will indicate the revised date in which the delayed True-Up Statement will be issued. | Within two Business Days of discovering the delay. | [5 empty] | Check with WCS & Sett&Bill | E | Have not had to post this – would likely be in the same location as above…
COMS/EDW | 9.3.1 | Timing of Invoice | Invoices | Certified | ERCOT shall post to the MIS Certified Area for each Invoice Recipient an Invoice based on Initial Daily Statements, Final Daily Statements, True-Up Statements, and Resettlement Daily Statements produced since the prior Settlement Invoice. ERCOT shall post the Settlement Invoices on the MIS Certified Area to Invoice Recipients pursuant to the Settlement Calendar. Invoice Recipients are responsible for accessing the information from the MIS Certified Area. | Pursuant to Settlement Calendar | [5 empty] | Check with Sett&Bill | T | Individual MP folders in Report Explorer
COMS | 9.4.2 | Invoice Payments Due ERCOT | Short Pay Plan | Secure | (g) Upon the entering into a payment plan with a short-pay Invoice Recipient, ERCOT shall post to MIS Secure Area the short-pay plan, the schedule of expected payments, and the Invoices to which the payments must be applied within one Business Day following plan approval or modification. The schedule must be updated when modifications are made to the payment plan. | Within one Business Day of approval of the short pay plan | [5 empty] | Check with Sett&Bill | T | ?
COMS | 9.5.3 | Contents of Notices | Dispute Forms | Certified | (4) Forms for entering a settlement and billing dispute must be provided on the MIS Certified Area. | Ongoing | [6 empty] | T | - Disputes Service Requests Create Settlement Disputes
COMS | 9.5.4 | ERCOT Processing of Disputes | Summary of Disputes | Secure | (2) ERCOT will place priority on processing timely disputes. On a monthly basis, ERCOT shall issue a settlement and billing dispute resolution report on the MIS Secure Area containing information related to the disposition of Granted and Granted with Exception settlement and billing disputes and the impact of such disposition by Operating Day. | Monthly | [5 empty] | Check with WCS | ? | ?
COMS | 9.5.6 | Reporting Capability for Disputes | Status of Disputes | Public | ERCOT shall post daily to the MIS Public Area a report of the status of all disputes. The report must include: (a) Filed date; (b) Disputing Entity; (c) Dispute ID number; (d) Dispute status; (e) Date of last status change; (f) Charge Type; (g) Amount disputed; and (h) Amount awarded. | Daily | [5 empty] | Check with WCS | ? | ?
COMS | 9.6 | Settlement Charges | Charge Type Matrix | Public | The calculations to be used for Settlement charges are contained in Section 5, Day Ahead Markets, Section 6, Real Time Markets, Section 7, Congestion Revenue Rights, Section x, Reliability Unit Commitment and Section 9, Settlement and Billing. ERCOT shall post a Charge Type Matrix on the MIS Public Area that summarizes each Charge Type by variable name used in the Protocols, description, and Protocol section number reference at least two weeks before implementation of change. A Charge Type is any activity that results in a financial obligation for an Entity under the Protocols. | Two weeks before implementation of chage | [5 empty] | Check with WCS & Sett&Bill | E | http://www.ercot.com/mktinfo/settlements/ERCOTSettlementMatrix.xls
COMS | 9.6.1 | Equalization Adjustment | Equalization Adjustment | Public | The Equalization Adjustment is a charge or payment uplifted to Load on approval of charge or payment by TAC. ERCOT shall post the date of this adjustment along with all pertinent information on the MIS Public Area within two Business Days following approval. The Equalization Adjustment can be positive or negative. | Within two Business Days following approval | [6 empty] | ? | ?
COMS | 9.7 | Administrative Fees | Administrative Fee | Public | The ERCOT Board shall determine, subject to PUCT approval, the Administrative Fees, as described in this section, and ERCOT shall post them on the MIS Public Area within two Business following approval. | Within two Business Days following approval | [6 empty] | E | http://www.ercot.com/mktrules/protocols/current/ERCOT_Fee_Schedule-060106.doc
COMS | 9.9 | Profile Development Cost Recovery Fee for a Non-ERCOT Sponsored Load Profile Segment | Summary of allowed Load Profile expenses | Public | (3) Within 60 days after a profile segment receives final approval from ERCOT, the ERCOT staff shall evaluate the costs submitted and shall disallow any costs not meeting these criteria. The remaining costs must comprise the total reimbursable cost. Within the same 60 day period, ERCOT shall post a report on the MIS Public Area summarizing the allowed expenses by items 1 through 2 above. If a Market Participant, including the requestor, disagrees with the ERCOT staff determination with respect to the total reimbursable cost, the Market Participant may submit a dispute as outlined in Section 20, Alternative Dispute Resolution Procedures. No disputes may be submitted after 45 days from posting of the total reimbursable cost to the MIS Public Area. | Within 60 days after a profile segment receives approval | [5 empty] | Check with Sett&Bill & Load Profiling | E | Has not happened – no posting yet. Expect that we would post at this location: http://www.ercot.com/mktinfo/loadprofile/index.html

## Section 11
Nodal Project | Section Number | Section Name | Summary | Public / Secure / Certified | Posting Requirement | Update Frequency | View Report | Download Report | Download Extract | Web Service | UI | Comments | T/E | Name of Link
COMS | 11.3.3.4 | IDR Estimation Reporting | Proxy Day Selection List | Public | ERCOT shall produce a report detailing the proxy day selection list for both NWSIDR and WSIDR methodologies. This report must be posted to the MIS Public Area on a daily basis. | Daily | X | X |  |  |  | Data Agg owns this | T | Report Explorer/ Public/WS and NWS IDR Proxy Dates
COMS | 11.4.2.1 | Participant Specific Generation Data Posting/ Availability | Total Generation | Certified | (1) ERCOT shall make the following market-specific generation information available via the MIS Certified Area within 48-hours of finalizing the data for the Settlement Statement to each Market Participant: (a) Total generation by Generation Resource Entity; and (b) Total generation by QSE. | Within 48 hours of finalizing Settlement Statements |  |  | X | X |  | CODIA/Data Agg owns | T | Report/Generation Extract
COMS | 11.4.2.2 | General Public Generation Data Posting/ Availability | Total Generation and Load | Certified | (1) The following general market generation information shall be posted to the MIS Public Area: (a) Total Generation (b) Total loss-adjusted Load (c) Total AML (2) ERCOT shall make the aforementioned data for each settlement run type available via MIS Public Area within forty-eight (48) hours of finalizing the data for Settlement Statements. | Within 48 hours of finalizing the data for Settlement Statements |  |  | X | X |  | Data Agg | T/E | https://pi.ercot.com/contentproxy/publicList?folder_id=10001964
COMS | 11.5.2.4 | The UFE analysis team shall provide an implementation plan for the proposed UFE Zone(s). Post UFE analysis findings to Market Participants on a monthly basis; | UFE Analysis Findings | Public | (2) ERCOT shall post the monthly UFE report on the MIS Public Area on the same date that other monthly system information is made available for each Settlement Interval during the month, which may include: (a) Total ERCOT-wide UFE MWh, UFE cost, and percent of total interval MWh (b) ERCOT-wide UFE MWh, UFE cost, and percent of total interval MWh allocated to UFE allocation categories (c) Each UFE allocation categories’ UFE MWh, zonal UFE cost, and percent of total interval MWh for each UFE Analysis Zone (d) Results of any monthly UFE Analysis (e) Notice of any factors that may be contributing to UFE, by UFE Analysis Zone (f) Notice of any plan to rectify factors that may be contributing to UFE, by UFE Analysis Zone | On a monthly basis at the same time as other monthly system information is available for each Settlement Interval during the month | [5 empty] | Not Required. UFE Analysis has never been performed.
COMS | 11.5.2.5 | Annual UFE report | Annual UFE report | Public | The UFE analysis team will present a report to the ERCOT Board annually and ERCOT shall post the report to the MIS Public Area. The report may include the following: (a) Summaries of all prior UFE analysis; (b) Factors that have contributed to UFE, by UFE Analysis Zone; (c) Recommendations for UFE Zones (including cost analysis); and (d) Proposed UFE Zone implementation plan (if recommended). | Annually |  | X |  |  |  | Check with Load Profiling