## Sheet1
Document Name: |  | TN.CRR.XXX.CRR.REQUIREMENTS SPECIFICATION.doc
Issuing Entity | Section | Description | Accepted / Rejected | Initial Response (responses below refer req numbering in commented version) | Response Summary
Reliant | 1 SCOPE | Reliant:Overall, this document needs much more thought, detail, and specificity. Each requirement must be listed so that tests can be developed to ensure that the functionality is delivered. A significant amount of further effort is required to document the assumptions inherent throughout this document. We have tried to address some of the shortcomings directly, and have others with questions. |  |  | Document has been significantly modified to address this and similar other general comments.
Reliant | 1 SCOPE | Reliant: The CRR system needs to be able to either feed CRR data into the DAM—i.e. provide an interface where a CRR owner can sort CRRs by Date and type and then identify them so that they can place various CRRs for sale in the DAM--or it needs an interface to provide CRR owners with a way to download CRR ownership information. The information must be in a format that allows sorting—the naming conventions need to be such that the type of CRR and Effective date are sortable components so that the owner can determine which CRRs it wants to offer for sale in (via upload into) the DAM. Thus, while an an interface that aligns the CRR data and CRR data to be offered into the DAM needs to be developed---the CRR system needs the functionality to support the interface. More is included on interfaces at the end. |  |  | Document has been significantly modified to address this and similar other general comments.
Reliant | 1 SCOPE | Reliant: This document uses the term “CRR network model” but doesn’t offer a sufficiently clear definition of this term. Reliant attempted to provide supporting guidance from the Protocols.] |  |  | Document has been significantly modified to address this and similar other general comments.
Reliant | 2 STRUCTURE | Reliant: We couldn’t find a reference in this document to Protocols 7.5.1(2) that sets forth requirements for the CRR Network Model. For example, how will the CRR system accommodate the dynamic ratings specified in 7.5.2(a)? If the system is relying on NMMS for this capability the interface requirement needs to be clearly documented in both systems---this may require update to the NMMS requirements. A comprehensive discussion of the CRR Network model and how it will meet the relevant requirements from Protocols Sections 3 and 7 is required in this document to ensure that the system topology for each CRR auction and PCRR allocation reflects the appropriate dynamic ratings, outages, SPSs, RAPs, and SFT requirements, etc.] |  |  | Document has been significantly modified to address this and similar other general comments.
TXU | 2 STRUCTURE | It is not clear to the TXU reviewers as to whether or not the Business Requirements which are being provided through this document are the Protocols as listed in each “Source Mapping” or the “Description” or both. In certain cases the “Description” does not include all of the specificities delineated in the “Source Mapping” protocol references. In other cases, the “Description” includes qualifications that are not in the protocols (e.g. see comments at Requirement ID16). We believe that the document must explicitly state the controlling Business Requirements. Additionally, if the “Description” is to include controlling Business Requirements that supplement the Protocols, please identify those instances in which the Protocols are either supplemented or limited by the additions to the “Description”. |  |  | Document has been significantly modified to address this and similar other general comments.
TXU | 2 STRUCTURE | Until TXU understands the above, it is difficult to judge this document. More information may be needed in the “Description” entries depending on the answer to the foregoing. Additionally, if qualifications to protocol language (as specified in the “Source Mapping”) are included in the “Description” (and if such language is binding) such instances need to be flagged for specific TPTF consideration. |  |  | Document has been significantly modified to address this and similar other general comments.
TXU | 2 STRUCTURE | Consequently, the specific comments in the attached redline represent examples of the concerns described above and are not meant to be complete. |  |  | Document has been significantly modified to address this and similar other general comments.
Reliant | FR1 | 7.2 (c) [Reliant: This reference describes the tradeability of PTP Options and Obligations with Refund. Where is this specific requirement documented below? Specfically, the validation section for offers and bilateral trades needs to be able to prevent ERCOT recorded trading of these products. This requirement, and the data elements that are necessary to enforce the conditions should be clearly set forth in this document. Note also that 7.1(2)(d) impacts this requirement.] | Accepted | Regrouped | 7.2 (c) is now covered in FR2
Reliant | FR1 | § Types: tradable & non-tradable. [Reliant: note that even ‘nontradeable’ CRRs are tradeable in the DAM. See Protocols: 7.1(2)(d).] | Accepted | §Types: tradable & non-tradable in the CRR System’s auctions and bilateral market (please note that non-tradable CRRs are tradable in the DAM). [CRR Team: the requirement describes “what” and not “how”. More detail was added to the bullet] | FR1 Rewritten
Reliant | FR1 | § Classes: Auction, Allocation & Bilateral Market. [Reliant: what is a “class”?] | Accepted | §Classes: Auction, Allocation & Bilateral Market.[CRR Team: this categorization is not necessarily needed at this point, so it can be removed] | Class designation eliminated
Reliant | FR1 | An awarded CRR Auction Bid and PCRR allocation for each one-month strip of 7x24 block shall be recorded by ERCOT as one one-month strip of the 5x16 block, one one-month strip of the 2x16 block, and one one-month strip of the 7x8 block of the same MW amount, the same CRR source and CRR sink or flowgate, and the same month as the 7x24 block.*** [Reliant: This requires linked bidding to accomplish the 7x24 product. Also, both linked and unlinked block bids need to be considered simultaneously in the auction as required by 7.3(7). Also, do we need an NPRR to change the blocks so that it is all days---without the exclusion of NERC holidays---which is a current stipulation in 7.3(6)?] | Accepted | Time of Use blocks: weekday peak (5x16), weekend peak (2x16), off-peak (7x8) and the 24 hour combination of the three (3) times of use (7x24). This definition shall be configurable by the CRR Market Operator to meet market Protocols. o CRR Account Holders shall be able to bid in auction and nominate in allocation in time of use blocks of weekday peak (5x16), weekend peak (2x16), off-peak (7x8) and the 24 hour combination of the three (3) times of use (7x24). o The CRR System shall award CRRs for Auction Bid and PCRR from allocation nominations for each strip of 7x24 block as one one-month strip of the 5x16 block, one one-month strip of the 2x16 block, and one one-month strip of the 7x8 block of the same MW amount, the same CRR source and CRR sink or flowgate, and the same month as the 7x24 block.*** [CRR Team: the above paragraph refers to CRRs resulting from auctions and allocations. We now address both bids/nomination and awarded and allocated CRRs. ] | Included, No NPRR is needed
Reliant | FR2 | The quantity of CRRs identified by the CRR system is a function of transmission network capacity (Reliant)as reflected in the model used for the auction. The model must, at a minimum, conform with Protocols: 3.10.3, 3.10.8.4, and 7.5. Further the SFT used as part of the auction process must conform, at a minimum, with Protocols: 7.5.5.4. | Accepted | The quantity of CRRs identified by the CRR system is a function of transmission network capacity as reflected in the model used for the auction or allocation. The model must, at a minimum, conform with Protocols: 3.10.3, 3.10.8.4, and 7.5. Further the SFT used as part of the auction process must conform, at a minimum, with Protocols: 7.5.5.4. [CRR Team: the CRR System receives models from NMMS, so the cited sections do not exclusively belong to the scope of the CRR System]. | Included
Reliant | FR3 | The CRR System shall allow for the CRR Market Operator to assign and reconfigure a Time of Use (i.e., peak weekday, peak weekend, off-peak & 24 hours) to every hour of the year. [Reliant: It seems like the blocks need to be mutually exclusive. So the “24 hour” designation doesn’t appear to work. Protocols 7.3(6)(d) designates the 7x24 block as being comprised of the other blocks (5x16, 2x16, 7x8). Thus, I think that all hours are covered under (a)-(c) and that for purposes of the auction, entities must be able to submit linked bids of the three blocks 5x16, 2x16, and 7x8 to cover the “7x24” concept.] | Accepted | The CRR System shall allow for the CRR Market Operator to assign and reconfigure Time of Uses (i.e., peak weekday, peak weekend & off-peak) to every hour of the year. The 24 hour Time of Use is defined as the combination of all others. | Included
Reliant | FR4 | CRRs shall be uniquely identified by an id. [Reliant, please note discussion above that requires sortability by date and type (both of which will be components of the CRR ID) for purposes of participating in DAM and CRR auctions. Additionally, please note that the naming convention will need to allow tracking of PCRRs with the refund option. These are not tradeable (except in the DAM) and thus to enforce this requirement, ERCOT will need to be able to identify these PCRRs (and so will other market participants so that they do not unwittingly acquire them by mistake). Description of the naming convention is required in the design document so that we can ensure that these requirements will be met.] | Partial | CRRs shall be uniquely identified by an ID. This ID will be presented in all CRR displays and reports and will allow filtering and sorting. [CRR Team: The CRR System allows for auditing of critical data, such as CRRs, maybe a supplemental requirement can be added to reflect this. Another supplemental requirement can be added to state the filtering and sortability capabilities of the system on any field of any critical data.] | The CRR ID will be a unique system generated ID, the CRR name will identify attributes
Reliant | FR5 | The CRR System shall represent CRRs of category PTP Obligation as the positive and negative power flows on all directional network elements created by the injection and withdrawal at the specified source and sink points in the quantity represented by the CRR. [Reliant: Protocols 7.3 sets forth that the evaluations for PTP Obligations are hourly for each CRR Auction.] | Rejected | The CRR System shall represent CRRs of category PTP Obligation as the positive and negative power flows on all directional network elements created by the injection and withdrawal at the specified source and sink points in the quantity represented by the CRR. [CRR team: the CRR System performs feasibility analysis on the minimum tradable period; this guaranties feasibility of each and every hour within that period]. | No need for hourly evaluation of feasibility, evaluated on smallest granularity of network model
Reliant | FR5 | The CRR System shall represent CRRs of category PTP Option as the positive power flows on all directional network elements created by the injection and withdrawal at the specified source and sink points in the quantity represented by the CRR. [Reliant: Protocols 7.3 sets forth that the evaluations for PTP Options are hourly for each CRR Auction.] | Rejected | The CRR System shall represent CRRs of category PTP Option as the positive power flows on all directional network elements created by the injection and withdrawal at the specified source and sink points in the quantity represented by the CRR. [CRR Team: same as before] | No need for hourly evaluation of feasibility, evaluated on smallest granularity of network model
Reliant | FR6 | The CRR System shall represent CRRs of category FGR as the positive power flows on all directional network elements that form the flowgate. [Reliant: it is likely that FGRs will have separate names. For example, MCFRIs are for McCamey. If we develop other FGRs, we will need to ‘name’ them as well---so the system needs to be flexible enough to be able to ‘scale up’ to sell capacity across other bundled elements---and it needs to be able to accept the designation of such FGRs (with another name)—potentially hub to hub FGRs for example.] | Accepted | The CRR System shall represent CRRs of category FGR as the positive power flows on all directional network elements that form the flowgate. CRR System: The CRR System can model multiple flowgates (i.e., bundled elements); as many as that is required. FGRs are defined as CRRs on Flowgates.] | System can model multiple flowgates out of box
Reliant | FR7 | 7.4.1 (1) (b). [Reliant: what about the conditions in 7.4.2 related to PCRRs? These are very important because they govern how the SFT is used for the PCRR allocation. The topology assumptions are different for PCRR allocation than they are for ‘regular’ CRR auctions. The CRR system will need to have a scaling factor for the total transfer capability of the system or it will need to have a business process on the front end that will adjust the NMMS data. This functionality needs to be set forth in the design document so that we can ensure that these features are configurable. Note also that once the PCRRs are distributed, the NMMS data fed into the CRR system will need to be updated for the PCRR allocations. This is required so that all auctions are conducted with transfer capabilities that are net of the PCRR allocations (that are relevant for the applicable time period of the auction). Please describe the features of the CRR system or the interface with NMMS that will facilitate this requirement. Section 7.4.2 also sets forth requirements that govern allocation of PCRRs in load zones in which multiple NOIEs claim PCRRs. The process for accomplishing these requirements needs to be set forth. (For example, what data from the CRR system will be required to accomplish this and how will it be made available for ERCOT to make the allocation? (See 7.4.2(f)).] | Accepted |  | System scaling factor is an out of the box feature and configurable
Reliant | FR7 | The CRR System shall enable ERCOT to allocate PCRRs to eligible CRR Account Holders. [Reliant: there is no mention in this document of how the SFT will work with or within the CRR system. The functionality is required and should be described. If there are assumptions that this will occur somewhere else, the document needs to clearly set forth the aspects of the system that make SFT possible---both on data out from CRR system and back to CRR system to complete the auctions. Additionally, the system will need to facilitate interfaces to accomplish the proportioning set forth in Protocols 7.4.2 when PCRR allocation is limited by the topology assumptions. Please describe how these requirements will be accommodated in the system.] | Accepted | The CRR System shall enable ERCOT to allocate PCRRs to eligible CRR Account Holders. [CRR Team: FR39: This requirement describes the allocation SFT, reflecting the protocols spirit and wording. FR27: This requirement describes the auction formulation. FR15: This requirement describes the use of factors to limit the available capacity for markets (i.e., auction and allocations). FR35 & 36. These requirements describe, with some level of detail, the gathering of “CRR Entitlements” and the CRR Account Holder nomination process.] | Included - SFT and Auction/Allocation are a combined solution, not interative
Reliant | FR8 | Each subsequent market shall be run including the results of the previous markets, including all already allocated and awarded CRRs. [Reliant: more specifically this requirement is one of topology scalability---to account for ‘results of previously awarded CRRs.’ Please describe the components/functionality in the CRR system required to manage the transfer capability of the system to accommodate these sequential activities. In particular please set forth how the system is scalable to meet requirements such as Protocols 7.5.1(6) and (7). Note also that 7.5.1(1) requires the ability to offer CRRs for sale for ‘reconfiguration.’ Since this is referenced as the source of the requirements, the requirement needs to be documented here.] | Accepted | Each subsequent market shall be run including the results of the previous markets, including all already allocated and awarded CRRs. [CRR Team: FR15 addresses the scalability of the available capacity. This requirement seeks to address the use of “previously awarded/allocated CRRs” in the market runs.] | Scaling of network capacity and of previously distributed CRRs is out of the box feature. Reconfiguration is addressed in FR8 in detail
Reliant | FR9 | 7.4.2 (e) (ii) (A). [Reliant: the requirements in 7.4.2 (e) (ii) (A) and (B) are really not documented here at all. (These are related to NOIE nominations for PCRRs, including capacity factor shaping.) It is unlikely that the system will be able to do the validations required under these paragraphs automatically. If it will, could you please specifically set forth how the system is envisioned to accomplish these requirements?] | Accepted | [CRR Team: The correction is relevant, the refereces to 7.4.2 (e) (ii) (A) & (B) belong to FR36. Please see comment FR36 regarding how the system deals with these requirements] | Noted
Reliant | FR9 | 7.5.1 (4) (a). [Reliant: these requirements are not automated…why are they included here? They talk about business processes related to the auctions. Also, it looks like there is a Protocol numbering issue here as there is no (c).] 7.5.1 (4) (b); 7.5.1 (4) (d); 7.5.1 (4) (e) | Accepted | [CRR Team: The correction is relevant. This references can be removed as they addressed by FR15 as well] | Noted
Reliant | FR9 | 7.5.2.2 (1) [Reliant: this paragraph incorporates the requirements of 7.5.2.1---CRR Auction Offer Criteria. If the description below is meant to reflect the bid validation requirements as set forth in 7.5.2.1, these validation requirements should be clearly set forth. Perhaps: “The CRR system must be able to validate bids and offers upon entry as follows……”] | Accepted | [CRR Team: this requirement just addresses the high level functionality of entering bids. FR29 addresses the bid validation themselves]. | Noted
Reliant | FR9 | 7.5.2.4 (1). [Reliant: similar to the comment above, this paragraph incorporates another paragraph by reference and the bid validation criteria should be clearly stipulated in this requirements document.] | Accepted | [CRR Team: please check requirement 29 for this purpose]. | Noted
Reliant | FR9 | The CRR System shall provide a user interface to the CRR Account Holders to allow them to: Participate in CRR markets (auctions and allocations) and obtain all data provided by the system, including: Effective Period and Submission window schedule [Reliant: it would be helpful if the system provided an ‘hours/minutes remaining bid clock. Also communications should be time-stamped to facilitate audit functions.] | Partial | [CRR Team:this document tries to concentrate in providing the protocol requirement functionality only. Additional wording was added to messages to cater for time-stamping the messages]. | Clock - Not a system requirement; all activity and communications are time stamped
Reliant | FR9 | The CRR System shall provide a user interface to the CRR Account Holders to allow them to: Participate in CRR markets (auctions and allocations) and obtain all data provided by the system, including: Download all CRR related network and market data [Reliant: please identify the data elements envisioned. These should include CRR identifier, MW sold (including an auction identifier), etc. We need this information to understand what will be available through the CRR system, and what, if anything will be available through the MIS. Does this requirement include Protocols 7.5.3.1(2) or will this be handled in the MIS system? If this is in the MIS system the CRR system still needs to produce the data and this should be recorded as a requirement here. Also, why doesn’t this requirement include all of the data elements set forth all of the requirements in 7.5.3.1(1) rather than just limiting it to 7.5.3.1(1)(b) which stipulates only the type of CRR? Overall, it would be useful to separate out which data will be limited to CRR account holders and which data will be provided to the MIS.] | Accepted | [CRR Team: the data provided to users before the market runs are listed under FR10 & 11. This requirement just goes over the high level activities for CRR Account Holders]. | Noted elsewhere
Reliant | FR9 | The CRR System shall provide a user interface to the CRR Account Holders to allow them to: Participate in CRR markets (auctions and allocations) and obtain all data provided by the system, including: Create and validate buy bids for CRRs for auctions [Reliant: this means that the system must provide error messages (including reason codes for invalid bids) to participants that submit invalid bids. This concept is embodied in 7.5.2.4(3).] | Accepted | Create, view and validate buy bids for CRRs for auctions [CRR Team: the system will provide error message(s) to CRR Account Holder when error(s) are encountered in their bids]. | Invalid bids will prompt error messages
Reliant | FR9 | The CRR System shall provide a user interface to the CRR Account Holders to allow them to: Participate in CRR markets (auctions and allocations) and obtain all data provided by the system, including: Create and validate sell offers for CRRs for auctions [Reliant: This must include the capability to offer CRRs by both unique identifier and by duration based strips which is stipulated in Protocols 7.5.2.1(1), and (3). Also, any time an auction window is open, a CRR account holder must be able to see all of its valid CRR auction offers as set forth in 7.5.2.2(2) and bids as set forth in 7.5.2.4(2).] | Accepted | Create, view and validate sell offers for CRRs for auctions [CRR Team: FR29 describes the process of submitting sell offers, include the one-month and multiple months cases. We added the “view” on all the bullets to account for your comment] | Covered elsewhere
Reliant | FR9 | The CRR System shall provide a user interface to the CRR Account Holders to allow them to: Participate in CRR markets (auctions and allocations) and obtain all data provided by the system, including: Create and validate nominations for CRRs for allocations [Reliant: as noted above, it seems unlikely that the CRR system will be sophisticated enough to validate requests for PCRRs shaped to accommodate capacity factor limitations. (For example, if the capacity of a Resource is limited due to a partial shutdown---would this be captured in the NMMS data that form the backbone of the CRR network model used for allocation?) Please set forth the specific requirements for the validation if the CRR system will be performing this functionality.] | Accepted | Create, view and validate nominations for CRRs for allocations [CRR Team: as described in FR35 & 36, the system will collect the nomination from users, that can go from 0% to 100% or the entitlement amount for the entitlements under the capacity option]. | System is capable
Reliant | FR9 | The CRR System shall provide a user interface to the CRR Account Holders to allow them to: Record Bilateral trades [Reliant: Note that Protocols requires ERCOT to verify and link to the Credit System for ERCOT registered trades---so it is more than a ‘recording’ function. Please describe how the system will meet the requirement in Protocols 7.5.4(2).] | Accepted | Create, view and record Bilateral trades [CRR Team: The wording was change to reflect the interaction between the CRR Account Holders and the CRR System under the Bilateral Market]. | Wording changed to decribe process better, credit process is still outstanding capability of credit system
Reliant | FR9 | The CRR System shall provide a user interface to the CRR Account Holders to allow them to: View ownership of record for CRRs. [Reliant: per Protocols 7.5.5.2 this includes ownership of record for each source and sink pair and each flowgate, including total MWs held by each account holder. Also, if we are careful about the data format, this data should be exportable, and if we are careful about the naming conventions, we should be able to sort by source-sink CRR names and identify all owners for a particular source sink product. This is envisioned in the requirements set forth in 7.5.3.1(h).] | Accepted | View and export ownership of record for CRRs. [CRR Team: the wording was changed to indicate that the ownership will be exportable. The system will provide all the information regarding the ownership of CRR. This should fully comply with the protocols]. | Included
Reliant | FR10 | 7.5.3 (1) (i) (i).[Reliant: This talks about when the model will be posted. Will the system automatically ‘post the model’ or is this a business process? If it is a ‘button’ that is pushed and then gathers all files and zips them and posts them to the MIS this needs to be clearly stated.] | Rejected | [CRR Team: the system will provide the functionality (as described in FR15) to set a date by which, all the information will become available to CRR Account Holders]. | Comment describes design questions
Reliant | FR10 | 7.5.3 (1) (i) (ii). [Reliant: This talks about when the model will be posted. Will the system automatically ‘post the model’ or is this a business process?] | Rejected | [CRR Team: the system will provide the functionality (as described in FR15) to set a date by which, all the information will become available to CRR Account Holders]. | Comment describes design questions
Reliant | FR10 | 7.5.3.2 (1) (g) [Reliant: this requirement references the bid and offer format---but this is not discussed below. It should be discussed below.] | Accepted | [CRR Team: This reference should be only under FR14 (it is already there). We recommend to remove it from this requirement] | Protocol reference removed and covered elsewhere
Reliant | FR10 | Flowgate list and definitions as required in 7.7.2(2) [Reliant: along with the requirement in 7.7.2(2), the requirement in 7.5.3.2 (1) (c)--- is for more than a ‘list.’ 7.5.3.2 (1) (c)---which is included as a requirement elsewhere in this document--is for the McCamey Area flowgate limits (to be used in an auction) and the affected transmission Elements used to derive the limits to be clearly identified and posted to the MIS public area. Just posting the PSS/E RAWD format (as suggested elsewhere) will not meet this requirement because it won’t specifically identify the flowgate composition. If it will, this still needs to be clearly set forth as a requirement---so that it can be tested.] | Accepted | [CRR Team: PSS/E will not comply with the requirement to publish flowgates to CRR Account Holders. This requirement includes the “Flowgate list and definitions”, which includes limits and elements. Wording can be added if necessary to express this]. | Included files in addition to network model will include this information
Reliant | FR10 | [Reliant: there is also a requirement in 7.7.2 to post a map of the McCamey Area. While this isn’t necessarily a function of the CRR system it is a requirement that we don’t want to lose…] | Accepted | [CRR Team: FR14 fulfills requirement 7.7.2 (4)]. | Included
TXU | FR10 | Is it necessary to specify the notice timeliness provisions (e.g. the 20 days) in the Description? | Accepted | [CRR Team: this requirement addresses the data to be made public after the creation of the market and before the opening of the submission window. The 20-day requirement is addressed by the Post Data date by FR15]. | Included
Reliant | FR11 | The CRR System shall make available on the MIS Certified Area the following information to each CRR Account Holder once a market run (auction or allocation) has been posted: Individual CRR Results (including CRR identifier, CRR type, clearing price for auctions including the PCRR pricing factor, source and sink for PTP or Flowgate identity and direction for flowgate rights, date and hour for which each CRR is effective (7.5.3.1 (1) (f)—(-if this is embodied in the naming convention, th enaming convention needs to be clearly set forth.)) and MW amount) for all CRRs awarded/allocated to said Account Holder or sold by said owner. CRR Account Holders shall only be permitted to access their own data; they shall not be permitted access any data belonging to another CRR Account Holder. [Reliant: 7.5.3.1 (1) (g) also requires provision of the total MW of each PTP pair of CRR (or flowgate) that was awarded, sold or allocated.] | Accepted | The CRR System shall make available on the MIS Certified Area the following information to each CRR Account Holder once a market run (auction or allocation) has been posted: Individual CRR Results (including CRR identifier, CRR type, clearing price for auctions including the PCRR pricing factor [, source and sink for PTP or Flowgate identity and direction for flowgate rights, date and hour for which each CRR is effective (7.5.3.1 (1) (f)—(-if this is embodied in the naming convention, th enaming convention needs to be clearly set forth.)) and MW amount) for all CRRs awarded/allocated to said Account Holder or sold by said owner. CRR Account Holders shall only be permitted to access their own data; they shall not be permitted access any data belonging to another CRR Account Holder. [CRR Team; the naming of CRRs is to used CRR attributes, and therefore, it can be included, but it does not add information to the list]. [CRR Team: the list of all CRR awarded/sold/allocated is included as part of FR12]. | Included
Reliant | FR12 | The CRR System shall make available on the MIS Public Area the following information to all market participants once a market run (auction or allocation) has been completed:  PTP Options and PTP Options with Refund – the source and sink , and total MWs;  PTP Obligations and PTP Obligations with Refund – the source and sink and total MWs;  FGRs – the identity of each directional flowgate, and the magnitude of positive flow (MW) on each directional network element represented by each flowgate;  The identities of the CRR Account Holders that were awarded or allocated CRRs in or before the CRR Auction;  The clearing prices for each strip of CRR blocks awarded in the CRR Auction;  Identity and post contingency flow of each binding directional element based on the CRR Network Model used in the CRR Auction.  All CRR Auction Bids and CRR Auction Offers, without identifying the name of the CRR Account Holder that submitted the bid or offer. | Accepted |  | Included
Reliant | FR12 | 7.5.5.2 requires: The CRR System must be able to produce data to meet the following requirements: For each source and sink pair and each flowgate: CRR ownership of Record. Additionally, for all CRR Account Holders, the type of CRR held by that account holder, and total MWs held by that account holder. | Accepted | [CRR Team: this is asynchronous to the market posting as was already address as part of FR9]. | Included
Reliant | FR13 | 7.5.3.1 (2) (g). [Reliant: This citation is for Auction Bids and Auction Offers. The information below looks correct, but the reference does not appear to match up.] | Accepted | [CRR Team: the information below covers both auction and allocations. The protocols refer more specifically to the auction, but the generality of the information does not invalidate the compliance]. | Reorganized to address
Reliant | FR14 | 7.3.1.1[Reliant: This citation discusses the process for defining flowgates which requires notification to all Market Participants, not just those participating in the CRR Auctions.] | Accepted | [CRR Team: this FR describes a facility to send messages to ALL CRR Account holders. Flowgate list will be posted as part FR10. This FR covers the “notice” component of the protocol]. | Included elsewhere
Reliant | FR14 | 7.5.3.2 (1) (c)[Reliant: this requirement is for the McCamey Area flowgate limits (to be used in an auction) and the affected transmission Elements used to derive the limits to be clearly identified and posted to the MIS public area. This requirement needs to be clearly set forth below. Just posting the PSS/E RAWD format will not meet this requirement because it won’t specifically identify the flowgate composition. If it will, this still needs to be clearly set forth as a requirement---so that it can be tested.] | Accepted | [CRR Team: Suggestion: this FR describes a facility to send messages to ALL CRR Account holders. This protocol seems to be fully covered by FR10. The reference can be moved]. | Reorganized to address
Reliant | FR14 | The CRR System shall provide functionality that shall enable CRR Market Operators to issue public and private messages to CRR account holders. The messaging functionality shall be capable of attaching files including but not limited to the following types:  Data from the Outage Scheduler to be included in the CRR Network Model, including cause and duration information as indicated in Outage Scheduler (per Protocols 7.5.1(2)) | Accepted | [CRR Team: outage scheduler data is to be incorporated in the network model by NMMS. This information can be included in the list. However, the list intend to list the formats and not the contents; outage information could be publish using Text or PDF]. | Reorganized to address
Reliant | FR14 | The CRR System shall provide functionality that shall enable CRR Market Operators to issue public and private messages to CRR account holders. The messaging functionality shall be capable of attaching files including but not limited to the following types:  NMMS model data CIM format CRR Network Model, including all required data for the topology for the CRR auction—such as data from outage scheduler and contingency list. | Accepted | [CRR Team: The CRR System shall make the network model available as described in FR10. These sections just describes the provided functionality to send generic messages to CRR Account Holders]. | Reorganized to address
Reliant | FR14 | At a minimum, the system must be capable of handling attachments as required to facilitate transfer of the CRR Network Model based on the NMMS CIM model. [Reliant: 5 MB is likely not sufficient to accommodate the NMMS based CRR Network Model. The file sizes here must accommodate the model as envisioned in Protocols. The PSS/E RAWD format is not mentioned in the Protocols. This is a useful addition (and we support inclusion to the extent that it supplements, but does not supplant, the NMMS based model. Adherence to the NMMS based model ---with all of the relevant qualifiers set forth in Sections 3 and 7 of the Protocols--must be the primary objective in developing the CRR Network Model and associated information]. | Partial |  | Made supplemental requirement, large files will be posted not messaged
Reliant | FR15 | 7.3.1.1[Reliant: this section is about how flowgates are defined. Is inclusion here to indicate that the CRR system must be flexible enough to accommodate new flowgates? If not, what will be tested here?] | Accepted | [CRR Team: The CRR System can accommodate many flowgates (no limit has been defined). No indication has been given otherwise] | Included
Reliant | FR15 | 7.4.2 (c) [Reliant: This entire section talks about the PCRR allocation process. This is not discussed at all below (with the exception of the requirement to be able to scale the model). Requirements need to be developed that scope out functionalities of the system for PCRR allocation. These requirements need to be auditable.] | Partial | [CRR Team: this requirement does not intend to fulfill 7.4.2 (c ) entirely, but just the scaling factor functionality, as mentioned by Reliant] | Scaling factor addresses elsewhere
Reliant | FR15 | 7.5.1 (4) (b) [Reliant: this citation requires ERCTO to conduct the auction on a specific day. It is not a system requirement.] | Accepted | [CRR Team: this requirrement ensures that the functionlity will be available]. | Configurability noted
Reliant | FR15 | 7.5.1 (4) (d) [Reliant: This requirement indicates that the system must be configurable for the number of months to auction. Such a statement should be included below.] | Accepted | [CRR Team: this requirrement ensures that the functionlity will be available]. | Configurability noted
Reliant | FR15 | 7.5.1 (4) (e) [Reliant: this citation requires ERCTO to conduct the auction on a specific day. It is not a system requirement.] | Accepted | [CRR Team: this requirrement ensures that the functionlity will be available]. | Configurability noted
Reliant | FR15 | 7.5.1 (6) [Reliant: We included more precise requirements for this section below.] | Partial | [CRR Team: this functionality is addressed by means of scaling factors for constraint limits and existing CRRs] | Reorganized to address
Reliant | FR15 | 7.5.1 (6) (a) [Reliant: We included more precise requirements for this section below.] | Partial | [CRR Team: this functionality is addressed by means of scaling factors for constraint limits and existing CRRs] | Reorganized to address
Reliant | FR15 | 7.5.1 (6) (b) [Reliant: We included more precise requirements for this section below.] | Partial | [CRR Team: this functionality is addressed by means of scaling factors for constraint limits and existing CRRs] | Reorganized to address
Reliant | FR15 | 7.5.1 (7) [Reliant: We included more precise requirements for this section below.] | Partial | [CRR Team: this functionality is addressed by means of scaling factors for constraint limits and existing CRRs] | Reorganized to address
Reliant | FR15 | 7.5.1 (7) (a) [Reliant: We included more precise requirements for this section below.] | Partial | [CRR Team: this functionality is addressed by means of scaling factors for constraint limits and existing CRRs] | Reorganized to address
Reliant | FR15 | 7.5.1 (7) (b) [Reliant: We included more precise requirements for this section below.] | Partial | [CRR Team: this functionality is addressed by means of scaling factors for constraint limits and existing CRRs] | Reorganized to address
Reliant | FR15 | 7.5.3 (2) [Reliant: We included more precise requirements for this section below.] | Partial | [CRR Team: some of the wording may belong to the NMMS Requirement Specifications] | Reorganized to address
Reliant | FR15 | 7.5.3.2 (1) [Reliant—the conditions set forth below do not meet all of the conditions of 7.5.3.2 (1)] | Partial | [CRR Team: this requirement partially addresses the protocol section. It does just address the timing of the release of information. The actual information that is released in contained in FR10]. | Reorganized to address
Reliant | FR15 | 7.7.3 (2) [Reliant: the information that ERCOT has presented does not reflect the capability required by this section. This capability is for allocation of MCFRIs. It requires the interaction of system elements and business processes. If the process is to be automated it may require an interface with the registration database. Otherwise, it is likely to require a lot of manual activities. What specific system components are being specified to support this process? (The specifications we suggest below may be sufficient)] | Partial | [CRR Team: the original text only intended to address the scaling factor component of the protocol.] | Reorganized to address
Reliant | FR15 | 7.7.3 (3) [Reliant: the information that ERCOT has presented does not reflect the capability required by this section. This capability is for allocation of MCFRIs. It requires the interaction of system elements and business processes. If the process is to be automated it may require an interface with the registration database. Otherwise, it is likely to require a lot of manual activities. What specific system components are being specified to support this process? (The specifications we suggest below may be sufficient)] | Partial | [CRR Team: the original text only intended to address the scaling factor component of the protocol.]] | Reorganized to address
| FR15 |  | Partial | Removed all Protocol Section reference except for 7.5.1 (1) and 7.5.5.4 (3)(e) | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Start and end dates of the effective period of the auction | Partial | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Start and end dates of the effective period of the auction [CRR Team: this section applies to both auctions and allocations. We suggest the following wording for this bullet]. | Reorganized to address
| FR15 |  | Partial | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Effective periods of the market (i.e., list of months for the seasonal auction and month for the monthly auction and the allocation) | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Start and end dates of the bid and offer submission window | Partial | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Start and end dates of the bid and offer submission window [CRR Team: same comment that the above point] | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Per 7.5.3 (2): the CRR Network Model is as defined in Section 3.10.3, CRR Network Model. The relevant requirements in 3.10.3CRR Network Model, are: | Partial |  | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Per 7.5.3 (2): the CRR Network Model is as defined in Section 3.10.3, CRR Network Model. The relevant requirements in 3.10.3CRR Network Model, are: 1. The CRR Network Model, as much as practicable, must contain information consistent with the Network Operations Model. Names of Transmission Elements in the Network Operations Model and the CRR Network Model must be identical for the same physical equipment. (emphasis added) | Partial |  | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Per 7.5.3 (2): the CRR Network Model is as defined in Section 3.10.3, CRR Network Model. The relevant requirements in 3.10.3CRR Network Model, are: 2. Names of Hub Buses and Electrical Buses used to describe the same device in any Hub must be identically named in the NMMS Model and the CRR Network Model. | Partial |  | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Per 7.5.3 (2): the CRR Network Model is as defined in Section 3.10.3, CRR Network Model. The relevant requirements in 3.10.3CRR Network Model, are: 3. Each CRR Network Model must include: (a) A complete one-line diagram with all Settlement Points (indicating the Settlement Point that the Electrical Bus is a part of) and including all Hub Buses used to calculate Hub prices (if applicable); (b) Generation Resource locations; (c) Transmission Elements; (d) Transmission impedances; (e) Transmission ratings; (f) Contingency lists; (g) Data inputs used in the calculation of Dynamic Ratings, and (h) Other relevant assumptions and inputs used for the CRR Network Model. | Partial |  | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Per 7.5.3 (2): the CRR Network Model is as defined in Section 3.10.3, CRR Network Model. The relevant requirements in 3.10.3CRR Network Model, are: 4. Updates to CRR Network Model for CRR auctions as described in Section 7, Congestion Revenue Rights, must be produced by the CRR System a minimum of two months in advance. | Partial | [CRR Team: the network model will be produced by NMMS. The definition of contingencies, settlement points and other data will also be responsibility of the NMMS. Requirements on how to build the model should be NMMS requirements as the CRR System only uses the data.] | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Per 7.5.3 (2): the CRR Network Model is as defined in Section 3.10.3, CRR Network Model. The relevant requirements in 3.10.3CRR Network Model, are: (5) The CRR Network Model information must be through the use of the Electric Power Research Institute (EPRI) and NERC-sponsored “Common Information Model” format and must be provided through and web based XML communications. | Partial | [CRR Team: this point is subject of discussion.] | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  CRR Network Model of the effective period of the auction (monthly for monthly auctions, each month for annual auctions and both years for the two year auction), Contingencies, Non-thermal/generic constraints, Source/Sinks and Flowgates to be auctioned for peak and offpeak. [Reliant: if this edit isn’t correct, please clarify what ‘each time of use’ means.]. | Partial | [Suggestion: Replace the bullet above for a more complete version: o CRR Network Models of the effective period of the market (i.e., auction or allocation). The model can be same within a market or can be different for each month and/or each elemental Time-of-Use (i.e., weekday peak, weekend peak, and off-peak). o Contingencies, Non-thermal/generic constraints, Source/Sinks and Flowgates to be use in the market run. | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  Date when the market related data should become available to CRR Account Holders (i.e., post data date). [Reliant: Protocols contain requirements for data posting prior to the auction and data posting subsequent to the auction. Each such requirement should be listed. This is necessary to create a requirements specification that can be tested---and a system that is auditable.] | Partial | [CRR Team: this date refers to the auction notice and it is the trigger to make the information regarding the market available to CRR Account Holders. FR18 address the market operator the on-command functionality to post the market. ERCOT as an organization should comply with dates and terms to post the market. The system just provides the on-command functionality]. | Reorganized to address
Reliant | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes:  The CRR System must produce, for posting and down load, a list of all source and sink points and flowgates, and aggregate outstanding MW (including auctioned and allocated CRRs). (This is what is meant in 7.5.3.2 (1)(a) and (b).] | Partial | [CRR team: this requirement is meant for CRR Account Holders and not market operator. FR10 addresses the information made available to CRR Account Holders prior to a market run]. | Reorganized to address
Reliant | FR15 | The CRR system must provide ERCOT with the ability to to adjust the CRR Network Model (and to identify and track these adjustments for purposes of audit). The capability required is: (1) general topology scaling (percentage), (2) with or without pre-adjustment with general topology scaling, the capability must exist to to increase or decrease capacity of individual transmission elements to facilitate solution when there is an oversold condition and to accurately represent transfer capability that exists in outstanding CRRs. (3) to compare the existing topology (in the CRR Network Model) with the MW of CRR products that outstanding (allocated or sold in prior auctions). The comparison function must yield an output of each element that is oversold, and the number of MW it is oversold. (4) The CRR system must recommend adjustments to the CRR Network Model to facilitate solution in the event of an oversold condition. (5) the CRR system must have an analyst interface that allows the analyst to accept or reject each recommendation individually, or all recommendations at once, for modification to the CRR Network model required to accommodate the oversold MW. (6) The CRR system must develop and output a table of all recommended adjustments and identify which adjustments the CRR analyst has chosen to accept. These data must be set forth for each affected element, each affected source-sink pair, and each flowgate. Such data sets need to be archived with the auction data for each auction. [This information should also be made available on the MIS. (This capability is required under 7.5.3.2(1)(h) “Any other relevant information of commercial significance to CRR Account Holders.)] (7) Additionally, the system should be able sum up over all outstanding CRRs to develop aggregate MW of outstanding CRRs by source and sink point or by flowgate---for a time period input by the CRR analyst. | Partial | The CRR system must provide ERCOT with the ability to to adjust the CRR Network Model (and to identify and track these adjustments for purposes of audit). The capability required is: (1) general topology scaling (percentage), [CRR Team: this is addressed in a different requirement]. (2) with or without pre-adjustment with general topology scaling, the capability must exist to to increase or decrease capacity of individual transmission elements to facilitate solution when there is an oversold condition and to accurately represent transfer capability that exists in outstanding CRRs. [CRR Team: this is addressed in FR17]. (3) to compare the existing topology (in the CRR Network Model) with the MW of CRR products that outstanding (allocated or sold in prior auctions). The comparison function must yield an output of each element that is oversold, and the number of MW it is oversold. [CRR Team: this functionality is part of the system. Please review the additions to FR18]. (4) The CRR system must recommend adjustments to the CRR Network Model to facilitate solution in the event of an oversold condition. [CRR Team: this functionality is part of the system. However, it was not mentioned because no protocol refers to it.] (5) the CRR system must have an analyst interface that allows the analyst to accept or reject each recommendation individually, or all recommendations at once, for modification to the CRR Network model required to accommodate the oversold MW. [CRR Team: please indicate the protocol reference]. (6) The CRR system must develop and output a table of all recommended adjustments and identify which adjustments the CRR analyst has chosen to accept. These data must be set forth for each affected element, each affected source-sink pair, and each flowgate. Such data sets need to be archived with the auction data for each auction. [This information should also be made available on the MIS. (This capability is required under 7.5.3.2(1)(h) “Any other relevant information of commercial significance to CRR Account Holders.)] [CRR Team: please indicate the protocol reference]. (7) Additionally, the system should be able sum up over all outstanding CRRs to develop aggregate MW of outstanding CRRs by source and sink point or by flowgate---for a time period input by the CRR analyst. [CRR Team: this functionality is part of the system. Please review the additions to FR18].. | Reorganized to address
TXU | FR15 | The ERCOT CRR system shall, allow the CRR Market Operator to create as many markets as necessary (auctions or allocations), specifying the following attributes: Use of the phrase “as many markets as necessary” seems inappropriate as a Business Requirement. Should it not be more specific and not open ended? Is 1 market or 70 markets or otherwise? | Partial | [CRR Team: a limit on the number of markets the operator can create and setup would restrict the flexibility of the CRR System. In fact, restrictions such as this one, seem to backfire on ERCOT | Reorganized to address
Reliant | FR16 | The CRR Market Operator shall be able to view all CRR System information to be used in obtaining the solution for the market including: [Reliant: it seems like the outstanding MW (for the period under consideration for the auction) by source-sink pair and flowgate would be more helpful.] that affect the available capacity for the current market. Please consider the topology scaling details Reliant provided to be reiterated here. | Partial | [CRR Team: this report is addressed when listing the sources and sinks]. | Included elsewhere (reporting will be available but not requirement, design decision)
Reliant | FR16 | The CRR Market Operator shall be able to view all CRR System information to be used in obtaining the solution for the market including:  Line and transformer description: including their base-case and contingency ratings and their corresponding in service/out of service flags as defined in the CRR network model as updated for the relevant period by information from the Outage Scheduler. [Reliant: Please confirm that the in service/out of service flags represent outage conditions from the Outage Scheduler.] | Rejected | [CRR Team: the system receives outage information embedded in the network model (NMMS requirement). | In/Out of service is what is NOT covered by applicable outage schedule - Market Operator override
Reliant | FR16 | The CRR Market Operator shall be able to view all CRR System information to be used in obtaining the solution for the market including:  Constraints defined as the sum of the weighted branch flows (this includes constraint coming from voltage and stability limits (converted to thermal limits) and RAPs and SPSs,). | Accepted |  | Included
Reliant | FR16 | The CRR Market Operator shall be able to view all CRR System information to be used in obtaining the solution for the market including:  Distribution factors for Hubs. | Accepted | The CRR Market Operator shall be able to view all CRR System information to be used in obtaining the solution for the market including: List and definitions of source and sinks (i.e., settlement points) with their outstanding loading from previously allocated/awarded CRRs. o Load distribution factors for Load Zone definition o Distribution factors for Hubs. | Rewritten hub requirements
Reliant | FR16 | §[Reliant: The relevant protocol language is focused on the SFT. If the SFT is ‘inherent’ in the Nexant system, please describe this functionality here. If it isn’t, this set of requirements will not meet the Protocols. Additionally, please clarify how the above specifications meet the conditions in the protocol language included below. 7.5.5.4 (3) Inputs to the SFT model include: (f) Thermal operating limits (including estimates for Dynamic Ratings) for transmission lines; (i) for the annual auction ERCOT shall use Dynamic Ratings based on a historical analysis of the maximum peak-hour temperatures for the previous 10 years; and (ii) for the monthly auction ERCOT shall use Dynamic Ratings for the maximum peak-hour temperature forecast for the month; (i) All Transmission Element contingencies expected to be used by ERCOT in Real-Time Operations; and [the missing part is (j) RAPs and SPSs---which is covered above.] | Accepted | [CRR Team: this wording describes NMMS requirements. The CRR System has requirements on consuming data from external system, so the requirements on the data belong to the upstream system (please look at FR27]. | Rewritten
TXU | FR16 | The CRR Market Operator shall be able to view all CRR System information to be used in obtaining the solution for the market including:  Bids and offers for auctions and nominations for allocations  Previously awarded and allocated CRRs that affect the available capacity for the current market  Line and transformer description: including their base-case and contingency ratings and their corresponding in service/out of service flags as defined in the CRR network model.  Constraints defined as the sum of the weighted branch flows (this includes constraint coming from voltage and stability limits and RAPs and SPSs, to the extent possible). The protocols do not contemplate “to the extent possible”. All constraints that are utilized in the solution must be viewable and ultimately provided to the market. There can be no omissions. | Accepted | [CRR Team: the requirement cites protocol 7.5.5.3 (3) and quotes the “to the extend practical” fragment in this section. The nature of the optimization only allows for certain configurations to be modeled (e.g., the protocol requires a DC solution. Therefore, constraints including voltages or reactive power would not be fully represented by the algorithm]. | Included - CRR will report all selected constraints
Reliant | FR17 | 7.5.1 (2.); 7.5.1 (2) (a); 7.5.1 (2) (b); 7.5.1 (2) (c) [Reliant: these references discuss the CRR Network Model---the specific requirements of which need additional clarity. We have tried to provide this in comments to other FRs.] | NA |  | Rewritten and reorganized
Reliant | FR17 | The CRR Market Operator shall be able to edit the information within the markets (auctions or allocations) creating and/or modifying the following attributes:  Contingencies to include/exclude [Reliant: does this mean that we are asking for a table to be populated with the contingency list from the appropriate EMMS system, with flags to enforce a contingency in a particular auction? (The choice of which may be influenced by the anticipated operating conditions for the period under auction, as indicated in (2)(b).) Additionally to accommodate the Protocols the CRR team needs to work with Operations to determine how to represent RAPS and SPSs as contingencies or limits so that they can be included in the CRR Network model. Note that this section also requires posting of outages to be included in the Model for the auction period.] | Rejected | [CRR Team: as stated in FR 43, the list of contingencies is going to be provided by an external system. The market operator will be able to switch on or off contingencies as needed]. | NMMS provides list and CRR selects and deselects contingencies to model RAPs and SPSs and then posts
Reliant | FR17 | The CRR Market Operator shall be able to edit the information within the markets (auctions or allocations) creating and/or modifying the following attributes:  Dynamic Ratings | Accepted | Dynamic Ratings | Included
Reliant | FR18 | The CRR System shall allow the CRR Market Operators to administer the markets (auctions and allocations) by performing the following functions:  Create and maintain markets [Reliant: this requirement would be better described with a bit more on the ‘expectation’ side about what it means to ‘create and maintain a market.’ It is the process of gathering the data for, and updating the CRR Network Model, with all of the relevant data and interfaces to other ERCOT systems.} | Accepted | [CRR Team: the maintenance of the market is given by FR15 and 17] | Included
Reliant | FR18 | The CRR System shall allow the CRR Market Operators to administer the markets (auctions and allocations) by performing the following functions:  Monitor the market during the submission period (view bids or nomination being submitted to the market) [Reliant: Additional details would provide code developers with guidance. For example, what type of ‘monitoring’ is expected? Do you want alarming if particular elements don’t work? If so this should be stated here. Etc.] | Partial | [CRR Team: The check of submitted bids and nominations is the more effective monitoring tool during the submission period]. | Design decision
Reliant | FR18 | The CRR System shall allow the CRR Market Operators to administer the markets (auctions and allocations) by performing the following functions:  Clear the market [Reliant: does this mean simultaneously considering all of the bids and offers as flows in the CRR network model (subject to rules set forth elsewhere) while solving under certain mathematical conditions (such a simultaneous feasibility with certain optimality and certain constraints)? Such conditions should be clearly stated here. Do you want an alarm if the algorithm fails to converge?] | Partial | [CRR Team: the optimization for auction and allocation is discussed in other requirements. The description on how the operator monitor the clearing of the market is outside the scope of the requirement] | Design decision
Reliant | FR18 | The CRR System shall allow the CRR Market Operators to administer the markets (auctions and allocations) by performing the following functions:  Post the market results [Reliant: Post what (include reference if necessary or state here). When? Do you want an alert when the market finishes so that you can look at the results first? Post how? In what format? At what time? Post where---to CRR account holders, to the MIS? This information is required for other teams to write their specifications---for example Settlements, or the MIS team.] | Accepted | The CRR System shall allow the CRR Market Operators to administer the markets (auctions and allocations) by performing the following functions: Post the market results making the results final and visible by CRR Account Holder by MIS and by downstream system (e.g., Settlement System) [CRR Team: Additional wording was added to address the comment. Note that the information made available as part of a market posting is part of FR11 & 12]. | FR18 is an overview requirement, details covered elsewhere
Reliant | FR19 | 7.5.5.3 (4) [Reliant: This discusses the credit limit, which isn’t mentioned below. We tried to address this.] | NA
Reliant | FR19 | After posting the market, the CRR System shall maintain: [Reliant: do you want the CRR system to maintain this? Or do you want the CRR system to hand this off to the archival process? If the former, we must ensure that it conforms with all ERCOT retention requirements. If the latter, interfaces, storage, and retrieval must be considered. Also, since the protocols use the word ‘tools’ it may be necessary to ‘version’ the CRR system itself and provisions need to be made for this as well. The requirement is to “Keep, under the ERCOT data retention policy, all information and tools necessary to reproduce CRR calculations.”] | Partial | [CRR Team: the CRR System will keep all the data necessary to reproduce the run. Some of this discussion has more to do with the “how” rather than the “what”] | Design decision
Reliant | FR19 | After posting the market, the CRR System shall maintain:  Auction participant credit limits | Accepted |  | Included
Reliant | FR19 | After posting the market, the CRR System shall maintain:  CRR network model [Reliant—requires saving it off or some type of version control.] | Accepted |  | Included; To be addressed with NMMS and EDW
Reliant | FR19 | After posting the market, the CRR System shall maintain:  Dynamic rating assumptions | Accepted | [CRR Team: based on the assumption that the dynamic ratings are embedded into the network by NMMS. | Included
Reliant | FR19 | After posting the market, the CRR System shall maintain:  RAP and SPS assumptions | Accepted |  | Included
Reliant | FR19 | After posting the market, the CRR System shall maintain:  Contingency List (and, if applicable, the subset of contingencies flagged for enforcement in the model) | Accepted |  | Included
Reliant | FR19 | After posting the market, the CRR System shall maintain: All data necessary to fully reproduce the clearing of a market for auditing purposes. This data shall be maintained according to the ERCOT data retention policy. | Accepted |  | Included
TXU | FR19 | After posting the market, the CRR System shall maintain:  Bids and offers for auctions and nominations for allocations  Previously awarded and allocated CRRs that affect the available capacity for the current market  CRR network model  Constraints defined as the sum of the weighted branch flows (this includes constraint coming from voltage and stability limits and RAPs and SPSs, to the extent possible). The protocols do not contemplate “to the extent possible”. All constraints that are utilized in the solution must be viewable and ultimately provided to the market. There can be no omissions. | Accepted | [CRR Team: the requirement cites protocol 7.5.5.3 (3) and quotes the “to the extend practical” fragment in this section. The nature of the optimization only allows for certain configurations to be modeled (e.g., the protocol requires a DC solution. Therefore, constraints including voltages or reactive power would not be fully represented by the algorithm]. | Included. All selected constraints will be maintained
Reliant | FR20 | 7.4.2 (f) [Reliant: this section discusses Load Zones for PCRR allocations. Where are the requirements that facilitate supporting these protocol conditions?] | Accepted |  | Revised protocol reference
Reliant | FR20 | 3.4 [Requirements from Protocols Sections 3.4 and 3.5 need to be captured here as well.] | Accepted | [CRR Team: The CRR System obtains this data from NMMS and the compliance with the cited sections should be in conjunction to the NMMS Requirements Specifications.] | Included
Reliant | FR20 | The CRR System shall model Load Zones and Hubs as a group of one or more electrical buses with distribution factors to weight their contribution on CRR injections and withdrawals. [Reliant: The CRR system must be scalable to allow for definition of additional (or modifications to) load zones and hubs. For example, if a NOIE ops in, the associated elements will become part of that load zone definition. Thus, each relevant element must be able to be assigned for flagged for membership in different load zones or hubs. Note that the designation for membership in the class “hub” and “load zone” are not mutually exclusive per Protocols 3.4 which describes the buses assigned to Load Zones. However, a bus may not be assigned to more than one load zone or one hub. A description of this functionality is required in this document.] | partial |  | bus assignmnets to load zones and/or hubs to be provided by NMMS
Reliant | FR20 | To calculate these factors, the CRR System shall use the following assumptions: • Load zones: the injections and withdrawals shall be distributed among the electrical buses proportionally to the loads from the zone. [Reliant: this does not support the requirement in Protocols 7.5.1(3) which has specific requirements for using on-peak load-weighted distribution factors from the appropriate planning case. The requirements for bus specific load weightings derived from the appropriate planning case needs to be clearly set forth here. Also, the whole discussion in 7.4.2(f) is about the assumptions required for ‘sinking’ PCRRs to NOIE load zones in proportion to the load they serve in the Load Zone in which the NOIE Zone is embedded. This concept isn’t captured here at all.] | Accepted |  | Included
Reliant | FR21 | ·[Reliant: CRRs can be defined between any two settlement points. Which exact points are you envisioning as ‘non-biddable’? The protocols do not contain any prohibitions on who can bid relative to any settlement point. The only Prohibitions are on who can be a CRR Account Holder. The ‘prohibition’ in this section of the Protocols is on the duration of obligations that can be offered, not on the combinations!] | Partial | [CRR Team: It is the intension of this requirement, and the modifications to it, to properly reflect the wording from the protocol. The CRR system does allow for the definition of settlement points as non-biddable – this will make them available for the allocation process, but not to the auction process. This feature was included for completeness and can be moved to supplemental requirements, if needed.] | Additional clarification Included
Reliant | FR21 | Assumption: Initially this configuration shall only allow for obligations to be sold for the first month of the annual auction (January). However, the system must offer the functionality to auction obligations for durations longer than one month. | accepted |  | Included
Reliant | FR22 | The CRR System shall only accept bids and offers from entities that are registered as valid CRR Account Holders with ERCOT. | Accepted |  | Included
Reliant | FR23 | The CRR System shall provide a list of CRRs to market operators to facilitate the maintenance of the rights and related attributes. [Reliant: do you want just a list? Or do you want it to be sortable? Do you want it in a specific format? Does the MIS team have any requirements for this since a lot of the data will be posted? Also, what does it mean to ‘maintain’ rights? Do you mean support bilateral trades? This functionality should be described. Do you want to audit bilateral trades? This function should be described. What specific aspects “related attributes” do you want to maintain and what specific functionality are you looking for?] | Partial | The CRR System shall provide a list of CRRs to market operators to facilitate the maintenance of the rights and related attributes (i.e., CRR ID, CRR Owner, Source, Sink, Flowgate, MW, Time-of-use, Hedge-type, Type and Start & End Dates. The system shall allow the operator to sort and filter by the any the attributes of the list. [CRR Team: The interpretation of this protocol section refers to the market operator use of the CRR List. MUI facing functionality is contained in different requirements. Additional wording was added to clarify the requirement. | Design decisions
Reliant | FR23 | Note: This requirement is based on the August 2006 protocol revision and is still pending Nodal change control approval. [Reliant: What exactly in the NPRR would relate to this? Is this the rounding issue?] | Accepted |  | reference corrected
Reliant | FR24 | Coverage of Source - Full [Reliant: this may be a full condition from asystem perspective but ERCOT’s obligation under the Protocols is to describe the “CRR program” which goes beyond the CRR system user manual. It will need to cover all other aspects, like the DAM relationship, credit, settlements….] | accepted | [CRR Team: Within the scope of the CRR System requirements, the wording appropriately covers the protocol functionality. Recommendation: Add a note here stating the scope of the overall ERCOT-wide CRR documentation.] | Included
Reliant | FR25 | The CRR System shall enable the CRR Market Operator to initiate, direct and oversee periodic single-round auctions (simultaneously optimizing across offers for all types of CRR products—obligations, options, and flowgates) to allow valid CRR Account Holders to buy and sell their CRRs of the following types: PTP Options and PTP Obligations, and Flowgate Rights. [Reliant: The auctions vary, in part, by the duration of products offered in the auction. Protocols 7.3(7) requires that the CRR blocks be “auctioned simultaneously in the annual CRR Auctions, in which capacity is made available for the next two years.” This means that the annual CRR auction for the two year product needs to have the capability to offer a product across a two year period for any of the block combinations. This is also required under 7.5.1(5) and (6). Additionally, 7.5.1 (5) (b) (i) requires the capability to accept bids for “PTP Options in one-month strips, any specified consecutive monthly strips, annual strips, and two-year strips,” [and as pointed out above and by 7.5.1 (5) (b) (ii) , this will be necessary for obligations at such time as durations longer than one month are approved by the ERCOT BOD. Requirements for Flowgates are similar to options. Also, the credit constraint needs to be discussed here.] | Accepted | The CRR System shall enable the CRR Market Operator to initiate, direct and oversee periodic single-round auctions (simultaneously optimizing across offers for all types of CRR products—obligations, options, and flowgates) [CRR Team: addition accepted] to allow valid CRR Account Holders to buy and sell their CRRs of the following types: PTP Options and PTP Obligations, and Flowgate Rights. [CRR Team: The description of the different types of auction (i.e., yearly and monthly) is given in the suggested wording from FR21. Credit is also discussed in other requirements]. | Included in multiple requirements
Reliant | FR26 | 7.5.5.3 (2) (a) [Reliant—the key requirement was not initially included. We attempted to remedy.] | NA
Reliant | FR26 | The CRR System shall optimize annual auction revenues---making all awarded CRR products simultaneously feasible---across the entire auction. | Accepted |  | Included
Reliant | FR26 | Note: This entire requirement is based on the August 2006 protocol revision and is still pending Nodal change control approval. [Reliant: what part of this is affected by the NPRR? This requirement is in the existing Protocols. Specifically 7.5.5.3(2)(a) states: “ERCOT shall use a linear programming auction engine model for each CRR Auction that evaluates all CRR Auction Bids and CRR Auction Offers submitted, and selects a combination of CRR Auction Bids and CRR Auction Offers that: (a) Makes the solution simultaneously feasible within the limits of the ERCOT network capability over the auction term;” | Accepted |  | Included
Reliant | FR27 | 7.5.5.3 (2) (a) [Reliant: again, this section contains the simultaneous concept which is not captured below.] | Accepted | [CRR Team: the additional sentences enhance the coverage of the requirement] | Included in multiple requirements
Reliant | FR27 | The CRR System calculation engine shall calculate the DC power flow solution that maximizes the objective function of the auction to award simultaneously feasible CRRs, expressed as the CRR bid prices times the awarded CRR Auction Bids, minus the CRR offer prices times the awarded CRR Auction Offers; subject to individual CRR Account Holder credit limits and the base-case and post –contingency operating constraints (including SPSs, RAPs, and operational procedures that would be enforced by Operations for the time period(s) under auction) [Reliant: a reasonable discussion of the constraint set (with a full discussion of the constraint set in the detailed requirements) should be included in this document. Specifically, it includes the CRR Account Holder’s credit limit, the enforced Contingency List (which may be affected by the operational procedures), the simultaneous requirement, topology limits, etc.] | partial | The CRR System calculation engine shall calculate the DC power flow solution that maximizes the objective function of the auction to award simultaneously feasible CRRs, expressed as the CRR bid prices times the awarded CRR Auction Bids, minus the CRR offer prices times the awarded CRR Auction Offers; subject to individual CRR Account Holder credit limits and the base-case and post –contingency operating constraints (including to the extend possible SPSs, RAPs, and operational procedures that would be enforced by Operations for the time period(s) under auction). [CRR Team: reasonable detail is included in other requirements (regarding for example credit and contingency list). Please note the “to the extend possible” wording from the protocol to determine the applicability of SPSs and RAPs in a DC optimization]. | Design decisions
Reliant | FR29 | 7.5.1 (5) (b) (i) [Reliant: not sure why this is here} | NA | [CRR Team: This requirement describes the building process of an auction buy bid; listing hedge type and the “month(s)” as attributes of the bid. We think the requirement does address section 7.5.1 (5) (b) (i) of the protocols] | Addressed in other requirements
Reliant | FR29 | 7.5.1 (5) (b) (ii) [Reliant—interpretation of this section is incorrect. See relevant comments above regarding ‘duration.’] |  | [CRR Team: FR21 clearly states the acceptable “durations” for various products. An additional comment was added below to reiterate on the concept]. | Addressed in FR21
Reliant | FR30 | [Reliant: the conditions in 7.5.2.1 (5) and 7.5.2.3 (5) regarding not specifying minimum quantities are not captured here and they should be.] | Accepted | [CRR Team: The paragraph does address the assumption that awarded and sold amount wills be between zero and the specified MW amount. CRR Account Holders do not need to specify a minimum MW amount as the system will provide a block bid/offer curve from zero to the given MWs. Using a value different from zero will go against the not-to-exceed price & minimum reservation price assumptions. | Included in other requirements
Reliant | FR33 | The CRR System shall enable ERCOT to conduct a monthly auction once a month, consisting of 1 auction run which simultaneously solves at least 3 auction models. [Reliant: why are we solving three separate models? Are we breaking each time of use block out separately and selling it in an auction by itself? Are the ‘auction models’ the CRR Network model broken up three ways? Much more description of this is required.] | Accepted | The CRR System shall enable ERCOT to conduct a monthly auction once a month, consisting of 1 auction run which simultaneously solves all elemental time of uses (i.e., peak weekday, peak weekend & off-peak) and the aggregated time of use, 24-hours. [CRR team: the optimization is just one, but the CRR System allows for different models to be used for each time of uses. The operator can choose between using the same model or different models for each elemental time of use]. | All models solved simultaneaously and linked
Reliant | FR34 | The allocation shall be setup as a two-stage process: in the first stage allocated PCRRs shall be assigned to the eligible CRR account holders, and in the second stage MCFRIs shall be assigned to the eligible CRR account holders. [Reliant: as discussed elsewhere in this document, much more detail is needed to accomplish this process. We provided some, but the original sentences are not requirements unless you set forth what the CRR system needs to provide to “enable” ERCOT to accomplish its job.] | Accepted | [CRR Team: the particulars of the allocation are given by FR 35, 36 & 38. Additional details have been added to make the requirements evident (e.g., definition of the entitlement list)]. | Included in other requirements
Reliant | FR35 | The CRR System shall provide an upload feature to allow the CRR Market Operator to insert the list of PCRR nominations to the system. These nominations shall correspond to the list of existing agreements that are eligible to receive PCRRs. [Reliant: is the cross check of the list supposed to be automatic? Or is this a manual process?] | NA | The CRR System shall provide an upload feature to allow the CRR Market Operator to insert the list of PCRR entitlements to the system. These entitlements shall correspond to the list of existing agreements that are eligible to receive PCRRs. [CRR Team: The creation of the entitlement list is outside the CRR System]. The CRR System shall accept as input a list of containing: • Entitlement from NOIEs that choose to apply to PCRRs that: o own or have a long-term (greater than five years) contractual commitment that was entered into before September 1, 1999 for annual capacity and energy from specific Generation Resources; or o have a long-term (greater than five years) allocation from the federal government for annual capacity and energy produced at a federally-owned hydroelectric Generation Resource, and that allocation was in place prior to September 1, 1999. • South Texas Electric Cooperative (STEC). STEC may be allocated PCRRs for up to three years after the date it enters into competition.. | Nominations will be automatically checked against the list of entitlements
Reliant | FR39 | The CRR System shall perform a simultaneous feasibility analysis. If there are any infeasible nominations, the CRR System shall proportionally reduce the nominations according to their impact ratio based on the feasible region of the solution. [Reliant: what does the ‘feasible region’ of the solution mean? This has a particular mathematical meaning. Is this what you are referring to here?] | Accepted | The CRR System shall perform a simultaneous feasibility analysis. If there are any infeasible nominations, the CRR System shall proportionally reduce the nominations according to their impact ratio, until an optimal solution is found on the feasible region. [CRR Team: the wording was corrected] | Description revised
Reliant | FR40 | PCRRs shall only be bilaterally traded through the ERCOT system after the completion of the CRR auction that determined their value. [Reliant: note that some PCRRs are not tradable. How will the system prevent these trades?] | Noted | [CRR Team: the requirements address more the “what” than the “how”. The CRR Account Holder will be able to create a bilateral market sell offer by dragging-and-dropping a CRR from a folder containing all the non-expired tradable CRRs. The restriction on non-tradable CRRs will be enforced by the way the system was designed]. | Design feature
Reliant | FR41 | The CRR System shall not allow CRR Account Holders to reconfigure the following attributes when registering a bilateral trade of their tradable CRRs in the Bilateral Market: [Reliant: this does not have any meaning. A CRR is a defined product. It can be traded and trading does not ‘reconfigure’ it. The protocols do seem to envision being able to break CRRs up for trading purposes…so we may need discussion on what is meant by “time of use.” Particularly if a CRR holder has a 7x24 product, it is comprised of the sub products, and these should be tradable by block type---but the granularity ---meaning two days, one day---could be envisioned. But if you are suggesting that all products need to be traded are at a minimum monthly in length, this should be explicitly stated. This is not a specific requirement of the Protocols. ] Time of use | Noted | [CRR Team: reconfiguration is the action of changing some attributes of a CRR when offering it to the Bilateral Market or Auction. This adds to the liquidity of such market. The CRR System has already built-in a full-feature bilateral market consistent with other market implementations. The system does not allow some reconfiguration (by the given attributes).] | More detailed description has been Included
Reliant |  | The CRR System shall import and the following data coming from upstream systems and validate that it is acceptable to the system data requirements [Reliant: what specific validations are you envisioning?]: | Noted | Validations include cross-checks with other data elements (e.g., contingencies refer to branches that are part of the network model). [CRR Team: The system performs a large number of validations to ensure the integrity of the data, and we think listing them is beyond the scope of this document] | detailed design
Reliant | 4 SUPPLEMENTARY REQUIREMENTS | The bidding window shall be open and capable of accepting bids on the 2nd Tuesday of each month for the Monthly Auction. The bidding window must be open and capable of accepting bids on the 1st Tuesday of November for the Annual Auction. [Reliant: the system should be able to accept bids at any time. To conform with the protocols ERCOT will choose when to open the bidding window. So the bidding window should be configurable to allow ERCOT to choose when it will be open to accept offers and bids for each auction.] | Noted | The CRR system shall meet the following CRR Execution Timing Requirements:  Monthly ERCOT shall run - Allocation of PCRRs, Allocation of MCFRIs and CRR Auction  Annually ERCOT shall run - Allocation of PCRRs, Allocation of MCFRIs and CRR Auction The monthly auction optimization shall complete (end of bidding toward validation) within 80 hours. The annual auction optimization shall complete (end of bidding to award validation) within 80 hours. The bidding window shall be open and capable of accepting bids on the 2nd Tuesday of each month for the Monthly Auction. The bidding window must be open and capable of accepting bids on the 1st Tuesday of November for the Annual Auction. | Out of the box capability includes the ability to upload bid portfolios at any time. They must be submitted during the bid submission window defined by the CRR market operator.
Reliant | 4 SUPPLEMENTARY REQUIREMENTS | The CRR system shall be capable of accepting 30,000 bids per auction. [Reliant: this is still up for discussion and 30,000 is too low.] | Noted | Reference tab SR3. | tradeoffs to be discussed in design
Reliant | 4 SUPPLEMENTARY REQUIREMENTS | The CRR system shall be capable of simultaneously auctioning 600K CRR products, limited to the maximum number of bids noted above; optimizing against 2,000 contingencies; modeling 7,500 buses, 10,000 branches, 2,000 Sources and Sinks and 40 flowgates. [Reliant: could you please indicate how these values stack up against existing topology in Network Model?] | Noted |  | tradeoffs to be discussed in design
Reliant | 4 SUPPLEMENTARY REQUIREMENTS | The Nexant CRR solution for ERCOT consists of 50% off the shelf functionality from the iHEDGE integrated web solution. [Reliant: all of these functionality assumptions need to be clearly documented in this document.] This solution provides a pre-existing web/applet based rich user interface. [Who determined this?] Deviations from the ERCOT User Interface best practices and guidelines by the CRR system shall be discussed and resolved with the ERCOT Enterprise Architecture team in advance of CRR application modification for the ERCOT Market. [What about discussions with Market Participants?] | Noted | Reference tab SR15
Reliant | 4 SUPPLEMENTARY REQUIREMENTS | Spring Daylight Savings Time Operating Day: Hour Ending 0300 shall be skipped, resulting in 23 hourly intervals for the day. Fall Daylight Savings Time Operating Day: Hour Ending 0200 shall be repeated, resulting in 25 hourly intervals for the day. [Reliant: is this consistent with the rest of the EMS and MMS assumptions?] | Noted | Yes | Consistent with NMMS and Settlements
Reliant | 4 SUPPLEMENTARY REQUIREMENTS | All interface requirements with the DAM, Credit System, Settlement System, NMMS system (and Outage Scheduler if Outages are not coming through NMMS), and MIS need to be clearly thought through and detailed here. | Noted | The CRR application shall interact with other ERCOT systems through the integration layer (this could be using either point-to-point or Enterprise Service Bus solutions). The CRR application shall specify endpoints for these interactions to be connected into the ESB by the Integration project. | detailed design