- Summary of Protocol Revisions

- Effective:  October 9, 2006

- Section 1:

PRR515 – Disclosure of Local Congestion

This PRR provides for the disclosure of information on each unit receiving an OOMC deployment or an OOME Dispatch Instruction, the intervals for which the deployment or instruction was received, and the amount of OOMC and OOME service provided by interval for each unit receiving such instruction by ERCOT as soon as possible, as well as, the transmission studies performed by ERCOT Staff that lead to OOMC, OOME, or RMR deployments; also provides for disclosure of the contingency and/or overloaded element(s) causing the Local Congestion (OOMC, OOME, and RMR) deployments as soon as possible.

Revised Subsection:  1.3.1.2 [language unboxed due to system 		         implementation]

- Section 6:

PRR515 – Disclosure of Local Congestion

See Section 1 above.

Revised Subsections:  6.5.10 and 6.7.8 [language unboxed due to system 		    implementation]