| PRR Number | 647 | PRR Title | Gross and Net MW Mvar Data Reporting |
| --- | --- | --- | --- |
| Impact Analysis Date |  | 10/11/06 |  |
| Cost/Budgetary Impact |  | Less then $50,000. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | ERCOT recommends that the PRR647 data requirements for Market Participants be completed within 18 months of PRR approval by the ERCOT Board of Directors. ERCOT will perform related system and data base updates as Market Participants complete their work and notify ERCOT. |  |
| ERCOT Staffing Impacts (across all areas) |  | This PRR will require approximately 800 ERCOT staff hours of work to complete network model display, data updates and system verification. This work will be completed by existing FTEs in the EMMS SCADA and Network Modeling areas. |  |
| ERCOT Computer System Impacts |  | None: The existing ERCOT Network Model and SCADA systems will support the PRR647 data requirements. |  |
| ERCOT Business Function Impacts |  | No impact on business functions. |  |
| Grid Operations & Practices Impacts |  | No impact on grid operations or practices. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Feasibility of Implementation

Impact on Resource Availability: None. Existing EMMS SCADA and Network Modeling staff will perform the network model and telemetry work requirements to implement PRR647. Impact on Other Projects: None.

Comments

ERCOT recommends all required gross/net real power and gross reactive power telemetry additions be completed by Market Participants within 18 months PRR approval by the ERCOT Board of Directors.