## Slide 1: Compliance Update
October 2006

## Slide 2: Control Performance Highlights
NERC CPS1 Performance
  September performance indicated a third straight month of declining scores since scores peaked in June
    June – 154.6
    July – 153.1
    August – 151.3
    September (preliminary) – 142.1
PRR 525 Performance
  Scores for August indicate 32 QSEs passed / 1 non-wind-only QSE failed the measure
  Scores posted on the ERCOT Compliance Website

## Slide 3: ERCOT’s CPS1 Monthly Trend

## Slide 4: ERCOT CPS1 by Interval

## Slide 5: QSE PRR525 10-Minute Interval Scoring

## Slide 6: Resource Plan Performance Metrics August 2006 Results

## Slide 7: NERC ERO Developments
On July 20th, FERC approved NERC’s application to become the Electric Reliability Organization (ERO). NERC must respond to numerous comments within 90 days (Oct. 18).
Draft Delegation Agreement between NERC and ERCOT filed August 4th. NERC decided to revise the compliance and standards filings. The ERCOT standards process is posted for comments (based on existing processes). The compliance enforcement process is now a uniform draft that each Region will file exceptions to, rather than submitting separate Regional processes submitted. Regional Managers are still in discussions on this uniform compliance process.
ERCOT Compliance submitted, to NERC on September 8th, contact information from ERCOT Entities responsible for NERC Reliability Standards. This includes transmission owners, resources over 10 MW, and QSEs with resources.
NERC is hiring staff to oversee and assist the Regions now.

## Slide 8: NERC Standards
FERC comments on NERC standards suggests that these will not be approved until well into 2007, although work is underway to address FERC concerns.
NERC’s effort to interpret the Operator Certification standard was overwhelmingly rejected by stakeholders
Many standards are out for comment or ballot, check for details at: http://www.nerc.com/~filez/standards/Reliability_Standards_Under_Development.html

## Slide 9: Other compliance activities
TDSP self-certifications emailed 10/06/06.
Audits continue. 2 NERC “readiness” audits will be held, the first at the end of October at Centerpoint.
Compliance staff is reviewing 4/17 EECP event findings with PUCT. 6/12 transmission event feedback in progress on coordination of generation and transmission relays. 9/28 SPS misoperation & the DCS event on 10/3 are under review; Incident Report notices were issued for possible violations and other information is requested.

## Slide 10: ERO Transition Timeline (Summer 2006)
04/04/06
07/20/06
08/02/06
08/24/06
11/07/06
11/15/06
01/01/07
06/01/07
NERC filed ERO application (U.S. & Can.)
FERC named NERC as ERO
Board approved 2007 ERO, region budgets
NERC budget filed at FERC
Regional delegation agreements filed ????
Regulators approve 2007 ERO budget ????
NERC begins ERO operation
Mandatory Standards in Place ????
FUTURE DATES ARE SUBJECT TO CHANGE
Notes: We will submit the balance of our compliance filing, covering some 80 issues, on October 18. The NERC staff and regional councils continue to refine the delegation agreements, and are working on a “Uniform Compliance Monitoring and Enforcement Program” that will define the tasks of the “compliance monitor.” We plan to file the delegation agreement on November 11. The Federal Energy Regulatory Commission (FERC) will consider NERC’s reliability standards at its October 19 meeting.

## Slide 11: NERC Request
NERC has asked to have staff membership on the PDCWG – including access to Disturbance Files and to participate in meetings
ROS viewpoint/ discussion is requested.

## Slide 12: Functional Responsibilities
Reliability
Coordinator
Transmission
Operator
Generation
Operator
Balancing
Authority
Transmission
Owner
Generation
Owner
Distribution
Provider
Load-Serving
Entity
Planning
Authority
Purchasing-
Selling
Entity
Regional
Reliability
Organization
Reserve
Sharing
Group
Transmission
Planner
Transmission
Service
Provider
Resource
Planner
Registered
In
2005

## Slide 13: NERC’s Proposed Registration Criteria (NOT YET APPROVED)
Registration Principles
  Consistency in application
  Material to the reliability of the bulk power system
  Provides allowances for Regional or Interconnection differences

## Slide 14: NERC Proposed Registration Criteria (Continued)
Generation Owner
  Units >20 MW, plants >75 MW
  Exceptions for blackstart units
Generation Operator – same as above
Purchasing Selling Entity
  No criteria defined

## Slide 15: NERC Proposed Registration Criteria (Continued)
Transmission Owner
  Any non-radial element operated at 100 kV or higher
  Elements at lower voltages identified as bulk power system on regional critical facilities list
Distribution Provider
  >25 MW & directly connected to bulk system or:
  Is responsible for UFLS, UVLS, or other protection systems installed for BPS reliability
Load-Serving Entity
  >25 MW & directly connected to bulk system or:
  Is responsible for UFLS or UVLS systems installed for BPS reliability

## Slide 16: ERCOT Initial Registration
Original requests based on Protocols and our review of NERC models and Standards:
  Resources above 10 MW (129)
  QSEs with resources (38)
  TDSP’s with 100kV or known UFLS reported separately from their ERCOT “TO” (31)
  ERCOT Operations is registered for most functions
  NO OVERLAP IN REGISTRATION FOOTPRINTS