## Slide 1: Adjusted Responsive Reserve
Presented by: John Dumas
October 12, 2006

## Slide 2: PRESENTATION
Adjusted Responsive Reserve Less than 2500 MW (AUGUST)
  August 17th (2454 MW 16:45)
    OCN ISSUED AT 15:16, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 15:26, ADJUSTED RR < 3000 MW.
  August 21st (2426 MW 14:00)
    OCN ISSUED AT 12:41, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 13:10, ADJUSTED RR < 3000 MW.
    ALERT ISSUED AT 14:47, ADJUSTED RR<2500 MW.
  August 22nd (2157 MW 15:00 )
    OCN ISSUED AT 13:38, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 14:09, ADJUSTED RR < 3000 MW.
    ALERT ISSUED AT 15:00, ADJUSTED RR<2500 MW.
21-Aug | NSRS DEPLOYED | % OF UBES DEPLOYED | ADJUSTED RR
16:30 | 1,237 | 70 | 2991
16:45 | 1,237 | 70 | 3114
17:00 | 1,237 | 66 | 3179
17:15 | 1,238 | 52 | 3368
17:30 | 1,238 | 52 | 3432
17:45 | 639 | 62 | 3231
22-Aug | NSRS DEPLOYED | % OF UBES DEPLOYED | ADJUSTED RR
15:45 | 1,248 | 66 | 2521
16:00 | 1,248 | 67 | 2682
16:15 | 1,248 | 69 | 2757
16:30 | 1,248 | 63 | 2927
16:45 | 1,248 | 50 | 3004
17-Aug | NSRS DEPLOYED | % OF UBES DEPLOYED | ADJUSTED RR
16:45 | 0 | 70 | 2454

## Slide 3: PRESENTATION
Adjusted Responsive Reserve Less than 2500 MW (AUGUST)
  August 24th (2496 MW 15:45)
    OCN ISSUED AT 13:55, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 14:53, ADJUSTED RR < 3000 MW.
    ALERT ISSUED AT 15:21, ADJUSTED RR<2500 MW.
  August 25th
    OCN ISSUED AT 12:45, ADJUSTED RR < 330OMW.
    ADVISORY ISSUED AT 14:14, ADJUSTED RR < 300OMW.
    ALERT ISSUED AT 15:00, ADJUSTED RR < 2500 MW.
  August 31st (2329 MW 16:15)
    OCN ISSUED AT 13:30, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 15:30, ADJUSTED RR < 300OMW
24-Aug | NSRS DEPLOYED | % OF UBES DEPLOYED | ADJUSTED RR
16:15 | 1,233 | 79 | 2734
16:30 | 1,233 | 89 | 2545
16:45 | 1,233 | 79 | 2574
17:00 | 1,233 | 79 | 2538
17:15 | 1,232 | 79 | 2825
17:30 | 817 | 98 | 2893
17:45 | 817 | 91 | 2933
18:00 | 1,232 | 60 | 2961
25-Aug | NSRS DEPLOYED | % OF UBES DEPLOYED | ADJUSTED RR
15:45 | 544 | 56 | 2754
16:00 | 544 | 58 | 2572
16:15 | 544 | 61 | 2744
16:30 | 544 | 67 | 2669
16:45 | 544 | 67 | 2775
17:00 | 544 | 62 | 2874
17:15 | 544 | 63 | 2918
17:30 | 544 | 45 | 2984
17:45 | 544 | 35 | 2935
31-Aug | NSRS DEPLOYED | % OF UBES DEPLOYED | ADJUSTED RR
16:15 | 0 | 70 | 2329

## Slide 4: PRESENTATION
Adjusted Responsive Reserve Less than 2500 MW (SEPTEMBER)
  September 1st (2465 MW 15:30)
    OCN ISSUED AT 13:40, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 14:15, ADJUSTED RR < 3000 MW.
    ALERT ISSUED AT 15:20, ADJUSTED RR<2500 MW.
  September 7th (2310 MW 16:00)
    OCN ISSUED AT 13:20, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 13:30, ADJUSTED RR < 3000 MW.
    NSRS NOT PURCHASED.
1-Sep | NSRS DEPLOYED | % of UBES DEPLOYED | ADJUSTED RR
16:15 | 1,250 | 57 | 2824
16:30 | 1,250 | 48 | 2842
16:45 | 1,250 | 44 | 2829
17:00 | 1,250 | 51 | 3074
17:15 | 810 | 36 | 3129
17:30 | 810 | 37 | 3081
17:45 | 810 | 35 | 3087
7-Sep | NSRS DEPLOYED | % of UBES DEPLOYED | ADJUSTED RR
16:00 | 0 | 87 | 2361
16:15 | 0 | 73 | 2485
16:30 | 0 | 73 | 2417
16:45 | 0 | 76 | 2310

## Slide 5: PRESENTATION
  September 10th (2008 MW 15:30)
    ADVISORY ISSUED AT 11:43, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 12:41, ADJUSTED RR < 3000 MW.
    ALERT OCN ISSUED AT 13:56 DUE TO ADJUSTED RR < 2500 MW.
    NSRS NOT PURCHASED.
10-Sep | NSRS DEPLOYED | % of UBES DEPLOYED | ADJUSTED RR
13:45 | 0 | 83 | 2426
14:00 | 0 | 86 | 2360
14:15 | 0 | 70 | 2355
14:30 | 0 | 90 | 2234
14:45 | 0 | 95 | 2476
15:00 | 0 | 91 | 2207
15:15 | 0 | 89 | 2158
15:30 | 0 | 94 | 2008
15:45 | 0 | 93 | 2152
16:00 | 0 | 94 | 2189
16:15 | 0 | 94 | 2108
16:30 | 0 | 95 | 2193
16:45 | 0 | 95 | 2266
17:00 | 0 | 95 | 2351
17:15 | 0 | 92 | 2249
17:30 | 0 | 92 | 2307
17:45 | 0 | 88 | 2440
18:00 | 0 | 92 | 2441

## Slide 6: PRESENTATION
  September 22nd (2478 MW 14:45)
    OCN ISSUED AT 12:50, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 13:30, ADJUSTED RR < 3000 MW.
  September 26th (2192 MW 17:00)
    OCN ISSUED AT 15:00, ADJUSTED RR < 3300 MW.
    ADVISORY ISSUED AT 15:05, ADJUSTED RR < 3000 MW.
    NSRS NOT PURCHASED.
26-Sep | NSRS DEPLOYED | % of UBES DEPLOYED | ADJUSTED RR
16:00 | 0 | 66 | 2371
16:15 | 0 | 72 | 2463
16:30 | 0 | 78 | 2430
16:45 | 0 | 60 | 2457
17:00 | 0 | 52 | 2192
22-Sep | NSRS DEPLOYED | % of UBES DEPLOYED | ADJUSTED RR
14:45 | 0 | 73 | 2478

## Slide 7: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 8: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 9: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 10: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 11: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 12: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 13: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 14: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 15: Adjusted Responsive Reserve Less than 2500 MW
BACK
OCN
ADVISORY
ALERT

## Slide 16: Adjusted Responsive Reserve Less than 2500 MW
BACK

## Slide 17: Adjusted Responsive Reserve Less than 2500 MW
BACK