## Settlement Interfaces
| Document Name: | TN.COMS.63C01.INTERFACE.REQUIREMENTS.A.doc
| Issuing Entity | Name | Page Number | Description | Accepted / Rejected | Reviewer | Reason
1 | AEP Energy Partners | Ryan Aldridge | p. 4 | Add Average Incremental Energy Cost to list of requirements that are not included in the Interface requirements | Accepted | bbarnes | AIEC information is currently not included in the document. However, ERCOT include additional data elements at a later time if it will provide value to interface development.
2 | AEP Energy Partners | Ryan Aldridge | p. 6 | Add Financial Transfer information | Rejected | bbarnes | The purpose of the Settlement Interface document is to focus on input data to the Settlement System that drives settlement calculations. The data associated with billing and financial processing are documented in their respective requirements specifications.
3 | AEP Energy Partners | Ryan Aldridge | p. 20 FR 31 | DASUO data cut format comments | Accepted | bbarnes | The data cut format for DASUO in the DAMW requirements will be modified to match what is documented here in the Interface document.
4 | AEP Energy Partners | Ryan Aldridge | p. 21 FR 32 | DAMEO data cut format comments | Accepted | bbarnes | The data cut format for DAMEO in the DAMW requirements will be modified to match what is documented here in the Interface document.
5 | AEP Energy Partners | Ryan Aldridge | p. 21 FR 33 | DALSL data cut format comments | Accepted | bbarnes | The data cut format for DALSL in the DAMW requirements will be modified to match what is documented here in the Interface document.
6 | AEP Energy Partners | Ryan Aldridge | P. 29 FR 49 | Comment on interface logic required to identify wind units and adjust HASLSNAP and HASLADJ | Accepted | bbarnes | ERCOT recogizes the challenges we face for settlement integration. We will continue to monitor that appropriate technical solutions are developed to meet the Settlement Interface requirements.
7 | AEP Energy Partners | Ryan Aldridge | P. 47 Section 2.2 | Comment on section complexity | Accepted | bbarnes | ERCOT recogizes the challenges we face for settlement integration. We will continue to monitor that appropriate technical solutions are developed to meet the Settlement Interface requirements. This includes data availability for MP shadow settlement.
8 | AEP Energy Partners | Ryan Aldridge | P. 48 | Comment on section complexity | Accepted | bbarnes | ERCOT recogizes the challenges we face for settlement integration. We will continue to monitor that appropriate technical solutions are developed to meet the Settlement Interface requirements. ERCOT is documenting the requirement of this calculation in the Settlements Interface document. Design details and decisions on which system will perform this calculation will be firmed up after significant due diligence is conducted. We understand the need for MPs to be able to shadow ERCOT settlement calculations.
9 | AEP Energy Partners | Ryan Aldridge | p. 59 FR 115 | Comment on NMMS data | Accepted | bbarnes | ERCOT is documenting the business requirement of this data in the Settlements Interface document. Design details of how information flows will be firmed up after significant due diligence is conducted. ERCOT recognizes the need for efficient integration design.
10 | AEP Energy Partners | Ryan Aldridge | p. 59 FR 116 | Comment on NMMS data | Accepted | bbarnes | ERCOT is documenting the business requirement of this data in the Settlements Interface document. Design details of how information flows will be firmed up after significant due diligence is conducted. ERCOT recognizes the need for efficient integration design.
11 | AEP Energy Partners | Ryan Aldridge | p. 61 FR 121 | Comment on Registration data | Accepted | bbarnes | ERCOT is documenting the business requirement of this data in the Settlements Interface document. Design details of how information flows will be firmed up after significant due diligence is conducted. ERCOT will review how current systems and process function to evaluate the overall solution.
12 | AEP Energy Partners | Ryan Aldridge | p. 62 | Comment on MMS data needs | Accepted | bbarnes | ERCOT settlements is attempting to be proactive in defining data needs of other systems. ERCOT will continue to engage all internal groups regarding integration requirements.
13 | AEP Energy Partners | Ryan Aldridge | p. 63 | Comment on Verifiable Cost data | Accepted | bbarnes | ERCOT is considering using the Registration system as the user input vehicle for verifiable cost data. This data will be used in settlement calculations. ERCOT is documenting the business requirement of this data in the Settlements Interface document. Design details of how information flows will be firmed up after significant due diligence is conducted.