| PRR Number | 680 | PRR Title | Procurement of Capacity for Load Forecast Uncertainty |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Urgent | Action |  | Rejected |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 5.6.5 Alert |  |  |
| Priority and Rank Assigned |  | TBD |  |  |
| Revision Description |  | This revision would separate the load forecast uncertainty procurement process from the RPRS procurement. |  |  |
| Overall Market Benefit |  | This PRR may result in proper allocation of Load Forecast Uncertainty. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | TBD |  |  |
| Procedural History |  | - This PRR was posted on 8/2/06, with a request for Urgent status. - The request for Urgent status was denied by e-mail vote on 8/4/06. - On 8/11/06, the RPRS Task Force (TF) discussed this PRR. - On 8/17/06, PRS again discussed this PRR and reconsidered the request for Urgent status. - On 8/25/06, the RPRS TF again discussed this PRR. - On 8/31/06, PRS considered this PRR. - On 10/19/06, PRS again considered this PRR. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 8/31/06, PRS voted on a motion to table this PRR until the October PRS meeting. The motion passed unanimously with all Market Segments present for the vote. On 10/19/06, PRS unanimously voted to reject this PRR. All Market Segments were present for the vote. |  |  |
| Summary of PRS discussion |  | On 8/31/06, participants discussed the extent to which the issues that this PRR addresses have been or are being addressed by the Qualified Scheduling Entities Managers Working Group. On 10/19/06, participants agreed that this PRR is no longer necessary. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Dependent on ERCOT’s forecast of weather conditions |  |
| --- | --- | --- | --- |
|  | 2 | Depend on RPRS Procurement |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | ERCOT implementation Cost | Minimal |
|  | 2 | Market Implementation Cost | Minimal |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Proper allocation of Load Forecast Uncertainty | Reallocation of Present Cost |
|  | 2 | More efficient procurement of Capacity | Less cost to Market |
| Additional Qualitative Information | 1 | What to include here: Cost of operating the system reliably |  |
| Other | 1 | Minimal ERCOT systems impacts |  |

| Original Sponsor |  |
| --- | --- |
| Name | Rafael Lozano |
| Company | PSEG Texgen I |
| Segment | Independent Generator |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

5.6.5	Alert

ERCOT will issue an Alert when ERCOT determines:

(1)	That conditions have developed such that additional Ancillary Services are needed in the Operating Period;

(2)	That market Congestion Management techniques specified in these Protocols will not be adequate to resolve transmission problems; or

(3)	Forced Outages or other abnormal operating conditions occur which require operations outside first contingency security limits as defined in the ERCOT Operating Guides;

(4)	That there are insufficient AS bids.

(5)	That there is uncertainty in the ERCOT load forecast.

ERCOT will post the Alert electronically and will notify all TDSPs and QSEs via the Messaging System of the posted Alert(s).

ERCOT must issue an Alert before acquiring Emergency Short Supply Regulation Services, Emergency Short Supply Responsive Reserve Services or Emergency Short Supply Non-Spinning Reserve Services.  With the issuance of an Alert pursuant to item (1) or (5) above, ERCOT may exercise its authority to immediately procure the following services from existing bids:

(1)	Regulation Services;

(2)	Responsive Reserve Services; and

(3)	Non-Spinning Reserve Services.

Emergency Short Supply Regulation Services, Emergency Short Supply Responsive Reserve Services or Emergency Short Supply Non-Spinning Reserve Services will be procured if there is insufficient availability of bids for any of the listed Ancillary Services.

ERCOT will post the Alert electronically on the MIS and will notify all TDSPs and QSEs via the Messaging System of the posted Alert(s).

Corrective actions identified by ERCOT shall be communicated through Dispatch Instructions to TDSPs and/or QSEs required to implement the corrective action.  Each QSE shall immediately notify the Market Participants that it represents of such Alert.  To minimize the effects on the ERCOT System, all TDSPs will identify and prepare to implement actions, including restoring outaged lines as appropriate and preparing for Load shedding.  ERCOT may instruct TDSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System.  On notification of an Alert, each QSE and TDSP will prepare for an emergency in case conditions worsen.  ERCOT may require information from QSEs representing Resources regarding their fuel capabilities.  Requests for this type of information shall be for a time period of no more than seven (7) days from the date of the request.  The specific information which may be requested shall be defined in the Operating Guides.  QSEs representing Resources shall provide the requested information in a timely manner, as defined by ERCOT at the time of the request.