## Slide 1: QSE Managers Working Group Report to WMS October 18, 2006

## Slide 2: Nodal MIS Presentation
Pat Harris and Kate Horne with the MIS Nodal team discussed preliminary configuration of the MIS
Focus on user-friendly, usability
Request feedback from QSE Managers during process

## Slide 3: ICCP vs RTU for Nodal
Jayent Tamby with ERCOT presented discussion of using only ICCP for Nodal
TPTF requests feedback from QSE Managers if any issues

## Slide 4: RPRS Market Issues
John Dumas discussed process for identification of un-resolvable contingencies
  Can currently identify unresolved hours
  Large MW dispatched, small results
  Contingency repeatedly occurring
Case by case study
Developing tools/processes that focus on 3 items above

## Slide 5: RPRS Market Issues - NSRS
NSRS not in current RPRS capacity calculations
Propose to utilize Non-Spin Flag in Resource Plan

## Slide 6: RPRS Capacity Examples
 | Current | w/ NSRS
Load | 50,000 | 50,000
RRS | 1,150 | 1,150
URS | 1,000 | 1,000
NSRS | 0 | 1,200
Total Capacity | 52,150 | 53,350

## Slide 7: RPRS Market Issues - NSRS
Check “non spin” flag in the Resource Plan only if utilizing off line unit for NSRS
Do not check “non spin” flag for total MW greater than QSE NSRS responibility
RPRS engine will set these units to “online” for the study
Will not procure these units
More accurate capacity calculation

## Slide 8: A/S Qualification Testing
QSE’s report issues with testing
ERCOT agrees, but has been 5 years since prior tests
ERCOT to make A/S Testing template more robust, including set-up procedures and explanations of what QSE’s should expect during test
ERCOT to describe scoring procedures

## Slide 9: A/S Qualification Testing
ERCOT concerned about practice of “borrowing” units for testing
Proposes replacing concept with provisional qualification
Proposal to provisionally qualify QSE’s for 45 days. If A/S qualification not completed in 45 days, revoke certification.
No PRR necessary.