## Verifiable Costs
Document Name: TN.COMS.63C01.VERIFIABLECOSTS.REQUIREMENTS.A.doc
| Issuing Entity | Name | Page Number | Description | Accepted / Rejected | Reviewer | Reason
1 | LCRA | C. Bascom | p. 9 | Concerning the input data of %GAS for Startup and Minimum-Energy, LCRA states "This same determinant “%GAS” is used in the VERISU calculation above and has a different meaning. Should there be a different determinant designation to avoid confusion?" | Accepted | kh | ERCOT will rename the startup input data from %GAS to GASPERSU. ERCOT will also rename the minimum-energy input data from %GAS to GASPERME. The percent is removed because the character of % is typically a wild card character.
2 | LCRA | C. Bascom | p. 10 | Concerning the input data of %OIL for Startup and Minimum-Energy, LCRA states "This same determinant “%OIL” is used in the VERISU calculation above and has a different meaning. Should there be a different determinant designation to avoid confusion?" | Accepted | kh | ERCOT will rename the startup input data from %OIL to OILPERSU. ERCOT will also rename the minimum-energy input data from %OIL to OILPERME. The percent is removed because the character of % is typically a wild card character.
3 | LCRA | C. Bascom | p. 10 | Concerning the input data of %SF for Startup and Minimum-Energy, LCRA states "This same determinant “%SF” is used in the VERISU calculation above and has a different meaning. Should there be a different determinant designation to avoid confusion?" | Accepted | kh | ERCOT will rename the startup input data from %SF to SFPERSU. ERCOT will also rename the minimum-energy input data from %SF to SFPERME. The percent is removed because the character of % is typically a wild card character.
4 | LCRA | C. Bascom | p. 13 | Include "to operate at minimum-energy" by each of the following for minimum-energy input data, %GAS, %OIL, %SF | Accepted | kh | Data input names will be changed as described in comments 1, 2 and 3.
5 | Reliant | M. Wagner | p. 5 § FR1 | Is the start and stop time coming from the Market System or SCADA? The particular instance envisioned is a ‘self scheduled’ unit. These are supposed to get deployments from ERCOT through the market system—so we should not have differences between Market System and SCADA---but the lookback periods for hot, warm, cold start etc should be coming from the telemetered unit status. | Response | kh | The start and stop times are coming from the verifiable costs approval process. The start time would reflect the first operating day that the verifiable costs are valid (approved for use). The stop time would relect the Operating Day prior to the Operating Day that newly submitted verifiable costs are valid (approved for use). This is a price is not connected to SCADA. The lookback periods for hot, intermediate and cold will be determined outside of this process.
6 | Reliant | M. Wagner | p. 5 § FR1 | Fuel Cost Adders are not part of the Nodal Protocols. Reliant requests that ERCOT remove the Fuel Cost Adder from the calculation. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
7 | Reliant | M. Wagner | p. 6 | Remove the input data of FCA from the table. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
8 | Reliant | M. Wagner | p. 6 | Reliant states, "For each unit, the VERISU will have an effective time—meaning that it may change upon review. So in some sense, it is like the variable scoped out above for the SFP---you may want to have the VERISU for each unit associated with a start and stop time—thus defining a table of VERISU variables, specific to each Resource. (I think FR 7 might get to this…but am wondering if you would want an overall VERISU variable as well." | Response | kh | Preliminary design discussions have resulted in the process described below: The input data for the calculation of VERISU will be stored on a table with start and stop times. Each day, if a resource receives a RUC-Commitment, the settlement system will calculate the VERISU and save as an interval data cut for that Operating Day. This alows for shadow settlement.
9 | Reliant | M. Wagner | p. 7 § D1 | Remove "FCA" from list of dependencies. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
10 | Reliant | M. Wagner | p. 7 | Remove "FCA" from diagram. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
11 | Reliant | M. Wagner | p. 7 § A3 | Remove Assumption #3, which assums the need for a fuel cost adder. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
12 | Reliant | M. Wagner | p. 8 § FR4 | Reliant asks, "Do you actually mean the result of %Gas * FIP here (same for oil and solid fuel)? Or do you really mean “%FIP?” FIP is public, so it seems like the entity would want its % fuel mix to be private." | Accepted | kh | ERCOT intent is to use the %GAS, %OIL and %SF, and will update the document. The data will be private to the Entity.
13 | Reliant | M. Wagner | p. 8 § FR4 | Remove "FCA" from the list of data made available to the extracts. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
14 | Reliant | M. Wagner | p. 9 § FR7 | Remove the fuel cost adder from the list of data stored as a verifiable cost for the Resource. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
15 | Reliant | M. Wagner | p. 9 § FR7 (2) | Remove "FCA" from the calculation of VERIME. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
16 | Reliant | M. Wagner | p. 10 | Remove the input data of FCA from the table. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
17 | Reliant | M. Wagner | p. 11 § D1 | Remove "FCA" from list of dependencies. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
18 | Reliant | M. Wagner | p. 11 | Remove "FCA" from diagram. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
19 | Reliant | M. Wagner | p. 12 § A3 | Remove Assumption #3, which assums the need for a fuel cost adder. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
20 | Reliant | M. Wagner | p. 12 § A4 | Remove "FCA" from the list of data made available to MMS. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
21 | Reliant | M. Wagner | p. 13 § FR10 | Reliant asks, "Do you actually mean the result of %Gas * FIP here (same for oil and solid fuel)? Or do you really mean “%FIP?” FIP is public, so it seems like the entity would want its % fuel mix to be private." | Accepted | kh | ERCOT intent is to use the %GAS, %OIL and %SF, and will update the document. The data will be private to the Entity.
22 | Reliant | M. Wagner | p. 13 § FR12 | Remove the fuel cost adder from the list of data stored as a verifiable cost for the Resource. | Response | kh | ERCOT agrees that a fuel cost adder component is not indicated in the Nodal Protocols. ERCOT's intent was to provide the flexibility in anticipation of the need for a fuel cost adder based on past experience. ERCOT recommends that the functionality remain in the document and be built into the system. The functionality shall not be used unless approved for use by either TPTF or the appropriate TAC subcommittee (WMS) who is, according to Nodal Protocols Section 5.6.1, Verifiable Costs, tasked with approving the process for determining verifiable costs. Based on the fact that the Verifiable Costs Requirement document received only two responses from Market Participants (one stating the fuel cost adder component be removed from the document and the other silent), ERCOT requests this issue be discussed further.
23 | Reliant | M. Wagner | p. 14 § A1 | Reliant states, "At one point there was discussion (by ERCOT) of developing a system for this. Should we expect a design document for a ‘verifiable cost system?’ If it won’t be a system, some of the assumptions about “importing information” contained in here won’t be valid. For example, if an analyst enters the information—this is a different activity than importing. Also, if a verifiable cost system isn’t being developed, where and how will all of the information be stored so that it meets the archival requirements?" | Response | kh | A verifiable cost "system" is not being developed for Nodal. Verifiable costs will, instead, be incorporated into one or more existing systems and archival requirements will be met there. A separate requirements document will not be forthcoming unless the need for one is determined through TPTF the verifiable costs process discussed at WMS.