## Sheet1
Presentations at Oct 31st EIL Task Force
| ERCOT | Oxy | Calpine | Texas Independent Energy (TIE) | Enernoc | Chapparel Steel | Air Products
| Paul Wattles | Alice Jackson | Randy Jones | Rafael Lozano | Kristin Brief/Phil Giudice | Mark Smith | Roger Yott
Questions Charged to Answer
Qualifications & Requirements | 1 MW minimum. QSE portfolio basis would be acceptable, w/multiple portfolios permitted. ERCOT-designed qualification & testing requirements. |  | Any loads that are not relayed under UFLS relaying schemes. | Any generator that is stranding duct burner capacity in order to comply with the AS 10 minute performance requirement. |  | Keep it simple and as cost free as possible. | Minimum 1 MW, detailed plan for achieving 10-minute deployment, pass ERCOT qualification test. Small load displacement generation can be used.
Telemetry | IDR Meters are believed to be sufficient in validating a response. | Telemetry best but IDR Meter with increased polling to capture minute-by-minute responses at a minimum. | IDR and SCADA preferred but not absolutely necessary | Existing | Two way telemetry of the program. | No telemetry requirement. IDR only, as proposed by ERCOT, in order to minimize barriers to market entry and maximize participation. | 1 minute interval metering for the "interruptible" load that can be uploaded to ERCOT within 24 hours of deployment.
Performance | 95% response within 10 minutes of the dispatch call (similar to LaaR). | At least 95% of response within 10 minutes of the activation of the call. | Performance would be governed by the same alignment of behaviors and incentives found in the BES regime. We did not specify a performance time but would prefer to have direct control so that sub 10-minute performance can be the norm. | Existing |  | Either QSE level or individual participant level | Deploy within 10-minutes of ERCOT instruction to QSE
Control Location | QSE calling | Either at ERCOT (big red button) or through QSE calling both have pluses and minuses. | Level of direct control will be key to determining requirements. | ERCOT | ERCOT or QSE | Either at ERCOT or through QSE; customer would deploy manually to avoid cost, but if cost not an issue, time delay deployment control signaling could be accommodated. | QSE level; participant may need to install equipment to receive time delay QSE deployment control signals.
Dispatch and Recall | Dispatch and recall via the QSE communication routes existing in the current Zonal market. Cannot come back online until recalled; recalled following recall of LaaRs in RRS. ERCOT is flexible on time allowed to return. Question asked "When does the 10 minutes start?" Wattles: ERCOT will define very clearly when the 10 minutes start and will be along the lines of the LaaR calls now where the 10 minutes is when the QSE has confirmed message receipt. | Two viable options exist with pros and cons of each. ERCOT direct control will provide less chance of error, however it has a higher cost of implementation. The dispatch should occur as EECP step 2b when as stated by ERCOT "not another MW of generation is available at any cost". The recall should be issued at the end of the EECP event and the participant should return to normal load status within 3 hours. (the timing of the return to service is negotiable) | When EECP is entered into a notice is sent to the EILP participants. EECP step 2B is when these would be deployed. Infrastructure in place to have direct control from ERCOT to dispatch the load. Recall should be when EECP is lifted. Recall timing can be refined based on load capabilities. Watch out for Reg Down and BES Down providers. We must ensure that those resources being dispatched down by other struck services are not penalized with the resulting clearing prices. | ERCOT notices Market of EECP. ERCOT suspends 10 min. AS requirement. | ERCOT or the QSE would have control of the deployment directly, not the customer. | Dispatch would be at ERCOT's direction, either directly by ERCOT or via QSE as intermediary. Load to remain off line for duration of EECP event. Some time limit on interruption duration would be preferable. ERCOT should allow loads to return on-line as soon as system reliability permits, but no deadline by which loads must go back on-line since EILS is not a frequency response service. | 10-minute dispatch clock starts with ERCOT deployment notice to QSE. QSE could activate time-delay device at EILP load to automatically disconnect load if load has not been deployed by the end of the 10 minute window. Recall is within 5 hours of the end of the deployment notice given by ERCOT to QSE.
Who gets paid? | QSE | Reservation payment to the participant's designated QSE. | The ISO would strike the EILP merit order offer stack for the amount of MWs needed and the marginal MW struck would set the MCPE for loads and generators. The exception would be in any EECP when firm load is shed (Step #3), in which case all EILP loads and generators would be paid the ECP based on VOLL through the ex post administratively set clearing price of VOLL ($10,000/MWh proposed). | Nobody gets capacity payments. Resources get MCPE if energy produced. |  | Payment to the obligated participant | 10-days prior to start of month ERCOT gives QSE monthly EILP requirement based on load ratio share; QSE can self-supply or tell ERCOT 8-days before start of month amount to be purchased from ERCOT auction. EILP participating in ERCOT market is paid.
How are they paid? | ERCOT offered 3 options for discussion: Capacity payment (with clawback provision) or 2 energy-only methods (with penalties for non-performance). | Reservation payment to the obligated participant's designated QSE. The unused energy automatically defaults to balancing energy through the existing methods. | Energy only through their LI payment to the designated QSE. | Existing ERCOT Settlement | In the interest of attracting the greatest number of participants a reservation payment is encouraged. | Capacity payment based on quantity bid times EILS clearing price, | Maximize participation through monthly capacity payment based on highest bid accepted in ERCOT auction. Atlernative is ERCOT offers fixed monthly capacity payment for needed MW; EILP selected through lottery.
Who pays? | For simplicity ERCOT prefers option of QSE based LRS method. | QSE based LRS | Those with positive energy imbalance will be paid (load or gen) those with short energy imbalance will pay. | Whoever consumes energy without a bilateral contract |  | QSEs based on non-self provided LRS | Money ERCOT collects from QSE purchasing EILP in auction is given to QSE providing EILP.
Effect on clearing price |  | Clearing price goes to price cap. | Clearing price will move to the marginally struck EIL provider unless firm load shed is called upon and then the ECP would set the balancing energy clearing price for EILPs and generators. | Price taker. No impact. |  | Negligible. | None
Compliance issues | Performance metrics clearly defined for QSEs and loads; penalties & disqualification criteria clearly defined. | Clawback of the participant's reservation fee in the percentage that the participant failed to provide as well as a penalty fee for non-compliance. If the participant has two failed event participations or tests they are suspended from the program. | Our proposal eliminates many compliance issues because if the load doesn't comply it will hurt! (Prefer to say that the compliance regimen for this proposal is self policing and imposes the same penalties as those found in the BES in general.) | Paid only as performed. | Two way telemetry would allow not only the customer to view what they are doing in comparison to their load curve but also enable the communication of such data to the ISO. | Measured by a historical baseline minus load during first 15-minute demand interval following 10 minute advance notice of interruption. Baseline must be known and knowable at time offer is made and ideally should be measured over the same interval as the performance term, i.e. one month historical baseline for one month term, one week baseline for one week term, etc. Alternative verification could be demonstrated load drop to zero or other predetermined load level following 10 minutes advance notice | Clear penalties. Performance is from average baseline load of last four full intervals prior to deployment instruction to first full interval after 10-minutes has expired. Fixed $/MW penalty for each fraction of MW not deployed within 10-minutes. Failure to comply with two successive deployments (test or event) disqualifies participant for six months and then must requalify.
Coordination with other Ancillary Services | Participants may not double dip into other AS or BES during contract period. | A participant may provide other Ancillary Services or be price responsive provided that the quantities obligated in each service or in price responsiveness do not overlap. Agree that care must be taken not to penalize the Reg Down providers. | Care must be taken not to penalize Reg Down and BES Down providers | Waiver issues on 10 minute timing only. AS must still be performed. |  | Not necessary | When providig EILP, participant agrees not to provide any other ancillary service or be price responsive with EILP load
Self-Provision | Encouraged. Rules for self-provision should be clarified. | Yes | QSEs can self provide by providing sufficient generation and load response to cover their load. No general uplift. Maintains cost causation assignment. | Not applicable. |  | QSEs can self-provide | QSE can self-supply
Contract duration | Initial proposal: 2 year. ERCOT is flexible on duration but sensitive to system & HR impacts. Seasonal auctions could attract 4CP loads in shoulder and winter months. | 1 month (negotiable) | no specific proposal (We are advocating against term contracting. This proposal calls for the regular construction of merit order offer stacks of loads willing to participate. Those merit order stacks would be struck and prices determined only in the event the ISO declares EECP and moves to Step #2b [last step prior to firm load shedding based on load ration shares of TDSPs].) | Not applicable. |  | Length of performance term requires a balancing of customer convenience versus admin cost. Term should be less than a year. Three-month terms would minimize admin costs, but a term as short as one day is feasible. | 1 month
Procurement: contract vs. auction | Initial proposal: procurement similar to Black Start. Descending clock auction (for capacity or energy) would provide a market-based mechanism to contain cost of program. ERCOT encourages some methodology to cap the cost of the program. | 1 month procurement through an auction | Contracting is the wrong method to take. Contracting is appropriate for site-specific services as part of an integrated planning function [as in RMR and Black Start] not system-wide services. | Not applicable. |  | Auction with marginal participant setting the market clearing price. Tie bids on the margin get prorated. Required term length would determine frequency of auctions. | Monthly auction, tied bids for last MW needed get prorated
Other Questions/Comments:
| Why is ERCOT bringing this up now if it is not tied to long term generation adequacy? Wattles: ERCOT has been looking at this concept since early 2005; need is more apparent and timely today, especially in the wake of April 17 incident. | A qualified LaaR that elects to participate and is selected for EILP must disarm their UFR devises for the time period they are obligated as a EILP provider. | The first step for this program is the need to establish flexible demand curve. | Presentation was assembled with the assumption that ERCOT is attempting to run an efficient market. In as much as the previous statement is accurate the more efficient the market becomes the more often the EILP tool will be utilized. | Set up the program with different levels of participants with different notification time frames | Program size should be a fixed 1000 MW for the duration of the program. | Looked at other markets and their technical aspects to gauge some of the options. PJM - direct control from the ISO, mandantory training, telemetry provides metering at one-minute scans. Ontario program - participants provide a description of how they will respond so that the ISO can determine if 10-minute response is feasible.
| ERCOT stated in earlier presentations that this service would only be called upon in the event that not another single MW is available in the market at any cost. What the "stranded capacity" refered to by Raphael Lozano included in this statement? ERCOT will take back internally and provide an answer. | Any load (or aggregated loads) with a response amount greater than or equal to 1 MW may participate | Cap load offers ($10,000/MWh Steven Stoft work; $6,530 for NE blackout) | Would like to activate "stranded capacity" that is online but not presently being offered into the market because of its negative effect on the performance of contractual Ancillary Services obligations. | Set realistic expectations | If length of historical baseline period does not match required performance term, or if performance verification can be satisfied by absence of load on-line, then need mechanism to prevent deemed non-compliance due to short-term maintenance outages, forced equipment outages and batch process load cycles. | IESO - ELRP program allows ESID meters (unless load reduction is too small to be accurately measured) or end-use demand meter (where the measurement can come from an existing energy management or control system).
|  |  | If additional capacity is needed after EECP Step 2 then ERCOT determines the qty and strikes the EILP load stack. | EECP notice sent to Market | Set up a specific testing protocol. | No price responsiveness prohibition. | IESO Baseline Options: real-time to the maximum of two hours prior to deployment; historic baseline is along the lines of BUL, or back-up or load displacement generation allowed.
|  |  | MCPE is set at the price bid by the emergency curtailment marginal EILP load deployed | AS 10 minute compliance waiver is issued for "stranded capacity" for combined cycle market participants. |  | Clawback is equal to compensation received for term in which non-compliance occurs, and ban on future participation if two events of non-compliance. | Use existing IDR meter only if ERCOT is convinced they can reliably determine 10-minute dispatch response using 15-minute IDR data.
|  |  | If firm load shed still happens the ECP of firm load would set MCPE (based on a calculation of VOLL). | CC MP's will update their resource plan to reflect incremental capacity. |  | Most important element of Steel Mills proposal is use of a historical baseline that matches term length for performance verification purposes.
Plan does not limit or require participation. Existing LaaRs can elect to participate or non-LaaR Participants.
Need to analyze impact on UFE for a EECP 2b event.
Question: If balancing energy clearing price is lower than the marginally struck EILP provider does the MCPE get adjusted down? Randy: it would not make sense to penalize the providers of the program so this would need to be incorporated into the program (MCPE would be administratively set ex post to the marginally priced EILP struck, unless firm load was shed, in which case the MCPE would be set to the ECP.)
Question: Has the level of interest of Loads in this proposal been gauged? Randy: No Loads have been consulted in the writing of this proposal.
Floyd: Third program is set up as a proxy load program. Tying voluntary load response to this program has some merits. In that if you have an IDR meter on a "large department store" and they could participate even if they weren't bidding into this program by signing a contract with their REP.