## Slide 1: Emergency Interruptible Load Task Force
Report to TAC
November 3, 2006

## Slide 2: Recent Background
May 2005 | At TAC request, WMS asks Demand Side WG to work on the issue of an emergency load program to address 1-in-10-year LOLE
2005 | ERCOT staff & DSWG subgroup research emergency demand response programs in other ISOs
Oct. 2005 | DSWG presentation to WMS; WMS defers decision in light of PUC rulemaking
Oct. 2005 | PUC resource adequacy draft rule includes Emergency Load Response (ELR) section; numerous parties submit comments
July 2006 | ELR section dropped from proposed rule; deferred to Demand Response project (32852)
Sept. 2006 | ERCOT proposes EILR program at PUC Demand Response Workshop
Oct. 2006 | WMS formed EIL TF to draft PRR(s) / NPRR(s) for WMS review at December 13 WMS meeting

## Slide 3: WMS Charge
The Emergency Interruptible Load Task Force (EIL TF) is to draft one or more PRRs/NPRRs by the December 2006 meeting of WMS that provides ERCOT with a load interruption ancillary service to be deployed within 10 minutes of instruction as part of the EECP immediately prior to firm load shedding. The EIL TF is specifically charged to address each of the following issue areas.
Qualifications & requirements
Dispatch and recall
Who gets paid
How they are paid
Who pays
Effect on clearing price
Compliance issues
Coordination with other ancillary services
Self-provision
Contract duration
Procurement: contract vs. auction

## Slide 4: Oct. 31 EIL TF meeting
Reviewed 7 proposals
  ERCOT
  Oxy
  Calpine
  Chaparral
  Enernoc
  TIE
  Air Products
Compiled matrix to compare proposals

## Slide 5: Discussion
MP Qualifications & System Requirements
  Balance widespread participation with efficacious participation
  Disarm UFRs
  No double-counting MWs
Dispatch and Recall
  Phone calls v. the “big red button”
Measurement and Compliance
  Widespread agreement on need, minor differences on details
Contract v. Auction
  ERCOT proposed 1 or 2 year contracts
  Most MPs propose shorter contracts or auction

## Slide 6: Next Steps
Proposal comparison spreadsheet distributed to stakeholders today
Next meeting on Nov. 8
  Identify common ground and differences
  Narrow work scope to 2 or 3 proposals
  Probably one more meeting late Nov. / early Dec. to finalize PRR/NPRR language
PRRs/NPRRs due to WMS on Dec. 13
  PRRs/NPRRs to go through normal PRS process