## Slide 1: WMS Report TO TAC
November 2006

## Slide 2: In Brief
Two Working Group reports
1 Task Force Report
2 ERCOT Staff Presentations
1 Very long discussion on EILP
Notes: QSEWG
CMWG
A-Service Methodology - vote
CRE’s – e-mail vote
EILP

## Slide 3: Working Group Reports QSEWG
Nodal Development efforts
RPRS and Non-Spin
Ancillary Service Requalification
Notes: QSE Managers Working Group – Gary Miller (see presentation)
Coordination & Participation with Nodal
ICCP is a big deal
Review of how RPRS is working. Recognition of off-line Non-spin. New proposed procedure add all of non-spin requirement to the capacity needed on line. Only those units that are off-line get reserved. The rest is new capacity obligation as far as RPRS is concerned. We don’t think that a PRR is needed to change ERCOT’s procedure, but that is being looked into.
Ancillary Service Requalification.
QSE’s report issues with testing
ERCOT agrees, but has been 5 years since prior tests
ERCOT to make A/S Testing template more robust, including set-up procedures and explanations of what QSE’s should expect during test
ERCOT to describe scoring procedures
ERCOT concerned about practice of “borrowing” units for testing
Proposes replacing concept with provisional qualification
Proposal to provisionally qualify QSE’s for 45 days. If A/S qualification not completed in 45 days, revoke certification.
No PRR necessary
Nodal MIS Presentation from Pat Harris and Kate Horne…request for feedback from QMWG.
Jeyant Tamby presented on ICCP for Nodal

## Slide 4: RPRS Capacity Examples
 | Current | w/ NSRS
Load | 50,000 | 50,000
RRS | 1,150 | 1,150
URS | 1,000 | 1,000
NSRS | 0 | 1,200
Total Capacity | 52,150 | 53,350

## Slide 5: Working Group Reports QSEWG
Nodal Development efforts
RPRS and Non-Spin
Ancillary Service Requalification
Notes: QSE Managers Working Group – Gary Miller (see presentation)
Coordination & Participation with Nodal
ICCP is a big deal
Review of how RPRS is working. Recognition of off-line Non-spin. New proposed procedure add all of non-spin requirement to the capacity needed on line. Only those units that are off-line get reserved. The rest is new capacity obligation as far as RPRS is concerned. We don’t think that a PRR is needed to change ERCOT’s procedure, but that is being looked into.
Ancillary Service Requalification.
QSE’s report issues with testing
ERCOT agrees, but has been 5 years since prior tests
ERCOT to make A/S Testing template more robust, including set-up procedures and explanations of what QSE’s should expect during test
ERCOT to describe scoring procedures
ERCOT concerned about practice of “borrowing” units for testing
Proposes replacing concept with provisional qualification
Proposal to provisionally qualify QSE’s for 45 days. If A/S qualification not completed in 45 days, revoke certification.
No PRR necessary
Nodal MIS Presentation from Pat Harris and Kate Horne…request for feedback from QMWG.
Jeyant Tamby presented on ICCP for Nodal

## Slide 6: Working Group Reports CMWG
Nodal Assignment from TAC
“Unless the Board approves changes, the “Competitive Constraints” are the contingency/limiting Transmission Element pairs that represent the Commercially Significant Constraints (CSCs) and Closely Related Elements (CREs), as those terms were defined in the ERCOT Protocols, immediately prior to Texas Nodal Market Implementation Date.
The ERCOT Board may approve changes to the Competitive Constraints from time to time, whether before the Texas Nodal Market Implementation Date or after.
An appropriate subcommittee approved by TAC (“TAC Subcommittee”) may develop an alternative list through the analysis described below for determining Competitive Constraints.”
Requirement: Nodal Protocol Section 3.19
Notes: Congestion Management Working Group – Bob Spangler presented the CMWG Report Constraining Competitiveness Tests presentation. Current Status and CMWG Plans
Shams gave a tutorial on how ECI works.
This is an issue because the Texas Two Step requires a definition of competitive.
Nodal protocols suggest a direction, but they are not complete and require more testing and work.
CMWG is going to try and get a tool developed to facilitate analysis of ECI approach.

## Slide 7: Task Force Reports
HzTF – Finished NPRR on Governor Response
EILP - Created
Notes: The Freq TF has completed its work on a Gov. Resp NPRR. Rather than filing it now in the midst of the ongoing nodal work, we have asked the DSWG to review and comment on the NPRR and see if there is a way to make it more load participation friendly.
The group once known as the Circle of Love was formally and finally disbanded. Mark Bruce was thanked for all his hard work and persistence in getting through some very complicated issues associated with SCE. We were so impressed with the work done on this controversial issue that we turned around an anointed him chairman of the EILP task force which should be every bit as interesting as the SCE discussion were.
Mark will give a status report in a minute on how his new group is doing.
WMS was able to draft a mission statement that is hopefully precise enough to allow the group to proceed and meet the objectives of TAC and the PUC. There is no commitment from WMS that the resulting PRR will be supported by anybody.

## Slide 8: Emergency Interruptible Load Task Force
The EIL TF is charged to draft one or more PRRs/NPRRs to be presented at the December WMS meeting. The PRRs/NPRRs should provide ERCOT with a load interruption ancillary service to be deployed within 10 minutes of instruction as part of the EECP immediately prior to firm load shedding.
Notes: The EIL TF is charged to draft one or more PRRs/NPRRs to be presented at
the December WMS meeting. The PRRs/NPRRs should provide ERCOT with a load
interruption ancillary service to be deployed within 10 minutes of
instruction as part of the EECP immediately prior to firm load shedding.
The EIL TF is further charged to address the following specific issues:
1. Qualifications & requirements
2. Dispatch and recall
3. Who gets paid
4. How they are paid
5. Who pays
6. Effect on clearing price
7. Compliance issues
8. Coordination with other ancillary services
9. Self-provision
10. Contract duration
11. Procurement: contract vs. auction

## Slide 9: Emergency Interruptible Load Task Force
Qualifications & requirements
Dispatch and recall
Who gets paid
How they are paid
Who pays
Effect on clearing price
Compliance issues
Coordination with other ancillary services
Self-provision
Contract duration
Procurement: contract vs. auction

## Slide 10: ERCOT Staff Presentations
Ancillary Service Methodology (vote)
Closely Related Elements (CREs) (vote)
Notes: Two staff presentations which required a vote from WMS and now TAC.
Ancillary service document spent more time with ROS – WMS made editorial changes and approved.
The discussion of CREs was abbreviated and frankly we (WMS) did not do as good a job as we should have in reviewing the proposals from ERCOT. A vote was conducted on a modified list by e-mail and it did pass, however it was not unanimous.
ERCOT can change this list as they need to during the year. However they are directed by Protocols to get their initial list approved so TAC is being asked for their approval as well.

## Slide 11: Post Meeting Discussion
PRR 692 Corrections to Replacement Reserve Service
Notes: We ran long on the agenda and did not have time to get all the way through it. We adjourned the meeting at 3:30 but since he was ready Eric Goss gave a presentation on PRR 692 to whoever chose to stay.
The fate of that PRR was included in Kevin’s report. (appeal???)