## Slide 1: Compliance Update
November 2006

## Slide 2: Control Performance Highlights
NERC CPS1 Performance
  September performance indicated a third straight month of declining scores since scores peaked in June
    June – 154.6
    July – 153.1
    August – 151.3
    September – 142.5
    MTD, October 1st-24th – 137.8
  September’s score lowest since February (141.06)
PRR 525 Performance
  Scores for September indicate 32 QSEs passed / 1 non-wind-only QSE failed the measure
  Scores posted on the ERCOT Compliance Website

## Slide 3: ERCOT CPS1 Performance Comparison

## Slide 4: ERCOT’s CPS1 Monthly Trend

## Slide 5: ERCOT CPS1 by Interval

## Slide 6: QSE PRR525 10-Minute Interval Scoring

## Slide 7: SCE Performance Monitoring
SCE Performance Monitoring scores for all QSEs are published on the Compliance Website
  SCE Performance Scores

## Slide 8: 525 Passing 10-Min Interval Percentage Trends

## Slide 9: Resource Plan Performance Metrics September 2006 Results

## Slide 10: NERC ERO Developments
On July 20th, FERC approved NERC’s application to become the Electric Reliability Organization (ERO).
Draft Texas Regional Entity budget submitted to NERC in June.
Proposed Regional Entity Work Plan submitted to NERC in July.
Draft Delegation Agreement between NERC and ERCOT filed August 4th.
Draft ERCOT Standards Development Process has been posted on the NERC Website for comment (Regional Reliability Standards).

## Slide 11: Other Compliance Activities
ERCOT Compliance submitted, to NERC on September 8th, contact information from ERCOT Entities responsible for NERC Reliability Standards.
ERCOT Compliance Staff participating with NERC on two ERCOT Local Control Center Reliability Readiness Audits – CenterPoint (October) & TXU Electric Delivery (December).
Events under investigation
  April 17th EECP Event – continued review with PUCT
  September 28th DCS Event (possible SPS mis-operation)
  October 3rd Load Shedding Event (possible DCS Event)