DWG Report to ROS, November 2006

- The last DWG meeting was October 3-4, 2006.  The DWG held a conference call on October 17.

- DWG members participated in the Combined Cycle Model Development kick-off meeting with ERCOT Planning Staff and Siemens PTI on November 1, 2006.

- The DWG is currently working on drafting an Operating Guide Revision Request to include language dealing with Generator Testing and Model Validation and other items.  This is in response to the NERC Field Test Standards that ERCOT is currently participating in.  A first draft has been completed and is being reviewed by the DWG members.  We will be discussing this on a November 7th conference call.

- Work has begun on developing the DWG Stability Book for 2006.  Included in this book will be a complete listing of all Undervoltage Load Shedding schemes and data in ERCOT to comply with new NERC Standards.

- Work will begin in December on 2007 flat start activities.

- The DWG has scheduled a conference call for November 7, 2006.  The next DWG meeting is scheduled for the November 29-30, 2006.

DWG Tasks, 2006

| Task | Status |
| --- | --- |
| Flat start 2006 case | Complete |
| Flat start 2008 case | Complete |
| Incorporate load as responsive reserve models into dynamics database. | Complete |
| Flat start 2006 case with wind models. | Complete |
| Publish flat start book. | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Complete |
| Assist Black Start Task Force in evaluating ERCOT-wide black start plan | Complete |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Review current ERCOT criteria for proposed NERC Standards (PRC-019,PRC-024,MOD-026-1,MOD-027-1) | Complete |
| Draft OGRR(s) to comply with NERC Field Test Standards | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Complete |
| Begin 2007 flat start activities. | Fall Activity |