Draft

OGRTF 10/16/06 Meeting Notes

Attendance:

Stephen C. Knapp	Constellation	QSE	410-468-3606

Jack Thormahlen	LCRA	QSE	512-473-3200 X-2635

Leo Villanueva	ERCOT		512-248-3135

Jerry Ward	TXU	QSE	214-316-7036

Ann Boren	ERCOT		512-275-7411

Wayne Kemper	Centerpoint	TO	713-207-2192 (Telephone)

Colleen Frosch	ERCOT		512-248-4219

Tom Peterson	GPL	NOIE	972-205-3030

NOTE:  Action items are shown in bold.

- 10:35 start meeting with Anti-trust Admonition

- Pre-meeting discussion held on a Regional Difference Document from NERC regarding the Nodal translation of definitions between entity names in ERCOT and NERC; for instance Transmission Operator.  Another example is for loss of AGC, in ERCOT a single QSE goes on constant frequency control.

- Reviewed meeting minutes from 09/19 and approved.

- New Business –Reviewed Nodal Guides #1.  A delegation agreement exists between ERCOT and NERC, the Texas Regional Entity Standards development.  Also discuss NERC representation on the ERCOT committees, such as the PDC T/F.  Finished Guide 1, will post a red-line copy for comments.

The group moved on to Guide 2.  Need comments regarding TTC, Planning uses this for calculating TCR’s.  Will it be needed in calculating CRR’s?

Stopped the meeting at Guide 2.2.2, will resume tomorrow.

- Day 2 – Started with ERCOT Anti-trust Admonition.  Began with 2.2.1 (3), the list under generation was replaced with a Protocol reference.

Question arose, what would ERCOT expect from generator response during a response to a Transient Voltage Disturbance.  Wayne Kemper will discuss with WES to decide if additional wording is needed for 2.2.3 or if 3.1.4.6 in the current guide is adequate.

The group needs to get a definition for AGC.  Receives signals for RGRS and RRS deployment and causes generation resources to respond in accordance with their participation factor and deployments.  The QSE sends participation factors of each unit.

- Schedule for Guides review:  Review 2,3,4,5 & 6 in 2006.  Do 7,8, & 9 in January 2007.  Review 3 in December.

The next meeting is scheduled for November 13-16, 2006, at the MetCenter, Room 211.  December meeting is 11th – 14th also in Room 211.  Start 4 day meetings in 2007.  The January/February meetings are January 9th-12th in Room 211 and February 13th-16th in Room 211.