| PRR Number | 692 | PRR Title | Corrections to Replacement Reserve Service |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Rejection of Appeal |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 2.1, Definitions, 2.2, Acronyms, 4.4.16, ERCOT Receipt of Replacement Reserve Service Bids 6.4.2, Determination of ERCOT Control Area Requirements 6.5.6, Replacement Reserve Service 6.8.1.11, Local Congestion Replacement Reserve Payment to QSE 6.9.2.1.1, Replacement Reserve Under Scheduled Capacity 6.9.2.1.2, Replacement Reserve Uplift Charge |  |  |
| Revision Description |  | This PRR removes costs related to capacity procured for system security from the costs that are solely assigned to under-scheduled Qualified Scheduling Entities (“QSE”); provides incentives for more accurate resource plans; and eliminates the Replacement Reserve Service (RPRS) over-collection by compensating QSEs representing unscheduled resources. |  |  |
| Overall Market Benefit |  | Certain Market Participants will benefit from the proposed changes in the allocation of the costs of additional capacity. |  |  |
| Overall Market Impact |  | This PRR will require extensive rewriting of the settlement engine and the settlement systems that shadow RPRS costs. |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | TBD |  |  |
| Procedural History |  | - PRR692 was posted on 9/19/06 with a request for Urgency. - On 9/21/06, PRS discussed this PRR. - On 10/11/06, Constellation NewEnergy (CNE) posted comments. - On 10/19/06, PRS considered the request for Urgent status and rejected PRR692. - On 11/20/06, CNE submitted an Appeal of the PRS decision regarding PRR692. - On 11/2/06, TAC considered the CNE Appeal. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 10/19/06, no PRS member offered to consider the request for Urgent status, therefore consideration of PRR692 would proceed on a normal timeline. Then, PRS voted to reject PRR692. The motion passed with two opposing votes from the Municipally Owned Utility (MOU) and the Independent Generator (IG) Market Segments and two abstentions from Independent Power Marketer (IPM) and Consumer Market Segments. All Market Segments were present for the vote. |  |  |
| Summary of PRS discussion |  | PRS noted that ERCOT did not conduct an e-mail vote to consider the request for Urgent status at the request of the sponsor of PRR692. The sponsor explained that CNE’s comments are designed to minimize system impacts. Participants inquired as to the reasoning for requiring a heat rate of ten. CNE explained that this is to ensure that more marginal units bid into RPRS. Participants and ERCOT Staff noted (and CNE conceded) that it would be difficult to monitor whether bids are correct, especially in a portfolio based market. The MOU membership supported the concept of procuring capacity appropriately, but one MOU could not support this PRR in its treatment of bidding practices. Participants questioned why the concept detailed in PRR692 was not brought forth during the special PRS RPRS taskforce meetings, noting that the taskforce work resulted in the compromise embodied in PRR676, RPRS Solution with Nodal RUC-Type Procurement and Cost Allocation. CNE claimed that this concept was discussed in connection with PRR680, Procurement of Capacity for Load Forecast Uncertainty, and that there had been a commitment to post comments to PRR680 to that effect. Many participants disputed this claim and stated that this concept should have been brought up at the meetings and that PRR680 does not address settlement issues. Participants further noted that many concepts were discussed, but that such side-bar discussions are ultimately immaterial within the context of a final compromise. CNE announced its intent to appeal the ERCOT Board decision regarding PRR676 with the Commission. ERCOT reported that it had not had the opportunity to fully review the comments offered by CNE, however, based on a very preliminary review it appeared that this PRR can be implemented. This PRR would require capturing the High Sustainable Limits (HSLs), which may require a change in the interface between Package I and Package II change. Implementation of this PRR would also nullify all the time, effort, and resources expended to implement PRR676 and PRR687, Replacement Reserve Under-Scheduled Capacity Delineation. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 11/2/06, TAC voted to reject CNE’s Appeal of PRS’ decision to reject PRR692. The motion passed with three abstentions from the Independent REP, Investor Owned Utility (IOU), and Consumer Market Segments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 11/2/06, CNE presented its appeal arguing that PRR692 is the best way to address issues related with RPRS because it isolates the costs for QSEs that under-schedule and assigns those costs based on marginal cost principles. CNE presented a graph to demonstrate the impact of RPRS on market behavior related to Balancing Energy Services. CNE explained that the intent was to have PRR692 replace PRR676 and suggested that ERCOT cease implementation of PRR676. ERCOT Staff explained that it was working under a Board directive to implement PRR676 expeditiously. Participants also noted that if work for PRR676 would cease, this could compromise the implementation of PRR666, Modification of RPRS Under-Scheduled Capacity Charge Calculation. Participants discussed that it appears that PRR692 creates an incentive to over-schedule. Participants noted (and ERCOT confirmed) that ERCOT Staff had not fully reviewed PRR692 prior to the PRS decision. Participants also noted that this PRR had not been reviewed by ROS. ERCOT Staff reported that if this PRR would require changes to the replacement engine, it would require a year to implement such a change, and that this change would not carry over into the nodal market. There was a suggestion to remand PRR692 for further development. Participants responded that they could not support a remand because, while PRR692 had not been shared with all interested parties or posted, it had been ready during earlier discussions at the RPRS task force; but rather than bring this PRR forward for full review, CNE withheld it. Participants emphasized that PRR676 was the compromise of those earlier discussions. Market Participants requested that ERCOT perform a high-level analysis in the event that the CNE appeals the TAC decision at the Board. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Capital is most efficiently allocated when charges are based on cost causation principles. |  |
| --- | --- | --- | --- |
|  | 2 | The cost of capacity procurements to resolve N-1 should be the responsibility of the entire system, and not arbitrarily assigned. |  |
|  | 3 | If deviations to the inputs to the RPRS Engine result in costs for the procurement of excess capacity, those costs are the responsibility of the entire system. |  |
|  | 4 | If true capacity insufficiency exists that is not due to system security or deliverability issues, it is possible that the cause is insufficient revenue, or insufficient prospective revenue for day-ahead commitment by QSEs that represent resources. In those instances, it is appropriate to charge all QSEs without scheduled capacity the full marginal cost of the resolution of the capacity insufficiency. |  |
|  | 5 | The costs that ERCOT imposes on QSEs that under-schedule should be the marginal cost of the impact of under-scheduling. Any additional cost is a constraint that will cause inefficiency in all electricity markets. |  |
|  | 6 | It is inappropriate to penalize any market segment by burdening them forcing direct cost responsibility to that segment for unrelated services. |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Extensive rewriting of the settlement engine. | Unknown |
|  | 2 | Extensive rewriting of shadow settlement systems that shadow RPRS costs. | Unknown |
|  | 3 | New extract. | Unknown |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Correct allocation the costs of additional capacity. |  |
| Additional Qualitative Information | 1 | Will help with market convergence issues, leading to a healthier market. |  |
|  | 2 | Will align incentives more appropriately. |  |
| Other | 1 | None |  |

| Original Sponsor |  |
| --- | --- |
| Name | Eric Goff/Vanus Priestley |
| Company | Constellation NewEnergy |
| Segment | Independent Retail Electric Provider |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| CNE 101106 | Offered a revised concept and PRR. |

Proposed Protocol Language Revision

# Definitions and Acronyms

2.1	Definitions

Adjusted Market Clearing Price for Capacity

The Market Clearing Price for Capacity, adjusted using the RPRS engine and detailed in Section 6.9.2.1.1.

Contingency Planning

A use of the RPRS procurement engine to plan for any contingency on ERCOT’s contingency list, detailed in the Operating Guides.

2.2	Acronyms

AMCPC	Adjusted Market Clearing Price for Capacity

---------------------------------------------------------------------------------------------------------------------

4.4.16	ERCOT Receipt of Replacement Reserve Service Bids

QSEs may submit unit-specific Replacement Reserve Service (RPRS) bids to ERCOT by 1600.  RPRS bids will have the following components:

(1)	A dollar per megawatt capacity price not exceeding one thousand dollars ($1,000) per megawatt, at which the supplier will provide the service;

(2)	A dollar per megawatt operational price not exceeding one thousand dollars ($1,000) per megawatt per hour;

(3)	Designation of the specific Resource;

(4)	Designation of the amount of capacity represented by the bid;

(5)	The hours that the bid is effective;

(6)	An expiration time for the bid.

(7)	A Balancing Energy bid point in $/MWh for each hour that the RPRS capacity bid is effective, not exceeding one thousand dollars ($1,000) per megawatt hour, and not below the lesser of either ten (10) MMBtu/MWh times the Fuel Index Price described in Section 6.8.2.1, Resource Category Generic Costs, or one thousand dollars ($1,000).

6.4.2	Determination of ERCOT Control Area Requirements

By the twentieth (20th) day of the current month, ERCOT will post a forecast of minimum Ancillary Services quantity requirements for the next calendar month.

Prior to 0600 of the Day Ahead, ERCOT will use the Day Ahead Load forecast and will develop an Ancillary Services Plan that identifies the amount of Ancillary Services necessary for each hour of the next day as specified in Section 4, Scheduling.  The amount of Ancillary Services required may vary depending on ERCOT System conditions from hour to hour.

By 0600 of the Day Ahead, ERCOT will post an ERCOT System and zonal Load forecast for the next seven (7) days, by hour.  ERCOT will notify each QSE of its allocated share of Ancillary Services for each hour for the next day, as specified in Section 4, Scheduling.  ERCOT will make available to Market Participants any ERCOT area Load forecasts used in the determination of its ERCOT System and zonal forecasts.

ERCOT will determine the total required amount of each Ancillary Service using the Operating Guides and the following:

(1)	Balancing Energy Service:  ERCOT will estimate Balancing Energy needs based on the actual Load, the difference in forecasted Loads and Loads reported in bilateral schedules, deployed Regulation Service, and forecasted Congestion.

(2)	Regulation Service:  ERCOT will use its operational judgment and experience to determine the quantity of Regulation Up Service and Regulation Down Service procured.  The quantity of Regulation Up Service may differ from the quantity of Regulation Down Service in any particular hour.

(3)	Responsive Reserve Service:  The requirement for Responsive Reserve Service is specified in the Operating Guides.  Using ERCOT-approved procedures ERCOT may increase the quantity requirement based on its judgment of reliability conditions.

(4)	Non-Spinning Reserve Service:  ERCOT will use its operational judgment and experience to determine the quantity of Non-Spinning Reserve Service procured.

(5)	Replacement Reserve Service:  Replacement Reserve Service is procured from Generation Resource units planned to be Off-line and LaaRs that are available for interruption during the period of requirement.  The QSE for a procured RPRS Resource must additionally make available to ERCOT via Balancing Energy Service bid(s) (i) for a Generation Resource that comply with paragraph (7) of Protocol Section 4.4.16, ERCOT Receipt of Replacement Reserve Service Bids, a quantity greater or equal to the High Sustainable Limit (if unavailable, the High Operating Limit) minus the Low Sustainable Limit (if unavailable, the Low Operating Limit) of the Generation Resource receiving the RPRS Dispatch Instruction in the Congestion Zone of the Generation Resource, and (ii) for a LaaR, a quantity equal to the amount of procured capacity from the LaaR in the Congestion Zone of the LaaR.  ERCOT will consider the Generation Resource capacity On-line, based on Resource Plans, in its determination of Zonal Congestion and Local Congestion requirements.  ERCOT will evaluate the need for Replacement Reserve Service necessary to correct for ERCOT total capacity insufficiency, Zonal Congestion, or Local Congestion.  ERCOT shall determine the amount of RPRS to provide sufficient capacity in appropriate locations to provide ERCOT System security as specified in the Operating Guides, given ERCOT forecasted Load conditions as posted on the Market Information System.

(6)	Voltage Support:  ERCOT in coordination with the TDSPs shall conduct studies to determine the normally desired Voltage Profile for all Voltage Support busses in the ERCOT System and shall post all Voltage Profiles on the Market Information System.  ERCOT may temporarily modify its requirements based on Current System Conditions.  ERCOT shall determine the amount of Voltage Support Service needed to provide sufficient reactive capacity in appropriate locations to provide ERCOT System security as specified in the Operating Guides.

(7)	Black Start Service: ERCOT shall periodically determine and review the location and number of Black Start Resources required, as well as any special transmission or voice communication needs required.  ERCOT and providers of this service shall meet the requirements as specified in the Operating Guides and in NERC policy.

6.5.6	Replacement Reserve Service

(1)	Replacement Reserve Service (RPRS) is provided by Resources that may otherwise be unavailable to ERCOT in the hours that ERCOT requests RPRS.  These Resources may include Generation Resources that are expected to be off-line in the requested hours and Loads acting as a Resource that otherwise may be unavailable to be dispatched by ERCOT, i.e.  Loads not declared as an active Resource in the Resource Plan at the time of the RPRS procurement.

[PRR307: Revise Section 6.5.6(1) as follows when system change implemented.] 6.5.6 Replacement Reserve Service (1) Replacement Reserve Service (RPRS) is provided by Resources that may otherwise be unavailable to ERCOT in the hours that ERCOT requests RPRS. These Resources may include Generation Resources that are expected to be off-line in the requested hours and Loads acting as a Resource that are declared to be available in the Resource Plan but are not committed to any service Obligation.

(2)	Resources providing RPRS must provide a telemetered output signal, including breaker status.

(3)	The minimum amount of RPRS that may be offered to ERCOT is one (1) MW.

(4)	Resources eligible to bid must meet additional technical requirements specified in Operating Guides

(5)	There may only be one RPRS bid from any given Resource.

(6)	Generation Resource and Loads acting as a Resource accepted for RPRS must be able to respond in the hours for which they have been selected to provide the Ancillary Service.

(7)	QSEs using Loads to provide RPRS must be capable of responding to ERCOT Dispatch Instructions in a similar manner to QSEs using Generation Resources to provide RPRS.

(8)	Each Generation Resource and Load acting as a Resource providing RPRS must meet additional technical requirements specified in the Ancillary Service Qualification, Testing and Performance Standards, 6.10.  QSEs must comply with their Balanced Schedule despite any generation provided by the RPRS unit.  For example, the QSE supplying RPRS must adjust other Resources to accommodate the minimum operating output of the RPRS Resource selected by ERCOT in order to comply with their Balanced Schedule and Dispatch Instructions.

(9)	QSE bids for RPRS will be in accordance with Section 4, Scheduling.

(10)	RPRS may not be self-arranged by the QSE.

(11)	For RPRS procurements due to Local Congestion, on or before the second (2nd) Business Day after each Operating Day, ERCOT will post on the MIS, for such Operating Day:

(a)	Each Resource receiving an RPRS Dispatch Instruction;

(b)	Intervals for which each Resource received an RPRS Dispatch Instruction;

(c)	The Low Sustainable Limit for each Resource receiving an RPRS Dispatch Instruction; and

(d)	The binding transmission constraint (contingency and/or overloaded element(s)) causing the RPRS deployment.

(12)	For RPRS procurements due to Zonal Congestion, no longer than thirty (30) minutes after the Operating Hour, ERCOT will post on the MIS, for such Operating Day:

(a)	The amount of RPRS procured by zone; and

(b)	The Market Clearing Price for Capacity (MCPC) and Adjusted Market Clearing Price for Capacity (AMCPC) by zone.

(13)	On or before the second (2nd) Business Day after each Operating Day, ERCOT will post on the MIS, for such Operating Day, the total amount of RPRS procured by hour for;

(a)	Local Congestion;

(b)	Zonal Congestion; and

(c)	System capacity.

6.6.3.2.1	Specific Procurement Process Requirements for Replacement Reserve Service in the Adjustment Period

ERCOT shall procure Replacement Reserve Service (RPRS) in the AP as follows:

(1)	ERCOT will evaluate Zonal Congestion, Local Congestion, Contingency Planning, and capacity insufficiency using ERCOT’s Operational Model, balanced QSE schedules, Resource Plans, and ERCOT forecast of next day Load.

(2)	ERCOT will define the level of Resources available to meet next-day reliability needs of the ERCOT System based on QSE schedule submissions, Resource Plans and ERCOT Load forecast.  ERCOT will determine incremental Resource capacity available from Generation Resources that are Off-line, or Generation Resources that are expected to be Off-line in the requested hours or Loads acting as a Resource shown as available in the Resource Plans.

(3)	RPRS procurement produces an optimum solution for the whole Operating Day.  The RPRS procurement resolves capacity inadequacy first, and then resolves Congestion, Contingency Planning simultaneously.  The solution of the RPRS is a result of ERCOT performing analysis of the current physical system operations for each hour to recognize potential transmission constraints that would require Resources not currently planned to be available.  The purpose and use of the RPRS procurement is to provide capacity from which energy would be available to solve the following system security violations:

(a)	ERCOT System capacity insufficiency using any RPRS bid, where capacity insufficiency is the difference between ERCOT’s load forecast and the highest sustainable limit (HSL) of resources that are online, when the load forecast is greater than the HSL of the available online resources;

(b)	Zonal Congestion using the RPRS bids by Congestion Zone in bid price Merit Order and the current physical system operations in the ERCOT System; and

(c)	Local Congestion using Resource Category Generic Cost and the current physical system operations in the ERCOT System.

(d)	Contingency planning issues (including N-1) using Resource Category Generic Cost and the current physical system operations in the ERCOT System

(4)	ERCOT will solve security violations using a transmission security-constrained mathematical optimization application.  The application will solve as if each bid can be proportioned into individual MW bids.  The objective of the optimization is to minimize the total cost, based on Resource Category Generic Cost, capacity price, operation price, and Resource Shift Factors, as described in Section 4.4.16, ERCOT Receipt of Replacement Reserve Service Bids, as well as lead time, minimum up time, and minimum down time captured through the registration process, for the whole Operating Day while satisfying all the security constraints for each hour.

(5)	The costs associated with resolving system security violations will be identified separately into the following categories:  capacity inadequacy, Zonal Congestion, Contingency Planning, and Local Congestion.

(6)	The Market Clearing Prices on the capacity insufficiency, CSC constraint, and Operational Constraint will represent the marginal cost for the solution of each constraint and will be produced as an output of the mathematical optimization application.  The output of the application will be as follows:

(a)	The marginal cost (Shadow Price of the power balance constraint) to solve system insufficiency defines MCPC for insufficiency.

(b)	The marginal cost (Shadow Price of the CSC constraint) to solve a CSC constraint defines the Congestion price of the CSC constraint.

(c)	The bidder of RPRS shall be paid the higher of RPRS bid price (as defined in Section 6.8.1.10, Zonal or System Wide Replacement Reserve Service Capacity Payment to QSE) and MCPC of the Congestion Zone unless the bid has been selected to solve Local Congestion.  Resources taken to solve Local Congestion shall be paid in accordance with the Local Congestion Replacement Reserve formula in Section 6.8.1.11, Local Congestion or Contingency Planning Replacement Reserve Payment to QSE.

(7)	QSEs whose schedules have impacts on CSCs according to the Commercial Model (using zonal Shift Factors at the time of RPRS procurement for each Zone) shall be charged Congestion costs associated with the impact.

(8)	The costs of resolving Local Congestion are based on the amount of capacity required to solve Local Congestion.  This cost will be tracked by specific constraint to aid the determination of the potential addition to the constraint as a CSC.

(9)	RMR Units will be considered available to offset RPRS needs in resolving Local Congestion in the RPRS procurement process.  The selection process will set a bid price for each RMR Unit based on its contract start and operational costs.  If the optimal solution indicates an RMR Unit is a more economic option in resolving Local Congestion, the RMR Unit will be deployed and paid as an RMR deployment.

Generation Resources that are eligible for RPRS procurement that do not submit an RPRS bid will be considered in the RPRS procurement process.  The selection process will set a bid price for each non-bid Generation Resource based on its generic cost times an adjustment factor.  The Generation Resource’s associated Balancing Energy bids must comply with Protocol Section  4.4.16(7).  If the non-bid Generation Resource with an adjustment factor is a more economic option, the non-bid Generation Resource will be deployed and paid as an OOMC deployment.

(10)	In the case of tied bids for the selection of RPRS, ERCOT will select the bid that meets the requirement most closely (achieving the optimal solution).  When the price and capacity are identical from unaffiliated bidders, ERCOT may request re-bids.

(11)	For RPRS, for each hour, for each Congestion Zone, ERCOT will post the quantity of capacity procured and the MCPCs and Shadow Prices.  This report shall be updated with each settlement’s AMCPC, which must be available with thirty (30) minutes of the Settlement Hour.

6.8.1.11	Local Congestion or Contingency Planning Replacement Reserve Payment to QSE

(1)	The QSE for a Resource selected to provide RPRS to resolve Local Congestion or Contingency Planning that actually reconnects to the ERCOT Transmission Grid and starts the unit in order to provide RPRS will be paid both the Resource Category Generic Startup Cost for starting the unit and the Resource Category Generic Minimum Energy Cost less the MCPE for operating at the Low Sustainable Limit (LSL) as set forth in the Resource Plan for that unit during the instructed interval(s).  If the MCPE during the intervals of an hour in which ERCOT deploys a Resource for RPRS provides revenue in excess of the hourly cost to start and operates the unit at LSL, the QSE representing the Resource may retain any such excess revenue.

(2)	Resources that are connected to the ERCOT Transmission Grid when the QSE is instructed to provide RPRS to resolve Local Congestion or Contingency Planning will be paid the Resource Category Generic Minimum Energy Cost less the MCPE for operating at the Low Sustainable Limit of the Resource during the instructed interval(s).

(3)	If ERCOT instructs a QSE to provide RPRS from a Resource to resolve Local Congestion or Contingency Planning and the payment for RPRS does not cover the cost of providing the RPRS plus a ten percent (10%) premium, then that QSE may submit additional verifiable costs directly attributable to the RPRS Dispatch Instruction, which exceed the payment for RPRS calculated pursuant to Section 6.8.1.11(4).  The QSE will be paid only for additional costs directly attributable to the RPRS instruction, plus the premium.  Verifiable costs are subject to the approved documentation requirements in Section 6.8.1.11(3)(b).  The premium to be provided shall be the product of the costs of providing the service times ten percent (10%).  Verification of these costs must be submitted to ERCOT by the QSE or the Resource to allow resolution by the end of the dispute process for Settlement True-Up as defined in Section 9.2.6, True-Up Statement.  QSEs requesting cost based recovery shall perform the following:

(a)	After receiving the Initial Statement for the subject Operating Day, submit a settlement dispute in accordance with the dispute process outlined in Section 9.5, Settlement and Billing Dispute Process.  In addition to the standard information required on the dispute form on the ERCOT Portal, the dispute should clearly indicate:

(i)	The Dispatch Instruction received from ERCOT to provide the RPRS;

(ii)	The payment received for providing the RPRS;

(iii)	The actual cost of providing the RPRS; and

(iv)	A reference to the documentation to be provided in writing as indicated in Section 6.8.1.11(3)(b).

(b)	Provide documentation to allow ERCOT to verify the claimed amounts.  All documentation submitted to ERCOT for verification pursuant to this Section 6.8.1.11(3)(b) shall be considered Protected Information in accordance with Section 1.3.1.1, Items Considered Protected Information.  ERCOT shall not make payments for verifiable costs outside the defined documentation requirements until after the QSE has followed the steps outlined in Section 6.8.1.11(3)(c) and the ERCOT Board has approved the documentation requirements.  Fuel costs, including transportation and storage costs directly related to this RPRS event for use in calculating the costs in Section 6.8.1.11(3)(b) (i), (iii) and (v), will require supporting documentation of sufficient detail to allow for the verification of the cost of fuel consumed by the Resource receiving the RPRS Instruction.  Documentation may include contracts, invoices or other documents.  For gas fired Resources, such documentation will not be required if the requested incremental fuel cost is less than one hundred ten percent (110%) of the Fuel Index Price.

Defined Documentation Requirements

(i)	Startup Fuel Cost which is the fuel cost for bringing the unit online and up to its LSL and ready to go to full load or the beginning of the RPRS period, whichever occurs first, to provide the RPRS shall be determined by multiplying the fuel consumption (MMBtu) to start up the Resource by the associated fuel cost ($/MMBtu).

(ii)	Startup Non-Fuel Cost which shall be based on either A or B below:

(A)	Documented historical non-fuel startup costs expressed on a per unit start basis for the deployed Resource.  If the historical Non-Fuel Startup costs are more than one hundred percent (100%) of the Resource Category Non-Fuel Startup Costs (RCNFSC), the QSE shall provide documentation for such costs. Non-fuel start-up costs are limited to the costs associated with water, chemicals, labor, emission allowances and start-up power used in the start-up of the Resource. Supporting documentation shall include an itemized list in sufficient detail to allow for the verification of each cost incurred due to the RPRS.

(B)	Generic Resource Category Non-Fuel Startup Costs (RCNFSC) as defined in 6.8.1.11(3) (b)(ii)(B).  If the QSE chooses to use RCNFSC, all subsequent requests for non-fuel startup cost-based recovery requested by the QSE for the remainder of the calendar year for the specific deployed Resource shall be based on the RCNFSC.

Resource Category Non-Fuel Startup Costs (RCNFSC)

For the purpose of documentation, the RCNFSC represents the startup cost (excluding fuel) of capacity used for Replacement Reserve Service.  The RCNFSC for each type of Resource shall be:

Combined Cycle greater than 90 MW** = $6,810

Combined Cycle less than or equal to 90 MW** = $5,310

Gas-Steam Supercritical Boiler = $4,800

Gas-Steam Reheat Boiler = $3,000

Gas-Steam Non-reheat or boiler without air-preheater = $2,310

Simple Cycle greater than 90 MW = $5,000

Simple Cycle less than or equal to 90 MW = $2,300

Renewable = $0

**	Determined by capacity of largest simple-cycle combustion turbine in the train

(iii)	Operational Fuel Cost, which shall be determined by multiplying the fuel consumption (MMBtu) at the Low Sustainable Limit of the Resource by its associated fuel cost ($/MMBtu) for the intervals covered by the RPRS Instruction.  Fuel consumption at the LSL shall be based upon a heat rate curve for the Resource from the most recently conducted heat rate tests filed with ERCOT.  Test data shall be provided in sufficient detail to allow ERCOT to validate the heat rate curve provided.

(iv)	Variable non-fuel maintenance costs (in dollars per MWh) for a specific deployed Resource, which shall be calculated based on: actual itemized variable maintenance costs contained in contracts with a third party or the manufacturer’s recommended maintenance schedule and associated costs.  Supporting documentation will be the corresponding excerpt of the appropriate contract from the third party or the maintenance schedule.

(v)	Fuel cost for bringing the unit Off-line from LSL as soon as possible (not to exceed three (3) hours) after the end of the RPRS period, in a manner consistent with Good Utility Practices, shall be determined by multiplying the fuel consumption (MMBtu) to bring the Resource offline by the associated fuel cost ($/MMBtu) minus the MCPE multiplied by the actual generation for shut down.  Fuel quantity will be based on the Real-Time metering of the fuel consumption for the Resource.

(vi)	Unavoidable costs directly resulting from a delay in an accepted Outage for a Generating Resource due to an RPRS instruction.  Supporting documentation shall include an itemized list in sufficient detail to allow for the verification of each cost incurred due to the Outage delay.  Further documentation supporting each line item must be provided upon ERCOT’s request and may include copies of contracts, vendor invoices or other documents.

(c)	Compensation for types of cost, whose documentation requirements are not covered in Sections 6.8.1.11(3)(b)(i) through 6.8.1.11(3)(b)(v) for the deployed Resource, will be denied pending possible review by the ERCOT Board of Directors.  The requesting QSE may request approval of the documentation requirements by the ERCOT Board, and if requested will be considered by the Board at its next regularly scheduled meeting for which proper notice may be posted following ERCOT’s receipt of the request.  The requesting QSE may request that this review be conducted at an Executive Session of the ERCOT Board of Directors. Requests must be presented in person by a representative of the company submitting the request and must also include language suitable to be included in the Protocols to define the documentation requirements for future requests of a similar nature.  Subsequent to the approval of such costs, the requesting company shall submit a Protocol Revision Request, in accordance with Section 21, Process for Protocol Revision, incorporating the necessary documentation standards provided to the ERCOT Board.  Once approved by the ERCOT Board, ERCOT will process the request for payments as described in Section 9.2.5, Resettlement Statement.

(d)	Submit a signature sheet signed by the authorized representative of the Resource Entity certifying the costs submitted are directly attributable to the RPRS deployment and which satisfies the documentation standards in Section 6.8.1.11(3)(b).

(4)	The calculation for RPRS to resolve Local Congestion or Contingency Planning is as follows:

LPCRPiuq	=	-1 *	MAX( 0, LPSRPiu + LPORPiu )

LPCRPiq	= 	SUM (LPCRPiuq)u

LPORPiu	=	SUM[(RCGMECc-MCPEjz) * MIN(MINCAPiu/4,MRju)]j

If the unit is deemed to be Off-line as described in Section 6.8.1.11 item (1)

Then:

LPSRPiu	 =	RCGSCc/N

If the unit is deemed to be On-line as described in Section 6.8.1.11 item (2)

Then:

LPSRPiu	=	0

The equation below will be used to determine the Total Replacement Reserve Payment to be allocated to each QSE as described in Section 6.9.2, QSE Obligations for Capacity Services Procured in the Day Ahead and Adjustment Periods.

LPCRPi	=	SUM (LPCRPiq)q

Where:

c	Resource Category

i	Hourly interval being calculated

j	Settlement Intervals within the hourly interval i

u	Resource

q	QSE

z	Zone

N	Number of hours that this Resource is continuously procured

LPCRPiuq	Replacement Reserve Service payment ($) per interval for the Resource

LPCRPiq	Replacement Reserve Service payments ($) per interval for that QSE

LPCRPi	Summations of Replacement Reserve Service payments ($) to resolve Local Congestion or Contingency Planning per interval for all QSEs

LPSRPiu	Price for starting a unit that is selected for Replacement Reserve Service to resolve Local Congestion or Contingency Planning

LPORPiu	Price for operating a unit that is selected for Replacement Reserve Service to resolve Local Congestion or Contingency Planning

MINCAPiu	Generating Unit Low Sustainable Limit as reported in the unit’s Resource Plan

MRju	Actual metered output of the Resource

RCGMECc	Resource Category Generic Minimum Energy Cost for a specific category of generation unit

RCGSCc	Resource Category Generic Startup Cost for a specific category of generation unit

6.9.2.1	Settlement for RPRS Procured for System-wide Capacity Insufficiency

The Settlement for RPRS, for each QSE, is as follows:

6.9.2.1.1	Replacement Reserve Capacity Charge

USRPizq=MaxM(MCPCRPMiz)∗

MMQizq=Across qa

MMSMi1zqaqb=MAX0,

MMSMi2zqaqb=MAX0,

MMSMi3zqaqb=MAX0,

MMSMi4zqaqb=MAX0,

USRPhq=MaxMh(MCPCRPMh)∗Maxi0,AMLiq−MinMCLiq4+MMQhq MMQiq=Across qaMaxMh(MMSMiqaqb) MMSMiqaqb=Max0,QSSATORPiz−QOSBTORPiz+Min0,QSSBTORPiz−QOSATORPiz

(1)	The Replacement Reserve Capacity Charge is a charge that assigns the costs of Replacement Reserve for system-wide capacity insufficiency to QSEs that cause a capacity shortfall, using the principal of marginal cost pricing.  A QSE’s Replacement Reserve Capacity Charge can be positive or negative, depending on the settlement equation below.

(2)	A QSE’s Replacement Reserve Capacity Charge is based on the hourly sum of resources that were paid balancing energy prices listed in the definition of Balancing Energy Quantity below, and the hourly sum of Adjusted Metered Load, at the time of settlement, as well as mismatched schedules, times the Adjusted Replacement Reserve Service Market Clearing Price of Capacity (AMCPC).  Resources that were actually awarded an RPRS procurement price at MCPC are multiplied times the greater of AMCPC or MCPC.

(3)	The AMCPC is the Replacement Reserve Service Market Clearing Price of Capacity (MCPC), adjusted, using the same RPRS optimization process used for procurement,  up or down the bid stack for the amount of Replacement Reserve for system-wide capacity actually required to solve the capacity shortfall, in whole megawatts, rounded up to the nearest megawatt.  To do this, ERCOT must store RPRS bid stacks to be used in the settlement process.  Rather than basing the load on the forecast, ERCOT will determine the AMCPC based on real-time SCADA data.  Rather than using the resource plans that were used for the original RPRS procurement, it will use the Highest Sustainable Limit (HSL) of the resources that were online in real-time, excluding the resources that were procured for RPRS.  If for any reason, ERCOT believes the SCADA data to be incorrect, it may adjust the price using settlement data, informing the market by updating AMCPC/MCPC price reports and sending out a notice to the market.

(4)	The calculation of the Replacement Reserve Capacity Charge is as Follows:

RPRSCCqh=BEQTYqh∗AMCPCRPh

Where:

BEQTYqh = RIQTYqh + LIQTYqh + MISAMTDqh + MISAMTRqh +BUBQTYqh

Where:

LIQTYqh=SLqh−AMLqh

RIQTYqh=QRSqh−MRqh

Where:

h	hour in trade day for which ERCOT purchased RPRS for capacity insufficiency

q	QSE.

AMCPCRPh	Replacement Reserve Service Adjusted Market Clearing Price of Capacity ($/MW), for the hour h, procured for system-wide insufficiency, for the hour, as described in this section.

AMLqh	QSE’s Adjusted Metered Load, as described in Protocol Section 6.9.5.2, except summed across zones and summed across all Settlement Intervals in hour, h.

BEQTYqh	QSE’s Balancing Energy Quantity, summed across zones, summed across all Settlement Intervals of the settlement hour, h, is the sum of Resource Imbalance Quantity (RIQTY), Load Imbalance Quantity (LIQTY), Mismatch Amount Delivered to ERCOT (MISAMTD), Mismatch Amount Received by ERCOT (MISAMTR), and Balancing Energy Up bids that were accepted (BUBQTY)

BUBQTYqh	Quantity of Balancing Energy bids that were accepted and paid MCPE.  If the resource was paid for a balancing bid, but was not counted as online and available when RPRS was procured, it will not be paid under this section.

LIQTY qh	QSE’s Load Imbalance Quantity, as described in Protocol Section 6.9.5.2, except summed across zones and summed across all Settlement Intervals in hour, h.  However, if a unit is online and providing energy as a result of its RPRS procurement, energy totals from that unit will not count toward this total, as was already paid AMCPC or MCPC for providing capacity.

MISAMTD qh	QSE’s mismatched amount delivered to ERCOT due to mismatched schedule, as described in Protocol Section 6.9.8, except summed across zones and summed across all Settlement Intervals in hour, h.

MISAMTR qh	QSE’s mismatched amount received by ERCOT due to mismatched schedule, as described in Protocol Section 6.9.8, except summed across zones and summed across all Settlement Intervals in hour, h.

MRqh	QSE’s Metered Resources, as described in Protocol Section 6.8.1.13, except summed across zones and summed across all Settlement Intervals in hour, h.

QRSqh	QSE’s Resource Schedule, as described in Protocol Section 6.8.1.13, except summed across zones and summed across all Settlement Intervals in hour, h.

RIQTY qh	QSE’s Resource Imbalance Quantity, as described in Protocol Section 6.8.1.13, except summed across zones and summed across all Settlement Intervals in hour, h.  However, if a unit is online and providing energy as a result of its RPRS procurement, energy totals from that unit will not count toward this total, as was already paid AMCPC or MCPC for providing capacity. If the resource was paid a for Resource Imbalance, but was not counted as online and available when RPRS was procured, it will not be paid under this section.

RPRSCCqh	Replacement Reserve Capacity Charge, per QSE, per hour.

SL qh	QSE’s Scheduled Load, as described in Protocol Section 6.9.5.2, except summed across zones and summed across all Settlement Intervals in hour, h.

.9.2.1.2	Replacement Reserve Uplift Charge

(1)	Prior to direct assignment of Zonal Congestion costs, the QSE’s Obligation for Replacement Reserve procured for CSC Congestion will be recovered as part of the System Congestion Fund described in Section 7.3.3.1, System Congestion Fund.

(2)	The calculation for Replacement Reserve Uplift Charge will be as follows:

UCRPiq 	= 	-1 * (Σ (PCRPiq + LPCRPiq)q + Σ (RPRSCCqh) +  TCRPAYRPi + Σ (CSCRPiq)q,CSC) * LRSqi

TCRPAYRPi   	= 	-1 * (Σ(TCRcsci ) * SPCSCi )CSC

Where:

i:	Interval being calculated

q:	QSE

z:	CSC zone being settled

UCRPi:	Replacement Reserve Service Uplift Charge ($)

PCRPiQSE	Service Cost ($) per interval for all QSEs of Procured Capacity of Replacement Reserve procured to resolve Zonal Congestion and Capacity Insufficiency per single Resource

LPCRPiQSE	Service Cost ($) per interval for all QSEs of Procured Capacity of Replacement Reserve procured to resolve Local Congestion and Power Balance (N-1) per single Resource

CSCRPiQSE	Replacement Reserve Service CSC Impact Capacity Charge ($) per interval for all QSEs

LRSqi	Load Ratio Share (Factor) (Adjusted Metered Load / Total System Load) per hourly interval of that QSE

RPRSCCqh	Replacement Reserve Capacity Charge, per QSE, per hour.

TCRPAYRPi	Payment to TCR Account Holders for RPRS market per hourly interval

TCRcsci	Total number of TCRs per CSC per hourly interval

SPCSCi 	Shadow Price of RPRS per CSC per hourly interval