| PRR Number | 696 | PRR Title | MAPE Publication |
| --- | --- | --- | --- |
| Date |  | 11/13/06 |  |
| Submitter’s Information |  |  |  |
| Name |  | Anitha Sampath |  |
| E-mail Address |  | Asampath@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive Taylor, TX 76574 |  |
| Phone Number |  | 512-248-4295 |  |
| Fax Number |  | 512-248-3055 |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

ERCOT Staff offers the following comments regarding this PRR696:

- This PRR proposes that ERCOT be required to post Load forecast Mean Absolute Percent Error (MAPE) by Commercially Significant Constraint (CSC) zone.  The CSC zone forecasts that are currently posted are based upon an agreed upon percentage allocation of total load and does not necessarily reflect the actual Load for the area.  Data regarding forecasted Load and actual Load per area is, however, available to Market Participants on the ERCOT website at http://mospublic.ercot.com/ercot/jsp/ca_load_forecast.jsp

- Each Load area has two or three weather stations and it would also require a new project to post this information.  These locations are, however, fixed and Market Participants may find the data via common weather information web sites.

- In conclusion, ERCOT currently posts all the necessary information needed for the Market Participants to be able to calculate the actual Load vs. forecast MAPE.  If, however, ERCOT were required to post the MAPE, this would need to be automated and, therefore, would require a system project.

ERCOT is not proposing any revisions at this time.

Revised Proposed Protocol Language

None