## Settled Values
The following Excel workbook contains actual settled RPRS data for Operating Day August 5, 2006.
The analysis also contains expected results had this Operating Day been settled with the logic of
PRRs 666, 687 and 676. The data was rounded to help with the analysis.
Replacement HSL (R-HSL) - Resource High Sustainable Limit of Capacity Procured in RPRS market
08/05/2006_Initial | Total | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | Hour 13 | Hour 14 | Hour 15 | Hour 16 | Hour 17 | Hour 18 | Hour 19 | Hour 20 | Hour 21 | Hour 22 | Hour 23 | Hour 24
OOMC Payment ($) | -76833.134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -594.4067 | -630.1967 | -10913.8456 | -9484.3175 | -5959.3003 | -4696.1959 | -7977.983 | -9702.0298 | -10547.561 | -10683.9996 | -2796.0153 | -2847.2828 | 0 | 0
Local RPRS Payment ($) | -205308.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5094.7634 | -5143.8127 | -50963.9675 | -42819.4635 | -12242.355 | -7447.9294 | -10424.6794 | -12000.1519 | -13076.0419 | -17133.0094 | -14514.0685 | -14448.1475 | 0 | 0
Capacity Insuficiency (Zonal) RPRS Payment ($) | -167653.316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -16274.3125 | -16274.3125 | -16274.3125 | -16274.3125 | -24159.88 | -5807.458 | -10804.55 | -10804.55 | -5807.458 | -45172.17 | 0 | 0
Total Capacity Payments ($) | -449794.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5689.17 | -5774.0093 | -78152.1256 | -68578.0935 | -34475.9679 | -28418.4378 | -42562.5424 | -27509.6396 | -34428.1529 | -38621.5589 | -23117.5418 | -62467.6002 | 0 | 0
Total ShortFall Quantity (USRP) (MW) | 95516.2664 | 4488.3824 | 3704.6184 | 3412.6516 | 3133.9892 | 2900.0592 | 2961.3636 | 3446.702 | 3256.8064 | 3795.0232 | 4041.9064 | 4439.0892 | 3940.4724 | 4319.7356 | 4722.424 | 5052.9072 | 4952.1432 | 4815.656 | 4328.3888 | 3928.454 | 3525.1656 | 3161.3548 | 3081.6564 | 4723.5536 | 5383.7632
MCPC ($/MW) | 462.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.63 | 43.63 | 43.63 | 43.63 | 85.07 | 23.8 | 35 | 35 | 23.8 | 85.07 | 0 | 0
Total Under Scheduled Charge (USRP) ($) | 1941986.7218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 188470.0642 | 206039.3591 | 220458.3411 | 216062.0078 | 409667.8559 | 103015.6534 | 137495.89 | 123380.796 | 75240.2442 | 262156.5099 | 0 | 0
Total RPRS Uplift Amount (UCRP) ($) (1) | -1569025.0159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5094.7634 | 5143.8127 | -121231.7842 | -146945.5831 | -191941.6736 | -192339.7659 | -375083.2965 | -85208.0436 | -113615.2981 | -95443.2366 | -54918.7177 | -202536.1925 | 0 | 0
Total Uplift Amount to Load Ratio Share (2) | -1645858.1499 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4500.3567 | 4513.616 | -132145.6298 | -156429.9005 | -197900.9739 | -197035.9619 | -383061.2795 | -94910.0733 | -124162.8591 | -106127.2362 | -57714.733 | -205383.4753 | 0 | 0
Total R-HSL (MW)(3) | 21917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230 | 230 | 2916 | 2734 | 2124 | 1903 | 1814 | 1774 | 1846 | 2456 | 1831 | 2059 | 0 | 0
(1) Local RPRS + Zonal RPRS + USRP
(2) OOMC Payments + UCRP
(3) For hours of capacity procurement

## SettlementPRR 666 & 676
Under Scheduled Charge with PRR 676
= Min[2*USQ*(Capacity Payments)/Total R-HSL, (Capacity Payments)*USQ / ∑(USQ)]
USQ - Under Scheduled Quantity (MW)
Replacement HSL (R-HSL) - Resource High Sustainable Limit of capacity procured in the RPRS market
08/05/2006_Initial | Total | interval 1 | interval 2 | interval 3 | interval 4 | interval 5 | interval 6 | interval 7 | interval 8 | interval 9 | interval 10 | interval 11 | interval 12 | interval 13 | interval 14 | interval 15 | interval 16 | interval 17 | interval 18 | interval 19 | interval 20 | interval 21 | interval 22 | interval 23 | interval 24
Total Capacity Payments ($) | 449794.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5689.17 | 5774.0093 | 78152.1256 | 68578.0935 | 34475.9679 | 28418.4378 | 42562.5424 | 27509.6396 | 34428.1529 | 38621.5589 | 23117.5418 | 62467.6002 | 0 | 0
Total R-HSL (MW) Cap | 21917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230 | 230 | 2916 | 2734 | 2124 | 1903 | 1814 | 1774 | 1846 | 2456 | 1831 | 2059 | 0 | 0
| Hour | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
QSE | Total USQ
x1 | 13217.5116 | 567.4176 | 521.9972 | 485.4668 | 468.5204 | 474.906 | 551.0388 | 362.5352 | 395.1556 | 527.2912 | 580.2888 | 690.2608 | 678.4692 | 729.89 | 732.3296 | 715.4644 | 724.5596 | 657.7672 | 583.2928 | 540.23 | 521.2724 | 442.4696 | 487.2692 | 422.2916 | 357.3276
x2 | 521.0892 | 68.5096 | 42.6796 | 33.5368 | 29.7468 | 22.5804 | 9.7652 | 18.3672 | 10.1744 | 34.244 | 25.4548 | 13.4144 | 6.8836 | 0 | 0 | 0 | 0 | 0 | 0 | 9.788 | 18.8316 | 25.9388 | 30.5148 | 50.8512 | 69.808
x3 | 443.798 | 17.0368 | 12.838 | 16.896 | 17.06 | 12.9536 | 7.7912 | 4.0436 | 0 | 8.1704 | 18.3208 | 32.1936 | 31.7376 | 26.2264 | 20.8636 | 16.7284 | 13.4656 | 12.3564 | 17.7896 | 22.8196 | 27.8908 | 21.1648 | 28.2816 | 29.7856 | 27.384
x4 | 537.894 | 67.24 | 41.5616 | 43.8248 | 14.5984 | 0 | 0 | 0 | 0 | 32.1248 | 30.9584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6212 | 36.062 | 40.2324 | 0 | 6.4064 | 78.9712 | 122.2928
x5 | 299 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 18 | 18 | 18 | 18 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 100 | 100
x6 | 653.9592 | 79.3356 | 79.3192 | 79.3064 | 79.302 | 109.3076 | 109.3256 | 0.344 | 0.3596 | 0 | 0.4708 | 0.5056 | 0.5252 | 0.5324 | 0.5324 | 0.5376 | 0.5328 | 0.5264 | 0.5044 | 0.4872 | 0.4772 | 0.4716 | 0.4616 | 55.4204 | 55.3736
x7 | 2799.6912 | 117.696 | 181.2412 | 113.4772 | 78.5184 | 52.0476 | 87.5072 | 54.5736 | 105.9444 | 125.6028 | 148.5588 | 231.5588 | 210.778 | 159.3164 | 182.6888 | 158.7012 | 66.6384 | 97.1648 | 100.9876 | 95.7936 | 95.1836 | 59.1428 | 82.6168 | 110.7608 | 83.1924
x8 | 791 | 6 | 6 | 6 | 6 | 6 | 6 | 151 | 151 | 151 | 151 | 151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x9 | 13774.5732 | 387.82 | 336.9292 | 306.8468 | 264.4832 | 227.9816 | 241.36 | 253.8808 | 66.0756 | 121.7588 | 304.11 | 378.4236 | 630.0256 | 780.5768 | 975.432 | 1102.6832 | 1109.3156 | 1023.3828 | 804.1532 | 652.924 | 672.404 | 751.5824 | 684.09 | 692.2224 | 1006.1116
x10 | 786 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 60 | 88 | 127 | 136 | 112 | 0 | 0 | 0 | 148 | 72
x11 | 105.8336 | 9.516 | 3.4144 | 3.2332 | 6.1904 | 8.4332 | 4.8104 | 2.6784 | 1.932 | 4.704 | 3.3416 | 2.9904 | 2.06 | 8.1732 | 4.5692 | 2.438 | 0 | 0 | 0 | 0.4588 | 6.5348 | 0.1152 | 10.1196 | 10.2728 | 9.848
x12 | 261.7752 | 0 | 0 | 0 | 0 | 0 | 0 | 45.4068 | 49.68 | 43.6528 | 8.3156 | 12.446 | 14.4132 | 17.89 | 18.8744 | 17.4148 | 15.1436 | 11.868 | 5.534 | 0 | 0 | 0.19 | 0.946 | 0 | 0
x13 | 208.7692 | 8.4288 | 6.2828 | 4.5584 | 6.756 | 2.3712 | 1.6556 | 7.324 | 0 | 2.5128 | 2.4044 | 3.6232 | 4.6532 | 1.982 | 3.2192 | 8.1784 | 9.7524 | 10.9872 | 15.306 | 16.5868 | 20.6144 | 9.7316 | 20.668 | 21.8196 | 19.3532
x14 | 234.5436 | 0 | 0 | 35 | 23 | 16 | 15 | 58 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6764 | 1.5444 | 2.1252 | 2.4164 | 3.1824 | 3.1288 | 2.3648 | 1.4596 | 1.41 | 26.2356
x15 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x16 | 1023.014 | 92.4084 | 89.6268 | 86.0428 | 88.134 | 75.032 | 57.9576 | 26.3004 | 14.8076 | 166.4792 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3548 | 49.2496 | 51.828 | 28.0888 | 0 | 0 | 0 | 0 | 193.704
x17 | 1790 | 0 | 59 | 52 | 46 | 43 | 42 | 144 | 142 | 181 | 199 | 219 | 36 | 49 | 57 | 63 | 66 | 67 | 64 | 31 | 23 | 20 | 12 | 96 | 79
x18 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0
x19 | 4165.4048 | 166.9856 | 168.2792 | 175.726 | 175.384 | 171.698 | 167.9416 | 167.7944 | 167.2692 | 167.0388 | 164.2544 | 163.2832 | 172.9888 | 175.4584 | 178.5176 | 187.1848 | 187.3516 | 171.1676 | 175.5068 | 176.332 | 175.3984 | 178.8988 | 178.9756 | 177.5988 | 174.3712
x20 | 2206.0064 | 158.1084 | 122.4096 | 107.0872 | 99.9716 | 107.9076 | 142.014 | 0 | 0 | 0 | 41.5012 | 105.5492 | 142.3504 | 150.5948 | 140.6344 | 141.7204 | 137.3968 | 111.9276 | 66.346 | 25.896 | 1.4396 | 0 | 0 | 228.1968 | 174.9548
x21 | 318 | 0 | 0 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 2 | 2 | 8 | 0 | 38 | 38 | 38 | 38 | 38 | 32 | 0 | 0 | 0 | 0 | 0
x22 | 145.1864 | 7.9132 | 3.0048 | 3.0044 | 4.9456 | 9.6712 | 10.2676 | 8.6516 | 8.7848 | 4.4488 | 6.3508 | 7.7448 | 8.3108 | 7.0368 | 5.1084 | 6.7176 | 5.8932 | 7.986 | 9.7128 | 9.6348 | 9.3908 | 0 | 0.4348 | 0.0964 | 0.0764
x23 | 139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 34
x24 | 119.5476 | 4.1876 | 3.798 | 3.5352 | 3.3332 | 3.2012 | 3.1432 | 3.1376 | 3.3288 | 3.9032 | 4.5436 | 5.082 | 5.5736 | 5.9584 | 6.2776 | 6.5896 | 6.7084 | 6.7232 | 6.574 | 6.3804 | 6.134 | 5.7772 | 5.6924 | 5.2452 | 4.72
x25 | 2440.0964 | 0 | 0 | 0 | 0 | 0 | 0 | 416.8024 | 416.4004 | 447.0304 | 547.8632 | 612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x26 | 1314.0716 | 83.3508 | 30.6668 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54.0916 | 121.5116 | 67.0212 | 96.682 | 122.4708 | 125.9484 | 125.3308 | 107.3724 | 76.8724 | 51.9068 | 18.5004 | 0 | 116.6204 | 115.7252
x27 | 62.6132 | 2.9476 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.42 | 7.5028 | 13.184 | 0.4156 | 1.4876 | 0 | 0 | 0 | 0 | 8.4908 | 5.4816 | 9.258 | 7.4252 | 0 | 0
x28 | 4265.2168 | 157.6372 | 131.9696 | 119.3236 | 111.686 | 110.3504 | 142.6368 | 128.2024 | 150.6124 | 207.7884 | 230.6364 | 260.3484 | 287.644 | 284.9696 | 233.6776 | 226.3832 | 214.1116 | 204.3816 | 169.9088 | 163.6512 | 138.5852 | 137.5168 | 131.0128 | 179.1516 | 143.0312
x29 | 505.7748 | 35.9636 | 28.6948 | 24.4464 | 21.6968 | 23.224 | 29.6076 | 0 | 0 | 8.22 | 9.6604 | 23.3084 | 18.0772 | 20.1308 | 17.7976 | 20.192 | 18.78 | 17.1824 | 11.1304 | 18.4052 | 13.3048 | 24.118 | 20.0464 | 56.9612 | 44.8268
x30 | 12628.726 | 1049.2332 | 856 | 789 | 789 | 789 | 789 | 819 | 803 | 612 | 480 | 126 | 126 | 127 | 266.902 | 453.3856 | 518.756 | 524.7568 | 458.022 | 334.4992 | 179.5032 | 166 | 160 | 373.7904 | 1038.8776
x31 | 60.9448 | 14.2492 | 13.7636 | 12.456 | 8.2436 | 5.686 | 6.462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0844 | 0
x32 | 196.7572 | 14.4056 | 11.6244 | 9.7236 | 8.2744 | 7.1848 | 6.3516 | 0 | 0 | 0 | 0 | 0 | 3.606 | 6.5824 | 9.044 | 11.014 | 11.958 | 12.2072 | 11.9556 | 10.978 | 9.6464 | 7.4968 | 6.6952 | 20.3368 | 17.6724
x33 | 69.1972 | 0.4492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1464 | 7.8368 | 8.4868 | 9.64 | 8.8076 | 8.3676 | 3.8932 | 0 | 0 | 0 | 0 | 11.2884 | 4.2812
x34 | 111.514 | 4.5224 | 3.316 | 2.7752 | 2.314 | 2.4768 | 3.5852 | 0 | 0 | 0.8384 | 3.8416 | 6.206 | 8.2292 | 8.5364 | 8.2076 | 8.3796 | 8.0768 | 7.686 | 5.992 | 4.4728 | 3.2196 | 2.6188 | 1.9432 | 8.3952 | 5.8812
x35 | 89.2392 | 6.7072 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5372 | 0 | 7.8944 | 10.71 | 9.6252 | 8.3272 | 2.408 | 0 | 0 | 0 | 0 | 25.6164 | 14.4136
x36 | 1686 | 135 | 104 | 88 | 73 | 60 | 52 | 1 | 5 | 15 | 25 | 34 | 44 | 54 | 65 | 74 | 82 | 87 | 84 | 79 | 73 | 66 | 61 | 157 | 168
x37 | 67.0648 | 4.962 | 4.864 | 4.832 | 4.8348 | 4.964 | 5.5304 | 5.65 | 5.9696 | 6.7016 | 7.7632 | 8.346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6472
x38 | 235.0028 | 8.7992 | 0 | 0 | 0 | 0 | 0.7136 | 0 | 0 | 0 | 0 | 14.9304 | 29.0836 | 31.8232 | 33.0016 | 40.0044 | 34.9208 | 30.1432 | 8.4312 | 0 | 0 | 0 | 0 | 1.2084 | 1.9432
x39 | 60.2468 | 2.096 | 1.9856 | 1.9272 | 1.8916 | 1.9032 | 1.98 | 2.0344 | 2.112 | 2.3328 | 2.56 | 3.7184 | 2.8744 | 2.9132 | 2.9388 | 2.9936 | 2.974 | 2.95 | 2.8472 | 2.752 | 2.6728 | 2.6064 | 2.5688 | 2.3952 | 2.2192
x40 | 52.2852 | 1.3744 | 1.2284 | 1.1596 | 1.1668 | 1.142 | 1.34 | 0.41 | 0.7084 | 1.6584 | 2.1596 | 2.5648 | 2.926 | 3.0492 | 3.228 | 3.344 | 3.4348 | 3.3296 | 3.1532 | 2.856 | 2.6764 | 2.822 | 2.6844 | 2.3536 | 1.5156
x41 | 204.5088 | 6.5612 | 4.6768 | 4.3524 | 2.5024 | 2.5912 | 6.042 | 0 | 0.0804 | 4.0844 | 8.3096 | 11.7884 | 14.244 | 14.7448 | 14.7512 | 14.3932 | 14.5512 | 14.1148 | 11.3364 | 9.224 | 7.968 | 7.4528 | 6.1164 | 13.9836 | 10.6396
x42 | 78.5412 | 1.4064 | 0.2436 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0168 | 2.9784 | 4.5304 | 5.7208 | 6.2664 | 6.6292 | 7.0856 | 6.9832 | 6.8352 | 5.99 | 5.148 | 4.514 | 3.6964 | 3.3424 | 3.886 | 2.2684
x43 | 6.4308 | 0.32 | 0.164 | 0.072 | 0.0116 | 0.0124 | 0.0828 | 0 | 0 | 0 | 0 | 0.2228 | 0.3964 | 0.4712 | 0.5224 | 0.6004 | 0.5928 | 0.566 | 0.4556 | 0.3416 | 0.2392 | 0.0832 | 0.0016 | 0.7588 | 0.516
x44 | 1372.8196 | 50.44 | 38.1108 | 31.0856 | 24.8104 | 30.7292 | 34.1376 | 10 | 10 | 25.5696 | 56.0188 | 78.5124 | 92.7056 | 93.9848 | 93.3784 | 95.7168 | 90.5368 | 83.7748 | 75.6656 | 62.352 | 51.6048 | 53.0144 | 46.8604 | 80.1192 | 63.6916
x45 | 407.6088 | 14.9412 | 13.1508 | 11.97 | 11.0452 | 10.3572 | 9.864 | 9.592 | 9.9528 | 11.712 | 13.8688 | 16.0172 | 18.3432 | 20.2132 | 21.7268 | 22.97 | 23.5236 | 23.6444 | 23.4412 | 22.8144 | 21.9544 | 20.6616 | 20.1728 | 18.6676 | 17.0044
x46 | 2279 | 221 | 0 | 0 | 0 | 0 | 0 | 258 | 261 | 265 | 272 | 281 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 401 | 265
x47 | 15.574 | 0.7592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.308 | 0.9836 | 1.5316 | 1.7208 | 1.7632 | 1.6332 | 1.3108 | 0.9452 | 0.3712 | 0.1628 | 2.4132 | 1.6712
x48 | 31.0308 | 0 | 0 | 0 | 0 | 0.5268 | 0.8012 | 0.984 | 0.0216 | 0.792 | 0.8888 | 1.8708 | 3.0192 | 2.5048 | 4.0144 | 4.2428 | 1.766 | 1.3668 | 1.1104 | 0.9524 | 0.6344 | 1.0592 | 0.9424 | 1.8668 | 1.666
x49 | 75.4632 | 2.9 | 2.74 | 2.698 | 3.0868 | 3.0768 | 3.5188 | 2.958 | 3.266 | 3.404 | 3.0544 | 3.2612 | 3.3832 | 3.4012 | 3.3172 | 3.144 | 2.8132 | 2.3344 | 2.2056 | 3.2364 | 3.2312 | 3.5184 | 3.6696 | 3.5696 | 3.6752
x50 | 47.6 | 1.6348 | 1.3464 | 1.14 | 0.9776 | 0.8604 | 0.7796 | 0.7276 | 0.8016 | 1.1224 | 1.498 | 1.862 | 2.2488 | 2.5548 | 2.8036 | 2.9932 | 3.0696 | 3.0856 | 3.0456 | 2.9324 | 2.796 | 2.5828 | 2.5036 | 2.2484 | 1.9852
x51 | 57.288 | 5.3628 | 4.7984 | 4.3908 | 4.0808 | 3.8652 | 3.7008 | 0 | 0 | 0 | 0 | 0 | 0.6408 | 1.2316 | 1.7168 | 2.0832 | 2.2336 | 2.2708 | 2.1888 | 1.9672 | 1.7052 | 1.272 | 1.1208 | 6.602 | 6.0564
x52 | 23.946 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1316 | 0.4132 | 0.3488 | 1.2276 | 1.8412 | 2.4388 | 2.8088 | 2.1416 | 2.4076 | 2.304 | 1.7936 | 1.458 | 1.1832 | 1.0312 | 0.6116 | 0.4968 | 0.976 | 0.3324
x53 | 7.4756 | 1.1856 | 0.6924 | 0.3596 | 0.1212 | 0.1008 | 0.3432 | 0 | 0 | 0 | 0 | 0 | 0.1576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6716 | 1.8436
x54 | 1051.0952 | 38.32 | 32.8976 | 28.492 | 23.8432 | 24.5372 | 25.5784 | 29.4616 | 27.7132 | 35.598 | 48.7668 | 61.8688 | 44.4316 | 53.3696 | 59.5736 | 64.3644 | 63.3608 | 63.052 | 57.0412 | 50.8612 | 47.6856 | 39.956 | 33.924 | 52.8716 | 43.5268
x55 | 876.6948 | 148.4388 | 89.6064 | 49.7632 | 19.3888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.3756 | 69.2744 | 88.1636 | 92.8276 | 86.4908 | 65.31 | 37.4604 | 0 | 0 | 78.8964 | 22.6988
x56 | 2.1852 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0696 | 0.3544 | 0.4 | 0.6528 | 0.4512 | 0.2572 | 0 | 0 | 0 | 0 | 0 | 0 | 0
x57 | 968.0816 | 26.5936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9136 | 66.9424 | 78.3256 | 86.5624 | 94.1168 | 96.3184 | 89.006 | 73.2628 | 52.3236 | 27.8832 | 38.6352 | 18.4412 | 120.766 | 66.9908
x58 | 10.6564 | 0.8028 | 0.6032 | 0.474 | 0.3752 | 0.2876 | 0.2396 | 0 | 0 | 0 | 0 | 0 | 0.1804 | 0.3892 | 0.54 | 0.66 | 0.6956 | 0.7068 | 0.666 | 0.5916 | 0.5168 | 0.3908 | 0.3512 | 1.1756 | 1.01
x59 | 59.7708 | 3.5344 | 1.4388 | 1.554 | 1.5024 | 0.8256 | 0.3792 | 0.3976 | 0.0992 | 0.6364 | 3.264 | 4.622 | 5.6692 | 6.1612 | 1.8288 | 2.6532 | 1.8564 | 1.2508 | 0 | 2.87 | 2.5124 | 2.6344 | 5.3268 | 3.9768 | 4.7772
x60 | 9.9144 | 0.3604 | 0.3212 | 0.2912 | 0.2688 | 0.254 | 0.2396 | 0.2332 | 0.248 | 0.2968 | 0.3452 | 0.396 | 0.448 | 0.49 | 0.5272 | 0.5532 | 0.5676 | 0.5724 | 0.5692 | 0.5544 | 0.5328 | 0.4988 | 0.4856 | 0.45 | 0.4108
x61 | 177.2596 | 6.0056 | 6 | 6 | 5.3312 | 5.3604 | 5.6032 | 5.7584 | 6.0496 | 6.8764 | 7.7404 | 8.4988 | 9.032 | 9.0972 | 9.0048 | 9.0396 | 8.9212 | 8.8348 | 8.5556 | 8.1572 | 8 | 8 | 8 | 7 | 6.3932
x62 | 31.31 | 3.3984 | 2.8096 | 2.3908 | 2.0664 | 1.8268 | 1.6508 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2736 | 0.7728 | 1.1524 | 1.3056 | 1.3424 | 1.2652 | 1.0364 | 0.7716 | 0.3304 | 0.172 | 4.6436 | 4.1012
x63 | 39.9012 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0044 | 0.3468 | 1.9764 | 3.7044 | 5.1936 | 6.6228 | 6.9412 | 6.5876 | 3.7728 | 2.346 | 1.954 | 0.4512 | 0 | 0 | 0 | 0 | 0 | 0
x64 | 298.6944 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 55.2636 | 108.6492 | 55.3624 | 55.4192 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0
x65 | 32.1564 | 1.0316 | 1 | 1 | 1 | 1 | 1 | 1.004 | 1.0516 | 1.1548 | 1.262 | 1.3528 | 1.4116 | 2.4208 | 2 | 2 | 2 | 1.464 | 1.4152 | 1.3716 | 1.34 | 1.3004 | 1.2816 | 1.194 | 1.1004
x66 | 1991.0312 | 415.3644 | 264.1632 | 338.1392 | 276.058 | 135.1836 | 40.0228 | 0 | 76.1684 | 148.3688 | 0 | 0 | 0 | 0 | 0 | 52.3144 | 10.8904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 234.358
x67 | 107 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 28 | 28 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
∑USQ | 78839.386 | 4249.6624 | 3331.258 | 3105.3584 | 2822.522 | 2582.4176 | 2642.7688 | 3160.3892 | 2999.5272 | 3443.4592 | 3474.7056 | 3706.8444 | 3002.9584 | 3146.8756 | 3551.9156 | 4028.6936 | 3948.022 | 3837.712 | 3336.9344 | 2804.1804 | 2333.256 | 2148.8544 | 2104.6844 | 4143.8816 | 4932.5048
First Term |  | 1: Hour
2*USQ* Capacity Payments/ R-HSL (Cap) | Total first term by QSE | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
x1 | 315183.8375 | Hour 11: 34147.9223; Hour 12: 34065.1086; Hour 13: 39123.7689; Hour 14: 36738.6743; Hour 15: 23226.2972; Hour 16: 21640.4119; Hour 17: 30866.8625; Hour 18: 18090.3886; Hour 19: 20150.727; Hour 20: 16394.424; Hour 21: 11172.9213; Hour 22: 29566.3308
x2 | 4473.158 | Hour 11: 663.6244; Hour 12: 345.6171; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 365.0951; Hour 20: 592.2685; Hour 21: 654.9878; Hour 22: 1851.5652
x3 | 11694.2876 | Hour 11: 1592.651; Hour 12: 1593.5061; Hour 13: 1405.7949; Hour 14: 1046.6612; Hour 15: 543.0582; Hour 16: 402.1769; Hour 17: 579.8454; Hour 18: 551.7311; Hour 19: 851.1773; Hour 20: 877.1874; Hour 21: 534.4382; Hour 22: 1716.0599
x4 | 3731.7817 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 732.5938; Hour 19: 1345.1225; Hour 20: 1265.3404; Hour 21: 0; Hour 22: 388.725
x5 | 1235.5968 | Hour 11: 890.4788; Hour 12: 0; Hour 13: 0; Hour 14: 50.1669; Hour 15: 32.4632; Hour 16: 29.867; Hour 17: 46.9267; Hour 18: 31.0142; Hour 19: 37.3003; Hour 20: 31.4508; Hour 21: 25.2513; Hour 22: 60.6776
x6 | 253.4384 | Hour 11: 25.0126; Hour 12: 26.3696; Hour 13: 28.5379; Hour 14: 26.7088; Hour 15: 17.4522; Hour 16: 15.9131; Hour 17: 24.7022; Hour 18: 15.6436; Hour 19: 18.1727; Hour 20: 15.0083; Hour 21: 11.9085; Hour 22: 28.0088
x7 | 67650.0788 | Hour 11: 11455.4555; Hour 12: 10582.9055; Hour 13: 8539.7224; Hour 14: 9164.9229; Hour 15: 5151.9562; Hour 16: 1990.2882; Hour 17: 4559.6261; Hour 18: 3132.0547; Hour 19: 3573.1275; Hour 20: 2993.5985; Hour 21: 1493.4311; Hour 22: 5012.99
x8 | 7470.1276 | Hour 11: 7470.1276; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x9 | 389010.9204 | Hour 11: 18721.0105; Hour 12: 31632.8147; Hour 13: 41840.6969; Hour 14: 48934.3576; Hour 15: 35796.6766; Hour 16: 33131.9142; Hour 17: 48024.0064; Hour 18: 24940.2083; Hour 19: 24354.2441; Hour 20: 21147.6309; Hour 21: 18978.4135; Hour 22: 41508.9467
x10 | 20135.3573 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 1204.0046; Hour 15: 1947.7948; Hour 16: 2628.2948; Hour 17: 5959.6945; Hour 18: 4217.938; Hour 19: 4177.6307; Hour 20: 0; Hour 21: 0; Hour 22: 0
x11 | 1837.4183 | Hour 11: 147.9382; Hour 12: 103.4301; Hour 13: 438.1022; Hour 14: 229.2224; Hour 15: 79.1454; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 17.1134; Hour 20: 205.5246; Hour 21: 2.9089; Hour 22: 614.0331
x12 | 5053.5926 | Hour 11: 615.7166; Hour 12: 723.6691; Hour 13: 958.9448; Hour 14: 946.8693; Hour 15: 565.3409; Hour 16: 452.2937; Hour 17: 556.9264; Hour 18: 171.6329; Hour 19: 0; Hour 20: 0; Hour 21: 4.7977; Hour 22: 57.401
x13 | 4994.5328 | Hour 11: 179.2435; Hour 12: 233.6315; Hour 13: 106.2397; Hour 14: 161.4971; Hour 15: 265.4974; Hour 16: 291.2748; Hour 17: 515.5933; Hour 18: 474.7041; Hour 19: 618.6922; Hour 20: 648.339; Hour 21: 245.7353; Hour 22: 1254.0849
x14 | 640.6063 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 54.4214; Hour 16: 46.1266; Hour 17: 99.7287; Hour 18: 74.9428; Hour 19: 118.7044; Hour 20: 98.4032; Hour 21: 59.7142; Hour 22: 88.565
x15 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x16 | 5066.4468 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 100.1978; Hour 17: 2311.1226; Hour 18: 1607.4065; Hour 19: 1047.7199; Hour 20: 0; Hour 21: 0; Hour 22: 0
x17 | 30385.9389 | Hour 11: 10834.1586; Hour 12: 1807.516; Hour 13: 2626.5118; Hour 14: 2859.5108; Hour 15: 2045.1845; Hour 16: 1971.2211; Hour 17: 3144.0908; Hour 18: 1984.912; Hour 19: 1156.3085; Hour 20: 723.368; Hour 21: 505.0255; Hour 22: 728.1313
x18 | 2259.395 | Hour 11: 0; Hour 12: 2259.395; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x19 | 87742.668 | Hour 11: 8077.7903; Hour 12: 8685.556; Hour 13: 9404.9705; Hour 14: 8955.6669; Hour 15: 6076.6263; Hour 16: 5595.6277; Hour 17: 8032.3354; Hour 18: 5443.2117; Hour 19: 6577.2319; Hour 20: 5516.4166; Hour 21: 4517.4227; Hour 22: 10859.8118
x20 | 44521.8838 | Hour 11: 5221.6291; Hour 12: 7147.2395; Hour 13: 8072.2248; Hour 14: 7055.1858; Hour 15: 4600.7043; Hour 16: 4103.6284; Hour 17: 5252.396; Hour 18: 2057.6714; Hour 19: 965.9279; Hour 20: 45.2765; Hour 21: 0; Hour 22: 0
x21 | 8930.8677 | Hour 11: 98.9421; Hour 12: 401.6702; Hour 13: 0; Hour 14: 1906.3406; Hour 15: 1233.6034; Hour 16: 1134.9455; Hour 17: 1783.2157; Hour 18: 1178.5415; Hour 19: 1193.6088; Hour 20: 0; Hour 21: 0; Hour 22: 0
x22 | 3185.0699 | Hour 11: 383.1433; Hour 12: 417.2751; Hour 13: 377.1885; Hour 14: 256.2724; Hour 15: 218.0751; Hour 16: 176.0121; Hour 17: 374.7569; Hour 18: 301.2352; Hour 19: 359.3807; Hour 20: 295.348; Hour 21: 0; Hour 22: 26.3826
x23 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x24 | 3021.4244 | Hour 11: 251.4118; Hour 12: 279.8436; Hour 13: 319.3838; Hour 14: 314.9275; Hour 15: 213.9198; Hour 16: 200.3597; Hour 17: 315.4978; Hour 18: 203.8877; Hour 19: 237.9907; Hour 20: 192.9191; Hour 21: 145.8817; Hour 22: 345.4012
x25 | 30276.2788 | Hour 11: 30276.2788; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x26 | 39135.6054 | Hour 11: 2675.9679; Hour 12: 6100.9488; Hour 13: 3592.4892; Hour 14: 4850.2321; Hour 15: 3975.7998; Hour 16: 3761.6992; Hour 17: 5881.3644; Hour 18: 3330.0744; Hour 19: 2867.3616; Hour 20: 1632.5094; Hour 21: 467.1587; Hour 22: 0
x27 | 2303.4586 | Hour 11: 371.1713; Hour 12: 661.9525; Hour 13: 22.2771; Hour 14: 74.6282; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 316.7092; Hour 20: 172.4006; Hour 21: 233.7763; Hour 22: 450.5434
x28 | 104809.273 | Hour 11: 12879.7071; Hour 12: 14442.2534; Hour 13: 15275.0206; Hour 14: 11722.8707; Hour 15: 7349.1336; Hour 16: 6394.8683; Hour 17: 9590.9598; Hour 18: 5269.594; Hour 19: 6104.2346; Hour 20: 4358.6128; Hour 21: 3472.4745; Hour 22: 7949.5437
x29 | 9330.8894 | Hour 11: 1153.0909; Hour 12: 907.6341; Hour 13: 1079.0568; Hour 14: 892.8497; Hour 15: 655.4979; Hour 16: 560.902; Hour 17: 806.3138; Hour 18: 345.201; Hour 19: 686.519; Hour 20: 418.4463; Hour 21: 609.0102; Hour 22: 1216.3677
x30 | 133821.7139 | Hour 11: 6233.3515; Hour 12: 6326.3059; Hour 13: 6807.4897; Hour 14: 13389.6345; Hour 15: 14718.3685; Hour 16: 15493.6785; Hour 17: 24625.1197; Hour 18: 14205.2088; Hour 19: 12476.9118; Hour 20: 5645.5158; Hour 21: 4191.7116; Hour 22: 9708.4177
x31 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x32 | 3954.3528 | Hour 11: 0; Hour 12: 181.0528; Hour 13: 352.8317; Hour 14: 453.7091; Hour 15: 357.5502; Hour 16: 357.1494; Hour 17: 572.844; Hour 18: 370.794; Hour 19: 409.4824; Hour 20: 303.3868; Hour 21: 189.3038; Hour 22: 406.2487
x33 | 2243.8406 | Hour 11: 0; Hour 12: 308.6032; Hour 13: 420.0704; Hour 14: 425.7561; Hour 15: 312.9457; Hour 16: 263.0565; Hour 17: 392.6641; Hour 18: 120.7447; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x34 | 3101.4227 | Hour 11: 307.0173; Hour 12: 413.1781; Hour 13: 457.5705; Hour 14: 411.7495; Hour 15: 272.029; Hour 16: 241.2297; Hour 17: 360.6788; Hour 18: 185.8374; Hour 19: 166.8367; Hour 20: 101.2589; Hour 21: 66.128; Hour 22: 117.9087
x35 | 1674.2434 | Hour 11: 0; Hour 12: 177.5985; Hour 13: 0; Hour 14: 396.0372; Hour 15: 347.6814; Hour 16: 287.4757; Hour 17: 390.7682; Hour 18: 74.6823; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x36 | 32196.313 | Hour 11: 1682.0155; Hour 12: 2209.1862; Hour 13: 2894.5232; Hour 14: 3260.8457; Hour 15: 2402.2802; Hour 16: 2449.0929; Hour 17: 4082.6253; Hour 18: 2605.197; Hour 19: 2946.7216; Hour 20: 2295.907; Hour 21: 1666.5841; Hour 22: 3701.3343
x37 | 412.8853 | Hour 11: 412.8853; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x38 | 9577.918 | Hour 11: 738.6225; Hour 12: 1460.252; Hour 13: 1705.7961; Hour 14: 1655.5865; Hour 15: 1298.6727; Hour 16: 1042.9791; Hour 17: 1414.5217; Hour 18: 261.4873; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x39 | 1452.9973 | Hour 11: 183.9531; Hour 12: 144.3201; Hour 13: 156.1542; Hour 14: 147.4304; Hour 15: 97.182; Hour 16: 88.8244; Hour 17: 138.4338; Hour 18: 88.3038; Hour 19: 102.6504; Hour 20: 84.0616; Hour 21: 65.8149; Hour 22: 155.8686
x40 | 1489.209 | Hour 11: 126.8833; Hour 12: 146.9109; Hour 13: 163.4441; Hour 14: 161.9386; Hour 15: 108.5571; Hour 16: 102.5871; Hour 17: 156.2472; Hour 18: 97.7941; Hour 19: 106.5296; Hour 20: 84.1749; Hour 21: 71.2591; Hour 22: 162.883
x41 | 5898.5151 | Hour 11: 583.1845; Hour 12: 715.1738; Hour 13: 790.3549; Hour 14: 740.0213; Hour 15: 467.25; Hour 16: 434.6005; Hour 17: 662.3614; Hour 18: 351.5899; Hour 19: 344.0577; Hour 20: 250.5998; Hour 21: 188.1927; Hour 22: 371.1285
x42 | 2755.0734 | Hour 11: 224.1236; Hour 12: 287.2344; Hour 13: 335.8933; Hour 14: 332.5661; Hour 15: 230.0216; Hour 16: 208.5671; Hour 17: 320.7536; Hour 18: 185.7754; Hour 19: 192.0218; Hour 20: 141.9688; Hour 21: 93.3388; Hour 22: 202.8088
x43 | 182.739 | Hour 11: 11.0221; Hour 12: 19.9028; Hour 13: 25.2574; Hour 14: 26.2072; Hour 15: 19.4909; Hour 16: 17.7051; Hour 17: 26.5605; Hour 18: 14.1301; Hour 19: 12.7418; Hour 20: 7.523; Hour 21: 2.1009; Hour 22: 0.097084
x44 | 38481.1704 | Hour 11: 3884.0904; Hour 12: 4654.6348; Hour 13: 5037.7997; Hour 14: 4684.5008; Hour 15: 3107.2781; Hour 16: 2704.0614; Hour 17: 3931.2773; Hour 18: 2346.7118; Hour 19: 2325.7467; Hour 20: 1623.0113; Hour 21: 1338.6812; Hour 22: 2843.3771
x45 | 10458.8769 | Hour 11: 792.3876; Hour 12: 920.9896; Hour 13: 1083.4736; Hour 14: 1089.9653; Hour 15: 745.6808; Hour 16: 702.579; Hour 17: 1109.5543; Hour 18: 727.0112; Hour 19: 850.9834; Hour 20: 690.483; Hour 21: 521.7317; Hour 22: 1224.0373
x46 | 16146.0086 | Hour 11: 13901.3633; Hour 12: 251.0439; Hour 13: 268.0114; Hour 14: 250.8343; Hour 15: 162.3162; Hour 16: 149.3349; Hour 17: 234.6336; Hour 18: 155.0712; Hour 19: 186.5014; Hour 20: 157.2539; Hour 21: 126.2564; Hour 22: 303.3881
x47 | 398.2352 | Hour 11: 0; Hour 12: 0; Hour 13: 16.5095; Hour 14: 49.3441; Hour 15: 49.7207; Hour 16: 51.3951; Hour 17: 82.7412; Hour 18: 50.6525; Hour 19: 48.8932; Hour 20: 29.7273; Hour 21: 9.3733; Hour 22: 9.8783
x48 | 1008.2573 | Hour 11: 92.5504; Hour 12: 151.5903; Hour 13: 134.263; Hour 14: 201.3898; Hour 15: 137.7351; Hour 16: 52.7451; Hour 17: 64.1395; Hour 18: 34.4382; Hour 19: 35.5248; Hour 20: 19.9524; Hour 21: 26.7461; Hour 22: 57.1826
x49 | 1577.8129 | Hour 11: 161.335; Hour 12: 169.8663; Hour 13: 182.3121; Hour 14: 166.4135; Hour 15: 102.0644; Hour 16: 84.0218; Hour 17: 109.5458; Hour 18: 68.405; Hour 19: 120.7186; Hour 20: 101.6238; Hour 21: 88.8441; Hour 22: 222.6626
x50 | 1325.1655 | Hour 11: 92.1151; Hour 12: 112.9095; Hour 13: 136.9431; Hour 14: 140.6478; Hour 15: 97.169; Hour 16: 91.6797; Hour 17: 144.7971; Hour 18: 94.457; Hour 19: 109.3793; Hour 20: 87.9364; Hour 21: 65.219; Hour 22: 151.9125
x51 | 720.2344 | Hour 11: 0; Hour 12: 32.1738; Hour 13: 66.0166; Hour 14: 86.1265; Hour 15: 67.6274; Hour 16: 66.7109; Hour 17: 106.5612; Hour 18: 67.884; Hour 19: 73.3771; Hour 20: 53.6299; Hour 21: 32.1196; Hour 22: 68.0075
x52 | 870.0433 | Hour 11: 91.0861; Hour 12: 122.4492; Hour 13: 150.5581; Hour 14: 107.4373; Hour 15: 78.1585; Hour 16: 68.8135; Hour 17: 84.1678; Hour 18: 45.2188; Hour 19: 44.1337; Hour 20: 32.432; Hour 21: 15.4437; Hour 22: 30.1446
x53 | 7.9129 | Hour 11: 0; Hour 12: 7.9129; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x54 | 26314.9638 | Hour 11: 3060.7141; Hour 12: 2230.8563; Hour 13: 2860.7323; Hour 14: 2988.6203; Hour 15: 2089.4774; Hour 16: 1892.3962; Hour 17: 2958.8241; Hour 18: 1769.09; Hour 19: 1897.1367; Hour 20: 1499.7494; Hour 21: 1008.9399; Hour 22: 2058.4273
x55 | 16958.3502 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 1423.5147; Hour 15: 2248.8719; Hour 16: 2633.1811; Hour 17: 4356.0955; Hour 18: 2682.4473; Hour 19: 2436.0809; Hour 20: 1178.1588; Hour 21: 0; Hour 22: 0
x56 | 89.2955 | Hour 11: 0; Hour 12: 3.4945; Hour 13: 18.9966; Hour 14: 20.0667; Hour 15: 21.192; Hour 16: 13.476; Hour 17: 12.0696; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x57 | 30785.1069 | Hour 11: 1578.7991; Hour 12: 3361.096; Hour 13: 4198.4308; Hour 14: 4342.5635; Hour 15: 3055.3369; Hour 16: 2876.7404; Hour 17: 4176.7604; Hour 18: 2272.1908; Hour 19: 1951.6846; Hour 20: 876.9484; Hour 21: 975.588; Hour 22: 1118.968
x58 | 222.5331 | Hour 11: 0; Hour 12: 9.0577; Hour 13: 20.862; Hour 14: 27.0901; Hour 15: 21.4257; Hour 16: 20.7755; Hour 17: 33.1678; Hour 18: 20.6555; Hour 19: 22.0668; Hour 20: 16.2538; Hour 21: 9.8682; Hour 22: 21.31
x59 | 1711.379 | Hour 11: 228.6552; Hour 12: 284.6436; Hour 13: 330.2544; Hour 14: 91.7451; Hour 15: 86.1315; Hour 16: 55.4451; Hour 17: 58.696; Hour 18: 0; Hour 19: 107.0518; Hour 20: 79.0169; Hour 21: 66.522; Hour 22: 323.2175
x60 | 253.7191 | Hour 11: 19.5905; Hour 12: 22.4935; Hour 13: 26.2651; Hour 14: 26.448; Hour 15: 17.9587; Hour 16: 16.9525; Hour 17: 26.8609; Hour 18: 17.6533; Hour 19: 20.6793; Hour 20: 16.757; Hour 21: 12.5953; Hour 22: 29.465
x61 | 4296.4444 | Hour 11: 420.4445; Hour 12: 453.4857; Hour 13: 487.6307; Hour 14: 451.7425; Hour 15: 293.4548; Hour 16: 266.4494; Hour 17: 414.5883; Hour 18: 265.3455; Hour 19: 304.2658; Hour 20: 251.6062; Hour 21: 202.0102; Hour 22: 485.4209
x62 | 313.7782 | Hour 11: 0; Hour 12: 0; Hour 13: 14.6656; Hour 14: 38.7689; Hour 15: 37.4106; Hour 16: 38.9943; Hour 17: 62.9944; Hour 18: 39.2392; Hour 19: 38.658; Hour 20: 24.2674; Hour 21: 8.343; Hour 22: 10.4365
x63 | 1590.2326 | Hour 11: 256.9328; Hour 12: 332.5227; Hour 13: 372.0642; Hour 14: 330.4792; Hour 15: 122.4773; Hour 16: 70.068; Hour 17: 91.6948; Hour 18: 13.9936; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x64 | 13798.9254 | Hour 11: 98.9421; Hour 12: 2774.7178; Hour 13: 5823.8449; Hour 14: 2777.3576; Hour 15: 1799.0872; Hour 16: 59.734; Hour 17: 93.8535; Hour 18: 62.0285; Hour 19: 74.6005; Hour 20: 62.9016; Hour 21: 50.5025; Hour 22: 121.3552
x65 | 809.0521 | Hour 11: 66.9244; Hour 12: 70.8747; Hour 13: 129.7604; Hour 14: 100.3337; Hour 15: 64.9265; Hour 16: 59.734; Hour 17: 68.7007; Hour 18: 43.8914; Hour 19: 51.1611; Hour 20: 42.144; Hour 21: 32.8368; Hour 22: 77.7644
x66 | 2023.5587 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 1698.2953; Hour 16: 325.2634; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x67 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
Total 1st term | 1573256.2137 | Hour 11: 183381.4617; Hour 12: 150774.8679; Hour 13: 168679.7101; Hour 14: 178188.4419; Hour 15: 130784.4737; Hour 16: 117915.5204; Hour 17: 180091.2674; Hour 18: 103492.5173; Hour 19: 104596.6972; Hour 20: 73382.7232; Hour 21: 54261.3123; Hour 22: 127707.2207
Second Term |  | Hour 1: Hour
USQ*Cap Payment/∑USQ | Total second term by QSE | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
x1 | 92555.3009 | Hour 11: 1059.3946; Hour 12: 1304.5427; Hour 13: 18126.6952; Hour 14: 14139.3472; Hour 15: 6122.6616; Hour 16: 5215.4856; Hour 17: 7295.0352; Hour 18: 4808.6575; Hour 19: 6632.6407; Hour 20: 8628.4371; Hour 21: 4760.1222; Hour 22: 14462.2812
x2 | 1650.4472 | Hour 11: 20.5881; Hour 12: 13.2356; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 120.1716; Hour 20: 311.7128; Hour 21: 279.0516; Hour 22: 905.6875
x3 | 3497.2936 | Hour 11: 49.4099; Hour 12: 61.0242; Hour 13: 651.3282; Hour 14: 402.8209; Hour 15: 143.155; Hour 16: 96.9274; Hour 17: 137.0399; Hour 18: 146.6572; Hour 19: 280.1662; Hour 20: 461.6665; Hour 21: 227.6926; Hour 22: 839.4055
x4 | 1493.5782 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 194.7328; Hour 19: 442.749; Hour 20: 665.9526; Hour 21: 0; Hour 22: 190.1437
x5 | 151.2921 | Hour 11: 27.6259; Hour 12: 0; Hour 13: 0; Hour 14: 19.3074; Hour 15: 8.5576; Hour 16: 7.1981; Hour 17: 11.0906; Hour 18: 8.244; Hour 19: 12.2774; Hour 20: 16.5526; Hour 21: 10.7581; Hour 22: 29.6803
x6 | 76.3736 | Hour 11: 0.77598; Hour 12: 1.0098; Hour 13: 13.2221; Hour 14: 10.2792; Hour 15: 4.6006; Hour 16: 3.8352; Hour 17: 5.8381; Hour 18: 4.1583; Hour 19: 5.9816; Hour 20: 7.8989; Hour 21: 5.0735; Hour 22: 13.7004
x7 | 17832.4261 | Hour 11: 355.3905; Hour 12: 405.2784; Hour 13: 3956.596; Hour 14: 3527.2374; Hour 15: 1358.1022; Hour 16: 479.6729; Hour 17: 1077.6163; Hour 18: 832.5403; Hour 19: 1176.1; Hour 20: 1575.5404; Hour 21: 636.2628; Hour 22: 2452.0889
x8 | 231.7509 | Hour 11: 231.7509; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x9 | 122947.2556 | Hour 11: 580.7949; Hour 12: 1211.3966; Hour 13: 19385.4934; Hour 14: 18833.0114; Hour 15: 9436.3271; Hour 16: 7985.0154; Hour 17: 11349.9329; Hour 18: 6629.4275; Hour 19: 8016.2344; Hour 20: 11130.0649; Hour 21: 8085.5816; Hour 22: 20303.9756
x10 | 5515.0315 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 463.3765; Hour 15: 513.4563; Hour 16: 633.4368; Hour 17: 1408.5067; Hour 18: 1121.1821; Hour 19: 1375.0731; Hour 20: 0; Hour 21: 0; Hour 22: 0
x11 | 736.0061 | Hour 11: 4.5896; Hour 12: 3.9609; Hour 13: 202.98; Hour 14: 88.2192; Hour 15: 20.8634; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 5.6329; Hour 20: 108.1682; Hour 21: 1.2393; Hour 22: 300.3525
x12 | 1320.9269 | Hour 11: 19.1018; Hour 12: 27.7133; Hour 13: 444.2951; Hour 14: 364.4147; Hour 15: 149.029; Hour 16: 109.0058; Hour 17: 131.6233; Hour 18: 45.6222; Hour 19: 0; Hour 20: 0; Hour 21: 2.044; Hour 22: 28.0775
x13 | 1777.0999 | Hour 11: 5.5608; Hour 12: 8.9471; Hour 13: 49.2226; Hour 14: 62.1542; Hour 15: 69.9875; Hour 16: 70.1992; Hour 17: 121.8547; Hour 18: 126.1824; Hour 19: 203.6434; Hour 20: 341.2229; Hour 21: 104.6933; Hour 22: 613.4318
x14 | 228.577 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 14.346; Hour 16: 11.1168; Hour 17: 23.5698; Hour 18: 19.9208; Hour 19: 39.0717; Hour 20: 51.7899; Hour 21: 25.4407; Hour 22: 43.3213
x15 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x16 | 1342.4839 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 24.1483; Hour 17: 546.2078; Hour 18: 427.2693; Hour 19: 344.8585; Hour 20: 0; Hour 21: 0; Hour 22: 0
x17 | 6340.2899 | Hour 11: 336.1156; Hour 12: 69.2199; Hour 13: 1216.9067; Hour 14: 1100.5192; Hour 15: 539.1291; Hour 16: 475.0776; Hour 17: 743.0704; Hour 18: 527.6151; Hour 19: 380.6006; Hour 20: 380.7108; Hour 21: 215.1615; Hour 22: 356.1632
x18 | 86.5248 | Hour 11: 0; Hour 12: 86.5248; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x19 | 26987.9328 | Hour 11: 250.6029; Hour 12: 332.6183; Hour 13: 4357.4798; Hour 14: 3446.7026; Hour 15: 1601.8536; Hour 16: 1348.5841; Hour 17: 1898.352; Hour 18: 1446.8756; Hour 19: 2164.9053; Hour 20: 2903.3075; Hour 21: 1924.6071; Hour 22: 5312.044
x20 | 11222.8318 | Hour 11: 161.9942; Hour 12: 273.7076; Hour 13: 3739.9965; Hour 14: 2715.2782; Hour 15: 1212.7872; Hour 16: 989.0022; Hour 17: 1241.3446; Hour 18: 546.9555; Hour 19: 317.9366; Hour 20: 23.8292; Hour 21: 0; Hour 22: 0
x21 | 2478.4422 | Hour 11: 3.0695; Hour 12: 15.3822; Hour 13: 0; Hour 14: 733.6795; Hour 15: 325.189; Hour 16: 273.5295; Hour 17: 421.4429; Hour 18: 313.2715; Hour 19: 392.878; Hour 20: 0; Hour 21: 0; Hour 22: 0
x22 | 856.4404 | Hour 11: 11.8865; Hour 12: 15.9798; Hour 13: 174.7577; Hour 14: 98.6297; Hour 15: 57.4866; Hour 16: 42.4201; Hour 17: 88.5696; Hour 18: 80.0722; Hour 19: 118.2907; Hour 20: 155.4426; Hour 21: 0; Hour 22: 12.905
x23 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x24 | 932.1082 | Hour 11: 7.7997; Hour 12: 10.7168; Hour 13: 147.9759; Hour 14: 121.2038; Hour 15: 56.3912; Hour 16: 48.288; Hour 17: 74.5643; Hour 18: 54.196; Hour 19: 78.335; Hour 20: 101.5339; Hour 21: 62.1516; Hour 22: 168.952
x25 | 939.282 | Hour 11: 939.282; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x26 | 10079.6337 | Hour 11: 83.0184; Hour 12: 233.6393; Hour 13: 1664.4602; Hour 14: 1866.6736; Hour 15: 1048.0567; Hour 16: 906.5949; Hour 17: 1389.9942; Hour 18: 885.1765; Hour 19: 943.7962; Hour 20: 859.1948; Hour 21: 199.0287; Hour 22: 0
x27 | 590.8684 | Hour 11: 11.5151; Hour 12: 25.3498; Hour 13: 10.3214; Hour 14: 28.7216; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 104.2453; Hour 20: 90.735; Hour 21: 99.5983; Hour 22: 220.3819
x28 | 29358.545 | Hour 11: 399.5761; Hour 12: 553.0743; Hour 13: 7077.172; Hour 14: 4511.6963; Hour 15: 1937.298; Hour 16: 1541.2065; Hour 17: 2266.7153; Hour 18: 1400.7257; Hour 19: 2009.2176; Hour 20: 2293.9517; Hour 21: 1479.4164; Hour 22: 3888.4952
x29 | 2805.0437 | Hour 11: 35.7731; Hour 12: 34.7584; Hour 13: 499.945; Hour 14: 343.6246; Hour 15: 172.7952; Hour 16: 135.1812; Hour 17: 190.5632; Hour 18: 91.7589; Hour 19: 225.9687; Hour 20: 220.2296; Hour 21: 259.4633; Hour 22: 594.9826
x30 | 39565.3489 | Hour 11: 193.3816; Hour 12: 242.2695; Hour 13: 3154.0236; Hour 14: 5153.1715; Hour 15: 3879.8948; Hour 16: 3734.0813; Hour 17: 5819.8696; Hour 18: 3775.9268; Hour 19: 4106.7934; Hour 20: 2971.2528; Hour 21: 1785.8408; Hour 22: 4748.8431
x31 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x32 | 1333.1196 | Hour 11: 0; Hour 12: 6.9335; Hour 13: 163.4728; Hour 14: 174.6157; Hour 15: 94.2535; Hour 16: 86.0754; Hour 17: 135.3852; Hour 18: 98.5618; Hour 19: 134.7817; Hour 20: 159.6734; Hour 21: 80.6512; Hour 22: 198.7153
x33 | 641.0923 | Hour 11: 0; Hour 12: 11.8181; Hour 13: 194.6256; Hour 14: 163.8577; Hour 15: 82.4953; Hour 16: 63.3984; Hour 17: 92.8017; Hour 18: 32.0955; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x34 | 854.3578 | Hour 11: 9.5248; Hour 12: 15.8229; Hour 13: 212.0001; Hour 14: 158.467; Hour 15: 71.7093; Hour 16: 58.138; Hour 17: 85.2424; Hour 18: 49.398; Hour 19: 54.9145; Hour 20: 53.2929; Hour 21: 28.1733; Hour 22: 57.6747
x35 | 432.3619 | Hour 11: 0; Hour 12: 6.8012; Hour 13: 0; Hour 14: 152.42; Hour 15: 91.6519; Hour 16: 69.2836; Hour 17: 92.3537; Hour 18: 19.8515; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x36 | 10312.5216 | Hour 11: 52.1823; Hour 12: 84.602; Hour 13: 1341.0809; Hour 14: 1254.978; Hour 15: 633.2628; Hour 16: 590.248; Hour 17: 964.8825; Hour 18: 692.4948; Hour 19: 969.9177; Hour 20: 1208.3431; Hour 21: 710.0331; Hour 22: 1810.4964
x37 | 12.8092 | Hour 11: 12.8092; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x38 | 2503.8532 | Hour 11: 22.9148; Hour 12: 55.9212; Hour 13: 790.3238; Hour 14: 637.1736; Hour 15: 342.3418; Hour 16: 251.365; Hour 17: 334.3063; Hour 18: 69.5067; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x39 | 425.8498 | Hour 11: 5.7069; Hour 12: 5.5268; Hour 13: 72.3488; Hour 14: 56.7405; Hour 15: 25.618; Hour 16: 21.4073; Hour 17: 32.7173; Hour 18: 23.4723; Hour 19: 33.7875; Hour 20: 44.2419; Hour 21: 28.0399; Hour 22: 76.2427
x40 | 453.2748 | Hour 11: 3.9364; Hour 12: 5.626; Hour 13: 75.7264; Hour 14: 62.3241; Hour 15: 28.6166; Hour 16: 24.7242; Hour 17: 36.9273; Hour 18: 25.9949; Hour 19: 35.0644; Hour 20: 44.3015; Hour 21: 30.3593; Hour 22: 79.6737
x41 | 1681.2363 | Hour 11: 18.0925; Hour 12: 27.388; Hour 13: 366.1846; Hour 14: 284.8066; Hour 15: 123.1713; Hour 16: 104.7417; Hour 17: 156.5417; Hour 18: 93.4571; Hour 19: 113.2471; Hour 20: 131.8915; Hour 21: 80.1778; Hour 22: 181.5364
x42 | 814.5525 | Hour 11: 6.9531; Hour 12: 10.9998; Hour 13: 155.625; Hour 14: 127.9923; Hour 15: 60.6358; Hour 16: 50.2661; Hour 17: 75.8065; Hour 18: 49.3815; Hour 19: 63.2043; Hour 20: 74.7186; Hour 21: 39.7662; Hour 22: 99.2033
x43 | 51.4267 | Hour 11: 0.34195; Hour 12: 0.76219; Hour 13: 11.7022; Hour 14: 10.0862; Hour 15: 5.138; Hour 16: 4.2671; Hour 17: 6.2773; Hour 18: 3.756; Hour 19: 4.194; Hour 20: 3.9594; Hour 21: 0.89507; Hour 22: 0.047488
x44 | 11040.3212 | Hour 11: 120.4988; Hour 12: 178.2519; Hour 13: 2334.0967; Hour 14: 1802.8899; Hour 15: 819.1066; Hour 16: 651.6971; Hour 17: 929.1131; Hour 18: 623.7861; Hour 19: 765.5229; Hour 20: 854.1959; Hour 21: 570.333; Hour 22: 1390.8293
x45 | 3267.2242 | Hour 11: 24.5828; Hour 12: 35.2698; Hour 13: 501.9914; Hour 14: 419.487; Hour 15: 196.5682; Hour 16: 169.3263; Hour 17: 262.2307; Hour 18: 193.2489; Hour 19: 280.1024; Hour 20: 363.4034; Hour 21: 222.2791; Hour 22: 598.7341
x46 | 1183.3903 | Hour 11: 431.2716; Hour 12: 9.6139; Hour 13: 124.1742; Hour 14: 96.5368; Hour 15: 42.788; Hour 16: 35.9907; Hour 17: 55.453; Hour 18: 41.2199; Hour 19: 61.3872; Hour 20: 82.7632; Hour 21: 53.7904; Hour 22: 148.4013
x47 | 125.7164 | Hour 11: 0; Hour 12: 0; Hour 13: 7.6491; Hour 14: 18.9907; Hour 15: 13.1068; Hour 16: 12.3866; Hour 17: 19.555; Hour 18: 13.4641; Hour 19: 16.0933; Hour 20: 15.6456; Hour 21: 3.9934; Hour 22: 4.8319
x48 | 283.2828 | Hour 11: 2.8713; Hour 12: 5.8052; Hour 13: 62.2063; Hour 14: 77.5074; Hour 15: 36.3082; Hour 16: 12.7119; Hour 17: 15.1586; Hour 18: 9.1541; Hour 19: 11.693; Hour 20: 10.501; Hour 21: 11.395; Hour 22: 27.9707
x49 | 491.2382 | Hour 11: 5.0052; Hour 12: 6.5051; Hour 13: 84.4682; Hour 14: 64.0464; Hour 15: 26.9051; Hour 16: 20.2498; Hour 17: 25.8899; Hour 18: 18.1829; Hour 19: 39.7347; Hour 20: 53.4849; Hour 21: 37.8512; Hour 22: 108.9147
x50 | 416.176 | Hour 11: 2.8578; Hour 12: 4.3239; Hour 13: 63.448; Hour 14: 54.1301; Hour 15: 25.6146; Hour 16: 22.0954; Hour 17: 34.2212; Hour 18: 25.1079; Hour 19: 36.0024; Hour 20: 46.2812; Hour 21: 27.786; Hour 22: 74.3075
x51 | 241.4272 | Hour 11: 0; Hour 12: 1.2321; Hour 13: 30.5866; Hour 14: 33.1469; Hour 15: 17.8272; Hour 16: 16.0778; Hour 17: 25.1845; Hour 18: 18.0444; Hour 19: 24.1522; Hour 20: 28.2256; Hour 21: 13.6843; Hour 22: 33.2656
x52 | 240.64 | Hour 11: 2.8258; Hour 12: 4.6893; Hour 13: 69.7561; Hour 14: 41.3486; Hour 15: 20.6033; Hour 16: 16.5845; Hour 17: 19.8921; Hour 18: 12.0197; Hour 19: 14.5267; Hour 20: 17.0691; Hour 21: 6.5796; Hour 22: 14.7452
x53 | 0.30303 | Hour 11: 0; Hour 12: 0.30303; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x54 | 7682.9284 | Hour 11: 94.9547; Hour 12: 85.4319; Hour 13: 1325.425; Hour 14: 1150.2086; Hour 15: 550.8051; Hour 16: 456.0803; Hour 17: 699.2847; Hour 18: 470.2468; Hour 19: 624.4453; Hour 20: 789.3228; Hour 21: 429.8497; Hour 22: 1006.8735
x55 | 4939.7464 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 547.8578; Hour 15: 592.8229; Hour 16: 634.6144; Hour 17: 1029.5141; Hour 18: 713.0289; Hour 19: 801.8395; Hour 20: 620.0687; Hour 21: 0; Hour 22: 0
x56 | 28.3449 | Hour 11: 0; Hour 12: 0.13383; Hour 13: 8.8015; Hour 14: 7.7229; Hour 15: 5.5864; Hour 16: 3.2478; Hour 17: 2.8525; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x57 | 8950.9461 | Hour 11: 48.9802; Hour 12: 128.7151; Hour 13: 1945.2031; Hour 14: 1671.2909; Hour 15: 805.4144; Hour 16: 693.3139; Hour 17: 987.1303; Hour 18: 603.9775; Hour 19: 642.3998; Hour 20: 461.5407; Hour 21: 415.6405; Hour 22: 547.3398
x58 | 74.8686 | Hour 11: 0; Hour 12: 0.34687; Hour 13: 9.6657; Hour 14: 10.426; Hour 15: 5.648; Hour 16: 5.007; Hour 17: 7.8388; Hour 18: 5.4905; Hour 19: 7.2633; Hour 20: 8.5544; Hour 21: 4.2043; Hour 22: 10.4237
x59 | 519.5208 | Hour 11: 7.0937; Hour 12: 10.9006; Hour 13: 153.0124; Hour 14: 35.3093; Hour 15: 22.705; Hour 16: 13.3626; Hour 17: 13.8721; Hour 18: 0; Hour 19: 35.2362; Hour 20: 41.5869; Hour 21: 28.3411; Hour 22: 158.1009
x60 | 79.0823 | Hour 11: 0.60777; Hour 12: 0.8614; Hour 13: 12.1691; Hour 14: 10.1788; Hour 15: 4.7341; Hour 16: 4.0857; Hour 17: 6.3483; Hour 18: 4.6925; Hour 19: 6.8066; Hour 20: 8.8192; Hour 21: 5.3661; Hour 22: 14.4127
x61 | 1296.3629 | Hour 11: 13.0437; Hour 12: 17.3665; Hour 13: 225.9274; Hour 14: 173.8589; Hour 15: 77.3573; Hour 16: 64.2161; Hour 17: 97.9833; Hour 18: 70.5322; Hour 19: 100.1495; Hour 20: 132.4212; Hour 21: 86.0646; Hour 22: 237.4422
x62 | 100.4494 | Hour 11: 0; Hour 12: 0; Hour 13: 6.7948; Hour 14: 14.9207; Hour 15: 9.8618; Hour 16: 9.3979; Hour 17: 14.888; Hour 18: 10.4303; Hour 19: 12.7243; Hour 20: 12.772; Hour 21: 3.5545; Hour 22: 5.105
x63 | 394.8415 | Hour 11: 7.971; Hour 12: 12.7341; Hour 13: 172.3835; Hour 14: 127.1891; Hour 15: 32.2861; Hour 16: 16.8868; Hour 17: 21.671; Hour 18: 3.7197; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x64 | 4542.373 | Hour 11: 3.0695; Hour 12: 106.2594; Hour 13: 2698.2846; Hour 14: 1068.9015; Hour 15: 474.2556; Hour 16: 14.3963; Hour 17: 22.1812; Hour 18: 16.488; Hour 19: 24.5549; Hour 20: 33.1053; Hour 21: 21.5162; Hour 22: 59.3605
x65 | 253.9886 | Hour 11: 2.0762; Hour 12: 2.7142; Hour 13: 60.1202; Hour 14: 38.6147; Hour 15: 17.1152; Hour 16: 14.3963; Hour 17: 16.2366; Hour 18: 11.6669; Hour 19: 16.8397; Hour 20: 22.1805; Hour 21: 13.9898; Hour 22: 38.0382
x66 | 526.0766 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 447.686; Hour 16: 78.3907; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x67 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
Total 2nd term | 449794.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5689.17 | 5774.0093 | 78152.1256 | 68578.0935 | 34475.9679 | 28418.4378 | 42562.5424 | 27509.6396 | 34428.1529 | 38621.5589 | 23117.5418 | 62467.6002 | 0 | 0
Minimum of (First or Second) Term |  | Hour 1: Hour
| Total Min | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
x1 | 92555.3009 | Hour 11: 1059.3946; Hour 12: 1304.5427; Hour 13: 18126.6952; Hour 14: 14139.3472; Hour 15: 6122.6616; Hour 16: 5215.4856; Hour 17: 7295.0352; Hour 18: 4808.6575; Hour 19: 6632.6407; Hour 20: 8628.4371; Hour 21: 4760.1222; Hour 22: 14462.2812
x2 | 1650.4472 | Hour 11: 20.5881; Hour 12: 13.2356; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 120.1716; Hour 20: 311.7128; Hour 21: 279.0516; Hour 22: 905.6875
x3 | 3497.2936 | Hour 11: 49.4099; Hour 12: 61.0242; Hour 13: 651.3282; Hour 14: 402.8209; Hour 15: 143.155; Hour 16: 96.9274; Hour 17: 137.0399; Hour 18: 146.6572; Hour 19: 280.1662; Hour 20: 461.6665; Hour 21: 227.6926; Hour 22: 839.4055
x4 | 1493.5782 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 194.7328; Hour 19: 442.749; Hour 20: 665.9526; Hour 21: 0; Hour 22: 190.1437
x5 | 151.2921 | Hour 11: 27.6259; Hour 12: 0; Hour 13: 0; Hour 14: 19.3074; Hour 15: 8.5576; Hour 16: 7.1981; Hour 17: 11.0906; Hour 18: 8.244; Hour 19: 12.2774; Hour 20: 16.5526; Hour 21: 10.7581; Hour 22: 29.6803
x6 | 76.3736 | Hour 11: 0.77598; Hour 12: 1.0098; Hour 13: 13.2221; Hour 14: 10.2792; Hour 15: 4.6006; Hour 16: 3.8352; Hour 17: 5.8381; Hour 18: 4.1583; Hour 19: 5.9816; Hour 20: 7.8989; Hour 21: 5.0735; Hour 22: 13.7004
x7 | 17832.4261 | Hour 11: 355.3905; Hour 12: 405.2784; Hour 13: 3956.596; Hour 14: 3527.2374; Hour 15: 1358.1022; Hour 16: 479.6729; Hour 17: 1077.6163; Hour 18: 832.5403; Hour 19: 1176.1; Hour 20: 1575.5404; Hour 21: 636.2628; Hour 22: 2452.0889
x8 | 231.7509 | Hour 11: 231.7509; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x9 | 122947.2556 | Hour 11: 580.7949; Hour 12: 1211.3966; Hour 13: 19385.4934; Hour 14: 18833.0114; Hour 15: 9436.3271; Hour 16: 7985.0154; Hour 17: 11349.9329; Hour 18: 6629.4275; Hour 19: 8016.2344; Hour 20: 11130.0649; Hour 21: 8085.5816; Hour 22: 20303.9756
x10 | 5515.0315 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 463.3765; Hour 15: 513.4563; Hour 16: 633.4368; Hour 17: 1408.5067; Hour 18: 1121.1821; Hour 19: 1375.0731; Hour 20: 0; Hour 21: 0; Hour 22: 0
x11 | 736.0061 | Hour 11: 4.5896; Hour 12: 3.9609; Hour 13: 202.98; Hour 14: 88.2192; Hour 15: 20.8634; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 5.6329; Hour 20: 108.1682; Hour 21: 1.2393; Hour 22: 300.3525
x12 | 1320.9269 | Hour 11: 19.1018; Hour 12: 27.7133; Hour 13: 444.2951; Hour 14: 364.4147; Hour 15: 149.029; Hour 16: 109.0058; Hour 17: 131.6233; Hour 18: 45.6222; Hour 19: 0; Hour 20: 0; Hour 21: 2.044; Hour 22: 28.0775
x13 | 1777.0999 | Hour 11: 5.5608; Hour 12: 8.9471; Hour 13: 49.2226; Hour 14: 62.1542; Hour 15: 69.9875; Hour 16: 70.1992; Hour 17: 121.8547; Hour 18: 126.1824; Hour 19: 203.6434; Hour 20: 341.2229; Hour 21: 104.6933; Hour 22: 613.4318
x14 | 228.577 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 14.346; Hour 16: 11.1168; Hour 17: 23.5698; Hour 18: 19.9208; Hour 19: 39.0717; Hour 20: 51.7899; Hour 21: 25.4407; Hour 22: 43.3213
x15 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x16 | 1342.4839 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 24.1483; Hour 17: 546.2078; Hour 18: 427.2693; Hour 19: 344.8585; Hour 20: 0; Hour 21: 0; Hour 22: 0
x17 | 6340.2899 | Hour 11: 336.1156; Hour 12: 69.2199; Hour 13: 1216.9067; Hour 14: 1100.5192; Hour 15: 539.1291; Hour 16: 475.0776; Hour 17: 743.0704; Hour 18: 527.6151; Hour 19: 380.6006; Hour 20: 380.7108; Hour 21: 215.1615; Hour 22: 356.1632
x18 | 86.5248 | Hour 11: 0; Hour 12: 86.5248; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x19 | 26987.9328 | Hour 11: 250.6029; Hour 12: 332.6183; Hour 13: 4357.4798; Hour 14: 3446.7026; Hour 15: 1601.8536; Hour 16: 1348.5841; Hour 17: 1898.352; Hour 18: 1446.8756; Hour 19: 2164.9053; Hour 20: 2903.3075; Hour 21: 1924.6071; Hour 22: 5312.044
x20 | 11222.8318 | Hour 11: 161.9942; Hour 12: 273.7076; Hour 13: 3739.9965; Hour 14: 2715.2782; Hour 15: 1212.7872; Hour 16: 989.0022; Hour 17: 1241.3446; Hour 18: 546.9555; Hour 19: 317.9366; Hour 20: 23.8292; Hour 21: 0; Hour 22: 0
x21 | 2478.4422 | Hour 11: 3.0695; Hour 12: 15.3822; Hour 13: 0; Hour 14: 733.6795; Hour 15: 325.189; Hour 16: 273.5295; Hour 17: 421.4429; Hour 18: 313.2715; Hour 19: 392.878; Hour 20: 0; Hour 21: 0; Hour 22: 0
x22 | 856.4404 | Hour 11: 11.8865; Hour 12: 15.9798; Hour 13: 174.7577; Hour 14: 98.6297; Hour 15: 57.4866; Hour 16: 42.4201; Hour 17: 88.5696; Hour 18: 80.0722; Hour 19: 118.2907; Hour 20: 155.4426; Hour 21: 0; Hour 22: 12.905
x23 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x24 | 932.1082 | Hour 11: 7.7997; Hour 12: 10.7168; Hour 13: 147.9759; Hour 14: 121.2038; Hour 15: 56.3912; Hour 16: 48.288; Hour 17: 74.5643; Hour 18: 54.196; Hour 19: 78.335; Hour 20: 101.5339; Hour 21: 62.1516; Hour 22: 168.952
x25 | 939.282 | Hour 11: 939.282; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x26 | 10079.6337 | Hour 11: 83.0184; Hour 12: 233.6393; Hour 13: 1664.4602; Hour 14: 1866.6736; Hour 15: 1048.0567; Hour 16: 906.5949; Hour 17: 1389.9942; Hour 18: 885.1765; Hour 19: 943.7962; Hour 20: 859.1948; Hour 21: 199.0287; Hour 22: 0
x27 | 590.8684 | Hour 11: 11.5151; Hour 12: 25.3498; Hour 13: 10.3214; Hour 14: 28.7216; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 104.2453; Hour 20: 90.735; Hour 21: 99.5983; Hour 22: 220.3819
x28 | 29358.545 | Hour 11: 399.5761; Hour 12: 553.0743; Hour 13: 7077.172; Hour 14: 4511.6963; Hour 15: 1937.298; Hour 16: 1541.2065; Hour 17: 2266.7153; Hour 18: 1400.7257; Hour 19: 2009.2176; Hour 20: 2293.9517; Hour 21: 1479.4164; Hour 22: 3888.4952
x29 | 2805.0437 | Hour 11: 35.7731; Hour 12: 34.7584; Hour 13: 499.945; Hour 14: 343.6246; Hour 15: 172.7952; Hour 16: 135.1812; Hour 17: 190.5632; Hour 18: 91.7589; Hour 19: 225.9687; Hour 20: 220.2296; Hour 21: 259.4633; Hour 22: 594.9826
x30 | 39565.3489 | Hour 11: 193.3816; Hour 12: 242.2695; Hour 13: 3154.0236; Hour 14: 5153.1715; Hour 15: 3879.8948; Hour 16: 3734.0813; Hour 17: 5819.8696; Hour 18: 3775.9268; Hour 19: 4106.7934; Hour 20: 2971.2528; Hour 21: 1785.8408; Hour 22: 4748.8431
x31 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x32 | 1333.1196 | Hour 11: 0; Hour 12: 6.9335; Hour 13: 163.4728; Hour 14: 174.6157; Hour 15: 94.2535; Hour 16: 86.0754; Hour 17: 135.3852; Hour 18: 98.5618; Hour 19: 134.7817; Hour 20: 159.6734; Hour 21: 80.6512; Hour 22: 198.7153
x33 | 641.0923 | Hour 11: 0; Hour 12: 11.8181; Hour 13: 194.6256; Hour 14: 163.8577; Hour 15: 82.4953; Hour 16: 63.3984; Hour 17: 92.8017; Hour 18: 32.0955; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x34 | 854.3578 | Hour 11: 9.5248; Hour 12: 15.8229; Hour 13: 212.0001; Hour 14: 158.467; Hour 15: 71.7093; Hour 16: 58.138; Hour 17: 85.2424; Hour 18: 49.398; Hour 19: 54.9145; Hour 20: 53.2929; Hour 21: 28.1733; Hour 22: 57.6747
x35 | 432.3619 | Hour 11: 0; Hour 12: 6.8012; Hour 13: 0; Hour 14: 152.42; Hour 15: 91.6519; Hour 16: 69.2836; Hour 17: 92.3537; Hour 18: 19.8515; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x36 | 10312.5216 | Hour 11: 52.1823; Hour 12: 84.602; Hour 13: 1341.0809; Hour 14: 1254.978; Hour 15: 633.2628; Hour 16: 590.248; Hour 17: 964.8825; Hour 18: 692.4948; Hour 19: 969.9177; Hour 20: 1208.3431; Hour 21: 710.0331; Hour 22: 1810.4964
x37 | 12.8092 | Hour 11: 12.8092; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x38 | 2503.8532 | Hour 11: 22.9148; Hour 12: 55.9212; Hour 13: 790.3238; Hour 14: 637.1736; Hour 15: 342.3418; Hour 16: 251.365; Hour 17: 334.3063; Hour 18: 69.5067; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x39 | 425.8498 | Hour 11: 5.7069; Hour 12: 5.5268; Hour 13: 72.3488; Hour 14: 56.7405; Hour 15: 25.618; Hour 16: 21.4073; Hour 17: 32.7173; Hour 18: 23.4723; Hour 19: 33.7875; Hour 20: 44.2419; Hour 21: 28.0399; Hour 22: 76.2427
x40 | 453.2748 | Hour 11: 3.9364; Hour 12: 5.626; Hour 13: 75.7264; Hour 14: 62.3241; Hour 15: 28.6166; Hour 16: 24.7242; Hour 17: 36.9273; Hour 18: 25.9949; Hour 19: 35.0644; Hour 20: 44.3015; Hour 21: 30.3593; Hour 22: 79.6737
x41 | 1681.2363 | Hour 11: 18.0925; Hour 12: 27.388; Hour 13: 366.1846; Hour 14: 284.8066; Hour 15: 123.1713; Hour 16: 104.7417; Hour 17: 156.5417; Hour 18: 93.4571; Hour 19: 113.2471; Hour 20: 131.8915; Hour 21: 80.1778; Hour 22: 181.5364
x42 | 814.5525 | Hour 11: 6.9531; Hour 12: 10.9998; Hour 13: 155.625; Hour 14: 127.9923; Hour 15: 60.6358; Hour 16: 50.2661; Hour 17: 75.8065; Hour 18: 49.3815; Hour 19: 63.2043; Hour 20: 74.7186; Hour 21: 39.7662; Hour 22: 99.2033
x43 | 51.4267 | Hour 11: 0.34195; Hour 12: 0.76219; Hour 13: 11.7022; Hour 14: 10.0862; Hour 15: 5.138; Hour 16: 4.2671; Hour 17: 6.2773; Hour 18: 3.756; Hour 19: 4.194; Hour 20: 3.9594; Hour 21: 0.89507; Hour 22: 0.047488
x44 | 11040.3212 | Hour 11: 120.4988; Hour 12: 178.2519; Hour 13: 2334.0967; Hour 14: 1802.8899; Hour 15: 819.1066; Hour 16: 651.6971; Hour 17: 929.1131; Hour 18: 623.7861; Hour 19: 765.5229; Hour 20: 854.1959; Hour 21: 570.333; Hour 22: 1390.8293
x45 | 3267.2242 | Hour 11: 24.5828; Hour 12: 35.2698; Hour 13: 501.9914; Hour 14: 419.487; Hour 15: 196.5682; Hour 16: 169.3263; Hour 17: 262.2307; Hour 18: 193.2489; Hour 19: 280.1024; Hour 20: 363.4034; Hour 21: 222.2791; Hour 22: 598.7341
x46 | 1183.3903 | Hour 11: 431.2716; Hour 12: 9.6139; Hour 13: 124.1742; Hour 14: 96.5368; Hour 15: 42.788; Hour 16: 35.9907; Hour 17: 55.453; Hour 18: 41.2199; Hour 19: 61.3872; Hour 20: 82.7632; Hour 21: 53.7904; Hour 22: 148.4013
x47 | 125.7164 | Hour 11: 0; Hour 12: 0; Hour 13: 7.6491; Hour 14: 18.9907; Hour 15: 13.1068; Hour 16: 12.3866; Hour 17: 19.555; Hour 18: 13.4641; Hour 19: 16.0933; Hour 20: 15.6456; Hour 21: 3.9934; Hour 22: 4.8319
x48 | 283.2828 | Hour 11: 2.8713; Hour 12: 5.8052; Hour 13: 62.2063; Hour 14: 77.5074; Hour 15: 36.3082; Hour 16: 12.7119; Hour 17: 15.1586; Hour 18: 9.1541; Hour 19: 11.693; Hour 20: 10.501; Hour 21: 11.395; Hour 22: 27.9707
x49 | 491.2382 | Hour 11: 5.0052; Hour 12: 6.5051; Hour 13: 84.4682; Hour 14: 64.0464; Hour 15: 26.9051; Hour 16: 20.2498; Hour 17: 25.8899; Hour 18: 18.1829; Hour 19: 39.7347; Hour 20: 53.4849; Hour 21: 37.8512; Hour 22: 108.9147
x50 | 416.176 | Hour 11: 2.8578; Hour 12: 4.3239; Hour 13: 63.448; Hour 14: 54.1301; Hour 15: 25.6146; Hour 16: 22.0954; Hour 17: 34.2212; Hour 18: 25.1079; Hour 19: 36.0024; Hour 20: 46.2812; Hour 21: 27.786; Hour 22: 74.3075
x51 | 241.4272 | Hour 11: 0; Hour 12: 1.2321; Hour 13: 30.5866; Hour 14: 33.1469; Hour 15: 17.8272; Hour 16: 16.0778; Hour 17: 25.1845; Hour 18: 18.0444; Hour 19: 24.1522; Hour 20: 28.2256; Hour 21: 13.6843; Hour 22: 33.2656
x52 | 240.64 | Hour 11: 2.8258; Hour 12: 4.6893; Hour 13: 69.7561; Hour 14: 41.3486; Hour 15: 20.6033; Hour 16: 16.5845; Hour 17: 19.8921; Hour 18: 12.0197; Hour 19: 14.5267; Hour 20: 17.0691; Hour 21: 6.5796; Hour 22: 14.7452
x53 | 0.30303 | Hour 11: 0; Hour 12: 0.30303; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x54 | 7682.9284 | Hour 11: 94.9547; Hour 12: 85.4319; Hour 13: 1325.425; Hour 14: 1150.2086; Hour 15: 550.8051; Hour 16: 456.0803; Hour 17: 699.2847; Hour 18: 470.2468; Hour 19: 624.4453; Hour 20: 789.3228; Hour 21: 429.8497; Hour 22: 1006.8735
x55 | 4939.7464 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 547.8578; Hour 15: 592.8229; Hour 16: 634.6144; Hour 17: 1029.5141; Hour 18: 713.0289; Hour 19: 801.8395; Hour 20: 620.0687; Hour 21: 0; Hour 22: 0
x56 | 28.3449 | Hour 11: 0; Hour 12: 0.13383; Hour 13: 8.8015; Hour 14: 7.7229; Hour 15: 5.5864; Hour 16: 3.2478; Hour 17: 2.8525; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x57 | 8950.9461 | Hour 11: 48.9802; Hour 12: 128.7151; Hour 13: 1945.2031; Hour 14: 1671.2909; Hour 15: 805.4144; Hour 16: 693.3139; Hour 17: 987.1303; Hour 18: 603.9775; Hour 19: 642.3998; Hour 20: 461.5407; Hour 21: 415.6405; Hour 22: 547.3398
x58 | 74.8686 | Hour 11: 0; Hour 12: 0.34687; Hour 13: 9.6657; Hour 14: 10.426; Hour 15: 5.648; Hour 16: 5.007; Hour 17: 7.8388; Hour 18: 5.4905; Hour 19: 7.2633; Hour 20: 8.5544; Hour 21: 4.2043; Hour 22: 10.4237
x59 | 519.5208 | Hour 11: 7.0937; Hour 12: 10.9006; Hour 13: 153.0124; Hour 14: 35.3093; Hour 15: 22.705; Hour 16: 13.3626; Hour 17: 13.8721; Hour 18: 0; Hour 19: 35.2362; Hour 20: 41.5869; Hour 21: 28.3411; Hour 22: 158.1009
x60 | 79.0823 | Hour 11: 0.60777; Hour 12: 0.8614; Hour 13: 12.1691; Hour 14: 10.1788; Hour 15: 4.7341; Hour 16: 4.0857; Hour 17: 6.3483; Hour 18: 4.6925; Hour 19: 6.8066; Hour 20: 8.8192; Hour 21: 5.3661; Hour 22: 14.4127
x61 | 1296.3629 | Hour 11: 13.0437; Hour 12: 17.3665; Hour 13: 225.9274; Hour 14: 173.8589; Hour 15: 77.3573; Hour 16: 64.2161; Hour 17: 97.9833; Hour 18: 70.5322; Hour 19: 100.1495; Hour 20: 132.4212; Hour 21: 86.0646; Hour 22: 237.4422
x62 | 100.4494 | Hour 11: 0; Hour 12: 0; Hour 13: 6.7948; Hour 14: 14.9207; Hour 15: 9.8618; Hour 16: 9.3979; Hour 17: 14.888; Hour 18: 10.4303; Hour 19: 12.7243; Hour 20: 12.772; Hour 21: 3.5545; Hour 22: 5.105
x63 | 394.8415 | Hour 11: 7.971; Hour 12: 12.7341; Hour 13: 172.3835; Hour 14: 127.1891; Hour 15: 32.2861; Hour 16: 16.8868; Hour 17: 21.671; Hour 18: 3.7197; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x64 | 4542.373 | Hour 11: 3.0695; Hour 12: 106.2594; Hour 13: 2698.2846; Hour 14: 1068.9015; Hour 15: 474.2556; Hour 16: 14.3963; Hour 17: 22.1812; Hour 18: 16.488; Hour 19: 24.5549; Hour 20: 33.1053; Hour 21: 21.5162; Hour 22: 59.3605
x65 | 253.9886 | Hour 11: 2.0762; Hour 12: 2.7142; Hour 13: 60.1202; Hour 14: 38.6147; Hour 15: 17.1152; Hour 16: 14.3963; Hour 17: 16.2366; Hour 18: 11.6669; Hour 19: 16.8397; Hour 20: 22.1805; Hour 21: 13.9898; Hour 22: 38.0382
x66 | 526.0766 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 447.686; Hour 16: 78.3907; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
x67 | 0 | Hour 11: 0; Hour 12: 0; Hour 13: 0; Hour 14: 0; Hour 15: 0; Hour 16: 0; Hour 17: 0; Hour 18: 0; Hour 19: 0; Hour 20: 0; Hour 21: 0; Hour 22: 0
Total Min | 449794.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5689.17 | 5774.0093 | 78152.1256 | 68578.0935 | 34475.9679 | 28418.4378 | 42562.5424 | 27509.6396 | 34428.1529 | 38621.5589 | 23117.5418 | 62467.6002 | 0 | 0

## Summary - PRR 666 and 676
8/5/06; All Hours | Total ($)
Total Capacity Payments | -449794.84
8/5/06; For Hours of Capacity Procurement | Total (MW)
Total R-HSL (MW) | 21917
8/5/06; All Hours | Net Load (MW) | Mismatches (MW) | Total (MW)
Total ShortFall Quantity - Actual | 73004 | 22512 | 95516
Total ShortFall Quantity - PRR 666 | 56327 | 22512 | 78839
8/5/06; All Hours | Total Charge ($)
Total Under Scheduled Charge - Actual | 1941986.7218
Total Under Scheduled Charge - PRR 676 | 449794.84 | <== Amount charged to Short QSEs
8/5/06; All Hours | Total Uplift ($)
Total Uplift to LRS Amount - Actual | -1645858.1499
Total Uplift to LRS Amount - PRR 676 | 0 | <== Amount uplifted to Load
Note: All Capacity Payments allocated to Short QSEs