## Slide 1
WMS Update Demand Side Working Group
Mary Anne Brelinsky Eagle Energy Partners

## Slide 2: DSWG Goals Update

## Slide 3: Voluntary Load Response and Price Certainty
Working Group discussed options to improve visibility to RTBES
    Matt Mereness from ERCOT provided DSWG with the technical options for providing closer to real-time pricing information when Non-Spinning Reserve Services (NSRS) are deployed
PRR650 was effective 9/1/06 which requires ERCOT to:
    Send an emergency notification to all QSEs when NSRS is deployed
    Send an emergency notification to all QSEs when NSRS is discontinued
    Manually recalculate the MCPE when NSRS is deployed and post new MCPE the next business day
      ERCOT runs a custom program that creates a market file without NSRS schedules (which are combined with the energy schedules)
      ERCOT re-runs the market clearing process with these modified schedules to generate the adjusted MCPEs
      Not performed if there are any binding CSC constraints

## Slide 4: Voluntary Load Response and Price Certainty (cont.)
Modified Competitive Solution Method (MCSM) was removed 10/1/06 by PUCT 31972 which removed price corrections, except for held intervals and shadow price errors
ERCOT was asked by PUCT staff to look at two alternatives to provide a pricing signal closer to real-time:
    Running two Market Clearing Engines (MCE) in parallel, one for dispatch, one for pricing
      1a) Run two Market Clearing Engines in parallel, one for dispatch, one for pricing
      1b) Run two passes of the Market Clearing Engine with two different SPD files
      1c) Have vendor modify MCE to add additional step to create separate pricing
    Post remaining Balancing Energy Services bid stack when NSRS is deployed for Market Participants to download and derive an estimate of revised MCPE
        Not pursuing at this time

## Slide 5: Price Certainty Option Summary

## Slide 6: October 26th Price Adjustments and Next Steps
This summer ERCOT employed a desk procedure that deploys NSRS when reserves are diminishing resulting in more common scenarios of NSRS deploying before the hitting the 95% bid stack (on October 17th prices decreased)
ERCOT’s use of Replacement Reserves may be minimizing the amount of Non-Spin deployed due to bid stack depletion. October 26 was first case of NSRS depletion since PRR650
ERCOT’s intra-day updates (via the ROS exploder) publicize shortfalls in supply. This may be resulting in market behavior that is minimizing the amount of Non-Spin deployed
ERCOT needs market participants to formulate PRRs to facilitate desired outcome

## Slide 7: Current LaaR Participation

## Slide 8: Full Market Subscription of LaaR at 1150 MWs

## Slide 9: October 3rd LaaR Performance Highlights
22 minutes
to reach
compliance
One LaaR
trips at 59.8
LaaR manually
deployed 17:37:43

## Slide 10: Aggregate LaaR Response Using IDR Data

## Slide 11: ERCOT Requesting Update to LaaR Qualification
Initial Qualification Enhancements:
    Actual interruption required during first 90 days
    No notification prior to test
Annual Recertification of LaaR Resources:
    Actual interruption once a year
    Response to Operator VDI that complies with Protocols in lieu of testing
Periodic Command and Control Tests:
    Hot line call to QSEs with response verification back from party that actually trips the load
Formalize Disqualification Criteria:
    Failure to meet 10 minute response (two occurrences in 365 day period)

## Slide 12: Next DSWG Meeting
At our last meeting we scheduled our final DSWG meeting for the year on December 8th
Subsequently, the PUC has scheduled additional workshops regarding Demand Response Programs in ERCOT on Friday December 8th, Monday December 18th, and Tuesday December 19th beginning at 9:30 in the Commissioners Hearing Room
DSWG will be rescheduled to Friday December 15th