## Slide 1: UFETF 2006 accomplishments
November 16, 2006 COPS Presentation

## Slide 2: Short Term Goals
Obtain a better understanding of the drivers of UFE
  Evaluate current line loss calculations
    DLF: PRR668 approved
      Modify the Settlement Interval Distribution Loss Factor (SILF) to better represent the non-linear relationship between the loss factor and Settlement Interval ERCOT System Load (SIEL)
    TLF: NPRR to address monthly base case studies instead of seasonal base case studies
      Vote on this later in presentation

## Slide 3: Short Term Goals
Obtain a better understanding of the drivers of UFE (continued)
  Evaluate inaccuracies in Profile shapes and assignments
    Being addressed by PWG
  Identify and evaluate other drivers
    Distributed Generation: initial vs. final
    Not worth pursuing

## Slide 4: Short Term Goals
Evaluate the methodology for determining profile scaling factors in the data aggregation process.
  This should be addressed by PWG
  Have PWG investigate improvements in the NIDR estimation methodology
    TDSPs have been doing this for a long time, so they should have expertise
    Use last month or same month from last year?

## Slide 5: Long Term Goals
Determine if any Protocols changes are recommended and file PRR if needed
  PRR695 Pending
  Nov 16 PRS vote
    Eliminates outdated sections pertaining to UFE analysis and provides a more meaningful approach to annual UFE analysis reporting.
    Updates UFE analysis timelines and language.

## Slide 6: Long Term Goals
Evaluate the potential for establishing UFE Analysis Zones by determining if suitable TDSP boundary metering data can be made available to ERCOT; if such data is available compare it to the ERCOT aggregated TDSP load.
  AEP presented data on their boundary metering analysis
    Significant challenges to data collection, data quality, etc
    Not currently feasible to do this based on available data
    If market decides project is needed, then 11.6 allows project to be started

## Slide 7: Long Term Goals
Analyze historical trends in the volatility and magnitude of UFE and explore the possibility of developing methods to forecast them.
  Annual UFE analysis report will cover this
    PRR 695
  Forecasting UFE will continue to be a challenge

## Slide 8: UFETF Voting Item
NPRR: Section 13, Transmission and Distribution Losses
Revision Description: Changes in transmission loss base cases.
Reason for Revision: To update the language to reflect changes for transmission loss base case calculations.
Reason for Revision (from TPTF Charter Scope): Language updated to reflect changes in the frequency of transmission base cases. In the Nodal market, base cases will be calculated on a monthly basis with forecasted results created for the subsequent 18 months.

## Slide 9: UFETF Voting Item
Motion:
  COPS recommends to TPTF and the TAC approval of NPRRXXX

## Slide 10: UFETF 2007 Recommendations
UFETF recommends that COPS leadership assign 2007 UFE issues to standing Working Group
UFETF can be ramped up on “as needed” basis

## Slide 11: UFETF Update
Any questions?
Thanks to everybody for all the hard work!