| PRR Number | 673 | PRR Title | Adjust SCE Performance Charge Scale Factor |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Approved |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.10.11, ERCOT Operations Performance 6.10.12.1, SCE Performance Charge |  |  |
| Effective Date |  | Upon system implementation |  |  |
| Priority and Rank Assigned |  | 2006 priority of 1.1 and rank of 50. |  |  |
| Revision Description |  | The Scale Factor value in the Schedule Control Error (SCE) Performance Charge calculation is currently fixed at 1. This PRR modifies the Scale Factor monthly based on ERCOT’s Control Performance Standard (CPS)-1 score. This PRR also sets maximum and minimum values for the Scale Factor. |  |  |
| Overall Market Benefit |  | Increasing SCE Performance Charge may motivate certain Resources to minimize SCE. |  |  |
| Overall Market Impact |  | May lower performance standards for certain Qualified Scheduling Entities (QSEs). |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the Credit Work Group (Credit WG) have reviewed PRR673 and do not believe that it requires changes to credit monitoring activity or the calculation of liability |  |  |
| Procedural History |  | - PRR673 was posted on 7/14/06, with a request for Urgent status. - The request for Urgent status by e-mail vote failed on 7/19/06. - On 7/19/06, TXU posted comments. - On 8/10/06, WMS posted comments. - On 8/11/06, ROS discussed PRR673. - On 8/14/06, ERCOT posted comments. - On 8/17/06, PUC Staff posted comments. - On 8/17/06, PRS considered this PRR. - On 9/15/06, ERCOT posted the Impact Analysis (IA) and Cost Benefit Analysis (CBA). - On 9/21/06, PRS reviewed the IA and CBA. - On 10/6/06, TAC considered this PRR. - On 11/14/06, The ERCOT Board (Board) considered this PRR. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 8/17/06, PRS voted to recommend approval of PRR673 as revised by TXU and ERCOT comments, and as revised by PRS consistent with the ROS August 10, 2006 meeting discussion regarding adopting Option No. 2 and regarding the revised language related to the scaling factor floor and cap. The motion passed with three abstentions from the Municipally Owned Utility (MOU) and Independent REP (IREPs) (2) Market Segments. All Market Segments were present for the vote. On 9/21/06, PRS unanimously voted to modify the PRS Recommendation Report. PRS also voted to assign a 2006 priority of 1.1 and rank of 50. The motion passed with one abstention from the Investor Owned Utility (IOU) Market Segment. PRS then unanimously voted to forward the recommendation, the IA, and the CBA to TAC. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 8/17/06, participants discussed the desirability of retaining a cap and floor for the scaling factor. OPC suggested, consistent with PUC Staff comments, that, given the claim that the scaling factor would never go above two, whether the cap should be removed. The Independent Generators countered that this should be done through a PRR because this instant PRR is a package agreement and that if the cap changes perhaps the scaling factor would have been different. Commission Staff stated that the performance scores are good at this time, but that the April 17 event has shown that there are weaknesses in the system. The proposal should be designed to enforce reliability. The Independent Generators responded that the April 17 event had nothing to do with Schedule Control Error (SCE). Some participants suggested there should be a mechanism in place to review the scaling factor and the caps on a regular basis because the economic incentive may not be sufficient. On 9/21/06, participants discussed whether the project to implement this PRR should receive a high priority and be implemented in 2006 because it is critical to the Commission. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 10/6/06, TAC unanimously voted to recommend approval of PRR675 as recommended by PRS. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 10/6/06, TAC members inquired about the nature of the concerns raised by the Commission Staff. The Sponsor of the PRR explained that has been revised to address these concerns. The Commission Staff reported that it would not object to this PRR as long as ERCOT provides reports regarding the impact of new requirements on overall reliability and individual Qualified Scheduling Entities’ (QSEs) performance to monitor whether the proper incentives are in place. |  |  |
| Board Action |  | On 11/14/06, the Board by consent approved PRR673 as recommended by TAC. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Although this PRR requires a settlement system change, this change can be accommodated in the same project implementing PRR 661. | None. |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Reliability: If ERCOT performance on NERC frequency standard deteriorates, increasing SCE Performance Charge will motivate Resources to minimize Schedule Control Error. |  |
| Additional Qualitative Information | 1 | The FCTF found no increased reliability or market value in excessively high ERCOT scores on the NERC CPS-1 standard. However, both the FCTF and PDCWG found that excessive primary frequency response leads to additional wear and tear on generation units, which impacts maintenance costs and unit availability, both of which may impact market prices. Just as the SCE Performance Charge should increase when ERCOT performance decreases to heighten generator awareness of the need to minimize SCE, the performance charge should also decrease when ERCOT performance increases to the point generators are over-controlling the system. |  |
| Other Comments | 1 | When PRR 661 was discussed at the June 2006 TAC meeting, a lengthy debate ensued about the appropriate level needed for the SCE Performance Charge to efficaciously incentivize appropriate effort from generation operators to minimize Schedule Control Error. TAC ultimately agreed to set the initial Scale Factor at 1 (effectively at MCPC). TAC then directed WMS to recommend a way to increase the severity of the SCE Performance Charge if ERCOT CPS-1 scores decline. |  |
|  | 3 | Urgent status is requested for this PRR to meet TAC expectations that the Scale Factor adjustment mechanism be included in the system project to implement PRR 661. |  |
|  | 4 | Note to PRS: In June, the WMS endorsed the concept behind Options 1 and 2 below and agreed to recommend a preferred option to PRS at its July meeting. The July WMS meeting will occur one day before the July PRS meeting. |  |

| Original Sponsor |  |
| --- | --- |
| Name | Mark J. Bruce |
| Company | FPL Energy |
| Segment | Frequency Control Task Force |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| TXU 071906 | Recommended ERCOT provide updated scoring of their SCPS1 metric during the month. |
| WMS 081006 | Endorsed Option No. 2 as presented by the Frequency Control Task Force. |
| ERCOT 081406 | Offered technical correction and recommended adoption of changes discussed at the August 10, 2006 ROS meeting. |
| PUC 081706 | Commented that this PRR may reduce or eliminate the reliability gains that have been achieved over the last few months and suggested revisions. |

Proposed Protocol Language Revision

6.10.11	ERCOT Operations Performance

(1)	ERCOT shall continuously self-assess its operations and report to all Market Participants its performance in controlling the ERCOT Control Area according to requirements and criteria established by the Operating Guides and NERC Policy and Standards for operation of Control Areas.  ERCOT shall report all substandard operations to the ERCOT Technical Advisory Committee and to the NERC Compliance and Enforcement Committees.

(2)	ERCOT shall publish for all Market Participants the total amount of Regulation Up energy deployed and the total amount of Regulation Down energy deployed in each Settlement Interval.

(3)	ERCOT shall provide monthly a report analyzing the accuracy of each Operating Day’s Load forecast that was issued at 0600 the Day Ahead of the Operating Day.  ERCOT shall make similar comparisons for the 1100 forecast and the forecast in effect at midnight of the start of the Operating Day.  In its reports, ERCOT shall statistically analyze the expected error in energy and peak forecasting.

(4)	ERCOT shall publish for all Market Participants the percentage of the Bid Stack awarded for Balancing Energy Service for each Settlement Interval that ERCOT deploys any Non-Spinning Reserve Service.

(5)	ERCOT shall provide a monthly report showing the average percentage of the Bid Stack award for Balancing Energy Service for the Settlement Intervals that ERCOT deploys Non-Spinning Reserve Service for the month.

(6)	ERCOT shall provide a monthly report by the 20th day of the following month showing the quantity of Replacement Reserve Service (RPRS) procured by hour for system capacity based on the Day Ahead estimate of total ERCOT Load versus the quantity of RPRS that, in hindsight, would have been the proper amount to procure based on actual average adjusted metered Load.  This theoretical amount of RPRS procurement shall be calculated as the difference between the actual average adjusted metered ERCOT Load (for an hour) minus the Day Ahead Resource Plan generation on-line used before the RPRS market is run for the hours when RPRS is procured by ERCOT.

(7)	ERCOT shall post no later than two business days after the operating day the total ERCOT score for the CPS1 metric.  This data shall include the daily average of ERCOT’s CPS1 and the current average for the month.

6.10.12.1	SCE Performance Charge

For the month being analyzed, a QSE at or above the target level for the ten (10)-minute criteria for SCE performance, the SCE Performance Charge will be zero.

If a QSE falls below the target level for the ten (10)-minute criteria for SCE performance for the month being analyzed, ERCOT shall calculate the number of additional 10-minute periods that the QSE needed to have achieved the target level.  For each ten (10)-minute period below the target level, ERCOT shall calculate the potential performance charge as the simple average MCPC of URS and DRS for that period multiplied by the absolute value of average SCE during that period.  If the MCPC for URS or DRS is negative, ERCOT will set that price equal to zero (0) in calculating the SCE charge.  The QSE’s monthly Performance Charge shall be calculated as the sum of the highest cost ten (10)-minute periods which were below the target level with the number of periods equal to those required to have met the target level.

AINTqm 		=	90% * MINTqm – PINTqm

For each ten (10)-minute interval below target level:

INTCHGiq	=	SAMCPCi * ABS(SCEiq)*SFm/6

SAMCPCi = Σ (MCPCRGUP + MCPCRGDN)/2

PCHSCEqhm 	= 	SUM of AINTq Greatest 	INTCHGiq

Where:

q		QSE

m		Month interval

i		10-minute interval below target level

h		Hour interval

MINTqm	10-minute intervals measured for compliance

PINTqm	10-minute intervals meeting compliance measure

SF	Scale Factor.  For each Month interval the Scale Factor is set to one (1) when ERCOT’s CPS_1 score is equal to or above 125.  The Scale Factor is increased 0.1 above 1.0 for each point scored below 125 with a maximum value of two (2).

AINTqm	Additional 10-minute intervals needed to achieve target

INTCHGqi	Potential 10-minute interval performance charge

SAMCPCi	Simple average of URS and DRS MCPC for the hour

SCEi		Average SCE for the interval

PCHSCEqhm	SCE Performance charge