## CCT
| Document Name: | MMS Requirement Specification for Constraint Competitiveness Test (CCT) Ver. 0.9.2
| Issuing Entity (Name) | Page Number | Description | Response | Reviewer | Reason / Comment
1 | TXU (R.Spangler) | p. 2 |  | Rejected | M. Patterson | ERCOT will update requirements document when NPRR is approved. The requirements pertaining to this issue were not made clear in the nodal Protocol and it was agreed to in the CMWG meeting that an NPRR will be written to address this issue. On behalf of the CMWG, Bob Spangler agreed to write an NPRR Once the NPRR is filed and approved by the process then the requirements document will be updated.
2 | LCRA (S.Siddiqi) | p. 19, Sec. 3.4, FR4 | The annual CCT sub-process shall provide all components and steps described in Figure 2‑4 – Annual CCT Overview Diagram. The input data to annual CCT sub-process shall be provided as described in Table 2‑1 – CCT Inputs. The sub-process shall provide all outputs as described in Table 2‑2 CCT Outputs. The network model used for annual CCT is based on the monthly peak case used to auction the on-peak CRRS. | Accepted | M. Patterson | Requirements document will be updated as specified.
3 | LCRA (S.Siddiqi) | p. 21, Sec. 3.6, FR6 | In the day-ahead of the operation day (a timeline to be defined by ERCOT), the peak case, used to auction the monthly on-peak CRRsDAM network model for the peak hour, and the most current Managed Capacity information shall be used to perform a daily CCT for each competitive and non-competitive constraint resulting from monthly CCT sub-process for the particular day. | Accepted | M. Patterson | References to this revised description are not found in the May, 2006 Nodal Protocols, though ERCOT tends to agree with the statement. Requirements document will be updated as specified.
4 | LCRA (S.Siddiqi) | p. 21 | Business Sub-Process 7: Pivotal Player Test (please add details of how ERCOT plans to perform this test) | Accepted | M. Patterson | ERCOT will update the requirements document by adding an Appendix to provide description of the "Competitive Constraint Test Procedures". The word document CCT_Appendix.doc provides the text for the Appendix.
5 | GP&L (R.Hoeinghaus) | p. 6, Sec. 2 | Figure 2-1 presents an overview diagram of Real-Time Market. In this diagram CCT process is represented with a yellow background. GP&L Comment – Looked on 2 computers & 1 color printout - no “yellow” background anywhere. The blue background includes a lot more than the CCT process so do not believe it was just a simple color switch. The results of the daily CCT process are applied in the SCED process for real-time market. | Accepted | M. Patterson | The text in this paragraph will be modified to reflect the missing color scheme in the flowchart as follows: “Figure 2-1 presents an overview diagram of Real-Time Market. In this diagram, the CCT process in the box labeled as Competitiveness Test for Constraint supplies competitive/non-competitive constraint input data for the SCED process. The results of the daily CCT process are applied in the SCED process for real-time market.”