| PRR Number | 699 | PRR Title | Removal of the Northeast Congestion Zone in Trading Hub Transaction Conversions |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision |  | 7.9.2.6 ERCOT Bus Average 345 kV Trading Hub 7.9.3.4 Scheduling of Transactions Using ERCOT Trading Hubs |  |  |
| Proposed Effective Date |  | January 1, 2006 |  |  |
| Priority and Rank Assigned |  | N/A |  |  |
| Revision Description |  | This PRR Synchronizes the ERCOT Protocols to reflect the removal of the Northeast Congestion Zone in the Trading Hub calculations beginning January 1, 2007. As such, reference to the Northeast Congestion Zone in the Protocols is removed, and the calculation for converting transactions at Trading Hubs to existing Congestion Zones is revised. In addition, the calculation is adjusted to account for the fact that a transmission bus that was previously in the West Congestion Zone will be in the North Congestion Zone in 2007 (bus number 6096). |  |  |
| Overall Market Benefit |  | Proper hub price calculation. |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | TBD. |  |  |
| Procedural History |  | - PRR699 with a request for Urgent Status and the associated Impact Analysis was posted on 11/13/06. - The motion to grant Urgent Status failed by email vote 11/15/06. - On 11/16/06, PRS reconsidered the request for Urgent Status and considered PRR699. |  |  |
| PRS Recommendation |  | On 11/16/06, PRS unanimously voted to grant the request for Urgent Status. All Market Segment were present for the vote. Then PRS unanimously voted to recommend approval of PRR669 as submitted. The Independent Power Marketer and Independent Generators Market Segments were not present for the vote. |  |  |
| Summary of PRS discussion |  | ERCOT Staff explained that the re-designation of the busses occurred under a separate effort. This PRR merely implements this decision. Market Participants requested that ERCOT consider tracking Congestion costs. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Minor configuration change for ERCOT, no system impact to market. |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | No impacts | None |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Proper hub price calculation. | None |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Carry Tucker |
| Company | ERCOT |
| Segment | N/A |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

7.9.2.6	ERCOT Bus Average 345 kV Trading Hub

(1)	The ERCOT Bus Average 345 kV Trading Hub is composed of the buses listed in Section 7.9.2.1, the North 345 kV Trading Hub, Section 7.9.2.2, the South 345 kV Trading Hub, Section 7.9.2.3, the Houston 345 kV Trading Hub and Section 7.9.2.4, the West 345 kV Trading Hub.

(2)	Until superseded by implementation of a different market design for the ERCOT market (e.g., a nodal market design), the ERCOT Bus Average 345 kV Trading Hub Price for each interval shall approximately consist of a 56% weighting applied to the North 345 kV Trading Hub price, a 21% weighting applied to the South 345 kV Trading Hub price, a 12% weighting applied to the Houston 345 kV Trading Hub price, and a 10% weighting applied to the West 345 kV Trading Hub price.  For the exact weights, please refer to Section 7.9.3.4, Scheduling of Transactions Using ERCOT Trading Hubs.

7.9.3.4	Scheduling of Transactions Using ERCOT Trading Hubs

(1)	Until ERCOT’s scheduling system is updated to automatically convert transactions involving Trading Hubs into transactions involving Congestion Zones, QSEs having any transaction involving an ERCOT Trading Hub shall convert each such transaction to one that can be expressed as a scheduled transaction between existing Congestion Zones.

(2)	Market Participants shall use the following matrix to convert transactions at Trading Hubs to existing Congestion Zones:

|  | 2007 Congestion Zone |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Trading Hub | North |  | South | Houston | West |
| North | 1.000 |  |  |  |  |
| South |  |  | 1.000 |  |  |
| Houston | 0.050 |  |  | 0.950 |  |
| West | 0.059 |  |  |  | 0.941 |
| Bus Average | 0.559 |  | 0.214 | 0.123 | 0.104 |
| ERCOT Average | 0.277 |  | 0.250 | 0.238 | 0.235 |