Minutes of DWG Meeting

Austin, Texas

October 3-4, 2006

Attendees:

Tom Bao		LCRA		512-369-4103	tom.bao@lcra.org

Vance Beauregard, Vice Chair, AEP	918-599-2605	vybeauregard@aep.com

Roy Boyer		TXUED		214-743-6682	rboyer@txued.com

Jose Conto		ERCOT		512-248-3141	jconto@ercot.com

Reza Ebrahimian	 	Austin Energy	512-322-6740	reza.ebrahimian@austinenergy.com

Tony Hudson		TNMP		409-948-8451	ahudson@tnpe.com

Danh Huynh		Garland		972-205-3157	DanhH@gplpops.org

John Moore		STEC		361-485-6137	jmoore@stec.org

John Schmall		ERCOT		512-248-4243	jschmall@ercot.com

Wes Woitt, Chair		CenterPoint	713-207-2760	wesley.woitt@centerpointenergy.com

Weihui Fu		ERCOT		512-248-6628	Weihui.fu@ercot.com

Tuesday October 3th, 10:00 am - 5:00 pm, MET Room 161

Wednesday October 4th, 8:00 am – 3:00 pm, MET Room 161

- Approve July meeting minutes

The minutes of the DWG July 13-14, 2006 meeting were approved as written.

- Procedural Manual review

The DWG reviewed and made extensive revisions to the Procedural Manual.  The Manual was re-organized, wind-farm modeling requirements were expanded, and NERC Standards requirements were addressed.  Wes will make some final cosmetic revisions and send this out to the DWG for a one-day review.  Unless serious problems are found, he will send this to the ROS for approval at their October meeting.

- NERC Field Test Standards review

Wes participated in the October NERC conference call concerning NERC Field Test Standards.  Some of the regions, particularly WECC, are ahead of us in this effort.  Some of them are in-line or behind our efforts.  Mark Henry covered how the NERC Standards are related to our Procedural Manual, the Protocols and the Operating Guides.  There is only one generating entity still willing to participate in the Field Test effort.  He suggested that we need some sort of workshop to accelerate the process, possibly including people from other regions who are working on this effort.  We would need to put out a preliminary document ahead of time.

Some of the issues that need to be ironed out include:

  - The things that have to be tested.

  - Who pays for the tests

  - The new models that are needed.

We have to limit what we ask for.  WECC published in June or July their 2006 Generator Test Program (a comprehensive program) – Reza sent it out Sept. 28.  We may be able to extract some of this for our purposes.  Our next step can be to customize the WECC documents for ERCOT purposes.  Somewhere in the Operating Guides we need to specify the testing that is required, as well as the testing intervals, and refer to this document.  Reza suggested that perhaps a ROS task force should be created.  We should submit this issue to ROS, point out need for clarification, narrow the scope to validation testing, and model our efforts after the WECC.  We could then put out a draft Operating Guides Revision Request (OGRR).  We are not yet ready to put out such a draft based on what we have done.  We need to tell ROS the status of field test effort, and the progress that the other regions have made.  It may take a very long time to develop the draft OGRR.  The task force should be formed by the end of the year, and should have generation entity representation.  Implementation issues need to be addressed also.  We will review the WECC document, and have a conference call to discuss how to proceed.

Wes reviewed the NERC Field Test Standards PRC-024, and found unclear language in ERCOT Operating Guide 2.9.2, such that a change may be necessary.  Wes will escalate this to ROS for resolution.  WECC published a more comprehensive document on generator testing.

- Generator Interconnection Procedure discussion

Additional wind model requirements were added to the Generation Interconnection Procedure document.  At the ROS meeting, it was mentioned that these requirements might need to be put into the Operating Guides.  The DWG position is that this detail belongs in the Generator Interconnection Procedure only, and do not need to be in the Operating Guides.  Operating Guide 5.1.6 clearly states that generators have to provide modeling information detailed in procedures of the DWG.  Roy feels that the detailed requirements should be in the DWG Procedures only, and not in the Generator Interconnection Procedures, because of the fact that DWG data requirements may change with time, but the Generator Interconnection document is not updated very often.

- Set schedule for 2007 flat start activities

Tom volunteered to do the Stability Book this year, with help from Tony.  The deadline on this is the end of the year.  We did not have time to set the schedule for 2007 flat start activities.  That will be done at our November meeting

- Set next meeting date. Next meeting scheduled for Nov. 29-30 at ERCOT Austin office.

- Adjourn

Adjourned at 3:15 pm.