Commercial Systems

Average Incremental Energy Cost Settlements Requirements

V1.0

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 10/02/2006 | 0.01 | Initial draft to Internal Discussions | John S.H. Adams |
| 10/17/2006 | 0.09 | TPTF Initial Briefing | John S.H. Adams |
| 11/03/2006 | 0.091 | TPTF Comments | John S.H. Adams |
| 11/09/2006 | 1.0 | TPTF Approved | John S.H. Adams |

Table of Contents

1.	Average Incremental Energy Cost Settlement	3

1.1	Proposed System Scope	3

1.2	Document Conventions	3

1.3	Document Assumptions	3

2.	Functional Requirements	3

2.1	Energy Offer Curve Bill Determinant Creation	3

2.2	Day-Ahead Average Incremental Energy Cost Calculation (DAAIEC)	3

2.3	Real-Time Average Incremental Energy Cost Calculation (RTAIEC)	3

2.4	Real-Time Voltage Support Service Average Incremental Energy Cost Calculation (RTVSSAIEC)	3

2.5	Real-Time High Sustainable Limit Average Incremental Energy Cost Calculation (RTHSLAIEC)	3

3.	Supplementary Requirements	3

3.1	Performance Requirements	3

3.2	Legal and Regulatory requirements	3

3.3	System Security Requirements	3

3.4	Back up and Recovery Requirements	3

3.5	Availability and Redundancy Requirements	3

3.6	Maintainability Requirements	3

3.7	Daylight Savings Time shall be recognized in Nodal Market settlements.	3

4.	Protocol Coverage	3

Software Requirements Specification

# Average Incremental Energy Cost Settlement

## Proposed System Scope

ERCOT plans to implement a new Nodal market in 2009.  Sections 4, 5, and 6 of the Nodal Protocols describe the various Charge Types and Settlement Statement requirements for the Average Incremental Energy Cost Settlements.  The Nodal Protocols will guide this project.

This document defines the requirements for Average Incremental Cost (AIEC) Settlements.  The requirements in scope for this document include calculation of AIEC Bill Determinants that are

- detailed in Nodal Protocols Section 4 (NPRR 006 approved by the Board on 07/18/2006), and

- detailed in Nodal Protocols Section 5 (NPRR 003 approved by the Board on 09/19/2006), and

- detailed in Nodal Protocols Section 6 (NPRR 009 approved by the Board on 08/15/2006), and

- detailed in the Voltage Support NPRR (approved by TPTF 09/29/2006), and

- detailed in the NPRR accompanying this document.

The following Charge Types are addressed in this document:

- Day-Ahead Average Incremental Energy Cost (DAAIEC)

(NP §4.6.2.3.1)

- Real-Time Average Incremental Energy Cost (RTAIEC)

(NP §5.7.1.3, NP §5.7.1.4)

- Real Time Voltage Support Average Incremental Energy Cost (RTVSSAIEC)

(NP §6.6.7.1(2)(b))

- Real-Time High Sustainable Limit Average Incremental Energy Cost (RTHSLAIEC)

(NP §6.6.7.1(2)(b))

The Figures provided within this document are for illustrative purposes.  The figures should be considered in conjunction with the textual requirements.  If a contradiction exists between an illustrative figure and its associated textual requirements, the textual requirements should override the figure.

## Document Conventions

- All text lifted from the Nodal Protocols is in italic font.

- All dependencies are identified using D1, D2, etc.

- All assumptions are identified using A1, A2, etc.

- The original source system is defined for each input bill determinant.  It is important to note that the format defined for the input bill determinant is the format for which the data should exist in the Settlement System, after any interface functionality.  The bill determinant may or may not exist in the original source system in the format defined for the bill determinant.  A separate set of business requirements will address data transformations and interfacing between the original source system and the Settlement System.

## Document Assumptions

- Any charge type that requires historical data will obtain this information via alternative means during the beginning of market open until the data is available.

- The charge type calculations are documented using the proposed recorder format for the bill determinants.  The following list defines the nomenclature used for the recorders (not all of these bill determinant recorder elements may apply to the charge types within this document):

<Q> = QSE

<CO> = CRR Owner

<R> = Resource

<SP> = Settlement Point

< BLTP> = Block Load Transfer Point

<SRSP> = Source Settlement Point

<SKSP> = Sink Settlement Point

<ST> = Start Type

<F> = Flowgate

<E> = Directional Network Element

<C> = Constraint Identifier

<M> = Market

<RUC> = RUC Process

<OPi> = Ordered Pair Number

# Functional Requirements

To Be Sub-Process for Settlements and Billing

The following charts illustrate the dependencies between the various Average Incremental Energy Cost calculations.  Disclaimer:  the diagrams are meant to provide contextual information only, to the extent that the information in the Functional Requirements conflict with the diagrams, the functional requirements shall override the diagrams.

Figure 1.0: Day-Ahead Average Incremental Energy Cost Data Dependencies

Figure 2.0: Real-Time Average Incremental Energy Cost Data Dependencies

Figure 3.0: Real-Time Voltage Support Service Average Incremental Energy Cost Data Dependencies

Figure 4.0: Real-Time High Sustainable Limit Average Incremental Energy Cost Data Dependencies

The following proposed protocol section will guide the overall direction for the calculation of the DAAIEC, RTAIEC, RTVSSAIEC, and RTHSLAIEC Bill Determinant Calculations.

Calculation of “Average Incremental Energy Cost” (AIEC)

The protocol language below shall guide the various AIEC Bill Determinant calculations within this document.

The methodology of AIEC calculation is presented below.  AIEC is used to account for the additional cost for a Generation Resource to produce energy above its LSL.  This cost calculation methodology is used for the calculation of DAAIEC, RTAIEC, RTVSSAIEC, and RTHSLAIEC variables.  The DAAIEC and RTAIEC are subject to the Energy Offer Curve Cap, while the RTVSSAIEC and RTHSLAIEC are not subject to price caps.

- Energy Offer Curve

| Index (i) | MW | $/MWh |
| --- | --- | --- |
| 1 | Q1 | P1 |
| 2 | Q2 | P2 |
| ⋮ | ⋮ | ⋮ |
| N (N10) | QN | PN |

Variables DAAIEC and RTAIEC should calculate the associated price caps as specified in steps II through IV, the calculation process for Variables RTVSSAIEC and RTHSLAIEC should skip steps II through IV and continue with step V.

- MW quantity corresponding with Energy Offer Curve Cap, P ($/MWh), where Pi<P≤Pi+1 (i=1,2,⋯,N−1)

Q ($/MWh), where Q=Qi+Qi+1−QiPi+1−Pi(P−Pi)

- Energy Offer Curve capped with the Energy Offer Curve Cap;

- When P<PN

| Index (j) | MW | $/MWh |
| --- | --- | --- |
| 1 | Q1 | P1 |
| ⋮ | ⋮ | ⋮ |
| i | Qi | Pi |
| i+1 | Q | P |
| i+2 | QN | P |

- When P≥PN:

| Index (j) | MW | $/MWh |
| --- | --- | --- |
| 1 | Q1 | P1 |
| ⋮ | ⋮ | ⋮ |
| N | QN | PN |

- Cleared offer on the capped Energy Offer Curve

- When P<PN:

Q (MW), where Qj<Q≤Qj+1 (j=1,⋯,i,i+1)

- When P≥PN:

Q (MW), where Qj<Q≤Qj+1 (j=1,⋯,N−1)

- Incremental energy price corresponding with cleared offer, on the capped Energy Offer Curve:

P ($/MWh), where P=Pj+Pj+1−PjQj+1−Qj(Q−Qj)

- Average incremental energy cost corresponding with (Q-Q1>0), on the capped Energy Offer Curve:

AIEC=P1+P2, for Q1<Q≤Q2k=1j−1Pk+Pk+12(Qk+1−Qk)+Pj+P2(Q−Qj)/(Q−Q1), for Q>Q2

(4.6.5 Nodal Protocols including ERCOT’s suggested changes)

## Energy Offer Curve Bill Determinant Creation

The Energy Offer Curve Bill Determinant Creation for a given Operating Hour to each QSE representing a Generation Resource, that has been either committed in the Day-Ahead Market, or committed in the Reliability Unit Commitment process, or has been issued a Voltage Support Instruction, shall be as follows:

| Requirement ID | FR1 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.2.3.1, PR 5.7.1.3, PR 5.7.1.4, PR 6.6.7.1(2)(b) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine whether the Resource was committed for Day-Ahead or RUC, or instructed to provide Voltage Support for the Operating Day. If either a DAMCOMMITFLAG_<Q>_<R>_<SP>, RUC_<Q>_<R>_<SP>_<RUC>, VSSVARIOL_<Q>_<R>_<SP> exist for an Operating Day Then continue with the Energy Offer Curve Bill Determinate Creation process below. |  |

| Requirement ID | FR2 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall receive the Energy Offer Curve associated with the resource committed in the Day-Ahead Market for the Operating Hour. Based upon the number of ordered pair elements within the Energy Offer Curve, the following quantity bill determinants should be created as 24 Hourly Interval cuts and defined as follows: EOCQTY_<Q>_<R>_<SP>_<OPi> = Qi the quantity amount from the ordered pair EOCPR_<Q>_<R>_<SP>_<OPi> = Pi the price amount from the ordered pair Such that the OPi corresponds with i. For example, EOCQTY_<Q>_<R>_<SP>_OP1 should correspond with Q1 of the Energy Offer Curve. Ten (10) ordered pairs is the maximum number of ordered pairs allowed. Given that an Energy Offer Curve may have a different number of ordered pairs from one Operating Hour to the next, Zeros (0) should be used as a filler: Please see example for further explanation. Example: Presume that a QSE submits the following Energy Offer Curves for a resource For OP Hours 1 – 4 For OP Hours 5 - 8 (100MW, $25.00) (100MW, $25.00) (150MW, $32.50) (125MW, $28.75) (300MW, $45.00) (200MW, $35.00) (300MW, $43.00) The Bill Determinants shall be created as follows: EOCQTY_<Q>_<R>_<SP>_OP1 → 100, 100, 100, 100, 100, 100, 100, 100 EOCQTY_<Q>_<R>_<SP>_OP2 → 150, 150, 150, 150, 125, 125, 125, 125 EOCQTY_<Q>_<R>_<SP>_OP3 → 300, 300, 300, 300, 200, 200, 200, 200 EOCQTY_<Q>_<R>_<SP>_OP4 → 0, 0, 0, 0, 300, 300, 300, 300 EOCPR_<Q>_<R>_<SP>_OP1 → 25.00, 25.00, 25.00, 25.00, 25.00, 25.00, 25.00, 25.00 EOCPR_<Q>_<R>_<SP>_OP2 → 32.50, 32.50, 32.50, 32.50, 28.75, 28.75, 28.75, 28.75 EOCPR_<Q>_<R>_<SP>_OP3 → 45.00, 45.00, 45.00, 45.00, 35.00, 35.00, 35.00, 35.00 EOCPR_<Q>_<R>_<SP>_OP4 → 0, 0, 0, 0, 43.00, 43.00, 43.00, 43.00 |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| Qi | MW | MW Quantity of the Energy Offer Curve Order Pair, where i represents which order pair. | MMS |
| Interval Frequency: TBD Additional Comments: There must be at least two (2) ordered pairs for a given Resource and Operating Hour, and there can be no more than ten (10) ordered pairs for a given Resource and Operating Hour. |  |  |  |
| Pi | $ / MWh | $ / MWh Price of the Energy Offer Curve Order Pair, where i represents which order pair. | MMS |
| Interval Frequency: TBD Additional Comments: There must be at least two (2) ordered pairs for a given Resource and Operating Hour, and there can be no more than ten (10) ordered pairs for a given Resource and Operating Hour. |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| EOCQTY | MW | The MW Quantity that corresponds to a specific a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| EOCPR | $ / MWh | The $ / MWh Price that corresponds to a specific a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)  Creation of the Energy Offer Curve Bill Determinants depends upon the availability of the Energy Offer Curve Data from the Source System.

### Assumptions

A1) 	The Original Source System will accurately create the Energy Offer Curve ordered pairs for each Resource.  The Settlement System will settle based upon the Energy Offer Curve data propagated by the Source System and has no ability to verify or validate the integrity of the Energy Offer Curve values.

A2)	While the Source System may store the Energy Offer Curve data with associated Starting Operating Hour and Ending Operating Hour, the Interface shall appropriately translate the Energy Offer Curve data into Hourly Interval Data.

A3)	The Settlement System shall have a Database Construct capable of handling the Energy Offer Curve data, and the associated calculations.  Additionally, this construct will be further detailed in the Detail Design Document.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR3 | PR 4.6.5 | CSWM. P03SettleBill Transfer | The input, intermediate, and output bill determinants should not be rounded or truncated. This includes the following bill determinants: Qi Pi EOCQTY EOCPR |
| FR4 | PR 12.3 (C) | CSWM. P03SettleBill Transfer | All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. EOCQTY EOCPR |
| FR5 | PR 4.6.5 | CSWM. P03SettleBill Transfer | DRIVER: Energy Offer Curve Data Creation should only occur for QSE’s Resources that either have a DAMCOMMITFLAG, RUC, or VSSVARIOL for an Operating Day. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR6 | PR 4.6.5 | CSWM. P03SettleBill Transfer | If an EOCQTY data cut is negative for an Operating Hour the system should log a “Warning” error message, and Default the EOCQTY to zero for that Operating Hour. |

### Specific Database Needs

The Settlement System shall have a Database Construct capable of handling the Energy Offer Curve ordered pair data.

## Day-Ahead Average Incremental Energy Cost Calculation (DAAIEC)

The Day-Ahead AIEC calculation for a given Operating Hour to each QSE representing a Generation Resource that has been committed in the Day-Ahead Market is as follows:

| Requirement ID | FR7 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.2.3.1 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The ERCOT Settlement System shall determine whether the Resource was committed in the Day-Ahead Market for the Operating Day, and Hourly Settlement Interval. If DAMCOMMITFLAG_<Q>_<R>_<SP> = 0 Then set the DAAIEC_<Q>_<R>_<SP> = 0 and the process is complete Otherwise continue calculation process below. |  |

| Requirement ID | FR8 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine if the Day-Ahead Energy Sale from a Resource is sufficient enough to warrant the DAAIEC calculation. If DAESR_<Q>_<R>_<SP> ≤ EOCQTY_<Q>_<R>_<SP>_OP1 Then set the DAAIEC_<Q>_<R>_<SP> = 0 and the process is complete Otherwise continue calculation process below. |  |

| Requirement ID | FR9 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.9.3.3 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: Determine the Energy Offer Curve Price Cap based upon the Resource Type, as specified in the Nodal Protocols EOCPRCAP_<Q>_<R>_<SP> = Price Cap based on Resource Type as defined below: - (a) Nuclear = $15.00/MWh; - (b) Coal and Lignite = $18.00/MWh; - (c) Combined Cycle greater than 90 MW = FIP * 9 MMBtu/MWh; - (d) Combined Cycle less than or equal to 90 MW = FIP * 10 MMBtu/MWh; - (e) Gas -Steam Supercritical Boiler = FIP * 10.5 MMBtu/MWh; - (f) Gas Steam Reheat Boiler = FIP * 11.5 MMBtu/MWh; - (g) Gas Steam Non-reheat or boiler without air-preheater = FIP * 14.5 MMBtu/MWh; - (h) Simple Cycle greater than 90 MW = FIP * 14 MMBtu/MWh; - (i) Simple Cycle less than or equal to 90 MW = FIP * 15 MMBtu/MWh; - (j) Diesel = FIP * 16 MMBtu/MWh; - (k) Hydro = $10.00/MWh; - (l) Other Renewable = $0/MWh; and - (m) RMR Resource = RMR contract price Energy Offer Curve. |  |

| Requirement ID | FR10 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The ERCOT Settlement System shall determine if the Price Cap is above the highest Price within the Energy Offer Curve, thereby eliminating the need to modify the Energy Offer Curve by the Price Cap and the associated Quantity Cap. If EOCPRCAP_<Q>_<R>_<SP> ≥ EOCPR_<Q>_<R>_<SP>_OPn, where n is the number of NON-ZERO ordered pairs for the Operating Hour within the specific Energy Offer Curve being contemplated. Then EOCQTYCAP_<Q>_<R>_<SP> = EOCQTY_<Q>_<R>_<SP>_OPn, and skip the Energy Offer Curve Quantity Cap Determination Process, and continue with Cleared Energy Offer Price Calculation. Otherwise continue with Energy Offer Curve Quantity Cap Determination Process below. |  |

| Requirement ID | FR11 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The ERCOT Settlement System shall determine if the Price Cap is below the lowest Price within the Energy Offer Curve, thereby establishing the Day Ahead Average Incremental Energy Cost as the Price Cap. If EOCPRCAP_<Q>_<R>_<SP> ≤ EOCPR_<Q>_<R>_<SP>_OP1, Then DAAIEC_<Q>_<R>_<SP> = EOCPRCAP_<Q>_<R>_<SP> and the process is complete, Otherwise continue with Energy Offer Curve Quantity Cap Determination Process below. |  |

2.2.1	Energy Offer Curve Quantity Cap Determination Process

| Requirement ID | FR12 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the EOC Quantity Cap associated with the EOC Price Cap. The Settlement System shall determine which two ordered pairs of the Energy Offer Curve that the Energy Offer Curve Price Cap is between: First find the EOCPR_<Q>_<R>_<SP>_<OPi> and EOCPR_<Q>_<R>_<SP>_<OPi+1> such that: EOCPR_<Q>_<R>_<SP>_<OPi> < EOCPRCAP_<Q>_<R>_<SP> ≤ EOCPR_<Q>_<R>_<SP>_<OPi+1> Then EOCQTYCAP_<Q>_<R>_<SP> = EOCQTY_<Q>_<R>_<SP>_<OPi> + [(EOCQTY_<Q>_<R>_<SP>_<Opi+1> – EOCQTY_<Q>_<R>_<SP>_<OPi>) / (EOCPR_<Q>_<R>_<SP>_<Opi+1> – EOCPR_<Q>_<R>_<SP>_<OPi>) * (EOCPRCAP_<Q>_<R>_<SP> – EOCPR_<Q>_<R>_<SP>_<OPi>)] |  |

2.2.2	Cleared Energy Offer Price Calculation Process

| Requirement ID | FR13 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the EOC Cleared Offer Price associated with the Day Ahead Energy Sale from a Resource (DAESR). The Settlement System shall determine which two ordered pairs of the Energy Offer Curve that the DAESR is between: First find the EOCQTY<Q>_<R>_<SP>_<OPj> and EOCQTY_<Q>_<R>_<SP>_<OPj+1> such that: EOCQTY_<Q>_<R>_<SP>_<OPj> < DAESR_<Q>_<R>_<SP> ≤ EOCQTY_<Q>_<R>_<SP>_<OPj+1> Then DAESRCLPR_<Q>_<R>_<SP> = EOCPR_<Q>_<R>_<SP>_<OPj> + [(EOCPR_<Q>_<R>_<SP>_<Opj+1> – EOCPR_<Q>_<R>_<SP>_<OPj>) / (EOCQTY_<Q>_<R>_<SP>_<Opj+1> – EOCQTY_<Q>_<R>_<SP>_<OPj>) * (DAESR_<Q>_<R>_<SP> – EOCQTY_<Q>_<R>_<SP>_<OPj>)] |  |

2.2.3	DAAIECAREA Calculation Process

| Requirement ID | FR14 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the area under the EOC from the LSL to the DAESR. The Settlement System shall loop through each Ordered Pair Interval to determine area until the DAESR is reached: Begin, DAAIECAREA_<Q>_<R>_<SP> = 0 to initialize the value for each Operating Hour for the Resource. Loop through the ordered pairs of the Energy Offer Curve for the DAAIECAREA Calculation until the DAESR Bill Determinant is used. (The ordered pair k should equal 1 to begin with, and should increase with each loop) Determine the Minimum of (EOCQTY_<Q>_<R>_<SP>_<OPk+1>, EOCQTYCAP_<Q>_<R>_<SP>, DAESR_<Q>_<R>_<SP>) IF EOCQTYCAP_<Q>_<R>_<SP> Then: DAAIECAREA_<Q>_<R>_<SP> = DAAIECAREA_<Q>_<R>_<SP> + [(EOCQTYCAP_<Q>_<R>_<SP> – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½(EOCPR_<Q>_<R>_<SP>_<OPk> + EOCPRCAP_<Q>_<R>_<SP>)] + [(DAESR_<Q>_<R>_<SP> – EOCQTYCAP_<Q>_<R>_<SP>) * EOCPRCAP_<Q>_<R>_<SP>] See Figure 5.0 for an example. Exit the DAAIECAREA Calculation Loop and continue to the DAAIEC Calculation Process. IF DAESR_<Q>_<R>_<SP> Then: DAAIECAREA_<Q>_<R>_<SP> = DAAIECAREA_<Q>_<R>_<SP> + [(DAESR_<Q>_<R>_<SP> – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½ (EOCPR_<Q>_<R>_<SP>_<OPk> + DAESRCLPR_<Q>_<R>_<SP>)] See Figure 6.0 for an example. Exit the DAAIECAREA Calculation Loop and continue to the DAAIEC Calculation Process. IF EOCQTY_<Q>_<R>_<SP>_<OPk+1> = 0 Then the DAAIECAREA process is complete for the Operating Hour currently being calculated. (There are more ordered pairs in other Operating Hours, which is why the EOCQTY is zero in this Operating Hour.) Exit the DAAIECAREA Calculation Loop and continue to the DAAIEC Calculation Process. IF EOCQTY_<Q>_<R>_<SP>_<OPk+1> > 0 Then: DAAIECAREA_<Q>_<R>_<SP> = DAAIECAREA_<Q>_<R>_<SP> + [(EOCQTY_<Q>_<R>_<SP>_<OPk+1> – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½ (EOCPR_<Q>_<R>_<SP>_<OPk> + EOCPR_<Q>_<R>_<SP>_<OPk+1>)] See Figure 7.0 for an example. Continue the DAAIECAREA Loop Calculation Process. |  |

Figure 5.0 Example of DAAIECAREA Calculation with EOCQTYCAP as Minimum

Figure 6.0 Example of DAAIECAREA Calculation with DAESR as Minimum and a DAAIECAREA has been calculated for a previous Operating Pair Interval (See Figure 6.0)

Figure 7.0 Example of DAAIECAREA Calculation with EOCQTY as Minimum

2.2.4	DAAIEC Calculation

| Requirement ID | FR15 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description DAAIEC_<Q>_<R>_<SP> = DAAIECAREA_<Q>_<R>_<SP> / (DAESR_<Q>_<R>_<SP> – DALSL_<Q>_<R>_<SP>) |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| EOCQTY | MW | The MW Quantity that corresponds to a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| EOCPR | $ / MWh | The $ / MWh Price that corresponds to a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| DAMCOMMITFLAG | Misc | DAM-Committed Resource Flag per QSE and Resource by hour  Flag that indicates if an hourly interval was DAM-Committed for a QSE and Resource for the hour. A value of one (1) indicates that the interval is DAM-committed interval; a value of zero (0) indicates that the interval is not DAM-committed. | MMS |
| Interval Frequency: 1 / hour Additional Comments: For the Day-Ahead Make-Whole Payment calculation, this flag is utilized to identify the DAM-committed hours for which the calculation should occur. The DAMCOMMITFLAG will indicate the intervals in which a Resource was DAM-committed based upon an awarded Three Part Supply Offer. If an offer is cleared for multiple contiguous blocks of hours, and the cleared offers are DAM-committed, the entire block of hours is considered one commitment period. If an offer is cleared for multiple non-contiguous blocks of hours, and the cleared offers are DAM-committed, each block of hours is considered one commitment period. |  |  |  |
| DAESR | MW | Day-Ahead Energy Sale from Resource per QSE by Settlement Point per Resource by hourThe amount of energy cleared through Three-Part Supply Offers in the DAM for the Resource at the Resource Node Settlement Point represented by the QSE for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: There is an understood multiplier of 1 hour to obtain MWh from MW for the Day Ahead Market settlements. If an offer is cleared for multiple contiguous blocks of hours, and the cleared offers are DAM-committed, the entire block of hours is considered one commitment period. If an offer is cleared for multiple non-contiguous blocks of hours, and the cleared offers are DAM-committed, each block of hours is considered one commitment period. |  |  |  |
| DALSL | MW | Low Sustained Limit per QSE per Settlement Point per Resource per hourThe Low Sustained Limit of the Resource at the Resource Node Settlement Point represented by the QSE, for the hour. | MMS |
| Interval Frequency: 1 / hour Additional Comments: This is the LSL that is specified in the resource’s Current Operating Plan that was valid in the DAM 1000 snapshot. If the DAM is delayed, this value should come from the Startup Offer captured at the point in time when the DAM is executed. There is an understood multiplier of 1 hour to obtain MWh from MW for the Day Ahead Market settlements. |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| EOCQTYCAP | MW | The MW Quantity Cap that is capped by the Energy Offer Cap for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| EOCPRCAP | $ / MWh | The $ / MWh Price Cap that is capped by the Energy Offer Cap for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| DAESRCLPR | $ / MWh | The $ / MWh Cleared Price that is associated with the Day-Ahead Energy Sale for a Resource R, for a QSE Q, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| DAAIECAREA | None | The Area underneath the Energy Offer Curve LSL to the DAESR for Generation Resource R represented by QSE Q, for the Hourly Settlement Interval. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| DAAIEC | $/MWh | Day-Ahead Average Incremental Energy Cost per QSE per Settlement Point per Resource per hour – The average incremental energy cost, calculated according to the energy offer curve capped by the generic energy price, for the output levels between they DAESR and the DALSL of the Resource at the Resource Node Settlement Point represented by the QSE, for the hour. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)	Calculation of the DAAIEC depends upon the successful creation of the EOCQTY and EOCPR bill determinants.

D2)	The DAAIEC is dependent upon the availability of all data inputs.

### Assumptions

A1)  The Settlement System is not responsible for any validation of any component of the Three Part Supply Offer; validation of the offers will occur within the original source system.

A2) 	A DAMCOMMITFLAG data cut will be created for all resources that were DAM-committed in at least one hourly interval.  This data cut will be created with a zero (0) or a one (1) value in every Operating Hour.  When creating the DAMCOMMITFLAG data cut for a QSE, Resource, Settlement Point, and Operating Day the interface will substitute a 0 value for a null value.

A3)  When creating the DAESR data cut for a QSE, Resource, Settlement Point, and Operating Day the interface will substitute a 0 value for a null value only if at least one interval within the Operating Day has a non-zero quantity (i.e. has a cleared Offer) for that Resource.  If there are no intervals with a non-zero quantity for the entire Operating Day, then the interface will not create a DAESR data cut for that Resource.

A4)  When creating the DALSL data cut for a QSE, Resource, and Operating Day, the interface will substitute a 0 value for a null value only if at least one interval within the Operating Day has a non-zero quantity for that Resource.  If there are no intervals with a non-zero quantity for the entire Operating Day and for the DAM, then the interface will not create a DALSL data cut for that QSE, Resource, Operating Day, and DAM.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR16 | PR 4.6.5 | CSWM. P03SettleBill Transfer | The input, intermediate, and output bill determinants should not be rounded or truncated. This includes the following bill determinants: EOCQTY EOCPR DAMCOMMITFLAG DAESR DALSL EOCPRCAP EOCQTYCAP DAESRCLPR DAAIECAREA DAAIEC |
| FR17 | PR 12.3 (C) | CSWM. P03SettleBill Transfer | All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. EOCQTY EOCPR DAMCOMMITFLAG DAESR DALSL EOCPRCAP EOCQTYCAP DAESRCLPR DAAIECAREA DAAIEC |
| FR18 | PR 4.6.2.3.1 | CSWM. P03SettleBill Transfer | DRIVER: The DAAEIC should only be calculated for Resources with a DAMCOMMITFLAG in the Operating Day. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR19 | PR 4.6.5 | CSWM. P03SettleBill Transfer | A “Warning / Default” error should be created if the DAESR – DALSL for a particular Operating Hour equals zero and the DAAIEC should default to zero. Additionally the Settlement System should issue the error with the QSE, Resource and Operating Day included in the error message. |

### Specific Database Needs

None

## Real-Time Average Incremental Energy Cost Calculation (RTAIEC)

The Real-Time AIEC calculation for a given 15-Minute Settlement Interval to each QSE representing a Generation Resource that has been committed for Reliability Unit Commitment is as follows:

| Requirement ID | FR20 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 5.7.1.3 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The ERCOT Settlement System shall determine whether the Resource was committed in the Reliability Unit Commitment process for the Operating Day. If RUC_<Q>_<R>_<SP>_<RUC> exists for a Resource and Operating Day Then continue calculation process below. |  |

| Requirement ID | FR21 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine if the Real-Time Meter Generation is sufficient enough to warrant the RTAIEC calculation. Note that the RTMG is a 15-Minute Settlement Interval Bill Determinant measured in MWh, and the EOCQTY is an Hourly Settlement Interval Bill Determinant measured in MW – the Settlement System shall convert the RTMG into a MW value to appropriately compare the two Bill Determinants. Additionally the EOCQTY shall be the same value for each 15-Minute Settlement Interval within the Hourly Settlement Interval. If (RTMG_<Q>_<R>_<SP> * 4) ≤ EOCQTY_<Q>_<R>_<SP>_OP1 Then set the RTAIEC_<Q>_<R>_<SP> = 0 and the process is complete Otherwise continue calculation process below. |  |

| Requirement ID | FR22 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.4.9.3.3 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: Determine the Energy Offer Curve Price Cap based upon the Resource Type, as specified in the Nodal Protocols. This calculation will continue to be an hourly calculation. EOCPRCAP_<Q>_<R>_<SP> = Price Cap based on Resource Type as defined below: - (a) Nuclear = $15.00/MWh; - (b) Coal and Lignite = $18.00/MWh; - (c) Combined Cycle greater than 90 MW = FIP * 9 MMBtu/MWh; - (d) Combined Cycle less than or equal to 90 MW = FIP * 10 MMBtu/MWh; - (e) Gas -Steam Supercritical Boiler = FIP * 10.5 MMBtu/MWh; - (f) Gas Steam Reheat Boiler = FIP * 11.5 MMBtu/MWh; - (g) Gas Steam Non-reheat or boiler without air-preheater = FIP * 14.5 MMBtu/MWh; - (h) Simple Cycle greater than 90 MW = FIP * 14 MMBtu/MWh; - (i) Simple Cycle less than or equal to 90 MW = FIP * 15 MMBtu/MWh; - (j) Diesel = FIP * 16 MMBtu/MWh; - (k) Hydro = $10.00/MWh; - (l) Other Renewable = $0/MWh; and - (m) RMR Resource = RMR contract price Energy Offer Curve. |  |

| Requirement ID | FR23 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The ERCOT Settlement System shall determine if the Price Cap is above the highest Price within the Energy Offer Curve, thereby eliminating the need to modify the Energy Offer Curve by the Price Cap and the associated Quantity Cap. This calculation will continue to be an hourly calculation. If EOCPRCAP_<Q>_<R>_<SP> ≥ EOCPR_<Q>_<R>_<SP>_OPn, where n is the number of NON-ZERO ordered pairs for the Operating Hour within the specific Energy Offer Curve being contemplated. Then EOCQTYCAP_<Q>_<R>_<SP> = EOCQTY_<Q>_<R>_<SP>_OPn, and skip the Energy Offer Curve Quantity Cap Determination Process, and continue with Cleared Energy Offer Price Calculation. Otherwise continue with Energy Offer Curve Quantity Cap Determination Process below. |  |

| Requirement ID | FR24 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The ERCOT Settlement System shall determine if the Price Cap is below the lowest Price within the Energy Offer Curve, thereby establishing the Day Ahead Average Incremental Energy Cost as the Price Cap. If EOCPRCAP_<Q>_<R>_<SP> ≤ EOCPR_<Q>_<R>_<SP>_OP1, Then RTAIEC_<Q>_<R>_<SP> = EOCPRCAP_<Q>_<R>_<SP> and the process is complete, Otherwise continue with Energy Offer Curve Quantity Cap Determination Process below. |  |

2.3.1	Energy Offer Curve Quantity Cap Determination Process

| Requirement ID | FR25 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the EOC Quantity Cap associated with the EOC Price Cap. This calculation will continue to be an hourly calculation. The Settlement System shall determine which two ordered pairs of the Energy Offer Curve that the Energy Offer Curve Price Cap is between: First find the EOCPR_<Q>_<R>_<SP>_<OPi> and EOCPR_<Q>_<R>_<SP>_<OPi+1> such that: EOCPR_<Q>_<R>_<SP>_<OPi> < EOCPRCAP_<Q>_<R>_<SP> ≤ EOCPR_<Q>_<R>_<SP>_<OPi+1> Then EOCQTYCAP_<Q>_<R>_<SP> = EOCQTY_<Q>_<R>_<SP>_<OPi> + [(EOCQTY_<Q>_<R>_<SP>_<Opi+1> – EOCQTY_<Q>_<R>_<SP>_<OPi>) / (EOCPR_<Q>_<R>_<SP>_<Opi+1> – EOCPR_<Q>_<R>_<SP>_<OPi>) * (EOCPRCAP_<Q>_<R>_<SP> – EOCPR_<Q>_<R>_<SP>_<OPi>)] |  |

2.3.2	Cleared Energy Offer Price Calculation Process

| Requirement ID | FR26 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the EOC Cleared Offer Price associated with the Real-Time Meter Generation (RTMG). Note that the RTMG is a 15-Minute Settlement Interval Bill Determinant measured in MWh, and the EOCQTY is an Hourly Settlement Interval Bill Determinant measured in MW – the Settlement System shall convert the RTMG into a MW value to appropriately compare the two Bill Determinants. Additionally, the EOCPR is an Hourly Settlement Interval Bill Determinant measured in $ / MWh. As such, the EOCQTY and EOCPR shall be the same values for each 15-Minute Settlement Interval within the Hourly Settlement Interval. The RTMGCLPR shall be calculated on a 15-Minute Settlement Interval basis. The Settlement System shall determine which two ordered pairs of the Energy Offer Curve that the RTMG is between: First find the EOCQTY<Q>_<R>_<SP>_<OPj> and EOCQTY_<Q>_<R>_<SP>_<OPj+1> such that: EOCQTY_<Q>_<R>_<SP>_<OPj><(RTMG_<Q>_<R>_<SP> * 4)≤EOCQTY_<Q>_<R>_<SP>_<OPj+1> Then RTMGCLPR_<Q>_<R>_<SP> = EOCPR_<Q>_<R>_<SP>_<OPj> + [(EOCPR_<Q>_<R>_<SP>_<Opj+1> – EOCPR_<Q>_<R>_<SP>_<OPj>) / (EOCQTY_<Q>_<R>_<SP>_<Opj+1> – EOCQTY_<Q>_<R>_<SP>_<OPj>) * ((RTMG_<Q>_<R>_<SP> * 4) – EOCQTY_<Q>_<R>_<SP>_<OPj>)] |  |

2.3.3	RTAIECAREA Calculation Process

| Requirement ID | FR27 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the area under the EOC from the LSL to the RTMG. Note that the RTMG is a 15-Minute Settlement Interval Bill Determinant measured in MWh, and the EOCQTY and EOCQTYCAP are Hourly Settlement Interval Bill Determinants measured in MW – the Settlement System shall convert the RTMG into a MW value to appropriately compare the Bill Determinants. Additionally, the EOCPR and EOCPRCAP are Hourly Settlement Interval Bill Determinants measured in $ / MWh. As such, the EOCQTY, EOCQTYCAP, EOCPR and EOCPRCAP shall be the same values for each 15-Minute Settlement Interval within the Hourly Settlement Interval. The RTAIECAREA shall be calculated on a 15-Minute Settlement Interval basis. The Settlement System shall loop through each Ordered Pair Interval to determine area until the RTMG is reached: Begin, RTAIECAREA_<Q>_<R>_<SP> = 0 to initialize the value for each Operating Hour for the Resource. Loop through the ordered pairs of the Energy Offer Curve for the RTAIECAREA Calculation until the RTMG Bill Determinant is used. (The ordered pair k should equal 1 to begin with, and should increase with each loop) Determine the Minimum of (EOCQTY_<Q>_<R>_<SP>_<OPk+1>, EOCQTYCAP_<Q>_<R>_<SP>, RTMG_<Q>_<R>_<SP>) IF EOCQTYCAP_<Q>_<R>_<SP> Then: RTAIECAREA_<Q>_<R>_<SP> = RTAIECAREA_<Q>_<R>_<SP> + [(EOCQTYCAP_<Q>_<R>_<SP> – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½ (EOCPR_<Q>_<R>_<SP>_<OPk> + EOCPRCAP_<Q>_<R>_<SP>)] + [((RTMG_<Q>_<R>_<SP> * 4) – EOCQTYCAP_<Q>_<R>_<SP>) * EOCPRCAP_<Q>_<R>_<SP>] See Figure 8.0 for an example. Exit the RTAIECAREA Calculation Loop and continue to the RTAIEC Calculation Process. IF RTMG_<Q>_<R>_<SP> Then: RTAIECAREA_<Q>_<R>_<SP> = RTAIECAREA_<Q>_<R>_<SP> + [((RTMG_<Q>_<R>_<SP> * 4) – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½(EOCPR_<Q>_<R>_<SP>_<OPk> + RTMGCLPR_<Q>_<R>_<SP>)] See Figure 9.0 for an example. Exit the RTAIECAREA Calculation Loop and continue to the RTAIEC Calculation Process. IF EOCQTY_<Q>_<R>_<SP>_<OPk+1> = 0 Then the RTAIECAREA process is complete for the Operating Hour currently being calculated. (There are more ordered pairs in other Operating Hours, which is why the EOCQTY is zero in this Operating Hour.) Exit the RTAIECAREA Calculation Loop and continue to the RTAIEC Calculation Process. IF EOCQTY_<Q>_<R>_<SP>_<OPk+1> > 0 Then: RTAIECAREA_<Q>_<R>_<SP> = RTAIECAREA_<Q>_<R>_<SP> + [(EOCQTY_<Q>_<R>_<SP>_<OPk+1> – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½(EOCPR_<Q>_<R>_<SP>_<OPk> + EOCPR_<Q>_<R>_<SP>_<OPk+1>)] See Figure 10.0 for an example. Continue the RTAIECAREA Loop Calculation Process. |  |

Figure 8.0 Example of RTAIECAREA Calculation with EOCQTYCAP as Minimum

Figure 9.0 Example of RTAIECAREA Calculation with RTMG as Minimum and a RTAIECAREA has been calculated for a previous Operating Pair Interval (See Figure 6.0)

Figure 10.0 Example of RTAIECAREA Calculation with EOCQTY as Minimum

2.3.4	RTAIEC Calculation

| Requirement ID | FR28 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The RTAIEC shall be calculated on a 15-Minute Settlement Interval basis. RTAIEC_<Q>_<R>_<SP> = RTAIECAREA_<Q>_<R>_<SP> / ((RTMG_<Q>_<R>_<SP> * 4) – LSL_<Q>_<R>_<SP>) |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| EOCQTY | MW | The MW Quantity that corresponds to a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| EOCPR | $ / MWh | The $ / MWh Price that corresponds to a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RUC | Misc | RUC—The RUC-Commitment, issued by a RUC process, indicating the hours in which the Resource was committed by that RUC process. | MMS |
| Interval Frequency: TBD Additional Comments: None |  |  |  |
| RTMG | MWh | Real-Time Metered Generation—The Resource’s metered generation for the Settlement Interval i. | Data Aggregation |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |
| LSL | MW | Low Sustained Limit—The limit established by the QSE, continuously updated in Real-Time, that describes the minimum sustained energy production capability of the Resource for the hour that includes the Settlement Interval i. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| EOCQTYCAP | MW | The MW Quantity Cap that is capped by the Energy Offer Cap for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| EOCPRCAP | $ / MWh | The $ / MWh Price Cap that is capped by the Energy Offer Cap for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| RTMGCLPR | $ / MWh | The $ / MWh Cleared Price that is associated with the Real-Time Metered Generation for a Resource R, for a QSE Q, and Settlement Point SP. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |
| RTAIECAREA | None | The Area underneath the Energy Offer Curve from the LSL to the RTMG for Generation Resource R represented by QSE Q, for the 15-Minute Settlement Interval. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RTAIEC | $/MWh | Real-Time Average Incremental Energy Cost per QSE per Settlement Point per Resource per hour – The average incremental energy cost, calculated according to the energy offer curve capped by the generic energy price, for the output levels between the RTMG and the LSL of the Resource at the Resource Node Settlement Point represented by the QSE, for the 15-Minute Settlement Interval. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)	Calculation of the RTAIEC depends upon the successful creation of the EOCQTY and EOCPR bill determinants.

D2)	The RTAIEC is dependent upon the availability of all data inputs.

### Assumptions

A1)  The Settlement System is not responsible for any validation of any component of the Three Part Supply Offer; validation of the offers will occur within the original source system.

A2)	The Source System shall determine whether a Proxy Energy Offer Curve or Energy Offer Curve should be propagated for a particular Resource, especially if the Resource that was RUC’d did not submit an Energy Offer Curve.  The Settlement System will not create a Proxy Energy Offer Curve on behalf of a QSE.  See Section 5.7.1.3 of the Board Approved NPRR003.

A3)	Pursuant to Section 5.7.1.3 (Revenue Less Cost Above LSL During RUC-Committed Hours) the Real-Time Average Incremental Energy Cost will be settled using the Energy Offer Curve Cap (as described in Section 4.4.9.3.3 of the Nodal Protocols.)  As such, if a Resource provides verifiable cost, the Real-Time Average Incremental Energy Cost calculation will not consider the verifiable cost as a part of the Energy Offer Curve Cap.

A4)	The Data Aggregation system will create the interval data cut for RTMG.  An interval data cut will be created for all Resources (by QSE, Resource, and Settlement Point), even if it contains all zero values. The RTMG bill determinant values will be validated by Data Aggregation prior to being interfaced to the Settlement System.  RTMG will not include any generation related to Block Load Transfer Resource quantities or DC-Tie imports.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR29 | PR 4.6.5 | CSWM. P03SettleBill Transfer | The input, intermediate, and output bill determinants should not be rounded or truncated. This includes the following bill determinants: EOCQTY EOCPR RUC RTMG LSL EOCPRCAP EOCQTYCAP RTMGCLPR RTAIECAREA RTAIEC |
| FR30 | PR 12.3 (C) | CSWM. P03SettleBill Transfer | All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. EOCQTY EOCPR RUC RTMG LSL EOCPRCAP EOCQTYCAP RTMGCLPR RTAIECAREA RTAIEC |
| FR31 | PR 4.6.2.3.1 | CSWM. P03SettleBill Transfer | DRIVER: The RTAEIC should only be calculated for Resources with a RUC flag in the Operating Day. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR32 | PR 4.6.5 | CSWM. P03SettleBill Transfer | A “Warning / Default” error should be created if the RTMG – LSL for a particular Operating Hour equals zero and the RTAIEC should default to zero. Additionally the Settlement System should issue the error with the QSE, Resource and Operating Day included in the error message. |

### Specific Database Needs

None

## Real-Time Voltage Support Service Average Incremental Energy Cost Calculation (RTVSSAIEC)

The Real-Time Voltage Support Service AIEC calculation for a given 15-Minute Settlement Interval to each QSE representing a Generation Resource that has been given an instruction to generate outside of their VSSVAR limit is as follows:

| Requirement ID | FR33 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.7.1(2)(b) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The ERCOT Settlement System shall determine whether the Resource was instructed to provide Voltage Support in the Real-Time Market for the Operating Day, and 15-Minute Settlement Interval. If VSSVARIOL_<Q>_<R>_<SP> = 0 Then set the RTVSSAIEC_<Q>_<R>_<SP> = 0 and the process is complete Otherwise continue calculation process below. |  |

| Requirement ID | FR34 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine if the Real-Time Meter Generation is sufficient enough to warrant the RTVSSAIEC calculation. Note that the RTMG is a 15-Minute Settlement Interval Bill Determinant measured in MWh, and the EOCQTY is an Hourly Settlement Interval Bill Determinant measured in MW – the Settlement System shall convert the RTMG into a MW value to appropriately compare the two Bill Determinants. Additionally the EOCQTY shall be the same value for each 15-Minute Settlement Interval within the Hourly Settlement Interval. If (RTMG_<Q>_<R>_<SP> * 4) ≤ EOCQTY_<Q>_<R>_<SP>_OP1 Then set the RTVSSAIEC_<Q>_<R>_<SP> = 0 and the process is complete Otherwise continue calculation process below. |  |

2.4.1	Cleared Energy Offer Price Calculation Process

| Requirement ID | FR35 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the EOC Cleared Offer Price associated with the Real-Time Meter Generation (RTMG). Note that the RTMG is a 15-Minute Settlement Interval Bill Determinant measured in MWh, and the EOCQTY is an Hourly Settlement Interval Bill Determinant measured in MW – the Settlement System shall convert the RTMG into a MW value to appropriately compare the two Bill Determinants. Additionally, the EOCPR is an Hourly Settlement Interval Bill Determinant measured in $ / MWh. As such, the EOCQTY and EOCPR shall be the same values for each 15-Minute Settlement Interval within the Hourly Settlement Interval. The RTMGCLPR shall be calculated on a 15-Minute Settlement Interval basis. The Settlement System shall determine which two ordered pairs of the Energy Offer Curve that the RTMG is between: First find the EOCQTY<Q>_<R>_<SP>_<OPj> and EOCQTY_<Q>_<R>_<SP>_<OPj+1> such that: EOCQTY_<Q>_<R>_<SP>_<OPj><(RTMG_<Q>_<R>_<SP> * 4)≤EOCQTY_<Q>_<R>_<SP>_<OPj+1> Then RTMGCLPR_<Q>_<R>_<SP> = EOCPR_<Q>_<R>_<SP>_<OPj> + [(EOCPR_<Q>_<R>_<SP>_<Opj+1> – EOCPR_<Q>_<R>_<SP>_<OPj>) / (EOCQTY_<Q>_<R>_<SP>_<Opj+1> – EOCQTY_<Q>_<R>_<SP>_<OPj>) * ((RTMG_<Q>_<R>_<SP> * 4) – EOCQTY_<Q>_<R>_<SP>_<OPj>)] |  |

2.4.2	VSSAIECAREA Calculation Process

| Requirement ID | FR36 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the area under the EOC from the LSL to the RTMG. Note that the RTMG is a 15-Minute Settlement Interval Bill Determinant measured in MWh, and the EOCQTY is an Hourly Settlement Interval Bill Determinant measured in MW – the Settlement System shall convert the RTMG into a MW value to appropriately compare the Bill Determinants. Additionally, the EOCPR is an Hourly Settlement Interval Bill Determinant measured in $ / MWh. As such, the EOCQTY and EOCPR shall be the same values for each 15-Minute Settlement Interval within the Hourly Settlement Interval. The VSSAIECAREA shall be calculated on a 15-Minute Settlement Interval basis. The Settlement System shall loop through each Ordered Pair Interval to determine area until the RTMG is reached: Begin, VSSAIECAREA_<Q>_<R>_<SP> = 0 to initialize the value for each Operating Hour for the Resource. Loop through the ordered pairs of the Energy Offer Curve for the VSSAIECAREA Calculation until the RTMG Bill Determinant is used. (The ordered pair k should equal 1 to begin with, and should increase with each loop) Determine the Minimum of (EOCQTY_<Q>_<R>_<SP>_<OPk+1>, RTMG_<Q>_<R>_<SP>) IF RTMG_<Q>_<R>_<SP> Then: VSSAIECAREA_<Q>_<R>_<SP> = VSSAIECAREA_<Q>_<R>_<SP> + [((RTMG_<Q>_<R>_<SP> * 4) – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½(EOCPR_<Q>_<R>_<SP>_<OPk> + RTMGCLPR_<Q>_<R>_<SP>)] See Figure 11.0 for an example. Exit the VSSAIECAREA Calculation Loop and continue to the RTVSSAIEC Calculation Process. IF EOCQTY_<Q>_<R>_<SP>_<OPk+1> = 0 Then the VSSAIECAREA process is complete for the Operating Hour currently being calculated. (There are more ordered pairs in other Operating Hours, which is why the EOCQTY is zero in this Operating Hour.) Exit the VSSAIECAREA Calculation Loop and continue to the RTVSSAIEC Calculation Process. IF EOCQTY_<Q>_<R>_<SP>_<OPk+1> > 0 Then: VSSAIECAREA_<Q>_<R>_<SP> = VSSAIECAREA_<Q>_<R>_<SP> + [(EOCQTY_<Q>_<R>_<SP>_<OPk+1> – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½(EOCPR_<Q>_<R>_<SP>_<OPk> + EOCPR_<Q>_<R>_<SP>_<OPk+1>)] See Figure 12.0 for an example. Continue the VSSAIECAREA Loop Calculation Process. |  |

Figure 11.0 Example of VSSAIECAREA Calculation with RTMG as Minimum and a VSSAIECAREA has been calculated for a previous Operating Pair Interval (See Figure 6.0)

Figure 12.0 Example of VSSAIECAREA Calculation with EOCQTY as Minimum

2.4.3	RTVSSAIEC Calculation

| Requirement ID | FR37 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The RTVSSAIEC shall be calculated on a 15-Minute Settlement Interval basis. RTVSSAIEC_<Q>_<R>_<SP> = VSSAIECAREA_<Q>_<R>_<SP> / ((RTMG_<Q>_<R>_<SP> * 4) – LSL_<Q>_<R>_<SP>) |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| EOCQTY | MW | The MW Quantity that corresponds to a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| EOCPR | $ / MWh | The $ / MWh Price that corresponds to a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| VSSVARIOL | MVAR | Voltage Support Service VAR Instructed Output Level per QSE per Generation Resource—The instructed Reactive Power output level of Generation Resource R represented by QSE Q, lagging Reactive Power if positive and leading Reactive Power if negative, for the 15-minute Settlement Interval. | MMS |
| Interval Frequency: 4 / hour Additional Comments: This Bill Determinant may be positive or negative. It is unclear how the instructions given out by Operations will be converted into “VSSVARIOL’s”. Additional information is required in order for this bill determinant to be developed. This document assumes these instructions will be generated and passed to Settlements. |  |  |  |
| RTMG | MWh | Real-Time Metered Generation—The Resource’s metered generation for the Settlement Interval i. | Data Aggregation |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |
| LSL | MW | Low Sustained Limit—The limit established by the QSE, continuously updated in Real-Time, that describes the minimum sustained energy production capability of the Resource for the hour that includes the Settlement Interval i. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RTMGCLPR | $ / MWh | The $ / MWh Cleared Price that is associated with the Real-Time Metered Generation for a Resource R, for a QSE Q, and Settlement Point SP. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |
| VSSAIECAREA | None | The Area underneath the Energy Offer Curve from the LSL to the RTMG for Generation Resource R represented by QSE Q, for the 15-Minute Settlement Interval. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RTVSSAIEC | $ / MWh | Real-Time Average Incremental Energy Cost per QSE per Resource—The average incremental cost to operate (not subject to cost cap) the Generation Resource R represented by QSE Q from its LSL to its metered MW output, for the 15-minute Settlement Interval. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)	Calculation of the RTAIEC depends upon the successful creation of the EOCQTY and EOCPR bill determinants.

D2)	The RTVSSAIEC is dependent upon the availability of all data inputs.

### Assumptions

A1)  The Settlement System is not responsible for any validation of any component of the Three Part Supply Offer; validation of the offers will occur within the original source system.

A2)	The Data Aggregation system will create the interval data cut for RTMG.  An interval data cut will be created for all Resources (by QSE, Resource, and Settlement Point), even if it contains all zero values. The RTMG bill determinant values will be validated by Data Aggregation prior to being interfaced to the Settlement System.  RTMG will not include any generation related to Block Load Transfer Resource quantities or DC-Tie imports.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR38 | PR 4.6.5 | CSWM. P03SettleBill Transfer | The input, intermediate, and output bill determinants should not be rounded or truncated. This includes the following bill determinants: EOCQTY EOCPR VSSVARIOL RTMG LSL RTMGCLPR VSSAIECAREA RTVSSAIEC |
| FR39 | PR 12.3 (C) | CSWM. P03SettleBill Transfer | All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. EOCQTY EOCPR VSSVARIOL RTMG LSL RTMGCLPR VSSAIECAREA RTVSSAIEC |
| FR40 | PR 4.6.2.3.1 | CSWM. P03SettleBill Transfer | DRIVER: The RTVSSAEIC should only be calculated for Resources with a VSSVARIOL in the Operating Day. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR41 | PR 4.6.5 | CSWM. P03SettleBill Transfer | A “Warning / Default” error should be created if the RTMG – LSL for a particular Operating Hour equals zero and the RTVSSAIEC should default to zero. Additionally the Settlement System should issue the error with the QSE, Resource and Operating Day included in the error message. |

### Specific Database Needs

None

## Real-Time High Sustainable Limit Average Incremental Energy Cost Calculation (RTHSLAIEC)

The Real-Time High Sustainable Limit AIEC calculation for a given 15-Minute Settlement Interval to each QSE representing a Generation Resource that has been given an instruction to generate outside of their VSSVAR limit is as follows:

| Requirement ID | FR42 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 6.6.7.1(2)(b) |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description The ERCOT Settlement System shall determine whether the Resource was instructed to provide Voltage Support in the Real-Time Market for the Operating Day, and 15-Minute Settlement Interval. If VSSVARIOL_<Q>_<R>_<SP> = 0 Then set the RTHSLAIEC_<Q>_<R>_<SP> = 0 and the process is complete Otherwise continue calculation process below. |  |

2.5.1	HSLAIECAREA Calculation Process

| Requirement ID | FR43 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The ERCOT Settlement System shall determine the area under the EOC from the LSL to the HSL. The EOCQTY and EOCPR shall be the same values for each 15-Minute Settlement Interval within the Hourly Settlement Interval. The HSLAIECAREA shall be calculated on a 15-Minute Settlement Interval basis. The Settlement System shall loop through each Ordered Pair Interval to determine area until the last NON-ZERO ordered pair is reached: Begin, HSLAIECAREA_<Q>_<R>_<SP> = 0 to initialize the value for each Operating Hour for the Resource. Loop through the ordered pairs of the Energy Offer Curve for the HSLAIECAREA Calculation until the last ordered pair is used. (The ordered pair k should equal 1 to begin with, and should increase with each loop) IF EOCQTY_<Q>_<R>_<SP>_<OPk+1> = 0 Then the HSLAIECAREA process is complete for the Operating Hour currently being calculated. (There are more ordered pairs in other Operating Hours, which is why the EOCQTY is zero in this Operating Hour.) Exit the HSLAIECAREA Calculation Loop and continue to the RTHSLAIEC Calculation Process. IF EOCQTY_<Q>_<R>_<SP>_<OPk+1> > 0 Then: HSLAIECAREA_<Q>_<R>_<SP> = HSLAIECAREA_<Q>_<R>_<SP> + [(EOCQTY_<Q>_<R>_<SP>_<OPk+1> – EOCQTY_<Q>_<R>_<SP>_<OPk>) * ½(EOCPR_<Q>_<R>_<SP>_<OPk> + EOCPR_<Q>_<R>_<SP>_<OPk+1>)] See Figure 13.0 for an example. Continue the HSLAIECAREA Loop Calculation Process. |  |

Figure 13.0 Example of HSLAIECAREA Calculation

2.5.2	RTHSLAIEC Calculation

| Requirement ID | FR44 |
| --- | --- |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PR 4.6.5 |
| Traceability to Sub-Process Maps | CSWM.P03SettleBillTransfer |
| Description: The RTHSLAIEC shall be calculated on a 15-Minute Settlement Interval basis. RTHSLAIEC_<Q>_<R>_<SP> = HSLAIECAREA_<Q>_<R>_<SP> / (HSL_<Q>_<R>_<SP> – LSL_<Q>_<R>_<SP>) |  |

### Input Bill Determinants

| Variable | Unit | Definition | Original Source |
| --- | --- | --- | --- |
| EOCQTY | MW | The MW Quantity that corresponds to a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| EOCPR | $ / MWh | The $ / MWh Price that corresponds to a specific Ordered Pair i for a QSE Q, Resource R, and Settlement Point SP. | Settlement System |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| VSSVARIOL | MVAR | Voltage Support Service VAR Instructed Output Level per QSE per Generation Resource—The instructed Reactive Power output level of Generation Resource R represented by QSE Q, lagging Reactive Power if positive and leading Reactive Power if negative, for the 15-minute Settlement Interval. | MMS |
| Interval Frequency: 4 / hour Additional Comments: This Bill Determinant may be positive or negative. It is unclear how the instructions given out by Operations will be converted into “VSSVARIOL’s”. Additional information is required in order for this bill determinant to be developed. This document assumes these instructions will be generated and passed to Settlements. |  |  |  |
| HSL | MW | High Sustainable Limit Generation per QSE per Settlement Point per Resource—The High Sustainable Limit of Generation Resource Rrepresented by QSE Q at Resource Node SP for the hour that includes the 15-minute Settlement Interval. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |
| LSL | MW | Low Sustained Limit—The limit established by the QSE, continuously updated in Real-Time, that describes the minimum sustained energy production capability of the Resource for the hour that includes the Settlement Interval i. | MMS |
| Interval Frequency: 1 / hour Additional Comments: None |  |  |  |

### Intermediate Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| HSLAIECAREA | None | The Area underneath the Energy Offer Curve from the LSL to the HSL for Generation Resource R represented by QSE Q, for the 15-Minute Settlement Interval. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |

### Output Bill Determinants

| Variable | Unit | Definition | Destination |
| --- | --- | --- | --- |
| RTHSLAIEC | $ / MWh | Real-Time Average Incremental Energy Cost for the entire Energy Offer Curve through the HSL per QSE per Resource—The average incremental cost to operate (not subject to cost cap) the Generation Resource R represented by QSE Q from its LSL to its HSL, for the 15-minute Settlement Interval. | Settlement System |
| Interval Frequency: 4 / hour Additional Comments: None |  |  |  |

### Data Dependencies

D1)	Calculation of the RTAIEC depends upon the successful creation of the EOCQTY and EOCPR bill determinants.

D2)	The RTHSLAIEC is dependent upon the availability of all data inputs.

### Assumptions

A1)  The Settlement System is not responsible for any validation of any component of the Three Part Supply Offer; validation of the offers will occur within the original source system.

Business Rules

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR45 | PR 4.6.5 | CSWM. P03SettleBill Transfer | The input, intermediate, and output bill determinants should not be rounded or truncated. This includes the following bill determinants: EOCQTY EOCPR VSSVARIOL HSL LSL HSLAIECAREA RTHSLAIEC |
| FR46 | PR 12.3 (C) | CSWM. P03SettleBill Transfer | All of the other input, intermediate, and output bill determinants defined below should be identified within the Settlement System as a bill determinant that should be included in the private data extracts. EOCQTY EOCPR VSSVARIOL HSL LSL HSLAIECAREA RTHSLAIEC |
| FR47 | PR 4.6.2.3.1 | CSWM. P03SettleBill Transfer | DRIVER: The RTHSLAEIC should only be calculated for Resources with a VSSVARIOL in the Operating Day. |

### Business Defined Errors

| Req. ID | Protocol(s) | Sub-Process Map | Description |
| --- | --- | --- | --- |
| FR48 | PR 4.6.5 | CSWM. P03SettleBill Transfer | A “Warning / Default” error should be created if the HSL – LSL for a particular Operating Hour equals zero and the RTHSLAIEC should default to zero. Additionally the Settlement System should issue the error with the QSE, Resource and Operating Day included in the error message. |
| FR49 | PR 4.6.5 | CSWM. P03SettleBill Transfer | A “Warning” message should occur if the EOCQTY for the first set of ordered pairs for an Operating Hour within an Energy Offer Curve does not equal the LSL. Additionally the Settlement System should issue the error with the QSE, Resource and Operating Day included in the error message. |
| FR50 | PR 4.6.5 | CSWM. P03SettleBill Transfer | A “Warning” message should occur if the EOCQTY for the last set of ordered pairs for an Operating Hour within an Energy Offer Curve does not equal the HSL. Additionally the Settlement System should issue the error with the QSE, Resource and Operating Day included in the error message. |

### Specific Database Needs

None

# Supplementary Requirements

## Performance Requirements

Lodestar must be able to perform its full set of Nodal settlement calculations. Performance characteristics will be determined and detailed in the conceptual and detailed design.

## Legal and Regulatory requirements

All Lodestar financial data must be saved in accordance with standard accounting principles as dictated by the ERCOT Texas Nodal Protocols.

## System Security Requirements

Lodestar will only be accessed directly by internal ERCOT personnel either through thin client UI, Citrix environment, or thick client on employee desktops. Market Participants will be able to access their statements and invoices on ERCOT private web site. ERCOT private web site access will be controlled by digital certificate authentication in accordance with ERCOT security policies.  Additional details will be provided in the Conceptual System Design.

## Back up and Recovery Requirements

All Lodestar Nodal settlement data must be backed up on a daily basis and recoverable within 24 hours.  Additional details will be provided in the Conceptual System Design.

## Availability and Redundancy Requirements

Nodal Lodestar system must be available 7/24. Lodestar is considered a tier 1 system and critical to base ERCOT business processes.  Additional details will be provided in the Conceptual System Design.

## Maintainability Requirements

Lodestar Nodal system will be maintained by internal ERCOT personnel. Service Level Agreements and explicit support will be detailed in the detail design document.

## Daylight Savings Time shall be recognized in Nodal Market settlements.

Spring Daylight Savings Time Operating Day:

- Hour Ending 0300 will be skipped, resulting in 23 hourly intervals for the day.

- The four fifteen minute intervals within Hour Ending 0300 will be skipped, resulting in 92 fifteen minute intervals for the day.

- The sixty one minute intervals within Hour Ending 0300 will be skipped, resulting in 1380 total one minute intervals.

Fall Daylight Savings Time Operating Day:

- Hour Ending 0200 will have two (2) sets of data, resulting in 25 hourly intervals for the day.

- The four fifteen minute intervals within Hour Ending 0200 will have two (2) sets of data, resulting in 100 fifteen minute intervals for the day.

- The sixty one minute intervals within Hour Ending 0200 will have two (2) sets of data, resulting in 1500 total one minute intervals.

# Protocol Coverage

Since one protocol may translate into many requirements, Project Managers are required to identify the coverage extent (Full/Partial) of all relevant Nodal Protocols that are mentioned in this requirements document.

| Protocol Sub-Section # (To the lowest level of granularity as possible) | Coverage by Requirements (Full/Partial) |
| --- | --- |
| 4.6.2.3.1 | Partial |
| 5.7.1.3 | Partial |
| 5.7.1.4 | Partial |
| 6.6.7.1(2)(b) | Partial |
| 4.6.5 | Partial |
| 4.4.9.3.3 | Partial |
| 12.3 (c) | Partial |

If the Energy Offer Curve Cap is less than the lowest price of the energy offer curve, the AIEC is the Energy Offer Curve Cap.  If the Energy Offer Curve Cap is greater than the highest price of the energy offer curve, then Qdoes not need to be calculated.