## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
December 1, 2006

## Slide 2: PRS Summary
1 Rejection
4 NPRRs for Approval
7 PRRs for Approval
  6 Non-System Changes – IA only
  1 System Change – IA/CBA
  3 URGENT

## Slide 3: Rejected PRRs
PRR 584 – Extending Black Start Service Bid Timeline

## Slide 4: Nodal PRRs
PRS unanimously recommended approval of:
  NPRR019 – Black Start Testing Requirements
  NPRR031 – Correction of Voltage Support Bill Determinants
  NPRR032 – Correction of Black Start Bill Determinants
  NPRR033 – Settlement of CRRs When DAM Does Not Execute

## Slide 5: PRR 647 – Gross & Net MW/MVar Data Reporting
Purpose (ERCOT) | Requires QSEs to supply both gross and net MW/MVar data for use in ERCOT operational model | 
Benefit | Increased security due to significantly better modeling of the ERCOT system | 
Market Impact | Cost to telemeter additional data to ERCOT | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 1 abstention; all market segments were present | 
Effective Date | Upon system updates | 

## Slide 6: PRR 647 – Gross & Net MW/MVar Data Reporting
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
<$50 K

## Slide 7: PRR 679 – Revision to NLRI Formula & Other Credit Requirements
Purpose (ERCOT for Credit WG) | Conforms NLRI with nodal formula (more detailed basis), require/allow ERCOT to withhold payment from entities exceeding EAL, and require provision of ESI ID information for defaulting QSEs that are LSEs | 
Benefit | Improved credit quality | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all market segments were present | 
Effective Date | February 1, 2007 | 

## Slide 8: PRR 679 – Revision to NLRI Formula & Other Credit Requirements
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 9: PRR 686 – Black Start Testing Requirements
Purpose (Austin Energy for the Black Start TF) | Specifies requirements for testing black start resources and which tests are allowed to be conducted simultaneously | 
Benefit | Documents ERCOT’s current practices | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all market segments were present | 
Effective Date | February 1, 2007 | 

## Slide 10: PRR 686 – Black Start Testing Requirements
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 11: PRR 693 – Update Tranactions for TX SET 3.0 Implementation & Timing for Processing Priority/Standard Transactions
Purpose (CNP & Green Mountain for TX SET) | Revises timing of priority move-ins, clarifies reqs for standard move-ins, renames certain transactions to conform with changes to mass transition, and conforming changes/clarifications | 
Benefit | Conform to TX SET 3.0 | 
Market Impact | Update transaction functionality to reflect TX SET 3.0 changes | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all market segments were present | 
Effective Date | Upon System Implementation | 

## Slide 12: PRR 693 – Update Tranactions for TX SET 3.0 Implementation & Timing for Processing Priority/Standard Transactions
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 13: PRR 698 – Remove Default QSE Provisions -- URGENT
Purpose (ERCOT) | Allows Emergency/Virtual QSEs to provide for Resource entities and LSEs if their QSE defaults | 
Benefit | Avoidance of cost of Default QSE contract | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all market segments were present | 
Effective Date | January 1, 2007 | 

## Slide 14: PRR 698 – Remove Default QSE Provisions -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 15: PRR 699 – Removal of the Northeast Congestion Zone in Trading Hub Transaction Conversions -- URGENT
Purpose (ERCOT) | Revises protocols to reflect the removal of the Northeast congestion zone for purposes of Trading Hub calculations as of January 1, 2007 | 
Benefit | Proper Hub calculation | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; not all market segments were present | 
Effective Date | January 1, 2007 | 

## Slide 16: PRR 699 – Removal of the Northeast Congestion Zone in Trading Hub Transaction Conversions -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 17: PRR 700 – Creation of Interim Measures for Collecting the ERO/TRE Fee -- URGENT
Purpose (ERCOT) | Revises the current ERCOT Administrative Fee to recover the FERC-mandated ERO costs and the ERCOT Region TRE | 
Benefit | Compliance with federal regulatory requirements | 
Market Impact | Fee charged to QSEs with load obligations | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 2 abstentions; all market segments were present | 
Effective Date | January 1, 2007 | 

## Slide 18: PRR 700 – Creation of Interim Measures for Collecting the ERO/TRE Fee -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 19: Recommended TAC Actions
Approval
  PRR 647 – Gross & Net MW/MVar Data Reporting
  PRR 679 – Revision to NLRI Formula & Other Credit Requirements
  PRR 686 – Black Start Testing Requirements
  PRR 693 – Update Transactions for TX SET 3.0 Implementation & Timing for Processing Priority/Standard Transactions
  PRR 698 – Remove Default QSE Provisions -- URGENT
  PRR 699 – Removal of the Northeast Congestion Zone in Trading Hub Transaction Conversions -- URGENT
  PRR 700 – Creation of Interim Measures for Collecting the ERO/TRE Fee -- URGENT