## Slide 1: ROS Report to TAC – 12/1/06 Major Discussion Items at 11/9/06 ROS
CEH credits for participation in ERCOT activities:
Accreditation for Storm Drills, Annual Seminar, Black Start and Nodal Training?
TPTF Update:
Would like ROS to review State Estimator plans and data analysis – ROS suggest NDSWG review first.
Would like ROS review of EMS documents due out at Thanksgiving – ROS agenda item for 12/7/06.
Nodal Section 8 Preliminary Review by PDCWG.
ERCOT / OWG request to cancel drills:
Due to nodal training and implementation burden, there is limited time to prepare and execute storm drills. ROS motion to cancel 2007 Hurricane Drill and 2008 Cold Weather Drill.
Regulatory body membership of WGs:
All ROS Working Groups now call for membership by TRE, PUCT, and NERC.

## Slide 2: ROS Report to TAC – 12/1/06 Items to be considered at 12/7/06 ROS
TPTF EMS Documents:
TPTF will release EMS documents at Thanksgiving, and wants ROS discussion in early December. (Problematic as the documents have not been released as of 11/28/06).
EILP Proposals:
ROS to review effectiveness of the various proposals from a reliability standpoint.
Nodal Non-Spin Deployment Procedure:
ROS to review WMS changes to previously endorsed proposal.
Winter Fuel Review:
Per TAC request, ROS will review the ERCOT update of the 2004 ROS study.