Use Case – Create RT Contingency File

COWM.P04RunRTMarket_UC_CreateRTContingencyFiles_V0.1

Name: Create the RT Contingency File

Summary:

Produce the RT Contingency File that corresponds to the model creation date using the NMMS software.  The output is a CSV file.

Acronyms:

ERCOT	Electric Reliability Council of Texas

MMS		Market Management System

MP		Market Participant

NMMS		Network Model Management System

NOMCR	Network Operations Model Change Request (AKA: Project Files)

MC		ERCOT Model Coordinator

SAMR		Special Action Model Request

TSP		Transmission Service Provider

RT		Real Time

Actor(s):

| Name | Role description |
| --- | --- |
| MC at ERCOT | Creates the RT Contingency File to distribute with the MMS Model |

Participating Systems:

| System | Services or information provided |
| --- | --- |
| Market Management System (MMS) | Receives the RT Contingency File after the Case Builder has created the correct one to distribute based on the date specified. |
| NMMS at ERCOT | The MC uses the Case Builder option for the MMS Model to create the RT Contingency File The RT Contingency File is created based on the date specified. |

Pre-conditions:

NONE

Design Considerations:

- None

Known assumptions, limitations, constraints, or variations that may affect this use case:

- The RT Contingency File for the MMS Model will be generated each month on the first day of the Month and will correspond to the MMS Model that is created on that same date.

- The MC will create this file using the Case Builder.

Normal Sequence:

| Use Case Step | Description | From - To | Information Content |
| --- | --- | --- | --- |
| Step 1 | The RT Contingency File is part of the MMS Model package; however, it is a separate file and is created from the NMMS Case Builder as a separate action from the MMS Model Build request. | (from) NMMS to (to) NMMS | The request for the RT Contingency File |
| Step 2 | NMMS software sends the RT Contingency File to the MMS | (from) NMMS to (to) MMS | The content of the file is produced by selectively transcribing information into the RT Contingency File stored by the NMMS system. It is a CSV file. |

Exceptions / Alternate Sequences:

NONE

Post-conditions:

NONE

References:

Use Cases referenced by this use case, or other documentation that clarifies the requirements or activities described.

- COWM.P04RunRTMarket_UC_CreateMMSRTModel

- COPS.P01ModelManageData_UC_ProcessContingencyDefinition

The following Standards and other documents are referenced by this case:

- ERCOT Nodal Protocols

- ERCOT NMMS Requirements

Issues:

| ID | Description | Status |
| --- | --- | --- |
|  | Contingency Definitions need to be stored in the NMMS |  |

Revision History:

| No | Date | Author | Description |
| --- | --- | --- | --- |
| 0 | 9/18/06 | M. Goodrich | Initial Version |