- Summary of Protocol Revisions

- Effective:  December 7, 2006

- Section 13:

PRR565 – Calculation of Losses for Settlement

This Protocol Revision Request (PRR) allows Distribution Losses to be calculated using actual rather than forecasted ERCOT Load.  Because forecasted ERCOT Load frequently differs from actual, this PRR will result in more accurate loss calculations and improvement in Unaccounted For Energy (UFE) and the basis for calculating Distribution Losses will be consistent with the basis used for Transmission Losses.

Revised Subsections:  13.1.1, 13.1.2, and 13.3.1 [language unboxed due to system 	implementation]