OWG Report to ROS

12/ 07/ 2006

The OWG met November 15, 2006. The following OGRRs are pending at the OGRTF:

- 165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  This OGRR has been tabled per ROS directive.

- The OGRTF has reviewed Section 1, 2, 4 and started 9 (which will be an appendix of sorts):

  - December 11, 12, 14 Section 3 will be worked on and any remaining issues from the previous meeting

  - January 9, 10, 11 and 12 Sections 7, 8, 9 will be worked on and any remaining issues from the previous meeting

  - The entire Nodal Operating Guides will be sent to the OWG two weeks prior to posting the Nodal Operating Guides for comments (21 day comment period)

  - February 13, 14, 15, 16 the OGRTF will meet to review and coordinate all comments received.

  - The first meeting of the OWG after the February OGRTF meeting days will be for final review and recommendation to the ROS

  - The first meeting day after the recommendation by OWG, the Nodal Protocols will be presented to ROS for further action.

- The Black Start Task Force will meet on December 19, 2006 at the Met Center facility.  At this writing the task force is still seeking a vice chair. The next meeting will finalize the ERCOT Black Start Plan for 2007.

- The OTF met on November 29th. The meeting began the process of scripting the next drill which is currently scheduled as follows:

2007 Drill timeline…

- Initial Drill Email from ERCOT – 14 September 2007

- ERCOT Client relations follow-up email – 9 October 2007

- Drill RSVP due back to Grammer (possibly Compliance, too) – 12 October 2007

- Initial Drill Conference Call – 30 October 2007

ERCOT Drill Order-of-Events on 14 November 2007…

- 0730 Start-Time

- 1500 End-Time

Additional material for 2007 Drill…

- Add Media Appeal to 2007 Script

- Include testing of Satellite Phones in 2007 Script

At the November 15th the  OWG meeting, the OWG discussed the comment by ROS to look at analyzing the NERC Standards to see what is not contained in the Operating Guides or Protocols. The OWG members agreed on the following statement: ERCOT Compliance must take a leadership roll in deciding the applicability of ERCOT Protocols and Operating Guides to the NERC Standards before OWG/OGRTF can take any action.

It should be noted that the chair of OWG has obtained a spread sheet from one of the members that has done some work related to this action item. The chair has not furthered that effort to-date.

The next two meetings of the OWG have been scheduled for December 13th, 2006 and January 17, 2007.