| PRR Number | 695 | PRR Title | Unaccounted For Energy (UFE) Analysis |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision |  | 11.6, Unaccounted For Energy (UFE) Analysis 11.6.1, Overview 11.6.2, UFE Analysis Process 11.6.2, Annual UFE Analysis Report (new) 11.6.3, Data Collection and Metering Requirements for UFE Analysis Zones |  |
| Proposed Effective Date |  | March 1, 2006 |  |
| Priority & Rank Assigned |  | N/A |  |
| Revision Description |  | This PRR eliminates outdated sections pertaining to UFE analysis and provides a more meaningful approach to annual UFE analysis reporting. |  |
| Overall Market Benefit |  | This PRR updates UFE analysis timelines and language. |  |
| Overall Market Impact |  | None. |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | TBD. |  |
| Procedural History |  | - On 10/11/06, PRR695 was posted. - On 10/24/06, COPS Comments were posted. - On 11/16/06, the PRS considered this PRR. |  |
| PRS Recommendation |  | On 11/16/06, the PRS unanimously voted to recommend approval of PRR695 as submitted by the UFE Task Force (UFETF). All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 11/16/06, COPS Comments were reviewed. COPS recommended approval of PRR695 as submitted by the UFETF. |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Keep UFE analysis requirements in Protocols with the expectation of analysis being completed |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None |  |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 | Eliminate specific UFE project wording from Protocols and replace with more general requirements |  |
|  | 2 | Eliminate outdated UFE analysis timelines |  |
|  | 3 | Only basic UFE analysis is performed. If market desires additional analysis, then project can be initiated and prioritized per market process |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Chuck Moore on behalf of Unaccounted for Energy Task Force (UFETF) |
| E-mail Address | Chuck.moore@directenergy.com |
| Company | Direct Energy |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| 101206 ERCOT | Recommends approval of PRR695 as submitted by UFETF. |

Proposed Protocol Language Revision

11.6	Unaccounted For Energy (UFE) Analysis

11.6.1	Overview

ERCOT will provide an annual UFE analysis report consisting of UFE data analysis from the preceding calendar year.  This report will be based on final settlement data and will be posted to the Market Information System (MIS) by April 30th.  The appropriate TAC Subcommittee may:

- Request interim UFE analysis reports;

- Establish a task force for further UFE investigation that may include the establishment of UFE analysis zones.  UFE analysis zones will not be used for settlement purposes until adopted as UFE settlement zones.  Before adoption as UFE settlement zones the following will be considered, at a minimum:

(a)	Cost-benefit analysis;

(b)	Installation requirements for Revenue Quality Meters;

(c)	Impact on the settlement system;

(d)	Impact on Market Participant systems;

(e)	Cost of UFE to Market Participants;

- Identify factors that are contributing to UFE and work with the appropriate Entities to rectify problems causing UFE;

ERCOT currently has one (1) UFE zone for settlement purposes, which encompasses all of ERCOT.

11.6.2	Annual UFE Analysis Report

The annual UFE analysis report will contain both ERCOT-wide and UFE allocation category quantities as follows:

(1)  	Total UFE MWhs;

(2)	Total UFE cost;

(3)	Percent of total UFE to ERCOT Load;

(4)	Percent of total UFE cost; and

(5)	Notice of any factors that may be contributing to UFE.