Draft

OGRTF 11/13/06 Meeting Notes

Attendance:

Stephen C. Knapp (Chair)	Constellation	QSE	410-468-3606

Jack Thormahlen	LCRA	QSE	512-473-3200 X-2635

Leo Villanueva	ERCOT		512-248-3135

Jerry Ward	TXU	QSE	214-316-7036

Ann Boren	ERCOT		512-275-7411

Wayne Kemper	Centerpoint	TO	713-207-2192 (Telephone)

Colleen Frosch	ERCOT		512-248-4219

Tom Peterson	GPL	NOIE	972-205-3030

Rick Keetch	Reliant	QSE	713-497-2526

Jerry Willms	LCRA	TO	512-482-6307

Sonja Mingo	ERCOT		512-248-6464

Henry Wood	STEC	TO

- 10:08 start meeting with Anti-trust Admonition.

- Reviewed meeting minutes from 10/16, made minor changes and approved.

- Reviewed current OGRR’s for zonal, none pending.  Concentrate on Nodal Guides.

- Continue review with Guide 2.3.

- Jack Thormahlen (LCRA) will define Responsive Reserve provided by Hydro.

- We would like Ralph Poston (ERCOT) and/or Robert Matlock (ERCOT) to discuss Outage Coordination Section.  Ralph’s comment was reference the Protocols as there is no additional information that needs to be in the Guides.

- Jack will see if the Nodal Protocols are being updated with the new EECP.  John Dumas talked to Ann Boren, it will be updated.

- Improve reactive process for monitoring system, some measure of when to access (evaluate).  Check on distribution system, are they adequate.

- Day 2 – Started with ERCOT Anti-trust Admonition.  Began with Section 9, Attachment 4A was moved to the new section 9.  Discussed moving section 6 to the new section 9.

- Shari Heino from ERCOT legal addressed using the word ERCOT.  Her advice was to use ERCOT unless you’re talking about a Standing Committee.

- Action Item for Colleen/Leo – Is there a procedure on how to return the market after a black start event.  A procedure for Nodal has not been produced yet.

- Action Item for Leo – Draft planning criteria for Operations Support, it will be added to Section 5.

- Action Item for Colleen – Find out if PUN stands for Private Use Network, it does.

- Day 3 – Started with ERCOT Anti-trust Admonition.  Began with Jack’s draft for Hydro section.  Wayne Kemper (Centerpoint) suggested a separate OGRR for the Hydro section since it brought much debate; it was decided to leave it.

- Wayne still as an action item in section 2 to get with Curtis Crews (ERCOT) on the switching plan for the network model that Curtis drafted.

- Reviewing Section 4 now, did not complete.

- The next meeting is scheduled for December 11, 12, & 14 2006, at the Met Center, Room 168 & 211.  The first and third day of the meeting will begin at 8:30 instead of 10:00.