## Slide 1: NERC STANDARDS ACTIVITIES & OTHER DEVELOPMENTS December 7, 2006
Notes to following slides on NERC Board Approved Standards:
Column 1 is the NERC #
Column 2 a hyperlink to the standard
Col. 3 is the NERC Board’s approved date for the standard to take affect
Col. 4 contains notes on which version, if any, is now in affect
Col. 5 indicates whether active enforcement is planned in 2007 – either the new or
previous version of a standard will be used as shown.
Final pages show current postings for standards still in the development process.

## Slide 2: NERC Board Approved Standards Effective 2007 – subject to inclusion in ERO
Reliability Standards Approved |  |  | NOTES: | 2007 CEP NERC RE. STND
Standard Number | Title | Effective Date |  | 
Critical Infrastructure Protection |  |  |  | 
CIP-001-1 | Sabotage Reporting | 1/1/2007 Phased-in Implementation | CIP-001-0 effective since 4/1/05 | CIP-001-0
Communications |  |  |  | 
COM-001-1 | Telecommunications | 1/1/2007 | COM-001-0 effective since 4/1/05 | COM-001-0
COM-002-2 | Communications and Coordination | 1/1/2007 | COM-002-1 effective since 11/1/06 | 
Emergency Preparedness and Operations |  |  |  | 
EOP-002-2 | Capacity and Energy Emergencies | 1/1/2007 | EOP-002-1 effective since 11/1/06 | EOP-001-0
EOP-003-1 | Load Shedding Plans | 1/1/2007 | EOP-003-0 effective since 4/1/05 | EOP-003-0
EOP-004-1 | Disturbance Reporting | 1/1/2007 | EOP-004-0 effective since 4/1/05 | 
EOP-005-1 | System Restoration Plans | 5/2/2007 | EOP-005-0 effective since 4/1/05 | EOP-005-1

## Slide 3
Approved Standards Effective 2007
Reliability Standards Approved |  |  | NOTES: | 2007 CEP NERC RE. STND
Standard Number | Title | Effective Date |  | 
Facilities Design, Connections and Maintenance |  |  |  | 
FAC-010-1 | System Operating Limits Methodology for the Planning Horizon | 7/1/2007 | New | 
FAC-011-1 | System Operating Limits Methodology for the Operations Horizon | 10/1/2007 | New | 
FAC-014-1 | Establish and Communicate System Operating Limits | 1/1/2008 | New | 
Interchange Scheduling and Coordination |  |  |  | 
INT-001-2 | Interchange Information | 1/1/2007 | INT-001-0 effective since 4/1/05 | 
INT-003-2 | Interchange Transaction Information | 1/1/2007 | INT-003-0 effective 4/1/05 | 
INT-004-1 | Interchange Transaction Modifications | 1/1/2007 | INT-004-0 effective 4/1/05 | 
INT-005-1 | Interchange Authority Distributes Arranged Interchange | 1/1/2007 | New | 
INT-006-1 | Response to Interchange Authority | 1/1/2007 | New | 
INT-007-1 | Interchange Confirmation | 1/1/2007 | New | 
INT-008-1 | Interchange Authority Distributes Status | 1/1/2007 | New | 
INT-009-1 | Implementation of Interchange |  | New | 
INT-010-01 | Interchange Coordination Exemptions | 1/1/2007 | New | 

## Slide 4
Approved Standards Effective 2007
Reliability Standards Approved |  |  | NOTES: | 2007 CEP NERC RE. STND
Standard Number | Title | Effective Date |  | 
Interconnection Reliability Operations and Coordination |  |  |  | 
IRO-001-1 | Reliability Coordination – Responsibilities and Authorities | 1/1/2007 | IRO-001-0 effective 4/1/05 | IRO-001-0
IRO-002-1 | Reliability Coordination – Facilities | 1/1/2007 | IRO-002-0 effective 4/1/05 | 
IRO-005-2 | Reliability Coordination – Current-Day Operations | 1/1/2007 | IRO-005-1 effective 11/1/06 | 
Modeling, Data, and Analysis |  |  |  | 
MOD-024-1 | Verification of Generator Gross and Net Real Power Capability | Phased in implementation: R1 and R2- 4/1/2006 R3- 01/01/07 |  | MOD-024-1 R3
MOD-025-1 | Verification of Generator Gross and Net Reactive Power Capability | Phased-in Implementation: Requirement 1 and Requirement 2 — January 1, 2007 Requirement 3: January 1, 2008 — 1st 20% compliant January 1, 2009 — 2nd 20% compliant January 1, 2010 — 3rd 20% compliant January 1, 2011 — 4th 20% compliant January 1, 2012 — 5th 20% compliant |  | 
Personnel Performance, Training, and Qualifications |  |  |  | 
PER-004-1 | Reliability Coordination – Staffing | 1/1/2007 | PER-004-0 effective 4/1/05 | PER-004-0

## Slide 5
Approved Standards Effective 2007
Reliability Standards Approved |  |  | NOTES: | 2007 CEP NERC RE. STND
Standard Number | Title | Effective Date |  | 
Protection and Control |  |  |  | 
PRC-001-1 | System Protection Coordination | 1/1/2007 | PRC-001-0 effective 4/1/05 | 
PRC-002-1 | Define and Document Disturbance Monitoring Equipment Requirements | 5/2/2007 | PRC-002-0 effective 4/1/05 | 
Transmission Operations |  |  |  | 
TOP-001-1 | Reliability Responsibilities and Authorities | 1/1/2007 | TOP-001-0 effective 4/1/05 | 
TOP-002-2 | Normal Operations Planning | 1/1/2007 | TOP-002-0 effective 4/1/05 | 
TOP-004-1 | Transmission Operations | 10/1/2007 | TOP-004-0 effective 4/1/05 | TOP-004-0
TOP-006-1 | Monitoring System Conditions | 1/1/2007 | TOP-006-0 effective 4/1/05 | 
TOP-008-1 | Response to Transmission Limit Violations | 1/1/2007 | TOP-008-0 effective 4/1/05 | 
Voltage and Reactive |  |  |  | 
VAR-001-1 | Voltage and Reactive Control | 2/2/2007 | VAR-001-0 effective 4/1/05 | VAR-001-1
VAR-002-1 | Generator Operation for Maintaining Network Voltage Schedules | 8/2/2007 |  |