## Slide 1: Emergency Interruptible Load Task Force Report to WMS December 13, 2006
<footer>
<date/time>

## Slide 2: Background
<footer>
<date/time>
Oct. 2005 | PUC resource adequacy draft rule includes Emergency Load Response (ELR) proposal; numerous parties submit comments
July 2006 | ELR section dropped from proposed rule; deferred to Demand Response project (32852)
Sept. 2006 | ERCOT proposes Emergency Interruptible Load Program (EILP) at PUC Demand Response Workshop
Oct. 2006 | WMS formed EIL TF to draft PRR(s) / NPRR(s) for WMS review at December 13 WMS meeting

## Slide 3: EILTF Charge
<footer>
<date/time>
The Emergency Interruptible Load Task Force (EILTF) is to draft one or more PRRs/NPRRs by the December 2006 meeting of WMS that provides ERCOT with a load interruption ancillary service to be deployed within 10 minutes of instruction as part of the EECP immediately prior to firm load shedding. The EIL TF is specifically charged to address each of the following issue areas:
Qualifications & requirements
Dispatch and recall
Who gets paid
How they are paid
Who pays
Effect on clearing price
Compliance issues
Coordination with other ancillary services
Self-provision
Contract duration
Procurement: contract vs. auction

## Slide 4: ERCOT EILP Proposal
<footer>
<date/time>
ERCOT defined EILP as a service provided by loads willing to interrupt in exchange for a payment during emergency conditions.
ERCOT would procure EIL service on the market’s behalf (approximately 1000 MW) through long-term contracts (one or two year).
EIL would be deployed during EECP after LaaRs are deployed but before firm load shedding, when no additional resources (generation or load) are available at any price.
Deployed by ERCOT as a single block through QSEs
  IDRs needed for verification, but no telemetry or UFR requirement
  Response in 10 minutes or less
  No “double counting” LaaRs, BUL, or price responsive load

## Slide 5: Issues and Tradeoffs
<footer>
<date/time>
Qualifications / Participation
  Balance widespread participation with efficacious participation
Dispatch
  Phone tree v. the “big red button”
Contract v. Auction / Long-term v. Near-term
  Auctions afford more price discovery than contracts
  Near-term procurement affords more flexibility to EILS participants
    Increase participation of small loads and batch processors
    Likely lowers overall service cost to the market
  Long-term contracts easier to administrate and implement

## Slide 6: EILTF draft PRRs
<footer>
<date/time>
Four draft PRRs presented
  Options A and B: capacity service
  Options C and D: energy only service
Common Features in all draft PRRs
  Short-term auction procurement methodology
  EILS created as new Step 3 of EECP
  EILS procured, settled, dispatched through QSEs (no big red button)
Key Differences
  Treatment of price responsiveness between Options A and B
  Capacity v. Energy
  Settlement, Effect on MCPE

## Slide 7: EILTF draft PRRs - Next Steps
<footer>
<date/time>
December WMS review
  WMS may endorse none, one or more options to be filed
January PRS review
  Assume Urgent Status will be granted
February TAC review
February Board review
Effective upon system implementation (target Spring ’07)