## Slide 1: Texas Nodal Energy Management System Requirement Documents December 5, 2006 Jay Dondeti EMS Project Engineer

## Slide 2: Agenda
Introduction
EMS Requirements Documents
EMS Requirements Approval Plan
ERCOT Contacts

## Slide 3: Introduction
For implementation purposes the Texas Nodal systems are categorized into the following major systems:
  Energy Management System (EMS)
  Market Management System (MMS)
  Congestion Revenue Rights System (CRR)
  Network Model Management System (NMMS)
  Commercial Systems (CS)

## Slide 4: Introduction Continued…
For requirement analysis purposes the Energy Management System (EMS) is classified, based on functionality, as follows:
  Energy Management System (Overview)
  EMS Data Models
  SCADA
  Forced Outage Detection
  Dynamic Ratings
  Generation Sub-system
  State Estimator
  Network Security and Stability Analysis
  Voltage Support
  Outage Evaluation
  Wind Power Forecasting
  Load Forecasting

## Slide 5: Introduction Continued…
EMS requirements documents have been written compliant to the May 2006 version of the Texas Nodal Protocols
EMS requirements documents were submitted to TPTF on 1st Dec for review and approval
The topics covered in the white papers recently submitted to TPTF by the MMS and EMS teams, primarily impact the Generation Sub-system.

## Slide 6: EMS Requirements – Overview
The EMS Overview Requirements document provides a high level description of the scope and functionality of various components within the EMS
ERCOT recommends that the reviewers read this description prior to reviewing the rest of the documents
EMS covers the following four major activities described in the Texas Nodal Protocols:
  Management Activities for the ERCOT System (Section 3)
  Day-Ahead Operations (Section 4)
  Transmission Security Analysis (Section 5)
  Real-Time Operations (Section 6)

## Slide 7: EMS Requirements – Overview Continued…
 | Management Activities (Section 3) | Day Ahead Operations (Section 4) | Transmission Security Analysis (Section 5) | Real-time Operations (Section 6)
EMS Data Models | X |  |  | 
SCADA | X |  | X | X
Forced Outage Detection |  |  |  | X
Dynamic Ratings | X | X | X | X
Generation Subsystem |  |  |  | X
State Estimator | X | X | X | X
Network Security and Stability Analysis | X |  | X | X
Voltage Support | X |  |  | X
Outage Evaluation | X |  |  | 
Wind Power Forecasting | X | X |  | 
Load Forecasting | X | X | X | 

## Slide 8: EMS Requirements – Management Activities for the ERCOT System
Network Operations Modeling and Telemetry (3.10)
  Data Model Requirements:
    Interface (CIM) with Network Model Management System (NMMS) for Network Operations Model
    Interface with NMMS for network diagrams
  Dynamic Ratings Requirements:
    Model data for Dynamic Ratings Processor
  State Estimator Requirements:
    State Estimator performance standards related requirements
    Test facility and Study State Estimator
  SCADA Requirements:
    Telemetry criteria related requirements
  Network Security and Stability Analysis Requirements:
    Definition of Special Protection Systems and Remedial Action Plans
    Load rollover schemes

## Slide 9: EMS Requirements – Management Activities for the ERCOT System Continued…
Outage Coordination (3.1)
  Outage Evaluation Requirements:
    Priority list unit commitment, and dispatch
    Study Network Security Analysis
    Feasible generation plan to alleviate overloads
    Outage sensitivity factor calculations
Load Forecasting (3.12) & Long-Term Demand Forecasts (3.2.2)
  Load Forecasting Requirements:
    Mid-term load forecast
    Long-term load and demand Forecast
    Self-training Mode
Renewable Production Potential (3.13)
  Wind Power Forecasting Requirements:
    Short-term wind power forecast
    Long-term wind power forecast
Voltage Support (3.15)
  Voltage Support Requirements:
    Recommend Voltage Profile for all Electrical Buses

## Slide 10: EMS Requirements – Day-Ahead Operations
Wind-Powered Generation Resource Production Potential (4.2.2)
  Wind Power Forecasting Requirements:
    Short-term wind power forecast
    Long-term wind power forecast
    Communication of WGRPP to QSEs
Posting Forecasted ERCOT System Conditions (4.2.3)
  Dynamic Ratings Requirements:
    Weather assumptions used in Dynamic Ratings Processor for posting
  Load Forecasting Requirements:
    Forecasted load for the next seven days for posting
  State Estimator Requirements:
    Forecasted load distribution factors for the next seven days for posting

## Slide 11: EMS Requirements – Transmission Security Analysis
Security Sequence, Including RUC (5.5)
  Dynamic Ratings Requirements:
    Calculation of Dynamic Ratings for future hours
    API to provide ratings to Transmission Security Analysis in RUC
  SCADA Requirements:
    Current breaker and switch statuses for HRUC
  State Estimator Requirements:
    Adapted load distribution factors for RUC study period
  Network Security and Stability Analysis Requirements:
    Generic constraints to protect the ERCOT System against voltage collapse
    Study Network Security Analysis to analyze future hours
    Study voltage stability analysis to analyze future hours
    Network Security Analysis of RUC is not part of EMS
  Load Forecasting Requirements:
    Mid-term load forecast data for Transmission Security Analysis in RUC

## Slide 12: EMS Requirements – Real-Time Operations
Real-Time Operations (6.5)
  SCADA Requirements:
    Input and output telemetry requirements
    ICCP
    Telemetry processing
    Outputs to other systems
    Publishing requirements
  Forced Outage Detection Requirements:
    Processing of status changes
    Detection of forced outages
  Generation Sub-system Requirements:
    Resource limit calculator
    Ancillary service capacity monitor
    Load Frequency Control (LFC)
    Outputs to other systems
  Dynamic Ratings Requirements:
    Calculation of Dynamic Ratings in real-time
    Providing Dynamic Ratings to Real-Time Sequence
  Voltage Support Requirements:
    Recommend reactive device switching and minimizes the dependence on generation-supplied reactive resources

## Slide 13: EMS Requirements – Real-Time Operations
Real-Time Operations (6.5)
  State Estimator Requirements:
    Data model requirements
    Network topology builder
    Bus load forecast
    State estimation
    Topology consistency analyzer
    Outputs to other systems
  Network Security and Stability Analysis Requirements:
    Network Security Analysis
    Voltage stability analysis
    Transient stability analysis
    Transmission constraint management
    Outputs to other systems

## Slide 14: EMS Requirements Approval Plan
December 22, 2006: TPTF comments due to ERCOT
  ERCOT would encourage comments to be submitted when ready
  EMS team (ERCOT and Vendors) will be available for clarification
January 8, 2007*: ERCOT response due to TPTF
  ERCOT submits response to TPTF comments
  ERCOT submits updated EMS requirements documents
January 23, 2007*: TPTF approves EMS Requirements Documents
These items are target dates, and will be greatly dependent on the quantity of comments and magnitude of changes required.

## Slide 15: ERCOT Contacts
EMS Project Engineer
  Jay Dondeti
  jdondeti@ercot.com
  (512) 248-6693
EMS & MMS Artifact Manager
  Bill Peterson
  bpeterson@ercot.com
  (512) 248-6663

## Slide 16: Questions & Answers