## Slide 1: CSC Utilization Report Q3 - 2006
WMS
13 December, 2006

## Slide 2: Outline
Zonal congestion – costs and quantity
Active and binding intervals
Actual CSC flows vs limits
Costs of over constraining
Summary
  To date, costs are lower than 2005

## Slide 3: CSC Congestion Charges collected from QSEs
$Million | E_N | N_H | S_H | S_N | W_N | N_W | TOTAL
2006 Yr to date | 7.4 | 7.4 | 13.8 | 1.2 | 0.2 | 3.0 | 33.0
2005 Yr to date | 0 | 6.4 | 33.6 | 8.5 | ~0 | 3.9 | 52.4
2005 total | 0 | 25.7 | 39.2 | 8.9 | ~0 | 5.3 | 79.0

## Slide 4: Number of Intervals Constraints were Binding
 | E_N | N_H | S_H | S_N | W_N | N_W
2006 total | 185 | 393 | 738 | 571 | 44 | 361
2005 total | 0 | 884 | 1516 | 1135 | 11 | 328

## Slide 5: Summary of Zonal Congestion Occurrences - Intervals
 | N_H |  | S_H |  | S_N |  | E_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 10 | 10 | 16 | 11 | 0 | 0 | 0 | 0 | 0 | 0
Feb | 0 | 0 | 18 | 13 | 131 | 89 | 0 | 0 | 13 | 8 | 0 | 0
Mar | 7 | 6 | 8 | 5 | 0 | 0 | 18 | 16 | 0 | 0 | 2 | 2
Apr | 131 | 106 | 236 | 186 | 5 | 0 | 173 | 164 | 14 | 2 | 7 | 2
May | 100 | 68 | 175 | 130 | 42 | 33 | 2 | 2 | 34 | 21 | 0 | 0
Jun | 27 | 17 | 254 | 173 | 85 | 56 | 0 | 0 | 151 | 128 | 12 | 9
Jul | 26 | 16 | 157 | 72 | 325 | 232 | 0 | 0 | 61 | 43 | 9 | 9
Aug | 27 | 18 | 129 | 78 | 213 | 129 | 0 | 0 | 187 | 147 | 11 | 8
Sep | 195 | 162 | 82 | 71 | 33 | 21 | 1 | 1 | 12 | 12 | 18 | 14
Oct |  |  |  |  |  |  |  |  |  |  |  | 
Nov |  |  |  |  |  |  |  |  |  |  |  | 
Dec |  |  |  |  |  |  |  |  |  |  |  | 
2006 total | 513 | 393 | 1069 | 738 | 850 | 571 | 192 | 185 | 472 | 361 | 59 | 44
2005 total | 1239 | 884 | 2127 | 1516 | 1578 | 1135 | 0 | 0 | 569 | 328 | 22 | 11

## Slide 6: Summary of Zonal Congestion Occurrences - Days
 | N_H |  | S_H |  | S_N |  | E_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 1 | 1 | 4 | 2 | 0 | 0 | 0 | 0 | 0 | 0
Feb | 0 | 0 | 2 | 2 | 6 | 5 | 0 | 0 | 1 | 1 | 0 | 0
Mar | 1 | 1 | 3 | 1 | 0 | 0 | 2 | 2 | 0 | 0 | 1 | 1
Apr | 10 | 8 | 22 | 19 | 3 | 0 | 7 | 7 | 5 | 2 | 3 | 1
May | 9 | 8 | 12 | 12 | 4 | 4 | 1 | 1 | 7 | 6 | 0 | 0
Jun | 6 | 6 | 21 | 21 | 11 | 8 | 0 | 0 | 12 | 12 | 2 | 2
Jul | 2 | 2 | 14 | 14 | 16 | 16 | 0 | 0 | 6 | 6 | 2 | 2
Aug | 3 | 3 | 16 | 13 | 18 | 14 | 0 | 0 | 15 | 14 | 3 | 3
Sep | 10 | 10 | 7 | 7 | 2 | 2 | 1 | 1 | 3 | 3 | 2 | 2
Oct |  |  |  |  |  |  |  |  |  |  |  | 
Nov |  |  |  |  |  |  |  |  |  |  |  | 
Dec |  |  |  |  |  |  |  |  |  |  |  | 
2006 total | 41 | 38 | 98 | 90 | 64 | 51 | 11 | 11 | 49 | 44 | 13 | 11
2005 total | 51 | 49 | 111 | 108 | 101 | 93 |  |  | 50 | 46 | 3 | 3

## Slide 7: CSC Limits vs Actual Flows: N_H Jan – Sep 2006

## Slide 8: CSC Limits vs Actual Flows: S_N Jan – Sep 2006

## Slide 9: CSC Limits vs Actual Flows: S_H Jan – Sep 2006

## Slide 10: CSC Limits vs Actual Flows: N_W Jan – Sep 2006

## Slide 11: CSC Limits vs Actual Flows: E_N Jan – Sep 2006

## Slide 12: Duration Curves: N_H

## Slide 13: Duration Curves: S_N

## Slide 14: Duration Curves: S_H

## Slide 15: Duration Curves: N_W

## Slide 16: Unused CSC capacity: Jan – Sep 2006

## Slide 17: Unused CSC capacity: Jan – Sep 2006

## Slide 18: Costs of Over-constraining vs. Under-constraining
Taking all binding intervals where the actual CSC flow is less than 100% of CSC limit.
Multiply the difference between the actual flow and 100% of the limit, times the Shadow Price.
Taking intervals where the actual flow is greater than the CSC limit.
Multiply the difference between the flow and the limit, times the average Shadow Price.