Lee Westbrook

December 20, 2006

EMS- Requirements Specification for Network Security and Stability Analysis v0.90

General Comments

I have a few comments as shown below:

EMS Requirements Specification For Network Security and Stability Analysis v0.90

- The software (especially stability analysis) should accommodate user-defined load models.  It is not clear that it does.

- The sizing listed for evaluation of execution time of the CA may be exceeded (e.g., It is likely that there could be more than 30 RAPs on the ERCOT system).