Lee Westbrook

December 20, 2006

EMS- Requirements Specification for Wind Power Forecasting v0.90

General Comments

I have a few comments as shown below:

EMS Requirements Specification For Wind Power Forecasting v0.90

- The WGR forecasts should be made available for short-term operations planning.  I assume they are, but it is not clear.