Jim Reynolds

December 22, 2006

EMS Requirements Specification for Load Forecasting v0.90

General Comments

ERCOT currently produces a load forecast by type of Load Profile (Bus High Load Factor, Business Medium Load Factor, Residential Low Winter, etc).

This requirement was not mentioned in these Requirements- is this effort described in some other Requirements Doc?