- Summary of Protocol Revisions

- Effective:  January 1, 2007

- Section 2:

- PRR543 - Schedules and Emergency Assistance Over DC Ties

This PRR incorporates the use of ties with Comision Federal de Electricidad (CFE) for emergency services and clarifies Protocols for the use of Back to Back Ties and Block Load Transfers (BLTs) with CFE during emergencies.

Revised Subsection: 2.1 and 2.2 [language unboxed due to system 	implementation]

- PRR677 - Substitute Source For Fuel Index Price (FIP)

This PRR establishes that, in the event the periodical noted fails to publish a daily FIP, the ERCOT Board of Directors may direct ERCOT Settlements on the use of an alternative index.

Revised Subsection: 2.1

PRR684 - Mass Transition Process Necessary for PUCT Rule 31416

This PRR introduces revisions to Section 15.1.2.9, Mass Transition and adds a new Section 15.1.2.9.1, Customer Billing Contact Information to comply with the PUCT rulemaking for Project 31416, Evaluation of Default Service for Residential Customers and Review of Rules Relating to the Price to Beat and Provider of Last Resort.

Revised Subsection: 2.1

PRR700 - Creation of Interim Measure for Collecting the ERO/TRE Fee

This PRR revises the ERCOT System administration fees to include the FERC-mandated fee for the ERCOT Region’s share of the new Electric Reliability Organization (ERO) and the new Texas Regional Entity (TRE) for the ERCOT Region.

Revised Subsection: 2.1

- Section 4:

- PRR543 - Schedules and Emergency Assistance Over DC Ties

See Section 2 above.

Revised Subsection: 4.4.18.1 [language unboxed due to system 	implementation]

- Section 5:

- PRR543 - Schedules and Emergency Assistance Over DC Ties

See Section 2 above.

Revised Subsection: 5.6.6.1, 5.6.7, 5.6.8, 5.7, 5.7.3, 5.8 and 5.8.2.1 [language unboxed due to system 	implementation]

- Section 6:

- PRR543 - Schedules and Emergency Assistance Over DC Ties

See Section 2 above.

Revised Subsection: 6.8.2.1 [language unboxed due to system 	implementation]

PRR689 – Down Balance Qualification for Renewable Resources

This PRR reduces the Balancing Down Energy Service bids qualification, for Qualified Scheduling Entities (QSEs) representing only Uncontrollable Renewable Resources, to at or below the deployment level requested by ERCOT.

Revised Subsection:  6.10.3.4

- Section 7:

- PRR699 – Removal of the Northeast Congestion Zone in Trading Hub 		              				Transaction Conversions

This PRR synchronizes the ERCOT Protocols to reflect the removal of the Northeast Congestion Zone in the Trading Hub calculations beginning January 1, 2007.

Revised Subsections: 7.9.2.6, 7.9.3.4

- Section 9:

- PRR681 – Discontinuation of Interest Charge for Defaulting Entities at Time of Uplift

This PRR allows ERCOT to cease the calculation of interest (Late Fees) for defaulting Entities when the conditions initiating Uplift are met.  Late Fee calculations will continue for short-paying Entities until Uplift conditions are met.

Revised Subsections: 9.4.4, 9.4.6

PRR700 – Creation of Interim Measure for Collecting the ERO/TRE Fee

See Section 2 above.

Revised Subsection: 9.7.1

- Section 15:

PRR684 - Mass Transition Process Necessary for PUCT Rule 31416

See Section 2 above.

Revised Subsections: 15.1.2.9, 15.1.2.9.1

- Section 16:

PRR698 – Remove Default QSE Provisions

This PRR revises provisions for the Emergency and Virtual Qualified Scheduling Entity  to allow them to provide for Resource Entities and Load Serving Entities (LSEs) in the event that their QSE defaults.  This PRR also removes the Default QSE concept, including all references to a Default QSE.

Revised Subsections: 16.2.1, 16.2.8, 16.2.9.1.4, 16.2.12, 16.2.12.1, 16.2.12.2, 16.2.12.3, 16.2.13.1, 16.2.13.2, 16.2.13.3

- ERCOT Fee Schedule:

PRR700 – Creation of Interim Measure for Collecting the ERO/TRE Fee

See Section 2 above.