## Slide 1: Extract Delays

## Slide 2: EIS Extract Delays
Problem
  Extracts of Lodestar data from the ODS to the market have been delayed due to above normal lag in processing time
Cause
  When releases and database maintenance occur, data must be held while the work is performed, causing lags which require additional processing time to ‘catch up’
  Releases/Maintenance causing recent delays:
    Production releases occurring 12/2 – 12/11
    Siebel/EIF replication preparation on 12/10 and 12/22
    Database partition maintenance outages on 12/17 and 12/18
Data lags are normally ‘naturally’ eliminated by further processing, in these circumstances the volume of activity prevented the lag from reducing
Extracts on the 12/17 and 12/22 posting dates were not complete because data lags of this size have not previously required manual intervention and the new manual workaround did not catch data problems, checks are now in place to ensure data is accurate
Solutions:
  Putting daily checks in place to make sure a complete data set is in the extract (manual, will be automated)
  Working to improve throughput to minimize and mitigate lag
    Creating multi-tiered data path, currently using a single data pipe (30-45 days expected)

## Slide 3: EIS Lodestar Lag
12/2-12/11 Implementations
Siebel/EIF Data Migrations
Partition Maintenance

## Slide 4: EIS Extract Posting Delay Review
Settlement Input Data (SID)/Shadow Prices (SHP) Extract Delays
  11/19, due to lag
  12/3-1/3, due to lag
  Back on schedule, as of 1/4
LOD/GEN/SNB Extract Delays
  11/27, due to extended holiday weekend and approval delay
  12/5, due to lag
  12/23, due to lag
  12/27, due to extended holiday weekend and settlement approvals process for holidays
  12/28, re-delivery of 12/22 Settlements & Billing extract due to interval data parsing not complete at time of manual intervention
  1/5, re-delivery of 12/22 Load extract due to interval data parsing not complete at time of manual intervention
  1/8, re-creation of 12/17 Settlements & Billing extract due to interval data parsing not complete at time of manual intervention
  Delivery expected no later than 1/9
RID Extract Delays
  12/11 delivered 12/7-12/9 operation days due to reruns due to parsing interval lag
  12/20 extract delayed run due to lag
    Manual intervention caused 1 day automated delay from 12/20-1/2 (Corrected 1/2)