## Sheet1
2007 CEP Matrix
NERC Reliability Standards
Std # | Requirements | Standard | Who | Purpose | NERC 48-hour | 3-Year On-Site Audit | Self-Certification | Monthly/Quarterly Reporting | Data Submission | Exception Reporting | Investigation
BAL-001-0 | All | Real Power Balancing Control Performance | BA | To maintain Interconnection steady-state frequency within defined limits by balancing real power demand and supply in real-time. |  |  |  |  | Ö
BAL-002-0 | All | Disturbance Control Performance | BA, RSG | To ensure the Balancing Authority is able to utilize its Contingency Reserve to balance resources and demand and return Interconnection frequency within defined limits. |  |  |  |  | Ö
BAL-003-0 | All | Frequency Response and Bias | BA | This standard provides a consistent method for calculating the Frequency Bias component of ACE. | [5 empty] | Ö
CIP-001-0 | All | Sabotage Reporting | BA, GOP, LSE, RC, TOP | Disturbances or unusual occurrences, suspected or determined to be caused by sabotage, shall be reported to the appropriate systems, governmental agencies, and regulatory bodies. |  |  | Ö
CIP-002-1 through CIP-009-1 | All | Critical Infrastructure Protection Standards | BA, GO, GOP, IA, LSE, NERC, RC, TO, TOP, TSP | Cyber Security Standards- Follow revised Implementation Plan for Cyber Security Standards CIP-002-1 through CIP-009-1 |  |  | Ö
COM-001-0 | R2 and R5 | Telecommunications | BA, RC, TOP | Each RC, TOP and BA needs adequate and reliable telecommunications facilities internally and with others for the exchange of Interconnection and operating information necessary to maintain reliability. |  |  | Ö
EOP-001-0 | All | Emergency Operations Planning | BA, TOP | Each Transmission Operator and Balancing Authority needs to develop, maintain, and implement a set of plans to mitigate operating emergencies. These plans need to be coordinated with other Transmission Operators and Balancing Authorities, and the Reliability Coordinator. |  |  | Ö
EOP-003-0 | All | Load Shedding Plans | BA, TOP | A Balancing Authority and Transmission Operator operating with insufficient generation or transmission capacity must have the capability and authority to shed load rather than risk an uncontrolled failure of the Interconnection. |  |  | Ö
EOP-005-1 | All | System Restoration Plans | BA, TOP | To ensure plans, procedures, and resources are available to restore the electric system to a normal condition in the event of a partial or total shut down of the system |  |  | Ö
EOP-006-0 | All | Reliability Coordination – System Restoration | RC | The Reliability Coordinator must have a coordinating role in system restoration to ensure reliability is maintained during restoration and priority is placed on restoring the Interconnection. |  |  | Ö
EOP-008-0 | All | Plans for Loss of Control Center Functionality | BA, RC, TOP | Each reliability entity must have a plan to continue reliability operations in the event its control center becomes inoperable. |  |  | Ö
EOP-009-0 | All | Documentation of Blackstart Generating Unit Test Results | GO, GOP | To ensure that the quantity and location of system blackstart generators are sufficient and that they can perform their expected functions. |  |  | Ö
FAC-003-1 | All | Vegetation Management | TO | To improve the reliability of the electric transmission systems by preventing outages from vegetation located on transmission rights-of-way (ROW) and minimizing outages from vegetation located adjacent to ROW, maintaining clearances between transmission lines | [5 empty] | Ö
FAC-008-1 | All | Facility Ratings Methodology | GO, TO | To ensure that Facility Ratings used in the reliable planning and operation of the Bulk Electric System (BES) are determined based on an established methodology |  |  | Ö
FAC-009-1 | All | Establish and Communicate Facility Ratings | GO, TO | To ensure that Facility Ratings used in the reliable planning and operation of the Bulk Electric System (BES) are determined based on an established methodology or methodologies.
IRO-001-0 | All | Reliability Coordination – Responsibilities and Authorities | BA, GOP, LSE, PSE, RC, TOP, TSP | Reliability Coordinators must have the authority, plans, and agreements in place to immediately direct reliability entities within their Reliability Coordinator Areas to re-dispatch generation, reconfigure transmission, or reduce load to mitigate critical conditions to return the system to a reliable state. |  |  | Ö
IRO-004-1 | All | Reliability Coordination — Operations Planning | BA, GO, GOP, LSE, RC, TO, TOP, TSP | Each Reliability Coordinator must conduct next-day reliability analyses for its Reliability Coordinator Area to ensure the Bulk Electric System can be operated reliably in anticipated normal and Contingency conditions. |  |  | Ö |  |  | Ö
IRO-014-1 | All | Procedures, Processes, or Plans to Support Coordination Between Reliability Coordinators | RC | To ensure that each Reliability Coordinator’s operations are coordinated such that they will not have an Adverse Reliability Impact on other Reliability Coordinator Areas and to preserve the reliability benefits of interconnected operations. |  |  | Ö
IRO-015-1 | All | Notifications and Information Exchange Between Reliability Coordinators | RC | To ensure that each Reliability Coordinator’s operations are coordinated such that they will not have an Adverse Reliability Impact on other Reliability Coordinator Areas and to preserve the reliability benefits of interconnected operations. |  |  | Ö
IRO-016-1 | All | Coordination of Real-time Activities Between Reliability Coordinators | RC | that they will not have an Adverse Reliability Impact on other Reliability Coordinator Areas |  |  | Ö
MOD-024-1 | R3 | Verification of Generator Gross and Net Real Power Capability | GO | Verification of gross & net dependable capability |  |  | Ö
PER-002-0 | All | Operating Personnel Training | BA, TOP | Each Transmission Operator and Balancing Authority must provide their personnel with a coordinated training program that will ensure reliable system operation. |  |  | Ö
PER-003-0 | All | Operating Personnel Credentials | BA, RC, TOP | Certification of operating personnel is necessary to ensure minimum competencies for operating a reliable Bulk Electric System. | [5 empty] | Ö
PER-004-0 | All | Reliability Coordination — Staffing | RC | Reliability Coordinators must have sufficient, competent staff to perform the Reliability Coordinator functions. |  |  | Ö
PRC-004-1 | All | Analysis and Mitigation of Transmission and Generation Protection System Misoperations | DP*, GO, TO | Provide trip operation / misoperation information per Regional process |  |  | Ö
PRC-005-1 | All | Transmission and Generation Protection System Maintenance and Testing | DP*, GO, TO | Document/implement transmission protection system maintenance/testing/monitoring PROGRAM |  |  | Ö
PRC-007-0 | All | Assuring Consistency of Entity Underfrequency Load Shedding Programs with Regional Reliability Organization’s Underfrequency Load Shedding Program Requirements | DP, LSE, TO, TOP | CONSISTENCY of entities with Regional UFLS program |  |  | Ö
PRC-008-0 | All | Implementation and Documentation of Underfrequency Load Shedding Equipment Maintenance Program | DP, TO | Document/implement UFLS maintenance/testing PROGRAM |  |  | Ö
PRC-010-0 | All | Technical Assessment of the Design and Effectiveness of Undervoltage Load Shedding Program. | DP, LSE, TO, TOP | ASSESS design and effectiveness of UVLS programs |  |  | Ö
PRC-011-0 | All | UVLS System Maintenance and Testing | DP, TO | Document/implement UVLS maintenance/testing PROGRAM |  |  | Ö
PRC-016-0 | All | Special Protection System Misoperations | DP, GO, TO | DOCUMENT/analyze misoperations | [5 empty] | Ö
PRC-017-0 | All | Special Protection System Maintenance and Testing | DP, GO, TO | Document/implement SPS maintenance/testing PROGRAM |  |  | Ö
PRC-021-1 | All | Under-Voltage Load Shedding Program Data | DP, TO | DOCUMENTATION of undervoltage load shedding program |  |  | Ö
TOP-003-0 | All | Planned Outage Coordination | BA, GOP, RC, TOP | Scheduled generator and transmission outages that may affect the reliability of interconnected operations must be planned and coordinated among Balancing Authorities, Transmission Operators, and Reliability Coordinators. |  |  | Ö |  |  | Ö
TOP-004-0 | R6 | Transmission Operations | TOP | To ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies. |  |  | Ö
TOP-005-1 | All | Operational Reliability Information | BA, PSE, RC, TOP | To ensure reliability entities have the operating data needed to monitor system conditions within their areas. |  |  | Ö |  |  | Ö
TOP-007-0 | All | Reporting System Operating Limit (SOL) and Interconnection Reliability | RC, TOP | Ensure SOL and IROL violations are being reported to the Reliability Coordinator so that the Reliability Coordinator may evaluate actions being taken and direct additional corrective actions as needed. | [5 empty] | Ö
TPL-001-0 | All | System Performance Under Normal (No Contingency) Conditions | PA, TPL | System performance under normal conditions |  |  | Ö
TPL-002-0 | All | System Performance Following Loss of a Single Bulk Electric System Element | PA, TPL | System performance under single contingency |  |  | Ö
TPL-003-0 | All | System Performance Following Loss of Two or More Bulk Electric System Elements | PA, TPL | System performance under multiple contingencies |  |  | Ö
TPL-004-0 | All | System Performance Following Extreme Events Resulting in the Loss of Two or More Bulk Electric System Elements | PA, TPL | System performance under extreme contingencies |  |  | Ö
VAR-001-1 | All | Voltage and Reactive Control | PSE, TOP | To ensure voltage levels, reactive flows, and reactive resources are monitored, controlled, and maintained within limits in real time to protect equipment and the reliable operation of the Interconnection. |  |  | Ö